## BASIC
Name of Package : | Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
RFX No : | 5002005413
Specification No. : | WR2/NT/W-CIVIL/DOM/G01/26/07698
Completion Period | 15 Months

## Names of Bidder
Name of Package :
Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Individual Firm
Name of Sole Bidder [Individual Firm]
Address of Registered Office & Mobile Numbers
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Sch-I Supply Works
Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Schedule-I
Supply Portion
All prices are in Indian Rupees
Sl No | Location of Supply | HSN Codes | Whether HSN in column 'iii' is confirmed. If not indicate applicable HSN # | Rate of GST applicable (in %) | Whether rate of GST in column 'v' is confirmed. If not indicate applicable rate of GST # | Description | Unit | Quantity | Unit Ex works price (Excluding GST) | Total Ex works price (Excluding GST) | Total GST
i | ii | iii | iv | v | vi | vii | viii | ix | x | xi | xii
A | Supply of Tower
|  | 73082011 |  | 18% |  | Fabrication, Galvanising and Supply of various type of Tower & Tower parts, tower/leg extensions (complete) excluding Stubs and bolts & nuts but including hangers, D-shackles, pack washer etc. For Normal Towers (a) HT Steel | MT | 125.18 |  | 0 | 0
|  | 73082011 |  | 18% |  | (b) Mild Steel | MT | 94.62 |  | 0 | 0
B | Supply of Stub
|  | 73082011 |  | 18% |  | Fabrication, Galvanising and Supply of Stubs with Cleats for various type of Towers, Tower Extensions (complete) with pack washers, excluding supply of bolts & nuts. For Normal Towers (a) HT Steel | MT | 7.03 |  | 0 | 0
|  | 73082011 |  | 18% |  | (b) Mild Steel | MT | 1.13 |  | 0 | 0
C | Supply of bolts & Nuts including Step bolts and Spring Washers
|  | 73181500 |  | 18% |  | Hexagonal Bolts and Nuts including Step Bolts for Towers | MT | 9.59 |  | 0 | 0
|  | 73181500 |  | 18% |  | Bolts and nuts for Stubs | MT | 0.18 |  | 0 | 0
D | [5 empty] | Fabrication & Supply of Pole
|  | 73082011 |  | 18% |  | (a)Fabrication, galvanising and supply of various type of Pole & Pole parts,Pole extensions (complete) excluding Anchor Bolt, Step Bolt but including hangers, D-shackles, pack washer etc.- Grade 450 or Equivalent | MT | 200.68 |  | 0 | 0
|  | 73082011 |  | 18% |  | (b)Fabrication, galvanising and supply of Base plate, Anchor plate etc- Grade 350 or Equivalent | MT | 1.77 |  | 0 | 0
|  | 73082011 |  | 18% |  | (`c)Supply of Bolt & nuts with Spring Washer Grade-5.6 and Step Bolts with spring washer Grade 4.6 | MT | 0.23 |  | 0 | 0
|  | 73082011 |  | 18% |  | (d)Supply of Bolt & nuts for Pole including Spring Washer Grade 8.8 | MT | 0.58 |  | 0 | 0
|  | 73082011 |  | 18% |  | (`e)Supply of Anchor Bolt & nuts for Pole including Spring Washer Grade 8.8 | MT | 9.12 |  | 0 | 0
D | Supply of Earthing of towers
|  | 73082011 |  | 18% |  | (1) Pipe Type Earthing | EA | 11 |  | 0 | 0
|  | 73082011 |  | 18% |  | (2) Rod Type earthing | EA | 9 |  | 0 | 0
|  | 73082011 |  | 18% |  | (3) Counterpoise Type Earthing-120m Length | EA | 2 |  | 0 | 0
|  | 73082011 |  | 18% |  | (4) Counterpoise Type Chemical Earthing-120m length | EA | 0 |  | 0 | 0
|  | 73082011 |  | 18% |  | (5) Shieldwire Earthing including PG clamps, Downlead clamps but excluding Earthwire bits (a) Pipe Type Earthing | EA | 2 |  | 0 | 0
|  | 73082011 |  | 18% |  | (b) Counterpoise Type (120m Length) | EA | 0 |  | 0 | 0
E | Supply of Tower accessories
|  | 73028011 |  | 18% |  | (1) Danger Plate | EA | 11 |  | 0 | 0
|  | 73028011 |  | 18% |  | (2) Number Plate | EA | 11 |  | 0 | 0
|  | 73028011 |  | 18% |  | (3) Phase Plate ( Set of three) | Set | 22 |  | 0 | 0
|  | 73028011 |  | 18% |  | (4) Circuit Plate (Set of two) | Set | 11 |  | 0 | 0
|  | 73028011 |  | 18% |  | (5) Anti climbing device of Barbed Wire | Set | 11 |  | 0 | 0
|  | 73028011 |  | 18% |  | (6) Bird Guards (Set of Three) | Set | 4 |  | 0 | 0
|  | 73028011 |  | 18% |  | (7) Bird Diverter | EA | 0 |  | 0 | 0
F | Supply of Line Materials
|  | 73121020 |  | 18% |  | (1) 7/3.66mm G.S. Earthwire | KM | 3.64 |  | 0 | 0
|  | 76042910 |  | 18% |  | (2) ACSR Moose Conductor | KM | 0 |  | 0 | 0
|  | 85469090 |  | 18% |  | (3) Composite Insulator for 400kV TL (a) 160 KN (Min creepage 13020mm, 3910mm length) | EA | 336 |  | 0 | 0
|  | 85469090 |  | 18% |  | (b) 120 KN (Min creepage 13020mm, 3335mm length) | EA | 54 |  | 0 | 0
|  | 73028011 |  | 18% |  | (4) Hardware Fitting for 400kV AC with Quad ACSR Moose Conductor (a) Double 'I' Suspension String | Set | 6 |  | 0 | 0
|  | 73028011 |  | 18% |  | (b) Single I Suspension String (Pilot) | Set | 9 |  | 0 | 0
|  | 73028011 |  | 18% |  | (c) Quad Tension String | Set | 42 |  | 0 | 0
(5)Hardware fittings for 400kV AC with twin ACSR Moose Conductor
|  | 73028011 |  | 18% |  | (a) Single I Suspension String (Pilot) | Set | 21 |  | 0 | 0
|  | 73028011 |  | 18% |  | (b) Double Tension string | Set | 84 |  | 0 | 0
|  | 73028011 |  | 18% |  | (`c) Single I Suspension String | Set | 12 |  | 0 | 0
|  | 76169990 |  | 18% |  | (6) Accessories for ACSR Moose Conductor for 400kV TL (a) Mid span compression joint | EA | 24 |  | 0 | 0
|  | 76169990 |  | 18% |  | (b) Repair Sleeve | EA | 8 |  | 0 | 0
|  | 73028011 |  | 18% |  | (c) Vibration Damper | EA | 384 |  | 0 | 0
|  | 76169990 |  | 18% |  | (d) Quad Spacer Damper- Retaining rod type | EA | 144 |  | 0 | 0
|  | 76169990 |  | 18% |  | (`e) Quad Rigid spacer for jumper | EA | 72 |  | 0 | 0
|  | 76169990 |  | 18% |  | (f) Twin Bundle spacer for conductor | EA | 270 |  | 0 | 0
|  | 76169990 |  | 18% |  | (g) Twin spacer for jumper | EA | 144 |  | 0 | 0
|  | 73028011 |  | 18% |  | (7) Accessories for 7/3.66mm Earthwire (a) Mid span compression joint | EA | 3 |  | 0 | 0
|  | 76169990 |  | 18% |  | (b) Flexible Al Bond | EA | 24 |  | 0 | 0
|  | 73028011 |  | 18% |  | (c ) Vibration Damper | EA | 47 |  | 0 | 0
|  | 73028011 |  | 18% |  | (d) Suspension Clamp | EA | 3 |  | 0 | 0
|  | 73028011 |  | 18% |  | (e) Tension Clamp | EA | 21 |  | 0 | 0
G | [5 empty] | Supply of following items for Aviation Requirements
|  | 76169990 |  | 18% |  | Span Markers | No. | 13 |  | 0 | 0
H | Supply of OPGW materials
|  | 85447090 |  | 18% |  | (1) OPGW cable (a) 24 Fibre (DWSM) OPGW fibre optic cable | KM | 3.79 |  | 0 | 0
|  | 82057000 |  | 18% |  | (2) OPGW Accessories (a) Suspension Clamp-24F OPGW | EA | 2 |  | 0 | 0
|  | 82057000 |  | 18% |  | Tension assembly (For Joint Box Locations)(Splicing) | Set | 3 |  | 0 | 0
|  | 82057000 |  | 18% |  | Tension assembly for Passing Tension-24F OPGW | Set | 9 |  | 0 | 0
|  | 82057000 |  | 18% |  | Tension assembly at Suspension tower (For Joint Box Locations) | Set | 1 |  | 0 | 0
|  | 82057000 |  | 18% |  | Vibration Damper- 24F OPGW | EA | 84 |  | 0 | 0
|  | 82057000 |  | 18% |  | Down lead Clamp-24F OPGW | EA | 160 |  | 0 | 0
|  | 85353090 |  | 18% |  | Joint Box (24 Fibre) | EA | 4 |  | 0 | 0
Total of Schedule I Supply | [9 empty] | 0 | 0

## Sch-II F&I
Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Schedule-II
Freight & Insurance
All prices are in Indian Rupees
Sl No | Location of Supply | Description | Unit | Quantity | Unit Freight, In-Transit insurance, Loading & Unloading charges (inclusive of Taxes) | Total Freight, In-Transit insurance, Loading & Unloading charges (inclusive of Taxes)
i | ii | iii | iv | v | vi | vii
A | Tower
|  | Fabrication, Galvanising and Supply of various type of Tower & Tower parts, tower/leg extensions (complete) excluding Stubs and bolts & nuts but including hangers, D-shackles, pack washer etc. For Normal Towers (a) HT Steel | MT | 125.18 |  | 0
|  | (b) Mild Steel | MT | 94.62 |  | 0
B | Stub
|  | Fabrication, Galvanising and Supply of Stubs with Cleats for various type of Towers, Tower Extensions (complete) with pack washers, excluding supply of bolts & nuts. For Normal Towers (a) HT Steel | MT | 7.03 |  | 0
|  | (b) Mild Steel | MT | 1.13 |  | 0
C | Bolts & Nuts including Step bolts and Spring Washers
|  | Hexagonal Bolts and Nuts including Step Bolts for Towers | MT | 9.59 |  | 0
|  | Bolts and nuts for Stubs | MT | 0.18 |  | 0
Fabrication & Supply of Pole
|  | (a)Fabrication, galvanising and supply of various type of Pole & Pole parts,Pole extensions (complete) excluding Anchor Bolt, Step Bolt but including hangers, D-shackles, pack washer etc.- Grade 450 or Equivalent | MT | 200.68 |  | 0
|  | (b)Fabrication, galvanising and supply of Base plate, Anchor plate etc- Grade 350 or Equivalent | MT | 1.77 |  | 0
|  | (`c)Supply of Bolt & nuts with Spring Washer Grade-5.6 and Step Bolts with spring washer Grade 4.6 | MT | 0.23 |  | 0
|  | (d)Supply of Bolt & nuts for Pole including Spring Washer Grade 8.8 | MT | 0.58 |  | 0
|  | (`e)Supply of Anchor Bolt & nuts for Pole including Spring Washer Grade 8.8 | MT | 9.12 |  | 0
D | Earthing of towers
|  | (1) Pipe Type Earthing | EA | 11 |  | 0
|  | (2) Rod Type earthing | EA | 9 |  | 0
|  | (3) Counterpoise Type Earthing-120m Length | EA | 2 |  | 0
|  | (4) Counterpoise Type Chemical Earthing-120m length | EA | 0 |  | 0
|  | (5) Shieldwire Earthing including PG clamps, Downlead clamps but excluding Earthwire bits (a) Pipe Type Earthing | EA | 2 |  | 0
|  | (b) Counterpoise Type (120m Length) | EA | 0 |  | 0
E | Tower accessories
|  | (1) Danger Plate | EA | 11 |  | 0
|  | (2) Number Plate | EA | 11 |  | 0
|  | (3) Phase Plate ( Set of three) | Set | 22 |  | 0
|  | (4) Circuit Plate (Set of two) | Set | 11 |  | 0
|  | (5) Anti climbing device of Barbed Wire | Set | 11 |  | 0
|  | (6) Bird Guards (Set of Three) | Set | 4 |  | 0
|  | (7) Bird Diverter | EA | 0 |  | 0
F | Line Materials
|  | (1) 7/3.66mm G.S. Earthwire | KM | 3.64 |  | 0
|  | (2) ACSR Moose Conductor | KM | 0 |  | 0
|  | (3) Composite Insulator for 400kV TL (a) 160 KN (Min creepage 13020mm, 3910mm length) | EA | 336 |  | 0
|  | (b) 120 KN (Min creepage 13020mm, 3335mm length) | EA | 54 |  | 0
|  | (4) Hardware Fitting for 400kV AC with twin ACSR Moose Conductor (a) Single 'I' Suspension String | Set | 6 |  | 0
|  | (b) Single I Suspension String (Pilot) | Set | 9 |  | 0
|  | (c) Double Tension String | Set | 42 |  | 0
(5)Hardware fittings for 400kV AC with twin ACSR Moose Conductor
|  | (a) Single I Suspension String (Pilot) | Set | 21 |  | 0
|  | (b) Double Tension string | Set | 84 |  | 0
|  | (`c) Single I Suspension String | Set | 12 |  | 0
|  | (6) Accessories for ACSR Moose Conductor for 400kV TL (a) Mid span compression joint | EA | 24 |  | 0
|  | (b) Repair Sleeve | EA | 8 |  | 0
|  | (c) Vibration Damper | EA | 384 |  | 0
|  | (d) Quad Spacer Damper- Retaining rod type | EA | 144 |  | 0
|  | (`e) Quad Rigid spacer for jumper | EA | 72 |  | 0
|  | (f) Twin Bundle spacer for conductor | EA | 270 |  | 0
|  | (g) Twin spacer for jumper | EA | 144 |  | 0
|  | (7) Accessories for 7/3.66mm Earthwire (a) Mid span compression joint | EA | 3 |  | 0
|  | (b) Flexible Al Bond | EA | 24 |  | 0
|  | (c ) Vibration Damper | EA | 47 |  | 0
|  | (d) Suspension Clamp | EA | 3 |  | 0
|  | (e) Tension Clamp | EA | 21 |  | 0
G | Supply of following items for Aviation Requirements
|  | Span Markers | No. | 13 |  | 0
H | OPGW materials
|  | (1) OPGW cable (a) 24 Fibre (DWSM) OPGW fibre optic cable | KM | 3.79 |  | 0
|  | (2) OPGW Accessories (a) Suspension Clamp-24F OPGW | EA | 2 |  | 0
|  | Tension assembly (For Joint Box Locations)(Splicing) | Set | 3 |  | 0
|  | Tension assembly for Passing Tension-24F OPGW | Set | 9 |  | 0
|  | Tension assembly at Suspension tower (For Joint Box Locations) | Set | 1 |  | 0
|  | Vibration Damper- 24F OPGW | EA | 84 |  | 0
|  | Down lead Clamp-24F OPGW | EA | 160 |  | 0
|  | Joint Box (24 Fibre) | EA | 4 |  | 0
Total of F&I cost | [5 empty] | 0

## Sch-III Erection Works
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Schedule-III : Erection Works
To:
Contract Services
Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot NO 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
All prices in INR
Sl. NO | Activity Header / Substation Name | SAC | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable (in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total Tax GST
(Service Accounting Codes)
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 14 = 10 x 4/5
1 |  | 998344 |  | 18% |  | 1. Survey (a) Detailed Survey including Profiling & Tower Spotting using Modern survey Techniques | KM | 3.599 |  | 0 | 0
2 |  | 998344 |  | 18% |  | (b) Check Survey | KM | 3.599 |  | 0 | 0
3 |  | 998342 |  | 18% |  | 2. Detailed Soil Investigation (a) All kind of Soil except Fissured/Soft Rock | EA | 5 |  | 0 | 0
4 |  | 998342 |  | 18% |  | (b) Fissure Rock | EA | 2 |  | 0 | 0
5 |  | 998342 |  | 18% |  | (c) Hard Rock | EA | 0 |  | 0 | 0
6 |  | 995432 |  | 18% |  | 3. Benching (a) Normal Soil (all kinds of soil except Fissured rock, hard rock and sandy soil) | CUM | 20 |  | 0 | 0
7 |  | 995432 |  | 18% |  | (b) Fissured Rock | CUM | 10 |  | 0 | 0
8 |  | 995432 |  | 18% |  | (c) Hard Rock | CUM | 0
9 |  | 995455 |  | 18% |  | 4. Erection of various type of towers,tower parts and tower extension (complete) with bolts and nuts,Hangers, D Shackles, Step Bolts, pack washers etc including tack welding and supply and application of zinc rich primer and enamel paint (a) Normal Towers 400kV | MT | 229.38 |  | 0 | 0
10 |  | 995433 |  | 18% |  | 5. Excavation in various types of soils (a) Dry Soil | CUM | 726.15 |  | 0 | 0
11 |  | 995433 |  | 18% |  | (b) Wet Soil | CUM | 2696.69 |  | 0 | 0
12 |  | 995433 |  | 18% |  | (c) Dry Fissured Rock | CUM | 427.86 |  | 0 | 0
13 |  | 995433 |  | 18% |  | ( d ) Wet Fissured Rock | CUM | 213.93 |  | 0 | 0
14 |  | 995433 |  | 18% |  | (e) Hard Rock | CUM | 213.93 |  | 0 | 0
15 |  | 995454 |  | 18% |  | 6. Concreting (including all associated works related to foundation not covered in Excavation & Reinforcement steel Works) (a) Concreting 1:1.5:3 | CUM | 294.84 |  | 0 | 0
16 |  | 995454 |  | 18% |  | (b) Lean Concrete 1:3:6 | CUM | 65.78 |  | 0 | 0
|  | (Service Accounting Codes) 6: (`c) Reinforcement Cement Concrete (RCC-M25); (Service Accounting Codes) 7: CuM; (Service Accounting Codes) 8: 352.74 | 0
17 |  | 995454 |  | 18% |  | 7. Reinforcement Steel (a) Supply and Placement | MT | 50.98 |  | 0 | 0
18 |  | 995455 |  | 18% |  | 8. Installation of Stub & Template including bolts and nuts (a) For Normal Tower | MT | 8.32 |  | 0 | 0
19 |  | 995468 |  | 18% |  | 9. Installation of earthing of towers (a) Pipe Type Normal Earthing | EA | 11 |  | 0 | 0
20 |  | 995468 |  | 18% |  | (b)Counterpoise Type Earthing-120m Length | EA | 2 |  | 0 | 0
21 |  | 995468 |  | 18% |  | (c)Counterpoise Type Chemical Earthing- 120m Length | EA | 0
23 |  | 995468 |  | 18% |  | Shieldwire Earthing including PG clamps, Downlead clamps but excluding Earthwire bits# a) Pipe Type Earthing | Set | 2 |  | 0 | 0
24 |  | (Service Accounting Codes) 2: 995468; (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: b) Counterpoise type (120m length); (Service Accounting Codes) 7: Set
25 |  | 998731 |  | 18% |  | Rod Type Earthing | EA | 6 |  | 0 | 0
26 |  | 995444 |  | 18% |  | 10. Installation of the following tower accessories (a) Danger Plate | EA | 11 |  | 0 | 0
27 |  | 995444 |  | 18% |  | (b) Number Plate | EA | 11 |  | 0 | 0
28 |  | 995444 |  | 18% |  | (c) Phase Plate (SET of three) | SET | 22 |  | 0 | 0
29 |  | 995444 |  | 18% |  | (d) Circuit Plate (SET of two) | SET | 11 |  | 0 | 0
30 |  | 995444 |  | 18% |  | (e) Anti-Climbing Device | EA | 11 |  | 0 | 0
|  | 995444 |  | 18% |  | (f) Bird Guards ( Set of three) | SET | 4 |  | 0 | 0
|  | 995468 |  | 18% |  | (g) Bird Diverter | EA | 0 |  | 0 | 0
31 |  | 995456 |  | 18% |  | 11. Protection of tower footing (a) Random rubble stone masonary including excavation (1:5 cement concrete) | CUM | 20 |  | 0 | 0
32 |  | 995456 |  | 18% |  | (b) Stone bound in galvanising wire netting including excavation | CUM | 10 |  | 0 | 0
33 |  | 995456 |  | 18% |  | (c) Back filling and gap levelling of volumes enclosed by revetment | CUM | 10 |  | 0 | 0
34 |  | 995456 |  | 18% |  | (d) M15 Conc. Nominal Mix 1:2:4 for top seal cover | CUM | 10 |  | 0 | 0
35 |  | 995456 |  | 18% |  | (e)Concrete nominal mix 1:3:6 for foundation of revetment | CUM | 0
12. Monopole foundation
36 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (a) Boring , providing and installation of bored Cast-in-situ RCC vertical Caisson of specified diameter and length below the ground level with M30 grade of cement concrete including the cost of boring with temporary Guide casing, bentonite solution, all necessary labour, materials, plants, tools & tackles, complete as necessary for proper execution of the job excluding the cost of reinforcement steel & Boring in all types of rock: 3800mm diameter R.C.C.vertical bored caisson upto 20 m depth from Ground Level.; (Service Accounting Codes) 7: M; (Service Accounting Codes) 8: 51.3 | 0 | 0
37 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (b) Extra rate over item (3800mm diameter R.C.C.vertical bored pile upto 20 m from ground level) for boring including socketing,anchoring (if required) with required size,nos. & depth of Reinforcement in all types of rocks other than hard rock upto 20m from ground level; (Service Accounting Codes) 7: M; (Service Accounting Codes) 8: 10 | 0 | 0
38 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (c) Extra rate over item (3800mm diameter R.C.C.vertical bored pile upto 20 m from ground level) for boring including socketing,anchoring (if required) with required size,nos. & depth of Reinforcement in hard rock upto 5m depth till founding level; (Service Accounting Codes) 7: M; (Service Accounting Codes) 8: 10 | 0 | 0
39 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (e) Providing and installation of Cast-in-situ RCC vertical Caisson of specified diameter and of specified length above the ground level with M30 grade of cement concrete including temporary Guide casing/shuttering, all necessary labour, materials, plants, tools & tackles complete as necessary for proper execution of the job excluding the cost of reinforcement steel : 3800mm diameter R.C.C.vertical bored caisson upto 3.225m from Ground Level.; (Service Accounting Codes) 7: M3; (Service Accounting Codes) 8: 2.55 | 0 | 0
40 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (f) Supply and placing of steel reinforcement for R.C.C. work in Cassion foundation including cost of all labours ,materials, straightening, cleaning,cutting, bending, binding etc. all complete as per construction drawing and instruction of Engineer-In-Charge.; (Service Accounting Codes) 7: MT; (Service Accounting Codes) 8: 55.237 | 0 | 0
13. Erection of Monopole
41 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (a) Installation of transmission line pole & pole extension and all other strucutral components suitable for pole structures (400kV DC) as per approved design and instruction of Engineer In charge; (Service Accounting Codes) 7: MT; (Service Accounting Codes) 8: 201.48 | 0 | 0
42 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (b) Installation of Anchor Plate, Foundation bolts, Base plate and Template as per approved design and instruction of Engineer In charge; (Service Accounting Codes) 7: MT; (Service Accounting Codes) 8: 10.89 | 0 | 0
43 |  | 995468 |  | 18% |  | 12. Installation of insulator strings complete with arcing horns & necessary hardware, installing & stringing of conductor including fixing of conductor accessories, installing & stringing of earthwire/OPGW including fixing of earthwire/OPGW accessories for the line (a) 400kV AC Double Circuit Twin Conductor | KM | 2.549 |  | 0 | 0
44 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: 13. Installation of insulator strings complete with arcing horns & necessary hardware, installing & stringing of conductor including fixing of conductor accessories, installing & stringing of earthwire/OPGW including fixing of earthwire/OPGW accessories for the line (a) 400kV AC Double Circuit Quad Bundle Conductor; (Service Accounting Codes) 7: kM; (Service Accounting Codes) 8: 1.05 | 0 | 0
45 |  | 995421 |  | 18% |  | 13. OPGW (a)Installation of Joint Box (24 Fibre) including Splicing | EA | 4 |  | 0 | 0
46 |  | 995468 |  | 18% |  | 15. DESTRINGING: Destringing of existing line/OPGW/EW in safe condition including associated hardwares and insulators without damage and transporation to nearest site store 400 kV (D/C) Line | KM | 3.845 |  | 0 | 0
47 |  | 995431 |  | 18% |  | 16. Dismantling and Transportation of Dismantled Towers (a) Dismantling of existing towers in safe condition without damaging any tower members for connecting existing line and transportation to nearest Site Store | MT | 174.83 |  | 0 | 0
48 |  | 995455 |  | 18% |  | 17. Dismantling and Transportation of Dismantled Stub (Per Leg) (a) Dismantling of Existing Stub up to 1.5 Meter including Blasting, Reaming, and levelling and handing over of materials to GIS Vadodara Store (per leg) | EA | 40 |  | 0 | 0
49 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: Installation of following items for Aviation Requirement (a) Span Markers; (Service Accounting Codes) 7: Nos; (Service Accounting Codes) 8: 13 | 0 | 0
50 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: (b) Painting of Tower- Normal Tower; (Service Accounting Codes) 7: MT; (Service Accounting Codes) 8: 30 | 0 | 0
51 |  | (Service Accounting Codes) 4: 18%; (Service Accounting Codes) 6: Establishment of Labour camps as per provision under Facilities to be incorporated for labourers in technical specification; (Service Accounting Codes) 7: LS; (Service Accounting Codes) 8: 1 | 0 | 0
|  | (Service Accounting Codes) 6: Total Amount | 0 | 0
|  | (Service Accounting Codes) 6: Grand Total in INR including GST | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  | (Service Accounting Codes) 2: 0; (Service Accounting Codes) 7: Printed Name :; (Service Accounting Codes) 9: 0
Place : |  | (Service Accounting Codes) 2: 0; (Service Accounting Codes) 7: Designation :; (Service Accounting Codes) 9: 0

## Schedule IV-Taxes
Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Schedule-IV
Taxes
Sl. No. | Item Nos. | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply (indentified in Schedule-I) | 0
b. | Total GST on Erection (indentified in Schedule-III) | 0
| GRAND TOTAL | 0

## Schedule V- Summary
Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Schedule-V
Summary
Sl. No. | Description | Total Price (INR)
A | TOTAL SCHEDULE-I Supply (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement) | 0
B | TOTAL SCHEDULE-III Erection/Installation/Services (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement) | 0
C | Total GST against Supply (ITEMS TAB: Item 03 for BID PRICE SUMMARY Statement) | 0
D | Total GST against Erection/Installation/Services (ITEMS TAB: Item 04 for BID PRICE SUMMARY Statement) | 0
E | TOTAL SCHEDULE-II F&I (ITEMS TAB: Item 05 for BID PRICE SUMMARY Statement) | 0
| Grand Total | 0

## Sch-5 Taxes and duties (hidden)
Schedule-5
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | 0 | Power Grid Corporation of India Ltd.,
| 0 | Western Region Transmission syatem -II
| 0 | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
(a) | Total GST on Installation Services (identified in Non-Schedule Erection Works) which are not included in the Installations as per the provision of the Bidding Documents, as applicable |  | #REF!
2 | GRAND TOTAL |  | #REF!
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Sch-6 GRAND SUMMARY (hidden)
Schedule-6
(Grand Summary)
To:
Name | 0 | Contract Services
Address | 0 | Power Grid Corporation of India Ltd.,
| 0 | Western Region Transmission syatem -II
| 0 | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Service/Installation Charges
a. | Non-Schedule Erection Works
| Erection works of Diversion of POWERGRID 765KV S/C Bina-Indore TL & 400KV D/C Bina-Shujalpur TL, converging with Ramganj-Mandi to Bhopal Railway Line being constructed by West Central Railway (WCR), Bhopal |  | 0 | 0
| Total of Service/Installation Charge (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | #REF!
2 | Total GST against Service/Installation Charge (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | #REF!
| Grand Total |  | #REF! | 0
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Bid Form (hidden)
WR2/NT/W-CIVIL/DOM/G01/26/07698 |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date : | --
To:
Contract Services
Power Grid Corporation of India Ltd.,
Western Region Transmission System-II
Name of Contract : |  | Diversion of 400kV DC Vadodara-Pirana TL & 400kV DC Pirana-Ranchhodpura & Pirana-Nicol TL due to construction of new Railway line from Barajedi to Sanand District by Western Railway, Ahmedabad
Dear Ladies and/or Gentlemen,
1 | #REF! |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF!
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Sch-1 | NA
| Sch-2 | NA
| Sch-3 | Installation/Service Charges
| Sch-4 | NA
| Sch-5 | Taxes & Duties
| Sch-6 | Grand Summary
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in relevant Clause Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be Firm and Fixed through out the currency of the contract .
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted in India specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted in India specified in Schedule No. 4 of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of 0
Date : | 0 |  | Printed Name : | 0
Place : | 0 |  | Designation : | 0
Printed Name :
Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *