| S.No | Clause Reference | Clause Description | Bidder’s Queries | POWERGRID’s REPLY |
| --- | --- | --- | --- | --- |
| 1 | Earthing of Transformer |  | We understand that connection of transformer to grounding mat is not in the scope of bidder. Please kindly confirm. | Bidder to quote meeting requirement of clause 6.14.4 of Section-Transformer (upto 400kV class), Rev 13 |
| 2 | Digital Relay |  | We understand that only supply of digital relay in the scope of bidder, other works related to Digital relay are excluded from bidder’s scope. Please confirm | Bidder to quote meeting requirement of clause 3(viii) & 8.3 of Section Project. |
| 3 | Limitation of Space |  | Are there any space constraints for the subjected transformers at site? Please confirm. | Confirmed as no space constraint for the subject transformers at site. |
| 4 | Internal Site Access Roads |  | We understand that the Internal Site Access Roads Until the plinth of the transformer are made available by the Owner (or by Owner through relevant authorities) to the Contractor for the Project Works i.e. Movement of Construction Vehicles, Transportation of project Personnel, Equipment etc. Please confirm. | Specification is amply clear. Bidders are to refer to Clause 3(iv) of Section Project, wherein it is mentioned that Civil works for Road within the boundary of all substations is under specific exclusion. |
| 5 | Clause 3 (viii) of section project of enquiry | Digital RTCC panel for Bikaner and Ramgarh S/S is specifically excluded from the scope of transformer package TR-05. | But in price schedule Digital RTCC relay is mentioned. So there is ambiguity, whether Digital RTCC panel is required or not. Kindly Clarify | Specification is amply clear. Bidder to quote meeting requirement of clause 3(viii) & 8.3 of Section Project.. |
| 6 | Details Site Contact Person |  | We would like to do the site visit, request you to please kindly share the contact person details of respective sites as below mentioned:- Ramgarh Sub-Station Bikaner Sub-Station | Bidder is advised to contact Head of Engineering Deptt., NRTS-I, Regional Head Quarters, POWERGRID. |
| 7 | Clause 13 of ITB (BDS), Vol-I of the Bidding Documents | Bid Security | We would like to bring in your kind notice that Covid-19 pandemic situation is not over yet and again there is third wave. In this regard, we request you to kindly confirm EMD exemption as per OFFICE MEMORANDUM of Government of India Dated 12th Nov’2020 will be applicable for this tender also. Please kindly confirm. | Provisions of Bidding Documents are amply clear in this regard and shall remain unchanged. |