| Sl. No | Clause No | Existing clause | Amended as |
| --- | --- | --- | --- |
|  | Vol. II, Part-A, Section-1, Clause- 1.17, General Technical Requirements | b. Commercial Off-The-Shelf (COTS) product The contractor shall offer Commercial Off-The-Shelf (COTS) as mentioned in BOQ. The COTs product means a product which is independently commercially available in the market. The contractor shall provide at least three references in Govt/Public Listed companies where the product has been supplied as an independent product and the solution shall be in successful operation for at least one year as on the date of NOA. However, in case of historian which are categorized as Commercial Off-The-Shelf (COTS) products in the technical specifications and Bill of Quantities (BoQ), the contractor can supply their own product subject to submission of at least three references in Govt/Public Listed companies and solution shall be in successful operation for at least one year as on the date of NOA. | b. Commercial Off-The-Shelf (COTS) product Replaced with The contractor shall offer Commercial Off-The-Shelf (COTS) as mentioned in BOQ. The COTs product means a product which is independently commercially available in the market. The contractor shall provide at least three references in Govt/Public Listed companies where the product has been supplied as an independent product and the solution shall be in successful operation for at least one year as on the date of NOA. However, in case of historian, which are categorized as Commercial Off-The-Shelf (COTS) products in the technical specifications and Bill of Quantities (BoQ), the contractor can supply their own product subject to submission of at least three references in Govt/Public Listed companies and solution shall be in successful operation for at least one years as on the date of NOA. The contractor can also submit self-certified declaration in case the above reference documents cannot be shared with third parties due to non-disclosure agreements with the customers. …. |
|  | Vol. II Part-A, Section-1, Clause No.-1.20 | Maintenance and Support Services Scope | Maintenance and Support Services Scope Insert in section 1.20, subclause 1, (i) Items supplied under this contract such as printers, external HDD, keyboards, mouse, server panels, splitters, displays/monitors, digital displays for time & frequency system, UPS, DCPS shall be on OEM standard back-to-back warranty. If OEM declares end-of-support/end-of-life to these items, but the items are functional & meeting performance criteria, then these items can be maintained by either the Contractor or through back-to-back OEM/3rd party support without any additional cost to the owner. However, in case the items become either non-functional or degraded in performance during entire contract period, the same shall be replaced by the Contractor without any additional cost to the Owner. |
|  | Vol. II Part-B, Section-1, Clause 1.1.1 | All the functions for RTU data acquisition as described in the sub-sections below shall be implemented for RTUs. Feature shall be available in SCADA System to accumulate data for a user defined time period (i.e.,15-minutes, 30-minutes etc. shall be automatically reset the same after user defined time. Further, for accumulation period of 1-day,1-week,1-month, it can be provided either in SCADA or in historian. | Replace with All the functions for RTU data acquisition as described in the sub-sections below shall be implemented for RTUs. Feature shall be available in SCADA System to display accumulated data for a user defined time period (i.e.,15-minutes, 30-minutes etc. which shall be automatically reset after user defined time. Further, for accumulation period of 1-day,1-week,1-month, it can be provided either in SCADA or in historian. |
|  | Vol. II Part-B, Section – 1, Clause no. –1.8.3 (h) | Interface with Business Applications …. . The Historian System must offer connectivity to third party systems using multiple protocols e.g., OPC, ODBC, OLEDB, JDBC and web services…..….. | Interface with Business Applications Replace with …. The Historian System must offer connectivity to third party systems using multiple protocols e.g., OPC, ODBC, OLEDB, and web services….. |
|  | Vol-II Part- B, Section 4: System Software Requirements, Para 3 of Clause: 4.8.5 Data Exchange Utilities | … Through ODBC/JDBC: Capability of export of SCADA data to external system though ODBC and JDBC shall be provided. All system parameters… | Replace with …. Through ODBC: Capability of export of SCADA data to external system through ODBC shall be provided. All system parameters… |
|  | Vol. II Part-E, Video Conferencing System, Clause-1.4, Multipoint Control Unit (MCU) | i. Capacity … c) Up to 12 sites in continuous presence with auto layout and shall support voice switching… v. NETWORK FEATURES …… d) IP address conflict warning … | i. Capacity Replace with … c) Up to 20 sites in continuous presence with auto layout and shall support voice switching… v. NETWORK FEATURES ….. d) This point Deleted … |
|  | Vol. II Part-E, Video Conferencing System, Clause- 1.5, Video Endpoints | iv. AUDIO STANDARDS …. b) Shall support Automatic Gain control, Noise block & Instant Adaptation Echo cancellation…. x. AUDIO INPUTS …c) Should have minimum one PC audio in 3.5mm jack…. xii. USB PASSTHROUGH …b) Should support minimum 1080p60fps video transmission in USB Pass-thru mode… | iv. AUDIO STANDARDS Replace with …. b) Shall support Automatic Gain control, Noise block/removal & Instant Adaptation Echo cancellation… x. AUDIO INPUTS Replace with …c) Should have minimum one PC audio in 3.5mm jack /HDMI…. xii. USB PASSTHROUGH Replace with …b) Should support minimum 1080p 30fps video transmission in USB Pass-thru mode. …. |
|  | Vol. II Part-E, Video Conferencing System, Clause-1.6, Camera | …. b) Shall support 1080p 60fps or better resolution. …. | Replace with …..b) Shall support 1080p 30fps resolution…. |