| Sl. No | Clause No | Existing clause | Amended clause |
| --- | --- | --- | --- |
|  | Vol. II Part-A, Section – 1, Clause no. – 1.14.2 | Contractor’s Responsibilities and Obligations | Contractor’s Responsibilities and Obligations Inserted new clause nn) All networking equipment (Switches, routers firewall etc.) shall comply to the requirement for Mandatory testing & certification of telecom equipment (MTCTE) under the provision of Indian Telegraph (amendment) Rules, 2017. [Refer MoP Order No. 14/02/2021-UR & SI-II-Part- (1) (E-258136) dated 10.01.2024 viz. DoT notification no. 5-2/2021-TC/TEC/185 dated 27.12.2023 for MTCTE compliance of networking equipment as per statutory guidelines (www.mtcte.tec.gov.in)] |
|  | Vol. II Part-A, Section – 1, Clause no. – 10.2.6 | Weather Service Provider …..The Weather service provider (WSP) which form an integral input to Forecasting Tool shall provide at least the following parameters regarding weather forecast for the use by the Forecasting applications - | Weather Service Provider Inserted new clause …..The contractor shall engage IMD/ISRO as one of Weather forecast services to provide weather forecast, if services are available for that grid area. Another from other WSPs having previous experience of weather forecast and its availability in LADAKH area. The contractor shall engage WSPs upon approval of the employer/owner. The Weather service provider (WSP) which form an integral input to Forecasting Tool shall provide at least the following parameters regarding weather forecast for the use by the Forecasting applications – |