POWER GRID CORPORATION OF INDIA LIMITED

(A Government of India Enterprise)

TERMS OF REFERENCE (ToR)

(SECTION-II of RFP DOCUMENTS)

FOR

Engagement of Consultant (i) To carry out due diligence for POWERGRID’s diversification into Distribution through DISCOM (Distribution Company) acquisition of Stake & (ii) For Handholding/Bidding support for participation in tenders for acquisition of DISCOM.

(Spec. No. 5006002773/CONSULTANCY TAKEN/DOM/A00 - CC CS -1)

(This document is meant for exclusive purpose of bidding against this specification only and shall not be transferred, reproduced or otherwise used for purpose other than that for which it is specifically issued)

Terms of Reference (ToR)

for

Engagement of Consultant (i) To carry out due diligence for POWERGRID’s diversification into Distribution through DISCOM (Distribution Company) acquisition of Stake & (ii) For Handholding/Bidding support for participation in tenders for acquisition of DISCOM

(PART-I & PART-II)

- SCOPE OF WORK:

(Note to Bidder: The consultant shall carry out field visits and interact with respective DISCOMs for successful execution of the assignment. All responsibility for collection/authenticity/ Verification of data/ field input etc., shall rest with consultant and POWERGRID have no role in this regard. However, POWERGRID may carry out random field visit/ site visit to cross check the data verification.

PART-I

- Distribution Business Plan:

  - Market Overview Opportunities

  - Capabilities required for entry into distribution segment for a new entrant.

  - SWOT Analysis:

    - Detailed SWOT analysis of existing in-house capabilities for venturing into distribution.

    - Identification of areas wherein strategic partnership can be gainful and enhance competitive edge.

    - Proposed set up required for managing DISCOM business.

  - Risk Assessment & mitigation.

    - Identification of Risks; their assessment & mitigation measures as per sector practices

    - Risks for a Transmission Utility like POWERGRID in the distribution business and its mitigation measures.

    - To provide insights into handling Regulatory uncertainties like stringent T&D numbers (loss trajectory), reduced RoE, separation of carriage and content, right to consumer service act etc.

  - CASE Studies

    - Understanding success factors of 2 privatization experiences in the country. The consultant shall delieate bring out detailed factor which transformed the DISCOM into an operational and commercial success of targeted entities. (Consultant shall suggest five (5) DISCOMs name to POWERGRID wherein privatization was carried out).

  - Way forward for POWERGRID’s diversification into  distribution segment – A Macro analysis.

- Market Landscape – UT opportunities

  - Overview and potential

  - Growth and investment needs (For opportunities under UTs.)

  - Prioritization matrix for making appropriate strategy.

- Opportunity evaluation

  - Details specific to individual UTs DISCOM

    - Distribution system infrastructure (For 2 nos. UTs (after due consultation with POWERGRID) DISCOM)

- Preparation and analysis of standard layout and SLDs of primary distribution network, with their Upstream & Downstream connectivity

- Assessment of technical features i.e., No. of Distribution S/s, HT/LT Feeders, DTs along with their ratings, loading and ageing data (physical verification)

- Study of operation of HT feeders & primary Sub-station (Tripping/ outages, Voltage level, frequency) for last 3 years.

- Details of various types of Consumer connected to each DT

- Projection of No. of consumers (category wise) and per consumer energy consumptions for the period of next 25 years.

- Assessment of on-going/under construction works and impact on the system after their completion.

- Study of contingency planning (if any)

3.1.2 Transmission & Distribution Losses

- Assessment of T&D losses for current year and computation of minimum T&D losses for the given Distribution network and yearly reduction trajectory for the same.

- To obtain consumer metering details and analysis of revenue loss due to unmetered and defective metering of consumers

- Identification of non-metered Consumers and their energy consumption

- Identification of theft prone area

    - Regulatory Framework:

- Technical obligation pending from the relevant regulatory authority.

- Study of Power Purchase Agreement (PPA) and Recommendation.

- Study of Renewable Purchase Obligation (RPO) and Recommendation.

- Study of Tariff order of last 5 years for future projection of Average Billing rate, FPPCA charges & Regulatory surcharge.

- Optimization of manpower in line with obligations mentioned in RFP documents and concerned regulatory authority, if any.

- Detailed analysis of subsidies.

- Preparation of Financial Model, Sensitivity Analysis and Business case

  - Preparation of financial model encompassing all the parameters of tariff for calculation of future tariff, NPV, IRR etc.

  - Preparation of road-map highlighting each area/ activities (O&M, Billing, commercial functions, regulatory) with an intent to acquire requisite capabilities within POWERGRID before taking plunge.

  - Exploration and finalisation of evaluation methodology to acquire the business as per the industry practices for such acquisition.

  - Analysis into need of partnering with strategic partner who have carried out similar functions (on field activities)

  - Sensitivity Analysis.

  - Presentation on road map/ financial model to POWERGRID Management.

  - Methodology cum projection of CAPEX and OPEX for next 25 Years considering load growth and loss reduction trajectory.

PART-II (Handholding/ Bidding support for tender participation)

Transaction Advisory- Detailed due diligence and transaction advisory

- Consultant shall provide list of all licenses, approvals, compliances, permits consents and waivers required to complete the transactions along with proposed timelines, and shall also provide necessary assistance to procure the same.

- Assistance in preparation, finalization and submission of bid documents (various options).

- Assistance w.r.t various compliances viz; Electricity Act, companies Act 2013, SEBI, CCI, etc., and regulations of CERC, SERC etc. and any other support as may be required for completing the transaction.

- Required commercial, Financial, Tax (Direct & indirect Taxes), Contractual and legal due diligence.

Note:

In case of non- availability of opportunity for transaction advisory at appropriate time, the consultant will carry out activities as mentioned under PART-II based on realistic assumptions as suggested by POWERGRID.

- REPORTING:

The consultant shall provide POWERGRID initially draft report and subsequently final report after incorporation of agreed comments / suggestion of POWERGRID. The consultant shall carry out all coordination for collection of data from DISCOM or other authentic sources and will carry out necessary consultation with POWERGRID as per requirement.

The consultant shall submit weekly status report and shall participate in the review meeting as felt necessary by POWERGRID.

Further, requisite presentations shall be also made by consultant to POWERGRID Management as per the requirement.

(3) WORK SCHDULE:

PART-I	: Submission of draft Report within 	:	Within 6 Weeks from LOA date

: Submission of Final report & 	:	Within 2 weeks from receipt of

presentation					POWERGRID comment.

PART-II	: As per requirement of timelines provided in selected tenders/As intimated   by POWERGRID.

- TREMS OF PAYMENT:

The payment shall be released as under:

PART-I

- 50% of contract price for PART-I shall be released after submission of draft report and presentation to POWERGRID.

- Balance 50% of contract price for PART-I shall be released on submission of Final report and making presentation to POWERGRID Management

PART-II:

- 100% of the contract price for PART-II shall be released after submission of POWERGRID bids against tender for 1 No. DISCOM acquisition or submission of final report based on realistic assumptions as suggested by POWERGRID and its acceptance by POWERGRID.