| SN | Clause No. | Provision in the Bidding Documents | Bidder’s Query/Comments | POWERGRID’S Reply/Clarification |
| --- | --- | --- | --- | --- |
| GE |  |  |  |  |
| 1 | GCC Cl. 18.3.1.4(o), Section-IV: GCC, Volume-I of the Bidding Documents | The Building and Other Construction workers (Regulation of Employment and Conditions of Service) Act 1996 and the Cess Act of 1996: All the establishments who carry on any building or other construction work and employ 10 or more workers are covered under this Act. All such establishments are required to pay cess at the rate not exceeding 2% of the cost of construction as may be modified by the Government. The Employer of the establishment is required to provide safety measures at the Building or construction work and other welfare measures, such as Canteens, First-Aid facilities, Ambulance, Housing accommodations for workers near the work place etc. The Employer to whom the Act applies has to obtain a registration certificate from the Registering Officer appointed by the government. | Please provide rate of applicable BOCW for this tender. | The bidders are required to bid as per the provisions of Bidding Documents which are amply clear. |
| 2 | General | Assignment of receivables | Contractor's right to assign receivables will not be contractually restricted and Contractor will not require customer's consent for the same. Kindly confirm. | Provisions of the Bidding Documents are amply clear. |
| 3 | General | No nuclear use | We are considering that GE offered services & products will not be use in nuclear activities. Kindly confirm. | The material/ equipments supplied under the subject package shall be used for ‘GIS Substation Extension Package-SS-56 for Construction of 2 Nos. of 400 kV GIS line bays under ISTS at 765/400kV Varanasi Substation’. |
| NHVS INDIA |  |  |  |  |
| 4 | General | GIS Technical Specification | Technical Specification of GIS is not available in the tender documents, Kindly provide the same. | The requisite Technical Specification has already been issued vide Amendment No. 1 dated 12.02.2020 to the Bidding Documents. |
| 5 | GCC 9.3.1, Section-V: SCC, Vol.-I of the Bidding Documents | GCC Sub-Clause 9.3.1 in Section-GCC: ……………… ……………… Apart from the Contractor’s performance security, the Contractor shall be required to arrange additional performance securities, as specified in SCC, within twenty-eight (28) days of the notification of award in favour of the Employer in the form acceptable to the Employer. Supplementing Sub-Clause GCC 9.3.1 in Section-SCC: ………………….. ………………… The Contractor shall also arrange additional Performance Security (ies), if applicable as per stipulated QR/Clause no. 5 of Joint Deed of Undertaking mentioned at Sl. No. 20 of Section – VI: Sample Forms and Procedures. Further, the successful bidder is required to arrange additional Performance Security(ies), for various equipment, if applicable, in line with the requirements specified in Technical Specifications. The above additional Performance Securities shall be submitted before release of first dispatch payment of respective equipment. The said security(ies) shall be required to be extended time to time till ninety (90) days beyond the actual Defect Liability Period, as may be required under the Contract. | In case if a bidder is participating in tender via technical QR-Route-2 OR Route-3,"they has to submit the 10% PBG from their parent company, This PG shall be in addition to CPBG to be submitted by the bidder". However as per SCC Cl. no. 6, it state that "this additional Performance Securities shall be submitted before release of first dispatch payment of respective equipment". As per our understanding this additional PBG shall be submit before release of first dispatch payment not within 28 days of issuance of NOA, kindly confirm. | Bidders may please note that GCC Sub-clause 9.3.1, Section-IV: GCC inter-alia stipulates that the Contractor shall be required to arrange additional performance securities, as specified in SCC, within twenty-eight (28) days of the notification of award. In regard to GCC Sub-Clause 9.3.1 in Section-SCC, please refer Amendment No. 2 to the Bidding Documents attached herewith. |