## Instruction
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Construction of "765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays)".
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch -1 : (Abstract Of Cost)
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-2 (Schedule Items for Civil Works for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-3 (Non-Schedule Items for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-4 (Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-5 (Non-Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-6 ( INTERNAL ELECTRIFICATION WORKS OF 50x10 STORE SHED FOR BANASKANTHA SUBSTATION ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 .
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !

## Basic
Name of Package : | Construction of 765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays).
Package No : | 5002004654
Specification No. : | WR2/NT/W-CIVIL/DOM/G01/25/10484
Completion Period | 19 Month

## Name of Bidder
Name of Package :
Construction of 765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays).
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Individual Firm
Name of Sole Bidder [Individual Firm]
Address of Registered Office & Mobile Numbers
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Sch-1 Supply
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays).
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Schedule-I PLANT AND EQUIPMENT (INCLUDING MANDATORY SPARES PARTS) TO BE SUPPLIED, INCLUDING TYPE TEST CHRGES FOR TEST TO BE CONDUCTED | [8 empty] | Sama - savli road, vadodara-390008
Sl. No. | Activity Description | Material Code | HSN/SAC code | Rate of GST applicable ( in %)
[5 empty] | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Ex Works Charges excluding GST | Total Ex Works Charges excl GST | Total Tax GST
1 |  |  | 2 | 3 | 4 | 5 | 6 | 7 | 10 | 11 | 12
1 | 800kV 50kA AIS EQUIPMENT | 1000005827 | 85352919 | 18% |  | 765kV, 3150A, 50kA Circuit Breaker(3-Phase) with closing resistor (withsupport structure) | EA | 4 |  | 0 | 0
2 | 800kV 50kA AIS EQUIPMENT | 1000005812 | 85359090 | 18% |  | 765 kV, 3000A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | 0 | 0
3 | 800kV 50kA AIS EQUIPMENT | 1000005840 | 85359090 | 18% |  | 765 kV,8800 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | 0 | 0
4 | 800kV 50kA AIS EQUIPMENT | 1000005853 | 85353090 | 18% |  | 765kV, 3150A, 50Ka, Vertical Knee/DoubleBreak Isolator (3-Phase) with one E/S | EA | 8 |  | 0 | 0
5 | 800kV 50kA AIS EQUIPMENT | 1000005854 | 85353090 | 18% |  | 765kV, 3150A, 50Ka, Vertical Knee/DoubleBreak Isolator (3-Phase) with two E/S | EA | 2 |  | 0 | 0
6 | 800kV 50kA AIS EQUIPMENT | 1000020421 | 85354010 | 18% |  | 624kV Surge Arrester (1-Phase) | EA | 6 |  | 0 | 0
7 | 800kV 50kA AIS EQUIPMENT | 1000005791 | 85462040 | 18% |  | 765 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 8 |  | 0 | 0
8 | 800kV 50kA AIS EQUIPMENT | 1000005823 | 85176210 | 18% |  | 765kV,3150A,1.0mH , 50kA Line Trap | EA | 4 |  | 0 | 0
9 | 800kV 50kA AIS EQUIPMENT | 1000005790 | 85462040 | 18% |  | 765 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0 | 0
10 | Erection Hardware for 765 kV S/Y | 1000011350 | 72169990 | 18% |  | Erection Hardware for 765kV I type layout-Bus Work (For one diameters)as per technical specification | SET | 3 |  | 0 | 0
11 | Erection Hardware for 765 kV S/Y | 1000011358 | 72169990 | 18% |  | Erection Hardware for 765kV I type layout-Line bay as per technicalspecification | SET | 2 |  | 0 | 0
12 | Erection Hardware for 765 kV S/Y | 1000011362 | 72169990 | 18% |  | Erection Hardware for 765kV I type layout-Spare bay of half dia. asper technical specification | SET | 2 |  | 0 | 0
13 | Earthmat | 1000032055 | 72159090 | 18% |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 7 |  | 0 | 0
14 | CRP for 765kV Bays | 1000055448 | 85371000 | 18% |  | 765KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 4 |  | 0 | 0
15 | CRP for 765kV Bays | 1000005522 | 85371000 | 18% |  | 765kV Line Protection Panel (with Automation) | EA | 2 |  | 0 | 0
16 | CRP for 765kV Bays | 1000005072 | 85371000 | 18% |  | Augmentation of existing 765kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0 | 0
17 | SAS | 1000005535 | 85371000 | 18% |  | Augmentation of Substation automation system for 765kV Main bay as perTechnical Specification | EA | 2 |  | 0 | 0
18 | SAS | 1000005537 | 85371000 | 18% |  | Augmentation of Substation automation System for 765kV Tie bay as perTechnical Specification | EA | 2 |  | 0 | 0
19 | VMS | 1000030433 | 85287390 | 18% |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0 | 0
20 | POWER & CONTROL CABLE | 1000000442 | 85446020 | 18% |  | 1.1KV PVC CONTROL CABLE | LS | 1 |  | 0 | 0
21 | POWER & CONTROL CABLE | 1000000443 | 85446020 | 18% |  | 1.1KV PVC POWER CABLE | LS | 1 |  | 0 | 0
22 | POWER & CONTROL CABLE | 1000000444 | 85446090 | 18% |  | 1.1KV XLPE POWER CABLE | LS | 1 |  | 0 | 0
23 | AIR CONDITIONING & VENTILATION SYSTEM | 1000006285 | 84151090 | 18% |  | Air conditioning system for Switchyard Panel Room of 9m length | SET | 1 |  | 0 | 0
24 | FIRE FIGHTING SYSTEM | 1000012022 | 84241000 | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | 0 | 0
25 | FIRE FIGHTING SYSTEM | 1000012019 | 85311020 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 9 mlength | SET | 1 |  | 0 | 0
26 | ILLUMINATION SYSTEM | 1000038325 | 94059900 | 18% |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 20 |  | 0 | 0
27 | ILLUMINATION SYSTEM | 1000014547 | 85371000 | 18% |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | 0 | 0
28 | ILLUMINATION SYSTEM | 1000038387 | 94051090 | 18% |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 20 |  | 0 | 0
29 | ILLUMINATION SYSTEM | 1000013796 | 94059900 | 18% |  | Illumination System for switchyard panel room of 9 m length | LS | 1 |  | 0 | 0
30 | 765kV Insulator and Hardware | 1000055992 | 72169990 | 18% |  | 765KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 6 |  | 0 | 0
31 | 765kV Insulator and Hardware | 1000055993 | 72169990 | 18% |  | 765KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | 0 | 0
32 | 765kV Insulator and Hardware | 1000055995 | 72169990 | 18% |  | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 24 |  | 0 | 0
33 | 765kV Insulator and Hardware | 1000055996 | 72169990 | 18% |  | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR HEXA CONDUCTOR | EA | 6 |  | 0 | 0
34 | 765kV Insulator and Hardware | 1000055997 | 72169990 | 18% |  | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 24 |  | 0 | 0
35 | Mandatory Spare LOT | 1000019912 | 85371000 | 18% |  | Relay & protection Panels (with automation) | LS | 1 |  | 0 | 0
36 | Mandatory Spare LOT | 1000019927 | 85389000 | 18% |  | Spares-Substation Automation System | LS | 1 |  | 0 | 0
37 | Structure Suppy | 1000015954 | 73082011 | 18% |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 353 |  | 0 | 0
38 | Structure Suppy | 1000011713 | 73082011 | 18% |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 17 |  | 0 | 0
39 | Structure Suppy | 1000012373 | 73082011 | 18% |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 42 |  | 0 | 0
40 | Structure Suppy | 1000015953 | 73082011 | 18% |  | Fabrication, galvanising and supply of Lattice Structures (HT Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 176 |  | 0 | 0
41 | BoQ of Comm Equip | 1000031367 | 85176260 | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0 | 0
42 | BoQ of Comm Equip | 1000018706 | 85176990 | 18% |  | S16.1 SFP | EA | 4 |  | 0 | 0
43 | BoQ of Comm Equip | 1000031405 | 85176290 | 18% |  | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 4 |  | 0 | 0
44 | BoQ of Comm Equip | 1000031374 | 85176290 | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0 | 0
45 | BoQ of Comm Equip | 1000034950 | 85176990 | 18% |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0 | 0
46 | BoQ of Comm Equip | 1000031381 | 85176290 | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
47 | BoQ of Comm Equip | 1000026228 | 85176290 | 18% |  | Equipment Cabinets For SDH | EA | 1 |  | 0 | 0
48 | BoQ of Comm Equip | 1000037545 | 85447090 | 18% |  | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0 | 0
49 | BoQ of Comm Equip | 1000066614 | 73069011 | 18% |  | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 1 |  | 0 | 0
50 | BoQ of Comm Equip | 1000066612 | 73071900 | 18% |  | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 100 |  | 0 | 0
51 | BoQ of Comm Equip | 1000066613 | 83071000 | 18% |  | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 80 |  | 0 | 0
52 | BoQ of Comm Equip | 1000023471 | 85372000 | 18% |  | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0 | 0
53 | BoQ of Comm Equip Mandatory Spares | 1000031369 | 85176260 | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0 | 0
54 | BoQ of Comm Equip Mandatory Spares | 1000018706 | 85176990 | 18% |  | S16.1 SFP | EA | 1 |  | 0 | 0
55 | BoQ of Comm Equip Mandatory Spares | 1000031405 | 85176290 | 18% |  | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 1 |  | 0 | 0
56 | BoQ of Comm Equip Mandatory Spares | 1000031374 | 85176290 | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0 | 0
57 | BoQ of Comm Equip Mandatory Spares | 1000034950 | 85176990 | 18% |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0 | 0
58 | BoQ of Comm Equip Mandatory Spares | 1000031381 | 85176290 | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
59 | BoQ of Comm Equip Mandatory Spares | 1000031398 | 85171890 | 18% |  | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0 | 0
60 | BoQ of Comm Equip Mandatory Spares | 1000037545 | 85447090 | 18% |  | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0 | 0
61 | BoQ of Comm Equip Mandatory Spares | 1000066614 | 73069011 | 18% |  | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 0.035 |  | 0 | 0
62 | BoQ of Comm Equip Mandatory Spares | 1000066612 | 73071900 | 18% |  | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 4 |  | 0 | 0
63 | BoQ of Comm Equip Mandatory Spares | 1000066613 | 83071000 | 18% |  | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 3 |  | 0 | 0
64 | PMU and Associated Items (Vataman) | 1000017518 | 85364900 | 18% |  | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | 0 | 0
65 | PMU and Associated Items (Vataman) | 1000022512 | 90311000 | 18% |  | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | 0 | 0
66 | PMU and Associated Items (Vataman) | 1000071061 | 85176290 | 18% |  | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 2 |  | 0 | 0
67 | PMU and Associated Items (Vataman) | 1000071062 | 85176290 | 18% |  | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | 0 | 0
68 | PMU and Associated Items (Vataman) | 1000022487 | 85447090 | 18% |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | 0 | 0
69 | PMU and Associated Items (Vataman) | 1000030641 | 85389000 | 18% |  | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | 0 | 0
[7 empty] | Total of Ex Works Price |  |  | 0 | 0

## 3B Non- schedule (hidden)
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction work of CABLE TRENCH SECTION 3-3 WORK AT MPPTCL S/S INDORE
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | #REF! |  |  | To:
Name: | [8 empty] | Contract Services
Address: | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Non-Schedule 3B
Sl. No. | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Erection Charges (Excluding GST) | Total Erection Charges (Excluding GST) | Total Tax GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Non - Schedule Civil Items
1 | Indore Substation | 995428 |  | 18% |  | NS-1 Providing & fixing polythene sheet of 125 micron before casting of pcc work and as directed by engineer in charge (For casting of cable trench cover slab) | sqm | 88.5 |  | 0 | 0
2 | Indore Substation | 995424 |  | 18% |  | NS-2 Providing , laying & fixing PVC pipe of 160 mm nominal dia Pipes | mtr | 124.5 |  | 0 | 0
1 | Indore Substation | 995428 |  | 18% |  | NS-3 Removing, cleaning and washing of existing stone and respreading of stones in switching excluding PCC | sqm | 285.83 |  | 0 | 0
2 | Indore Substation | 995428 |  | 18% |  | NS-4 Antiweed Treatment | sqm | 285.83 |  | 0 | 0
3 | Indore Substation | 995433 |  | 18% |  | NS-5 Supplying, filling & compacting CNS materials as per specification under floor, foundation, roads, cable trench etc. | CUM | 100 |  | 0 | 0
4 | Indore Substation | 995424 |  | 18% |  | NS-6 RCC Culverts and cable trench crossings including supplying and laying hume pipe 250 mm dia of grade (NP 3) Excluding Concrete. | Rm | 14.5 |  | 0 | 0
[7 empty] | Total of Schedule Part 3B |  |  | 0 | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [6 empty] | Printed Name :
Place : | [6 empty] | Designation :

## Sch-2 F&I
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays).
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Name : |  |  |  | Contract Services
Address : |  |  |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Adjacent to Riya-Revati Resort,
Sama-Savli Road, Vadodara-390024
Schedule 2 Local Transportation, In-transit insurance, loading and unloading
Sl. No. | Item Description | Unit | Quantity | Unit F&I Charges | Total F&I Charges
1 | 2 | 3 | 4 | 5 | 6
1 | 765kV, 3150A, 50kA Circuit Breaker(3-Phase) with closing resistor (withsupport structure) | EA | 4 |  | 0
2 | 765 kV, 3000A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | 0
3 | 765 kV,8800 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | 0
4 | 765kV, 3150A, 50Ka, Vertical Knee/DoubleBreak Isolator (3-Phase) with one E/S | EA | 8 |  | 0
5 | 765kV, 3150A, 50Ka, Vertical Knee/DoubleBreak Isolator (3-Phase) with two E/S | EA | 2 |  | 0
6 | 624kV Surge Arrester (1-Phase) | EA | 6 |  | 0
7 | 765 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 8 |  | 0
8 | 765kV,3150A,1.0mH , 50kA Line Trap | EA | 4 |  | 0
9 | 765 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0
10 | Erection Hardware for 765kV I type layout-Bus Work (For one diameters)as per technical specification | SET | 3 |  | 0
11 | Erection Hardware for 765kV I type layout-Line bay as per technicalspecification | SET | 2 |  | 0
12 | Erection Hardware for 765kV I type layout-Spare bay of half dia. asper technical specification | SET | 2 |  | 0
13 | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 7 |  | 0
14 | 765KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 4 |  | 0
15 | 765kV Line Protection Panel (with Automation) | EA | 2 |  | 0
16 | Augmentation of existing 765kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0
17 | Augmentation of Substation automation system for 765kV Main bay as perTechnical Specification | EA | 2 |  | 0
18 | Augmentation of Substation automation System for 765kV Tie bay as perTechnical Specification | EA | 2 |  | 0
19 | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0
20 | 1.1KV PVC CONTROL CABLE | LS | 1 |  | 0
21 | 1.1KV PVC POWER CABLE | LS | 1 |  | 0
22 | 1.1KV XLPE POWER CABLE | LS | 1 |  | 0
23 | Air conditioning system for Switchyard Panel Room of 9m length | SET | 1 |  | 0
24 | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | 0
25 | Fire Detection and Alarm System for Switchyard Panel Room of 9 mlength | SET | 1 |  | 0
26 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 20 |  | 0
27 | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | 0
28 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 20 |  | 0
29 | Illumination System for switchyard panel room of 9 m length | LS | 1 |  | 0
30 | 765KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 6 |  | 0
31 | 765KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | 0
32 | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 24 |  | 0
33 | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR HEXA CONDUCTOR | EA | 6 |  | 0
34 | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 24 |  | 0
35 | Relay & protection Panels (with automation) | LS | 1 |  | 0
36 | Spares-Substation Automation System | LS | 1 |  | 0
37 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 353 |  | 0
38 | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 17 |  | 0
39 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 42 |  | 0
40 | Fabrication, galvanising and supply of Lattice Structures (HT Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 176 |  | 0
41 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0
42 | S16.1 SFP | EA | 4 |  | 0
43 | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 4 |  | 0
44 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0
45 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0
46 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
47 | Equipment Cabinets For SDH | EA | 1 |  | 0
48 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0
49 | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 1 |  | 0
50 | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 100 |  | 0
51 | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 80 |  | 0
52 | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0
53 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0
54 | S16.1 SFP | EA | 1 |  | 0
55 | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 1 |  | 0
56 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0
57 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0
58 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
59 | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0
60 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0
61 | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 0.035 |  | 0
62 | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 4 |  | 0
63 | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 3 |  | 0
64 | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | 0
65 | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | 0
66 | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 2 |  | 0
67 | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | 0
68 | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | 0
69 | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | 0
| Total of F&I Chrges |  |  |  | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :

## Sch-3 Installation
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
WRTS-II,RHQ,VADODARA
Construction of 765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays).
Schedule 3 Installation Services
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
#REF! | [8 empty] | Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
S. NO. | Activity Description | Service Code | (Service Accounting Codes) | Rate of GST applicable ( in %) | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Installation Charges | Unit | Quantity | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 800kV 50kA AIS EQUIPMENT | 100000143 | 998736 | 18% |  | 765 kV, 3000A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | 0 | 0
2 | 800kV 50kA AIS EQUIPMENT | 100000146 | 998736 | 18% |  | 765 kV,8800 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | 0 | 0
3 | 800kV 50kA AIS EQUIPMENT | 100000171 | 998736 | 18% |  | 765kV, 3150A, 50kA, Vertical Knee/DoubleBreak Isolator (3-Phase) with one E/S | EA | 8 |  | 0 | 0
4 | 800kV 50kA AIS EQUIPMENT | 100000172 | 998736 | 18% |  | 765kV, 3150A, 50kA, Vertical Knee/DoubleBreak Isolator (3-Phase) with two E/S | EA | 2 |  | 0 | 0
5 | 800kV 50kA AIS EQUIPMENT | 100000183 | 998736 | 18% |  | 624kV Surge Arrester (1-Phase) | EA | 6 |  | 0 | 0
6 | 800kV 50kA AIS EQUIPMENT | 100000194 | 998736 | 18% |  | Erection of 765 kV, 1-Phase, Bus Post Insulator (except wave Traps) | SET | 8 |  | 0 | 0
7 | 800kV 50kA AIS EQUIPMENT | 100000882 | 998734 | 18% |  | 765 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0 | 0
8 | 800kV 50kA AIS EQUIPMENT | 100000881 | 998734 | 18% |  | 765kV,3150A,1.0mH , 50kA Line Trap | EA | 4 |  | 0 | 0
9 | 800kV 50kA AIS EQUIPMENT | 100000133 | 998736 | 18% |  | 765kV, 3150A, 50kA Circuit Breaker(3-Phase) with closing resistor (withsupport structure) | EA | 4 |  | 0 | 0
10 | Erection Hardware for 765 kV S/Y | 100000190 | 998731 | 18% |  | Erection Hardware for 765kV I type layout-Spare bay of half dia. as per specification | SET | 2 |  | 0 | 0
11 | Erection Hardware for 765 kV S/Y | 100000184 | 998731 | 18% |  | Erection Hardware for 765kV I type layout-Line bay as per specification | SET | 2 |  | 0 | 0
12 | Erection Hardware for 765 kV S/Y | 100000192 | 998731 | 18% |  | Erection Hardware for 765kV I type layout-Bus Work (For one diameters) as per specification | SET | 3 |  | 0 | 0
13 | Earthmat | 100003103 | 998731 | 18% |  | 40 mm MS rod for Main Earthmat | KM | 7 |  | 0 | 0
14 | CRP for 765kV Bays | 100016780 | 998736 | 18% |  | 765kV Circuit Breaker Relay Panel (with Automation) | EA | 4 |  | 0 | 0
15 | CRP for 765kV Bays | 100000722 | 998736 | 18% |  | 765kV Line Protection Panel (with Automation) | EA | 2 |  | 0 | 0
16 | CRP for 765kV Bays | 100000727 | 998736 | 18% |  | Augmentation of existing 765kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | 0 | 0
17 | SAS-AUG | 100002068 | 998736 | 18% |  | Augmentation of Substation automation system for 765kV Main bay as per Technical Specification | EA | 2 |  | 0 | 0
18 | SAS-AUG | 100002074 | 998736 | 18% |  | Augmentation of Substation automation System for 765kV Tie bay as per Technical Specification | EA | 2 |  | 0 | 0
19 | VMS | 100002500 | 998731 | 18% |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | 0 | 0
20 | POWER & CONTROL CABLE | 100002182 | 998736 | 18% |  | 1.1KV PVC CONTROL CABLE | LS | 1 |  | 0 | 0
21 | POWER & CONTROL CABLE | 100002181 | 998736 | 18% |  | 1.1KV PVC POWER CABLE | LS | 1 |  | 0 | 0
22 | POWER & CONTROL CABLE | 100002180 | 998736 | 18% |  | 1.1KV XLPE POWER CABLE | LS | 1 |  | 0 | 0
23 | AIR CONDITIONING & VENTILATION SYSTEM | 100001881 | 995463 | 18% |  | Air conditioning system for Switchyard Panel Room of 9m length | SET | 1 |  | 0 | 0
24 | FIRE FIGHTING SYSTEM | 100000975 | 995461 | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | 0 | 0
25 | FIRE FIGHTING SYSTEM | 100001871 | 995461 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 9 m length | SET | 1 |  | 0 | 0
26 | ILLUMINATION SYSTEM | 100001021 | 995461 | 18% |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | 0 | 0
27 | ILLUMINATION SYSTEM | 100004931 | 998731 | 18% |  | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 20 |  | 0 | 0
28 | ILLUMINATION SYSTEM | 100004930 | 998731 | 18% |  | LED Flood Light Luminaries Type-FL-1 as per technical specification | EA | 20 |  | 0 | 0
29 | ILLUMINATION SYSTEM | 100001115 | 998739 | 18% |  | Illumination System for switchyard panel room of 9 m length | SET | 1 |  | 0 | 0
30 | Insa. B/U for H/W fittings Erection H/W | 100017139 | 998731 | 18% |  | 765KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 6 |  | 0 | 0
31 | Insa. B/U for H/W fittings Erection H/W | 100017138 | 998731 | 18% |  | 765KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH THROUGH CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | 0 | 0
32 | Insa. B/U for H/W fittings Erection H/W | 100017135 | 998731 | 18% |  | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 24 |  | 0 | 0
33 | Insa. B/U for H/W fittings Erection H/W | 100017136 | 998731 | 18% |  | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR HEXA CONDUCTOR | EA | 6 |  | 0 | 0
34 | Insa. B/U for H/W fittings Erection H/W | 100017134 | 998731 | 18% |  | 765KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 24 |  | 0 | 0
35 | Structure Erection | 100001210 | 995455 | 18% |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 353 |  | 0 | 0
36 | Structure Erection | 100001680 | 995455 | 18% |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 17 |  | 0 | 0
37 | Structure Erection | 100001681 | 995455 | 18% |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 42 |  | 0 | 0
38 | Structure Erection | 100001209 | 995455 | 18% |  | Erection of Lattice Structures (HT Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts. | MT | 176 |  | 0 | 0
39 | CIVIL WORKS | 100004518 | 995433 | 18% |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 9565 |  | 0 | 0
40 | CIVIL WORKS | 100011662 | 995433 | 18% |  | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 1063 |  | 0 | 0
41 | CIVIL WORKS | 100001325 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 252 |  | 0 | 0
42 | CIVIL WORKS | 100001326 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 4 |  | 0 | 0
43 | CIVIL WORKS | 100016607 | 995451 | 18% |  | Providing and laying of Reinforced Cement Concrete M30 including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 2456 |  | 0 | 0
44 | CIVIL WORKS | 100016681 | 995454 | 18% |  | Reinforcement steel meeting corrosion resistance properties as per IS:1786 and manufacturer specificationâ€‹ | MT | 238 |  | 0 | 0
45 | CIVIL WORKS | 100001331 | 995455 | 18% |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 2 |  | 0 | 0
46 | CIVIL WORKS | 100001714 | 995428 | 18% |  | Stone spreading in switchyard excluding PCC | M2 | 52000 |  | 0 | 0
47 | CIVIL WORKS | 100001713 | 995424 | 18% |  | Antiweed treatment | M2 | 52000 |  | 0 | 0
48 | CIVIL WORKS | 100048595 | 995423 | 18% |  | Providing & laying non-woven Geo-synthetics fabric of minimum 200 GSM in separration layer between sub garde and stone spreading inswitchyard as per Technical Specification and direction of Engineer-in-Charge. | M2 | 52000 |  | 0 | 0
49 | CIVIL WORKS | 100008110 | 995421 | 18% |  | 3.75m wide Bitumen road with earthen shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS (as perDSR item no 16.35 and 16.30.1) and including 225 mm thick WBM in three equal layers of 75 mm each as per CPWD specification. | M2 | 3750 |  | 0 | 0
50 | CIVIL WORKS | 100015791 | 995454 | 18% |  | All civil works for Drains construction of Section A-A including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 1500 |  | 0 | 0
51 | CIVIL WORKS | 100015792 | 995454 | 18% |  | All civil works for Drains construction of Section B-B including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 900 |  | 0 | 0
52 | CIVIL WORKS | 100015793 | 995454 | 18% |  | All civil works for Drains construction of Section C-C including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 700 |  | 0 | 0
53 | CIVIL WORKS | 100015794 | 995454 | 18% |  | All civil works for Drains construction of Section D-D including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 200 |  | 0 | 0
54 | CIVIL WORKS | 100003437 | 995454 | 18% |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 45 |  | 0 | 0
55 | CIVIL WORKS | 100002911 | 995432 | 18% |  | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 3250 |  | 0 | 0
56 | CIVIL WORKS | 100002583 | 995432 | 18% |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 97500 |  | 0 | 0
57 | CIVIL WORKS | 100001477 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 1-1 | M | 50 |  | 0 | 0
58 | CIVIL WORKS | 100001478 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 150 |  | 0 | 0
59 | CIVIL WORKS | 100016667 | 995451 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrete and reinforcement steel Section2A-2A | M | 700 |  | 0 | 0
60 | CIVIL WORKS | 100001479 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 300 |  | 0 | 0
61 | CIVIL WORKS | 100007097 | 995454 | 18% |  | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete including construction of 600 mm high and230 mm wide cement concrete (1:3:6) (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) toe wall atthe lowest portion of stone pitching area etc. completed as per theinstruction of Engineer-In-Charge. . | M2 | 1200 |  | 0 | 0
62 | CIVIL WORKS | 100001721 | 995428 | 18% |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers not exceeding 250mm thickness including ramming, watering, compacting etc.(DSR Item No.16.3,16.4,16.3.8) | M3 | 313 |  | 0 | 0
63 | Service-Tele BoQ | 100002812 | 998734 | 18% |  | SDH Equipment (STM-16 MADM upto 5 MSP protected directions)-Base Equipment (Common cards, Cross Connect/control cards, optical basecards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equipedexcluding optical interface & Tributary cards | EA | 1 |  | 0 | 0
64 | Service-Tele BoQ | 170000433 | 998734 | 18% |  | Optical Interface Cards/SFP# -S16.1 for SDH Equipment-STM-16 | EA | 4 |  | 0 | 0
65 | Service-Tele BoQ | 100002822 | 998734 | 18% |  | Optical Interface Card (to support minimum 225 kms) for STM-16 | EA | 4 |  | 0 | 0
66 | Service-Tele BoQ | 100002825 | 998734 | 18% |  | Tributary interface- E1 interface (Minimum 16 nos.) | SET | 2 |  | 0 | 0
67 | Service-Tele BoQ | 170000550 | 998336 | 18% |  | Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | EA | 2 |  | 0 | 0
68 | Service-Tele BoQ | 100002829 | 998734 | 18% |  | Tributary interface-Gigabit Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (minimum 2 nos.) | SET | 1 |  | 0 | 0
69 | Service-Tele BoQ | 170000375 | 998734 | 18% |  | Equipment Cabinets-For SDH Equipments | EA | 1 |  | 0 | 0
70 | Service-Tele BoQ | 170004394 | 998336 | 18% |  | Fibre Optic Approach cabling: Including installation hardware like GI pipe, elbow, conduits, accessories etc.: 24 Fibre | KM | 1 |  | 0 | 0
71 | Service-Tele BoQ | 170000356 | 998336 | 18% |  | Fibre Optic Distribution Panel (FODP): Indoor Type: FC Coupling and mounted on ETSI 19" rack or slimline rack: Type 2 (96 Fibre) | EA | 1 |  | 0 | 0
72 | PMUs for 2no 765kV Line bays at Vataman | 170000502 | 998713 | 18% |  | Service:- Phasor Measurement Unit (PMU) | EA | 2 |  | 0 | 0
73 | PMUs for 2no 765kV Line bays at Vataman | 170000530 | 998734 | 18% |  | WAMS TIME SYSTEM(GPS RECEIVER) | EA | 2 |  | 0 | 0
74 | PMUs for 2no 765kV Line bays at Vataman | 170004701 | 998734 | 18% |  | SUBSTATION GRADE Layer 2 LAN SWITCH | EA | 2 |  | 0 | 0
75 | PMUs for 2no 765kV Line bays at Vataman | 170004700 | 998734 | 18% |  | SUBSTATION GRADE Layer 3 LAN SWITCH | EA | 1 |  | 0 | 0
76 | PMUs for 2no 765kV Line bays at Vataman | 170000504 | 998713 | 18% |  | Services:- Armored Fibre Optic Cable and associated termination equipment | LOT | 1 |  | 0 | 0
77 | PMUs for 2no 765kV Line bays at Vataman | 170003449 | 998316 | 18% |  | INSTALLATION, TESTING AND COMMISSIONING OF LIU-FO PATCH PANEL-12 PORT | EA | 3 |  | 0 | 0
78 | PMUs for 2no 765kV Line bays at Vataman | 170000501 | 998734 | 18% |  | Integration of PMU with the PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required. | LOT | 1 |  | 0 | 0
[6 empty] | Total of Erection charges (Schedule3) |  |  |  | 0 | 0
Printed Name :
Designation :

## Sch 5 Taxes
Schedule 5 Taxes and Duties not included in Schedule 1 to 3
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
#REF!
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply (indentified in Schedule-1) |  | 0
b. | Total GST on Installation Services (indentified in Schedule-2) |  | 0
2 | GRAND TOTAL [1 a] |  | 0
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!

## Sch 6 summary
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 765/400/220 kV AIS Extension Package - Substation Package: SS-02 (i) 02 nos. of 765 kV line bays at 765/400/220 kV Vataman for termination of Saurashtra - Vataman 765kV D/C line of InSTS (2 nos. bays including associated tie bays).
Schedule-6
Schedule 6 Grand Summary
#REF! |  | To:
Name |  | Contract Services
Address |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Supply - (Sch-1) (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0 | 14780245
2 | Service/Installation/Erection Charges- (Sch-3) (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
3 | Total GST on Goods (ITEMS TAB: Item 03 for BID PRICE SUMMARY Statement ) |  | 0
4 | Total GST on Service/Installation/Erection (ITEMS TAB: Item 04 for BID PRICE SUMMARY Statement ) |  | 0
5 | Total F&I Charges (ITEMS TAB: Item 05 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0
Date : |  | Printed Name :
Place : |  | Designation :