|  | Supply, Installation & Commissioning of Spring-Spring Operated 3-Ph, 145kV, Circuit Breakers with SF6 free alternative medium including dismantling of existing 145kV CBs at Imphal S/s. Spec. No.: CC/NT/W-MISC/DOM/A06/24/10523 |
| --- | --- |
| 1.0 | QUALIFICATION OF THE BIDDER Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor(s) shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid can be submitted by an individual firm. |
|  | The Employer may assess the capacity and capability of the bidder to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of works executed, works in hand, anticipated in future & the balance capacity available for present scope of works; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) banker’s feedback etc. |
| 1.1 | TECHNICAL EXPERIENCE |
| a) | The Bidder must be a manufacturer of 145kV or above class circuit breaker(s) and must have manufactured, tested, supplied and supervised erection & commissioning or erected & commissioned at least one (1) no. 145kV or higher voltage class circuit breaker(s) during last seven (07) years as on the originally scheduled last date of bid submission (soft copy) i.e. 06.01.2025. |
| b) | The bidder must offer circuit breaker(s) from manufacturers, who have designed, manufactured, tested & supplied at least one (1) no. 145kV or higher voltage class circuit breaker(s) with environmentally sustainable gas/medium (alternate to SF6 gas)@ during last seven (07) years which must be in satisfactory operation# for at least One (1) year as on the originally scheduled last date of bid submission mentioned above. Bidder shall also submit the following along with the bid: - A legally enforceable undertaking (jointly with the Manufacturer) (as per enclosed format in bidding document) to guarantee quality, timely supply, performance and warranty obligations as specified for the equipment(s). |
| c) | Note: (#) Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. (@) Environmentally sustainable gas/medium (alternate to SF6 gas) means the SF6 free alternative medium should have GWP100 value of less than 1000. The GWP100 values, specified in latest Intergovernmental Panel on Climate Change (IPCC) report should be used for arriving at GWP of mixture used as SF6 free alternative medium. In case bidder is a holding company, the technical experience referred above, shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred above shall be of that subsidiary company only (i.e. excluding its holding company). |
| 2.0 | FINANCIAL POSITION: |
|  | Bidder must meet the following minimum criteria: - Net Worth for last three financial years should be positive. - Minimum Average Annual Turnover** (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years should be **Rs. 87.9 million or equivalent. **Note - “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/other income”. - Bidder shall have Liquid Assets (LA) and/or evidence of access to or availability of credit facilities of not less than Rs. 14.65 million or equivalent. Notes: - In case bidder is a holding company, the Financial Position criteria referred to in clause 2.0 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in clause 2.0 above shall be that of subsidiary company only (i.e. excluding its holding company). - Relaxation for Start-up^/MSEs - Start-Ups^/ MSEs, meeting the specified requirements at Para 2.0 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 2.0 (b) & 2.0 (c) above in Financial Position. - ^ Start up as defined by DPIIT, applicable as on the Originally scheduled last date of bid submission (soft copy) |
| 3.0 | The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above. |