| Sl No: | TS Reference | Description as per Bid Document | Query / Clarification | POWERGRID Reply |
| --- | --- | --- | --- | --- |
|  | Section Project/ 2. Scope/ 2.4/ Pg. No. 04 | During execution of the contract , actual destination shall be intimated, in writing by Employer to the contractor. The conditions of roads, capacity of bridges, culverts etc. in the route shall be assessed by the contractor. The scope of any necessary modification/ extension/ improvement to existing road, bridges, culverts etc. shall be deemed to be included under present scope. The contractor shall carry out the route survey along with the transporter and submit the detail proposal and methodology for transportation of Individual Transformer/Transformer Banks (as applicable), for approval of Purchaser within reasonable time from the date of finalization of location. | Transformer dispatch is contingent upon the real destination, as determined by the employer upon award. In this regard, we understand that any necessary modification/ extension/ improvement to existing road, bridges, culverts etc are excluded from present scope and the same shall be assessed by contractor post award and necessary report shall be submitted to employer. Please kindly confirm/clarify. | Please refer to Clause 1.3(ii) of Section -Project of the technical specification. Local Transportation, In-transit insurance, loading and unloading charges, referred to as F&I charges, shall be finalized with the Contractor based on actual destination decided by Employer prior to scheduled dispatch of the equipment. |
|  | Section Project/ 2. Scope/ 2.4/ Pg. No. 04 | As per circular from Ministry of Road Transport & Highways – Dt: 17.01.2024 | 'Please find atatched circular from MoRTH and request letter from Bidder as Atatchment -I | Bidder shall quote meeting the requirement of Technical Specification. |
|  | General | Storage at site | We understand that free space for Contractor's indoor store and outdoor store at respective plot areas will be provided by M/s PGCIL within plant boundary. Kindly Confirm. | On availability of Land, Free space for Contractor's indoor store and outdoor store at respective plot areas will be provided by Employer within plant boundary. However, arrangement of land for indoor store and outdoor store shall be in the scope of the bidder. Storage Platform/Foundation for Transformer is not envisaged under the present scope |
|  | General | Tools and tackles for erection testing and commissioning. | We have considered that tools,tackels, testing equipments etc as required for erection testing and commissioning of Transformer and Bidder supplied Equipments shall be arranged by bidder and taken back after successful completion of works. Please confirm. | Bidder shall quote meeting the requirement of Clause 5 of Section Project. In line with above clause, any special tools, tackles, testing equipment etc required for both commissioning and O&M purpose, which are proprietary in nature, shall be supplied by bidder and the price of the same is deemed to be included in the price of transformer. |