## Without_AMC
Technical Specification of Security Cameras and its Placement Methodology
Ring Topology
Indicative BOQ for Supply, Installation & F&I of VMS System Note to Bidders: This BoQ is only for detailed item description. Offered prices shall not be submitted here and the same shall be submitted on e-tendering portal ONLY.
S.No | Item Description | Unit | Qty | Remarks
Supply and Installation as per Technical Specification
1 | Fixed Camera As per TS (IP outdoor Bullet Camera, 2 MP, IR, IP 66, Focal Length (5-6 mm to 50-60 mm) | Set | 26
2 | Junction Box as per TS | Nos | 15
| Single Pole MCB | Nos | 34
3 | Power Converter | Nos | 26
4 | Multi SFP Switch (12SFP+12 Cu Port; 10/100/1000 Mbps) as per techbnical specification attached at Control room end | Nos | 1
5 | Light interfacing Unit (12 port) | Nos | 17 | 15 for camera and 02 no for client PC
6 | Light interfacing Unit (24 port) | Nos | 3
7 | Network Video Recorder With 21 inch Full HD LED and NVR Application Software (2*Intel Xeon, 8 Core,16 GB RAM, 2 TB Windows OS, 21 Inch monitor) | Nos | 1
8 | Camera License | Nos | 26
9 | Ethernet Switch (2SFP+2Cu port; Non PoE, 10/100/1000 Mbps) | Nos | 17 | 15 for camera and 02 no for client PC
10 | Networking Rack | Nos | 1
11 | FO Patch Cord | Nos | 42
12 | Optical Fibre Cable (6 Core, SM,Armored) | Nos | 3950
13 | Power Cable (3C*2.5, Armored, FRLS) | Nos | 2500
14 | STP Cable, CAT 6 STP | Nos | 500
15 | HDPE Conduit (25 MM) | Nos | 4450
16 | NAS (4 TB HDD usable + RAID 5; as per TS) | Nos | 1
17 | Pole (6 Mtr) | Nos | 15 | 02 camera per pole
| Surge Protector | Nos | 15
18 | Client Machine (Intel i7, 16 GB RAM, 8 Core, 1 TB HDD, 2 GB Graphic card, Windows OS, Keyboard Mouse, Anti virus; LED Monitor, 21.5 Inch) | Nos | 2 | Station incharge and Security room
19 | UPS (5 KVA; as per technical specification) | Nos | 1
20 | Installation and Commissioning of Above Quoted System | Lot | 1
Indicative BOQ for Spares
S.No | Item Description | Unit | Qty
Supply of following as per Technical Specification
1 | Fixed Camera | Set | 1
2 | Power Converter | Nos | 4
3 | Ethernet Switch (2SFP+2Cu port; Non PoE, 10/100/1000 Mbps) | Nos | 4
4 | Multi SFP Switch (12SFP+12 Cu Port; 10/100/1000 Mbps) as per techbnical specification attached | Nos | 1