## Basic (hidden)
:: COVER PAGE ::
Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh.
Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180]
Address of Purchaser/ Employer | Contracts & Materials Dept.
Power Grid Corporation of India Limited.
Comprehensive Scheme, Project Manager Office,
4th-Level, Osor M. Tayeng Building, Nitivihar,
Itanagar (Arunachal Pradesh) – 791111.
Mobile: +91 9435560898 / 9821144618
Email Address: surajit@powergrid.in/rohiteshkumar@powergrid.in

## Cover
General guidelines for filling up the Attachments
: Attachments : | Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh. |  | Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh.
Specification No.:Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180]
| 1 | Fill up only green shaded cells in Sch-1 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-2 & Sch-3 are auto filled, therefore no cell is required to be filled up there.
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click for Detailed General Instructions
Click for Detailed General Instructions

## Instructions
General Instruction to the Bidders for filling up this workbook for :
Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh.
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh.
| Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180] | [7 empty] | Sole Bidder | 1
[9 empty] | JV (Joint Venture) | 2 or More
Enter following details of the bidder
FALSE
| Specify type of Bidder [Select from drop down menu] |  | Sole Bidder | 1 | Sole Bidder | 1 | 2 |  | 0
|  |  | 1 |  | JV (Joint Venture) | 2 or More
Micro and Small Enterprise (MSE)
Name of Sole Bidder
| Address of Sole Bidder | Principal place of business
|  |  |  | FALSE |  |  |  | .
| Name of other Partner |  | 1
Address of other Partner
Name of other Partner - 2 (more, if any)
Name of other Partner - 2
Address of other Partner - 2
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
| MSE Bidder ? |  |  | FALSE
| Enter the name of Registration Authority. |  | Udyam Registered Bidder
| Whether Medium/Small/Micro |  | Micro
Udyam Registeration No.:
Type of Enterprise
Major Activity
Social Category of Enterpreneur
| Gender |  | Male
Contact Person
Email-ID_1
Email-ID_2
Mobile No.
Printed Name
Designation
| Date : |  |  |  | 31
Place :
#REF!
YES
Click for Bid Form 2nd Envelope

## Sch-1
Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180] | [11 empty] | Schedule - 1
Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh. | [15 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [15 empty] | AS per Percent |  | #REF!
[16 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder's Name and Addresss | [8 empty] | To: | [6 empty] | As per Percent on Sch-3 |  | #REF!
[9 empty] | Contracts and Materials Deptt. | [6 empty] | Total Discount |  | #REF!
Name : |  |  | 0 | 0 | 0 | 0 |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | 0 | 0 | 0 | 0 |  |  | Comprehensive Scheme, Project Manager Office,
|  |  | 0 | 0 | 0 | 0 |  |  | 4th-Level, Osor M. Tayeng Building, Nitivihar, | [6 empty] | Multipackage lum-sum |  | 0%
|  |  | 0 | 0 | 0 | 0 |  |  | Itanagar (Arunachal Pradesh) – 791111.
|  |  |  | INSTALLATION CHARGES | [12 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | DSR | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '4’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges (Exclusive of GST) | Total Erection Charges | Total GST as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 |  |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12=10x11 | 13 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
A. |  | Substation Work
1 | 17.31 |  | 100017071 | 995442 |  | 18 |  | Erection of 12 mts. long steel tubular including concrete foundation as per approved drawing & TS. This includes supply of foundation material. | EA | 186 | 1 | 186 | 33.48 | 186 | 33.48
2 |  |  | 150000071 | 995442 |  | 18 |  | Stringing of 3- ph 3-wire 33 kV S/C line with ACSR Racoon conductor including installation of all fabricated material, insulators, hardware fittings, guarding along the line (in busy area and at various crossings),continous earth wire along the line & jumpering etc. as per TS. This shall also include supply and installation of mid span joints, repair sleeves PG clamps, danger plate & anti-climbing device. Danger plate & anti-climbing device will be installed on all Double/three/four Pole structures and poles on both side of various crossings. Cost of the Danger plate &anti-climbing device is to be included in this item. The stringing of one run of Optical Ground Wire (OPGW ) fibre optic cable including all associated hardware fittings, its splicing, installation of joint box etc is also included in this item. | KM | 34.33 | 1 | 34.33 | 6.1794 | 34.33 | 6.1794
3 |  |  | 150000072 | 995442 |  | 18 |  | 33 kV Stay Set complete in all respect as per TS | SET | 595 | 1 | 595 | 107.1 | 595 | 107.1
4 |  |  | 150000073 | 995442 |  | 18 |  | Earthing of pole using 40 mm dia 3000 mm long pipe as earth electrodes in the pit treated with Charcoal & Salt as per TS. Thisincludes supply of all materials required for completion of job except supply of 40 mm dia GI pipe which is included in supplyportion. | SET | 140 | 1 | 140 | 25.2 | 140 | 25.2
5 |  |  | 170002900 | 996511 |  | 18 |  | Transportation of 12 mtr. long steel tubular pole from store to the site/location. This includes loading, unloading and head-loading up to the pole location. | EA | 179 | 1 | 179 | 32.22 | 179 | 32.22
6 | 18.48 |  | 170002901 | 996511 |  | 18 |  | Transportation of conductor and all associated stringing materials including stay sets, earthing rod etc. from store to the site/location. This includes loading, unloading and head-loading up to site/location. | KM | 34.33 | 1 | 34.33 | 6.1794 | 34.33 | 6.1794
|  |  | 8: Total Installation Charges | 1169 |  |  | 210.3588
|  |  | 8: Total GST as confirmed by Bidder |  | 210.3588
Note*
Date : |  |  | 3: 0; 9: Printed Name:; 10: 0; 11: 0 | 0 | 0
Place : |  |  | 3: 0; 9: Designation :; 10: 0; 11: 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0
Click for Sch-4

## Sch-2
Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180] |  |  |  |  | Schedule -2
Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh.
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder's Name and Addresss |  |  |  |  | To:
Contracts & Materials Dept.
Name : | 0 | 0 | 0 | 0 | Power Grid Corporation of India Limited.
Address : | 0 | 0 | 0 | 0 | Comprehensive Scheme, Project Manager Office,
| 0 | 0 | 0 | 0 | 4th-Level, Osor M. Tayeng Building, Nitivihar,
| 0 | 0 | 0 | 0 | Itanagar (Arunachal Pradesh) – 791111.
Sl. No. | Item Nos. |  |  |  | Total Price (INR) |  |  |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS | [7 empty] | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  |  |  | 0
1 | TOTAL GST ON SERVICES | [7 empty] | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (Schedule-1) |  |  |  | 210.3588 |  |  |  | #REF! | 0 | #REF! | 0
| GRAND TOTAL |  |  |  | 210.3588 |  |  |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | 0 |  |  | Printed Name : | 0 | 0 | 0 | 0
Place : | 0 |  |  | Designation : | 0 | 0 | 0 | 0
Click for Sch-3

## Sch-3
Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180] |  |  |  |  | Schedule - 3
Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh.
(GRAND SUMMARY)
Bidder's Name and Addresss |  |  |  |  | To:
Contracts & Materials Dept.
Name : | 0 | 0 | 0 | 0 | Power Grid Corporation of India Limited.
Address : | 0 | 0 | 0 | 0 | Comprehensive Scheme, Project Manager Office,
| 0 | 0 | 0 | 0 | 4th-Level, Osor M. Tayeng Building, Nitivihar,
| 0 | 0 | 0 | 0 | Itanagar (Arunachal Pradesh) – 791111.
Sl. No. | Description |  |  |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  |  |  | 1169
Installation Charges
2 | TOTAL SCHEDULE NO. 2 |  |  |  | 210.3588
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  |  |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  |  |  | 1379
Date : | #REF! |  |  | Printed Name : | 0 | 0 | 0 | 0
Place : | #REF! |  |  | Designation : | 0 | 0 | 0 | 0
Click for Bid Form 2nd Envelope

## Bid Form 2nd Envelope
Specification No. NER/NT/W-MISC/DOM/H03/26/03706 [Rfx No. 5002005180] |  |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder | 1 | st |  | 1 | January
[7 empty] | 0 | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [7 empty] | 3 | rd |  | 3 | March
[8 empty] | 4 | th |  | 4 | April
[8 empty] | 7 | th | #REF! | 7 | July
To: | [7 empty] | 8 | th | #REF! | 8 | August
Contracts & Materials Dept. | [7 empty] | 9 | th | #REF! | 9 | September
Power Grid Corporation of India Limited. | [7 empty] | 10 | th |  | 10 | October
Comprehensive Scheme, Project Manager Office, | [7 empty] | 11 | th |  | 11 | November
4th-Level, Osor M. Tayeng Building, Nitivihar, | [7 empty] | 12 | th |  | 12 | December
Itanagar (Arunachal Pradesh) – 791111. | [7 empty] | 13 | th
[8 empty] | 14 | th
Name of Contract : |  | Name of Package: Execution of Balance works of 33kV Balemu-Tenzingaon Transmission line under Comprehensive Scheme for strengthening of T&D in Arunachal Pradesh. | [5 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [7 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [6 empty] | 18 | th
2 | Price Schedules | [6 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [6 empty] | 20 | th
| Schedule 1 |  | Installation Charges
| Schedule 2 |  | Taxes and Duties
| Schedule 3 |  | Grand Summary |  |  |  |  | 26 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [6 empty] | 28 | th
2.3 | We declare that as specified in SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract. | [6 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [6 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [6 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services (including Civil works) specified in Schedule No. 1 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | #REF!
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
|  |  |  | For and on behalf of | 0
Signature :
Date : | 0 |  |  | Printed Name :
Place : | 0 |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page