## Basic
Bid Proposal Sheet-Price Part (Price_Schedule)
:: COVER PAGE ::
Name of Package | Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station
Limited Tender Enquiry No.: | NESH/GHY/CSM/600-183/NIT-416 Dated:12/03/2024
Specification No./Document Code No.: | NESH/GHY/CSM/600-183/BPS_Price Part
Address of Purchaser/ Owner | Sr. General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone- 0364 2536406, Fax -0364- 2536406
email - Alt 1: bhaskar.deka@powergrid.in. Alt 2: rodasee@powergrid.in

## Cover
General guidelines for filling up the Attachments
: Attachments : | Package: Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station |  | Specification Ref. No.:NESH/GHY/CSM/600-183/BPS_Price Part
Limited Tender Enquiry Ref. No.:NESH/GHY/CSM/600-183/NIT-416 Dated:12/03/2024
Specification Ref. No.:NESH/GHY/CSM/600-183/BPS_Price Part
| 1 | Fill up only green shaded cells in Bid Form 2nd Envelope, Sch-1 and Sch-2
| 2 | All the cells in Sch-3 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
Click to Proceed

## Instructions
Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station
Specification No.: NESH/GHY/CSM/600-183/NIT-416 Dated:12/03/2024
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the workbook.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (DSR items) :
| ● | Fill up Only the Percenatge Above or Below the estmated Cost,. Total amount shall get calculated automatically.
| ● | Fill up the SAC and GST rates in the indicated columns
Sch-2 (Non-DSR items) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price. Total amount shall get calculated automatically.
| ● | Fill up the SAC and GST rates in the indicated columns
Sch-3 (Summary) :
| ● | The amount of Total Quoted Price exclusive of taxes will be automatically calculated.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3.
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
Happy Bidding !
Click to Proceed

## Names of Bidder
Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station
Tender Specification: NESH/GHY/CSM/600-183/BPS_Price Part | [6 empty] | Sole Bidder | 1
[6 empty] | Yes | JV (Joint Venture) | 2 or More
Enter following details of the bidder | [5 empty] | No
Specify type of Bidder [Select from drop down menu] | Sole Bidder | Sole Bidder | 2 |  |  |  | 0 |  |  | & other Partner
1
Whether the bidder is an MSE (Micro & Small Enterprise) | No | No | 1 | 2 | 0
0
Name of Sole Bidder
Address of Sole Bidder
|  | MSE | No
Name of other Partner | other Partner
Address of other Partner | Other Prtner
Route-1 of Annexure-A(BDS)
Route-2 of Annexure-A(BDS)
Name of other Partner - 2 (more, if any) | other-2 | Joint venture Route
Address of other Partner - 2 (more, if any)
Printed Name
Designation
Date
Place
Click for Attach 3(JV)
Click for Attach 3(JV)
Click for Bid Form 2nd Envelope

## Bid Form 2nd Envelope
Specification No.: NESH/GHY/CSM/600-183/BPS_Price Part |  |  |  |  | Bid Form 2nd Envelope
Package: Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station | [6 empty] | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[7 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No.:: | [10 empty] | 5 | th |  | 5 | May
Date :: |  | 0 | [8 empty] | 6 | th | 0 | 6 | June
[11 empty] | 7 | th | 1 | 7 | July
To: | [10 empty] | 8 | th | January | 8 | August
Sr. General Manager (C&M) | [10 empty] | 9 | th | 1900 | 9 | September
Power Grid Corporation of India Limited | [10 empty] | 10 | th |  | 10 | October
North Eastern Region | [10 empty] | 11 | th |  | 11 | November
Dongtieh, Lower Nongrah, Lapalang | [10 empty] | 12 | th |  | 12 | December
Shillong – 793 006 (Meghalaya). | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of Techno-commercial Bid,we hereby submit the Second Envelope of the Bid,both of which shall be read together and in conjunction with each other,and shall be construed as an integral part of our Bid. Accordingly,we the undersigned,submit our offer for Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station under the above-named package in full conformity with the said Bidding Documents for the sum as specified as GRAND TOTAL in Schedule-3 of this BPS. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF! | #REF! | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules : | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Schedule 1 : |  | Bill of Quantities for the DSR Items.
| Schedule 2 : |  | Bill of Quantities for the Non-DSR Items.
| Schedule 3: |  | The grand total quoted price for the DSR and Non-DSR item(s) for the entire scope of work summarized.
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 32.0 of SCC of the bidding Documents, the contract price shall be FIRM and shall not be subjected to any price variation or price adjustment under any circumstances, whatsoever, during the execution and completion of the works. | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. Any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable as specified in Schedule No. 1 & No.2 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | #REF!
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page
Click for Attach 3(JV)
Click for Schedule-1

## Sch-1
Specification Ref. No.:NESH/GHY/CSM/600-183/BPS_Price Part | [10 empty] | Schedule -1 to the BPS_Price Part
Package: Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station
(SCHEDULE OF RATES AND PRICES for DSR items)
Bidder’s Name and Address (Sole Bidder) : | [7 empty] | To,
Sr. General Manager (C&M)
Name : | [8 empty] | Power Grid Corporation of India Limited
Address : | [8 empty] | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
SI. No. | DSR Item Ref. No,: [DSR,2021] | Description | SAC Code | Whether SAC in column '4' is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST * | Unit | Quantity | Estimated Unit Rate (in Rs., excluding GST) | Quoted Unit Rate (in Rs., excluding GST) corresponding to Quoted Percentage (in figure) entered below | Amount (in Rs., excluding GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 13=9X12
PART-A CIVIL WORKS
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil. | 995433 |  | 18% |  | cum | 312.575 | 366.98 | 366.98 | 114708.77
2 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 995433 |  | 18% |  | cum | 90.28 | 276.33 | 276.33 | 24947.07
3 | 2.26 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials.
| 2.26.1 | All kinds of Soil | 995428 |  | 18% |  | cum | 48.429 | 178.77 | 178.77 | 8657.65
4 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 995454 |  | 18% |  | cum | 49.772 | 9603.77 | 9603.77 | 477998.84
5 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases of columns | 995454 |  | 18% |  | sqm | 10.65 | 552.87 | 552.87 | 5888.07
6 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 995454 |  | 18% |  | sqm | 74 | 1056.39 | 1056.39 | 78172.86
7 | 5.1 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
| 5.1.2 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 995454 |  | 18% |  | cum | 77.828 | 12752.97 | 12752.97 | 992538.15
8 | 5.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :
| 5. 2. 2 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 995454 |  | 18% |  | cum | 15.668 | 15300.82 | 15300.82 | 239733.25
9 | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 995454 |  | 18% |  | cum | 14.004 | 16220.8 | 16220.8 | 227156.08
| 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :
| 5.9.1 | Foundations, footings, bases of columns etc. for mass concrete | 995452 |  | 18% |  | sqm | 20.13 | 552.87 | 552.87 | 11129.27
| 5.9.5 | Lintels, beams ,plinth beams ,girders, bressumers, and cantilevers | 995452 |  | 18% |  | sqm | 149.115 | 1038.2 | 1038.2 | 154811.19
| 5.9.6 | Columns , pillars , piers, abutments, posts and struts | 995452 |  | 18% |  | sqm | 214.623 | 1355.27 | 1355.27 | 290872.11
| 5.9.19 | Weather shade, chajjas, corbels etc. including edges | 995454 |  | 18% |  | sqm | 104 | 1340.89 | 1340.89 | 139452.56
10 | 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete.
| 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 995454 |  | 18% |  | Kg | 8684.2 | 152.05 | 152.05 | 1320432.61
11 | 10.6 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters.
| 10.6.1 | 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 995476 |  | 18% |  | sqm | 22 | 5150.39 | 5150.39 | 113308.58
12 | 10.7 | Providing and fixing ball bearings for rolling shutters | 995476 |  | 18% |  | each | 6 | 694.13 | 694.13 | 4164.78
| 10.8.2 | Extra for providing mechanical device chain and crank operation for operating rolling shutters:- Exceeding 16.80 sqm in area | 995476 |  | 18% |  | Sqm. | 22 | 1666.14 | 1666.14 | 36655.08
13 | 12.41 | Providing and fixing on wall face un plasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
| 12.41.2 | 110 mm diameter | 995424 |  | 18% |  | metre | 46.5 | 532.07 | 532.07 | 24741.26
14 | 12.42 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS :5382, leaving 10 mm gap for thermal expansion.
| 12.42.6 | Shoe (Plain)
| 12.42.6.2 | 110 mm Shoe | 995424 |  | 18% |  | each | 9 | 185.89 | 185.89 | 1673.01
15 | 12.44 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 99542418 |  | 18% |  | each | 6 | 77.12 | 77.12 | 462.72
16 | 13.4 | 12mm Cement plaster of mix. 1:6
| 13.4.2 | 1:6 1 Cement:6 Coarse sand) |  |  | 18% |  | sqm | 540.852 | 484.49 | 484.49 | 262037.39
17 | 13.11 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 995454 |  | 18% |  | sqm | 448.1 | 731.07 | 731.07 | 327592.47
18 | 13.16 | 6 mm cement plaster of mix
| 13.16.1 | 1:3 1 cement : 3 fine sand | 995454 |  | 18% |  | sqm | 68 | 423.58 | 423.58 | 28803.44
19 | 13.85 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface :
| 13.85.3 | Water thinnable cement primer sqm on wall surface having VOC content less than 50 gms/litre | 995473 |  | 18% |  | sqm | 433.792 | 104.26 | 104.26 | 45227.15
20 | 13.44 | Finishing walls with water proofing cement paint of required shade :
| 13.44.1 | New work (Two or more coats applied @ 3.84 kg/10 sqm) | 995473 |  | 18% |  | sqm | 433.792 | 164.81 | 164.81 | 71493.26
21 | 13.47 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
| 13.47.1 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 995473 |  | 18% |  | sqm | 407.96 | 241.22 | 241.22 | 98408.11
22 | 13.62 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
| 13.62.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 995473 |  | 18% |  | sqm | 44 | 318.97 | 318.97 | 14034.68
23 | 6.1 | Brick work with common burnt clay F .P .S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
| 6.1.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 995454 |  | 18% |  | cum | 8.93 | 10055.26 | 10055.26 | 89793.47
24 | 6.4 | Brick work with common burnt clay F .P .S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
| 6.4.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 995454 |  | 18% |  | cum | 104.428 | 12837.85 | 12837.85 | 1340631
PART-B ELECTRIFICAL WORKS
1 | 2.3 | Supplying and fixing following way prewired SP&N MCB distribution board of steel sheet for 240 volts on surface/ recess complete with loose wire box, copper bus bar, neutral link, earth bar, din bar, detachable gland plate,interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator)
(a) | 2.3.2 | 8 Way, Double Door | 998736 |  | 18% |  | Each | 1 | 2297.32 | 2297.32 | 2297.32
2 | 2.1 | S/F 'C'series ,SP &TP MCB:Supplying and fixing 5 amps to 32 amps rating, 240/415 volts,"C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.10.1 | Single pole | 998736 |  | 18% |  | Each | 6 | 228.57 | 228.57 | 1371.42
3 | 2.14 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
(a) | 2.14.3 | 63 amps | 998736 |  | 18% |  | Each | 1 | 2430.36 | 2430.36 | 2430.36
4 | 1.14 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit/casing capping as required
|  | 1.14.2 2x 2.5 sqmm+1x 2.5 sq mm earth wire | 995461 |  | 18% |  | Meter | 70 | 245.54 | 245.54 | 17187.8
5 | 1.10 description modified | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit/casing capping, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required
|  | 1.10.3 Group-C | 995461 |  | 18% |  | Point | 38 | 1309.82 | 1309.82 | 49773.16
6 | 1.31 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | 995461 |  | 18% |  | Nos. | 3 | 425.89 | 425.89 | 1277.67
7 | 1.32 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required | 995461 |  | 18% |  | Each | 3 | 523.21 | 523.21 | 1569.63
8 | 5.2 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 995461 |  | 18% |  | Each | 1 | 6120.54 | 6120.54 | 6120.54
9 | 19.1 description modified | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm or as per site specification, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 998736 |  | 18% |  | Each | 6 | 2437.5 | 2437.5 | 14625
10 | 7.1 | Laying of one number PVC insulated and PVS sheathed/XLPE power cable of 1.1 KV grade of following size direct in ground incliding excavation, sand cushioning, protective covering and refilling the trench etc. as required.
|  | 7.1.1 Upto 35 sq. mm | 995461 |  | 18% |  | Meter | 250 | 345.54 | 345.54 | 86385
Sub-Total Against Scheduled portion (in Rs., excl. of GST) | [10 empty] | 6728562.78
PERCENTAGE QUOTED ABOVE THE ESTIMATED COST OR BELOW THE ESTIMATED COST IN FIGURES (use '-" sign in case of below)
Total Quoted Bid Price for the Schedule-1 | [9 empty] | 6728562.78
Note : | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | 0 | [6 empty] | Printed Name : | 0
Place : | 0 | [6 empty] | Designation : | 0
Click for Attach 3(JV)
Click for Schedule-2

## Sch-2
Specification Ref. No.:NESH/GHY/CSM/600-183/BPS_Price Part | [9 empty] | Schedule -2 to theBPS_Price Part
Package: Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station
(SCHEDULE OF RATES AND PRICES for Non-DSR Items )
Bidder’s Name and Address (Sole Bidder) : | [6 empty] | To,
Sr. General Manager (C&M)
Name : | [7 empty] | Power Grid Corporation of India Limited
Address : | [7 empty] | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
SI. No. | NS/PSOR Item Ref. No,: | Description | SAC Code | Whether SAC in column '4' is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST * | Unit | Quantity | Quoted Unit Rate (in Rs., excluding GST) | Amount (in Rs., excluding GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11=9X10
PART-A CIVIL WORKS
1 | NS-1 | Supplying and filling of moorum in sub-grade - embankment formation in layers not exceeding 20 cm in depth , breaking clods , watering , rolling each deposited with power road roller of min 8 tonne in embankment for roads , floods banks, marginal banks and compaction under optimum moisture condition to give atleast 95% of the maximum dry density. The operation shall include all leads and lifts | 995414 |  | 18% |  | cum | 91.177 |  | 0
Note: The tests specified for compaction as per FQP shall deemed to be included in this items.
2 | NS-2 | Providing and fixing self supported roof of proflex or equivalent of colour coated Galvalume sheet of minimum base material thickness ( BMT) of 0.80mm and APT of 85mm including all fixers and arrangements. | 995452 |  | 18% |  | sqm | 353.58 |  | 0
3 | NS-3 | Constructing brick masonry open surface drain with bricks of class designation 50 Kg- cm2 in cement mortar 1:4 ( 1 cement : 4 fine sand) including earth excavation 10 cm thick bed concrete 1:5:10 ( 1cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and 25 mm thick cement concrete 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 12.5 mm nominal size) for filling haunches including 12 mm cement plaster 1:4 ( 1cement : 4 coarse sand) with a floating coat of neat cement inside the drain , its top and exposed side including disposal of surplus earth complete as per standard design : | 995456 |  | 18% |  | metre | 83 |  | 0
25 cm drain 30 cm average depth
4 | NS-4 | Providing and fixing 24 inch diameter Aluminium turbo ventilator with 42 vanes of aluminium of 0.50 mm thick top and bottom SS 304 double Z bearings permanently greased with all type of fixtures | 995476 |  | 18% |  | each | 2 |  | 0
5 | NS-5 | Supply of hanger/ clamp for fixing lamp and fans as per requirement | 995476 |  | 18% |  | each | 10 |  | 0
6 | NS-6 | Providing and fixing 2 mm thick polycarbonate transperent sheet coated with 50 micron UV layer at top and bottom (Each sheet shall be of 0.61 m wide and 2.0 long) for natural ventilation of light | 995476 |  | 18% |  | each | 2 |  | 0
Approach Road connecting to GIS store
7 | SOR june2023 | 3.75m wide Concrete road (including all crossings) as per drawing except reinforcement & concrete in Switchyard | 995454 |  | 18% |  | Sqm. | 37.5 |  | 0
8 | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 995454 |  | 18% |  | Cum | 3.75 |  | 0
9 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 995454 |  | 18% |  | Cum | 3.75 |  | 0
10 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 995454 |  | 18% |  | Kg | 105 |  | 0
11 | 5.9.1 | Centering and shuttering including strutting, propping etc. and removalof form for : 5.9.1 Foundations, footings, bases of columns, etc. for mass concrete | 995454 |  | 18% |  | Sqm. | 3 |  | 0
PART-B ELECTRIFICAL WORKS
1 | Supply- 1000038387 | LED Flood light luminaries type IHB (150W) as per TS | 94051090 |  | 18% |  | Each | 6 |  | 0
2 | Erection- 100004930 | LED Flood light luminaries type IHB (150W) as per TS | 998731 |  | 18% |  | Each | 6 |  | 0
3 | Supply-1000031976 | 1.1kV Grade 4CX16 SQMM(PVC) Power Cable | 85446020 |  | 18% |  | KM | 0.25 |  | 0
4 | Supply- 1000032824 | EXHAUST FAN FOR CONTROL ROOM BUILDING | 84145190 |  | 18% |  | Each | 6 |  | 0
5 | Erection- 100001077 | EXHAUST FAN FOR CONTROL ROOM BUILDING | 998731 |  | 18% |  | Each | 6 |  | 0
6 | NS | 20W LED Tube Light (4") | 94054090 |  | 18% |  | Each | 20 |  | 0
Sub-Total Against Non-scheduled items (exclusive of GST, in Rs.) | [9 empty] | 0
Total Quoted Bid Price for the Schedule-2 | [8 empty] | 0
Note : | In case the bidder leaves any of the cell blank, the prices against that BOQ line item shall be considered to be deemed included in other quoted price.
In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | 0 | [6 empty] | Printed Name : | 0
Place : | 0 | [6 empty] | Designation : | 0

## Sch-3
Specification Ref. No.:NESH/GHY/CSM/600-183/BPS_Price Part |  |  | Schedule -3 to the BPS_Price Part
Package: Construction of a GIS store at 400/132/33kV POWERGRID Imphal Sub-Station
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Sr. General Manager (C&M)
Name : |  |  | Power Grid Corporation of India Limited
Address : |  |  | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1
| CIVIL & ELECTRIFICATION Charges [DSR ITEMs] (excl. of GST, in Rs.) |  | 6728562.78
2 | TOTAL SCHEDULE NO. 2
| CIVIL & ELECTRIFICATION Charges [Non-DSR ITEMs] (excl. of GST, in Rs.) |  | 0
| GRAND TOTAL [1+2] (excl. of GST, in Rs.) |  | 6728562.78
#NOTE: The grand total price is exclusive of GST. GST at actual, shall be reimbursed extra as per confirmed HSN/SAC.
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0