| S.N. | Ref Clause No. & Reference | Provision of the Bidding Documents | Bidder’s Queries | POWERGRID’s reply/Clarifications |
| --- | --- | --- | --- | --- |
|  | Vol-II Technical Specifications, Section - II | Insulated crossarm should have suitable provisions and arrangements for blocking movements of the pivot arrangement at the time of stringing | Please refer to Cl no 1.4.6.4 of the technical specification: Please request to clarify whether supply of blocking arrangement with trolley will be in the scope of supply of XXX and if in the scope then how many numbers needed to be supplied. | Arrangements for blocking movements shall be provided on all Insulated Cross Arm sets. Requirement of trolley / platform is not envisaged in scope of supply. |
|  | Vol-II Technical Specifications, Section - II | The Bidder shall furnish Finite Element Method (FEM) simulation for the complete Composite Insulated crossarm (with Hardware Fittings) for the load cases mentioned in the Table 2 at Annexure-B, in order to verify the mechanical design of the Insulated cross arm arrangement. | Parameters required for carrying out FEA (Finite Element Analysis) analysis | As mentioned in the reference clause, bidder may refer Table-2 at Annexure-B of Section - II of Technical Specifications. |
|  | …………… | ……………. | Kindly share below data: 1.Max. Buckling Load | Bidder may refer IEC standard mentioned in clause 4.1.3 of Section - II of Technical Specifications. |

***********End*************