| # Sl. No. | # Volume/ Section/ Description | # Clauses | # Bidder’s Query | # POWERGRID Reply |
| --- | --- | --- | --- | --- |
| # Volume-II; Technical Specifications |  |  |  |  |
|  | # Section Projects, Clause No. 9 & 11 | # Clause No. 9 # For 200MVA, 220/132/33kV Transformer, all other technical parameters of 160MVA, 220/132/33kV Transformer given in Section –Transformer (Upto 400kV Class) (Rev11) to be followed. # Clause No. 11 # Losses figure of transformer | # We would like to inform you that we are not able to find out Technical specification of 200MVA 220/132/33KV Transformer in attached Tender documents of reference cited tender, you are requested To kindly provide the same. # Kindly Note our designer needs minimum 15 days time from the date when you will upload required Specification of 200MVA, 220/132/33KV Transformer. | # Bidder may refer clause no. 9 & 11 of Section Project for technical parameters of 200MVA, 220/132/33kV class Transformer. |