## BOQ for WR
BoQ for Automatic Fire Supression System for WR
S.No. | Item Description | HSN/ SAC Code | Unit | Quantity | RATE/UNIT (INR) EXCL OF GST | Total AMT (INR) Excl GST | Applicable GST (%) | Total AMT (INR) Inclusive of GST
A | Agent & Storage Container
1 | Clean Agent as per TS | 2914 | Kg. | 646 |  | 0 |  | 0
2 | Cylinder with Valve & low pressure switch as per TS | 7311 | No. | 11 |  | 0 |  | 0
3 | Master Cylinder Accessories
i) | Electric Actuator, 24 V DC | 8505 | No. | 11 |  | 0 |  | 0
ii) | Discharge Hose as per TS | 4009 | No. | 11 |  | 0 |  | 0
iii) | Seamless Pipes as per schedule 40 with pipe fittings | 730490 | Mtr. | 220 |  | 0 |  | 0
iv) | Discharge Nozzles as per TS | 7419 | No. | 33 |  | 0 |  | 0
B | Control Panel, Switches & wiring
1 | Addressable Fire Alarm cum Gas Release Panel with batteries & battery charger for more than 8 zones as per TS | 85311020 | No. | 1 |  | 0 |  | 0
2 | 2 zone Fire Alarm cum Gas Release Panel with batteries & battery charger as per TS | 85311020 | No. | 10 |  | 0 |  | 0
3 | 4 zone Fire Alarm cum Gas Release Panel with batteries & battery charger as per TS | 85311020 | No. | 1 |  | 0 |  | 0
4 | Manual Release Switch as per TS | 85311020 | No. | 11 |  | 0 |  | 0
5 | Manual Abort Switch as per TS | 85311020 | No. | 11 |  | 0 |  | 0
6 | Control Cables 2C x 1.5mm2 FRLS PVC armoured cu. Conductor | 85311020 | Mtr. | 550 |  | 0 |  | 0
C | Detection & Alarm System
1 | Photoelectric Detectors as per TS | 8531 | No. | 32 |  | 0 |  | 0
2 | Electronic Hooter with Strobes with Minimum 3 different tones which shall be operated outside the protected area in case of panel is activated. | 8531 | No. | 11 |  | 0 |  | 0
3 | Caution & Warning Signs (per location) as per TS | 8310 | No. | 22 |  | 0 |  | 0
D | Transportation and delivery of complete AFSS (per location) |  | No. | 11 |  | 0 |  | 0
E | Assembly, Integration, Installation, testing & commissioning of AFSS (per location) |  | No. | 11 |  | 0 |  | 0
F | Refilling of Clean Agent during Warranty period
a) | Refilling charges |  | per Cylinder | 1 |  | 0 |  | 0
b) | Clean Agent as per TS | 2914 | Kg. | 60 |  | 0 |  | 0
| Sub-total (A to F) |  |  |  |  | 0 |  | 0
G | AMC of Fire Supression System
1 | 1st year (per location) |  | Nos. | 11 |  | 0 |  | 0
2 | 2nd year (per location) |  | Nos. | 11 |  | 0 |  | 0
3 | 3rd year (per location) |  | Nos. | 11 |  | 0 |  | 0
4 | 4th year (per location) |  | Nos. | 11 |  | 0 |  | 0
5 | 5th year (per location) |  | Nos. | 11 |  | 0 |  | 0
6 | Refilling of Clean Agent during AMC period
a) | Refilling charges |  | per Cylinder | 2 |  | 0 |  | 0
b) | Clean Agent as per TS | 2914 | Kg. | 120 |  | 0 |  | 0
Note: i) BoQ item at A to be repeated for all different sizes of rooms.
ii) | Based on room sizing, control panels at B1, B2 & B3 to be kept in BoQ.
| Sub-total (G) |  |  |  |  | 0 |  | 0
| Total (A to G) |  |  |  |  | 0 |  | 0