| SN | Clause No. | Provision in the Bidding Documents | Bidder’s Query/Comments | POWERGRID’S Reply/Clarification |
| --- | --- | --- | --- | --- |
| 1 | Price Schedules, Volume III and Technical Specification, Volume II of the Bidding Documents | For Pipe Type Chemical Earthing & Counterpoise Chemical Earthing | The Drawing for Pipe Type-Chemical & Counter Poise-Chemical is not clear, please provide the clear drawings. Also, please specify the Chemical compound to be used. Please provide us the name of approved PGCIL vendors for Chemical Earthing | Drawings provided with bidding documents are clear. However, a copy of the same is enclosed for ready reference. The properties of the chemical to be used are indicated at cl. 1.7.5 of section IV of Technical Specification. The chemical earthing is to be carried out by the contractor. In case during execution stage the contractor propose any separate agency or subcontractor for the work, the details shall be submitted by contractor for review and approval of POWERGRID site in-charge as per relevant provision of bidding document engagement of sub vendor. |
| 2 | Price Schedules, Volume III and Technical Specification, Volume II of the Bidding Documents | Insulation sleeve for Powerline/NH/Expressway crossing and Jumper of Transposition Tower | Please provide the Technical Specification for Insulation Sleeves. Also, please provide the approved PGCIL vendors for supply of Insulation Sleeve. | Technical Specification of Insulation Sleeves is indicated at cl. 3.11.1 of section IV of the Technical Specification. Supply & installation of insulation sleeves is to be carried out by the contractor. In case during execution stage the contractor propose any separate agency or subcontractor for the work, the details shall be submitted by contractor for review and approval of POWERGRID site in-charge as per relevant provision of bidding document engagement of sub vendor. |