## Basic (hidden)
Package Name | 400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
Direct
Package Code | TR-48 | Bought-out
Specification No. | SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644

## Cover
Price Schedules | 400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity |  | TR-48
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3, Sch-5, Sch-7 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-4 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions (hidden)
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package TW13
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Select either Direct or Bought-out from the drop down menu. Do not leave the cell blank the same shall be deemed to be Bought-out if the cell is left blank.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of Taxes and Duties applicable on the Goods) :
| ● | Fill up applicable rate of Excise Duty. The amount of Excise Duty on the items mentioned as Direct in the mode of transaction in Schedule-1 shall be calculated automatically at the rate mentioned by the bidder here.
| ● | Segregate and fill up the amount on which Sales Tax shall be applicable out of Ex-works supply items mentioned as direct in the mode of transaction in Schedule-1. Applicable Excise Duty on this amount will be calculated automatically at the rate mentioned by the bidder. Further, fill up the rate of applicable Sales Tax. Amount of Sales Tax shall be automatically calculated on the amount mentioned by the bidder as subjected to Sales Tax plus applicable Excise Duty at the rate mentioned by the Bidder.
| ● | Difference of total amount quoted by the bidder as Direct Transaction and the amount mentioned by him subjected to Sales Tax shall be considered as the amount on which VAT shall become applicable and the same shall be calculated & displayed automatically. Applicable Excise Duty on this amount at the rate mentioned by the bidder shall also be calculated & displayed automatically. Fill up the rate of applicable VAT. The amount of VAT shall be calculated automatically on the amount considered to be subjected to VAT plus applicable Excise Duty at the rate mentioned by the bidder here.
| ● | Amount as per details filled up by the bidder in the work sheets Entry Tax, Octroi and other Taxes & Duties shall be displayed in this work sheet Sch-5 but will not be added to the grand total and shall be considered as applicable.
| ● | Click at the links to go to the work sheets Entry Tax, Octroi and other Taxes & Duties one by one.
Entry Tax :
| ● | Fill the description, amount and rate of applicable Entry Tax. Total of this worksheet shall be displayed in Sch -5 (Taxes & Duties)
| ● | Click at the link to go back to Sch-5.
OCTROI :
| ● | Fill the description, amount and rate of applicable Octroi. Total of this worksheet shall be displayed in Sch -5 (Taxes & Duties)
| ● | Click at the link to go back to Sch-5.
Other Taxes & Duties :
| ● | Fill the description, amount and rate of applicable Other Taxes & Duties. Total of this worksheet shall be displayed in Sch -5 (Taxes & Duties)
| ● | Click at the link to go back to Sch-5.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid form 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  |  | Sole Bidder | 1
|  |  |  | JV (Joint Venture) | Other Partner
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | 1 | 0
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner - 1
Address of other Partner - 1
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
Date |  | 31
Place
Click for Sch-1

## Sch-1
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 | [12 empty] | Schedule-1
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(SCHEDULE OF RATES AND PRICES)
BIDDER:
0 | [9 empty] | To: | [10 empty] | 1
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | Contract Services | [10 empty] | 0
Name : | [9 empty] | Power Grid Corporation of India Ltd., | [10 empty] | 0
Address : | [9 empty] | "Saudamini", Plot No.-2 | [10 empty] | JOINT VENTURE OF 0 & 0
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted.
(All Prices are in Indian Rupees)
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘6’ is confirmed. If not indicate applicable the HSN code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘8’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Qty. | Unit Ex-Works Price (excluding GST) | Total Ex-Works Price (excluding GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 = 12 X 13 | [11 empty] | 91
I | TR-48 400/220KV 315MVA ICT AT ALLHABAD S
1 | 7000024395 | 20 | SUPPLY | 1000001972 | 85042340 |  | 18 |  | 315MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding InsulatingOil | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
2 | 7000024395 | 30 | SUPPLY | 1000013981 | 85049010 |  | 18 |  | Insulating oil for 315MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
II | TR-48 _1X500MVA 400KV TR Bikaner-II | [12 empty] | 0 | 0 | 0 | 0 | 0
1 | 7000024398 | 10 | SUPPLY | 1000004798 | 85042340 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulatingoil | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
2 | 7000024398 | 20 | SUPPLY | 1000013986 | 85049010 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
3 | 7000024398 | 30 | SUPPLY | 1000032821 | 85049010 |  | 18 |  | DIGITAL RTCC RELAY | EA | 2 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
4 | 7000024398 | 40 | SUPPLY | 1000028349 | 85049010 |  | 18 |  | DIGITAL RTCC PANEL | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
5 | 7000024398 | 180 | Mandatory spare | 1000030932 | 85049010 |  | 18 |  | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
6 | 7000024398 | 190 | Mandatory spare | 1000044795 | 85469010 |  | 18 |  | 245KV 2000A RIP BUSHING MAKE MASSA LLC | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
7 | 7000024398 | 200 | Mandatory spare | 1000004920 | 85049010 |  | 18 |  | 52kV, 3150A Bushing with metal parts andgaskets | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
8 | 7000024398 | 210 | Mandatory spare | 1000063741 | 85049010 |  | 18 |  | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
9 | 7000024398 | 220 | Mandatory spare | 1000016694 | 85049010 |  | 18 |  | Starters, contactors, switches, relays, lamps etc for Electrical controlpanels, (One no. of each type) for Transformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
10 | 7000024398 | 230 | Mandatory spare | 1000007922 | 85049010 |  | 18 |  | LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
11 | 7000024398 | 240 | Mandatory spare | 1000028280 | 85049010 |  | 18 |  | Cooler fan with motor for 400kV Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
12 | 7000024398 | 250 | Mandatory spare | 1000020080 | 85049010 |  | 18 |  | Oil cooler pump with motor for 400kV Transformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
13 | 7000024398 | 260 | Mandatory spare | 1000049425 | 85049010 |  | 18 |  | Pressure Relief Device for Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
14 | 7000024398 | 270 | Mandatory spare | 1000009731 | 85049010 |  | 18 |  | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
15 | 7000024398 | 280 | Mandatory spare | 1000016676 | 85049010 |  | 18 |  | Magnetic Oil Level Gauge | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
16 | 7000024398 | 290 | Mandatory spare | 1000017322 | 85049010 |  | 18 |  | 36kV, 2000A Bushing with metal parts andgaskets for Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
17 | 7000024398 | 300 | Mandatory spare | 1000032089 | 85049010 |  | 18 |  | Oil flow indicator for 400kV T/F with flow switch | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
III | TR-48 _2X500MVA 400KV TR FOR LAKHISARAI | [12 empty] | 0 | 0 | 0 | 0 | 0
1 | 7000023983 | 2170 | SUPPLY | 1000004798 | 85042340 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulatingoil | EA | 2 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
2 | 7000023983 | 2180 | SUPPLY | 1000032821 | 85049010 |  | 18 |  | DIGITAL RTCC RELAY | EA | 3 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
3 | 7000023983 | 2190 | SUPPLY | 1000013986 | 85049010 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 2 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
4 | 7000023983 | 2200 | SUPPLY | 1000028349 | 85049010 |  | 18 |  | DIGITAL RTCC PANEL | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
5 | 7000023983 | 2220 | Mandatory spare | 1000030932 | 85049010 |  | 18 |  | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
6 | 7000023983 | 2230 | Mandatory spare | 1000044795 | 85469010 |  | 18 |  | 245KV 2000A RIP BUSHING MAKE MASSA LLC | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
7 | 7000023983 | 2240 | Mandatory spare | 1000004920 | 85049010 |  | 18 |  | 52kV, 3150A Bushing with metal parts andgaskets | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
8 | 7000023983 | 2250 | Mandatory spare | 1000063741 | 85049010 |  | 18 |  | 36KV, 2000A NEUTRAL BUSHING | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
9 | 7000023983 | 2260 | Mandatory spare | 1000016694 | 85049010 |  | 18 |  | Oil flow indicator for 400kV T/F with flow switch | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
10 | 7000023983 | 2270 | Mandatory spare | 1000007922 | 85049010 |  | 18 |  | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
11 | 7000023983 | 2280 | Mandatory spare | 1000028280 | 85049010 |  | 18 |  | Magnetic Oil Level Gauge | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
12 | 7000023983 | 2290 | Mandatory spare | 1000020080 | 85049010 |  | 18 |  | Starters, contactors, switches, relays, lamps etc for Electrical controlpanels, (One no. of each type) for Transformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
13 | 7000023983 | 2300 | Mandatory spare | 1000049425 | 85049010 |  | 18 |  | LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
14 | 7000023983 | 2310 | Mandatory spare | 1000009731 | 85049010 |  | 18 |  | Cooler fan with motor for 400kV Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
15 | 7000023983 | 2320 | Mandatory spare | 1000016676 | 85049010 |  | 18 |  | Oil cooler pump with motor for 400kV Transformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
16 | 7000023983 | 2330 | Mandatory spare | 1000017322 | 85049010 |  | 18 |  | Pressure Relief Device for Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
17 | 7000023983 | 2340 | Mandatory spare | 1000032089 | 85049010 |  | 18 |  | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
IV | TR-48 _1X500MVA 400KV TR Nalagarh | [12 empty] | 0 | 0 | 0 | 0 | 0
1 | 7000023899 | 1010 | SUPPLY | 1000004798 | 85042340 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulatingoil | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
2 | 7000023899 | 1020 | SUPPLY | 1000013986 | 85049010 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
3 | 7000023899 | 1030 | SUPPLY | 1000062593 | 85049010 |  | 18 |  | ANALOG/CONVENTIONAL TYPE RTCC PANEL WITH RELAYS AS PER TS | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
4 | 7000023899 | 1050 | Mandatory spare | 1000030932 | 85049010 |  | 18 |  | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
5 | 7000023899 | 1060 | Mandatory spare | 1000044795 | 85469010 |  | 18 |  | 245KV 2000A RIP BUSHING MAKE MASSA LLC | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
6 | 7000023899 | 1070 | Mandatory spare | 1000004920 | 85049010 |  | 18 |  | 52kV, 3150A Bushing with metal parts andgaskets | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
7 | 7000023899 | 1080 | Mandatory spare | 1000063741 | 85049010 |  | 18 |  | 36KV, 2000A NEUTRAL BUSHING | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
8 | 7000023899 | 1090 | Mandatory spare | 1000016694 | 85049010 |  | 18 |  | Oil flow indicator for 400kV T/F with flow switch | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
9 | 7000023899 | 1100 | Mandatory spare | 1000007922 | 85049010 |  | 18 |  | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
10 | 7000023899 | 1110 | Mandatory spare | 1000028280 | 85049010 |  | 18 |  | Magnetic Oil Level Gauge | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
11 | 7000023899 | 1120 | Mandatory spare | 1000020080 | 85049010 |  | 18 |  | Starters, contactors, switches, relays, lamps etc for Electrical controlpanels, (One no. of each type) for Transformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
12 | 7000023899 | 1130 | Mandatory spare | 1000049425 | 85049010 |  | 18 |  | LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
13 | 7000023899 | 1140 | Mandatory spare | 1000009731 | 85049010 |  | 18 |  | Cooler fan with motor for 400kV Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
14 | 7000023899 | 1150 | Mandatory spare | 1000016676 | 85049010 |  | 18 |  | Oil cooler pump with motor for 400kV Transformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
15 | 7000023899 | 1160 | Mandatory spare | 1000017322 | 85049010 |  | 18 |  | Pressure Relief Device for Transformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
16 | 7000023899 | 1170 | Mandatory spare | 1000032089 | 85049010 |  | 18 |  | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5 |  | INCLUDED | 0 | 0 | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | 0 | 0
Total Ex-Works Price | [12 empty] | 0 |  | 0 |  | 0 | 0 | 0 | #REF! |  | #REF! | #REF! | #REF!
Total Type Test charges as per Schedule-7 | [12 empty] | Not Applicable | [6 empty] | #REF! |  | #REF! | #REF! | #REF!
Total Ex-Works Price including Type Test charges | [12 empty] | 0
# In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
| Date: | [7 empty] | Printed Name:
| Place: | [7 empty] | Designation:
Click for Sch-2

## Sch-2
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 | [8 empty] | Schedule - 2
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(SCHEDULE OF RATES AND PRICES)
BIDDER:
0 | [6 empty] | To:
Bidder’s Name and Address (Sole Bidder) : | [6 empty] | Contract Services
Name : | [6 empty] | Power Grid Corporation of India Ltd.,
Address : | [6 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Local Transportation, In-transit Insurance, Loading and Unloading
(All Prices are in Indian Rupees)
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & Unloading Charges | Total Freight, In-transit Insurance, loading & Unloading Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 X 9
I | TR-48 400/220KV 315MVA ICT AT ALLHABAD S
1 | 7000024395 | 20 | SUPPLY | 1000001972 | 315MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding InsulatingOil | EA | 1 |  | INCLUDED
2 | 7000024395 | 30 | SUPPLY | 1000013981 | Insulating oil for 315MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED
II | TR-48 _1X500MVA 400KV TR Bikaner-II
1 | 7000024398 | 10 | SUPPLY | 1000004798 | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulatingoil | EA | 1 |  | INCLUDED
2 | 7000024398 | 20 | SUPPLY | 1000013986 | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED
3 | 7000024398 | 30 | SUPPLY | 1000032821 | DIGITAL RTCC RELAY | EA | 2 |  | INCLUDED
4 | 7000024398 | 40 | SUPPLY | 1000028349 | DIGITAL RTCC PANEL | SET | 1 |  | INCLUDED
5 | 7000024398 | 180 | Mandatory spare | 1000030932 | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1 |  | INCLUDED
6 | 7000024398 | 190 | Mandatory spare | 1000044795 | 245KV 2000A RIP BUSHING MAKE MASSA LLC | EA | 1 |  | INCLUDED
7 | 7000024398 | 200 | Mandatory spare | 1000004920 | 52kV, 3150A Bushing with metal parts andgaskets | EA | 1 |  | INCLUDED
8 | 7000024398 | 210 | Mandatory spare | 1000063741 | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1 |  | INCLUDED
9 | 7000024398 | 220 | Mandatory spare | 1000016694 | Starters, contactors, switches, relays, lamps etc for Electrical controlpanels, (One no. of each type) for Transformer | SET | 1 |  | INCLUDED
10 | 7000024398 | 230 | Mandatory spare | 1000007922 | LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT | SET | 1 |  | INCLUDED
11 | 7000024398 | 240 | Mandatory spare | 1000028280 | Cooler fan with motor for 400kV Transformer | EA | 1 |  | INCLUDED
12 | 7000024398 | 250 | Mandatory spare | 1000020080 | Oil cooler pump with motor for 400kV Transformer | SET | 1 |  | INCLUDED
13 | 7000024398 | 260 | Mandatory spare | 1000049425 | Pressure Relief Device for Transformer | EA | 1 |  | INCLUDED
14 | 7000024398 | 270 | Mandatory spare | 1000009731 | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5 |  | INCLUDED
15 | 7000024398 | 280 | Mandatory spare | 1000016676 | Magnetic Oil Level Gauge | EA | 1 |  | INCLUDED
16 | 7000024398 | 290 | Mandatory spare | 1000017322 | 36kV, 2000A Bushing with metal parts andgaskets for Transformer | EA | 1 |  | INCLUDED
17 | 7000024398 | 300 | Mandatory spare | 1000032089 | Oil flow indicator for 400kV T/F with flow switch | SET | 1 |  | INCLUDED
III | TR-48 _2X500MVA 400KV TR FOR LAKHISARAI
1 | 7000023983 | 2170 | SUPPLY | 1000004798 | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulatingoil | EA | 2 |  | INCLUDED
2 | 7000023983 | 2180 | SUPPLY | 1000032821 | DIGITAL RTCC RELAY | EA | 3 |  | INCLUDED
3 | 7000023983 | 2190 | SUPPLY | 1000013986 | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 2 |  | INCLUDED
4 | 7000023983 | 2200 | SUPPLY | 1000028349 | DIGITAL RTCC PANEL | SET | 1 |  | INCLUDED
5 | 7000023983 | 2220 | Mandatory spare | 1000030932 | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1 |  | INCLUDED
6 | 7000023983 | 2230 | Mandatory spare | 1000044795 | 245KV 2000A RIP BUSHING MAKE MASSA LLC | EA | 1 |  | INCLUDED
7 | 7000023983 | 2240 | Mandatory spare | 1000004920 | 52kV, 3150A Bushing with metal parts andgaskets | EA | 1 |  | INCLUDED
8 | 7000023983 | 2250 | Mandatory spare | 1000063741 | 36KV, 2000A NEUTRAL BUSHING | EA | 1 |  | INCLUDED
9 | 7000023983 | 2260 | Mandatory spare | 1000016694 | Oil flow indicator for 400kV T/F with flow switch | SET | 1 |  | INCLUDED
10 | 7000023983 | 2270 | Mandatory spare | 1000007922 | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1 |  | INCLUDED
11 | 7000023983 | 2280 | Mandatory spare | 1000028280 | Magnetic Oil Level Gauge | EA | 1 |  | INCLUDED
12 | 7000023983 | 2290 | Mandatory spare | 1000020080 | Starters, contactors, switches, relays, lamps etc for Electrical controlpanels, (One no. of each type) for Transformer | SET | 1 |  | INCLUDED
13 | 7000023983 | 2300 | Mandatory spare | 1000049425 | LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT | SET | 1 |  | INCLUDED
14 | 7000023983 | 2310 | Mandatory spare | 1000009731 | Cooler fan with motor for 400kV Transformer | EA | 1 |  | INCLUDED
15 | 7000023983 | 2320 | Mandatory spare | 1000016676 | Oil cooler pump with motor for 400kV Transformer | SET | 1 |  | INCLUDED
16 | 7000023983 | 2330 | Mandatory spare | 1000017322 | Pressure Relief Device for Transformer | EA | 1 |  | INCLUDED
17 | 7000023983 | 2340 | Mandatory spare | 1000032089 | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5 |  | INCLUDED
IV | TR-48 _1X500MVA 400KV TR Nalagarh
1 | 7000023899 | 1010 | SUPPLY | 1000004798 | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulatingoil | EA | 1 |  | INCLUDED
2 | 7000023899 | 1020 | SUPPLY | 1000013986 | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED
3 | 7000023899 | 1030 | SUPPLY | 1000062593 | ANALOG/CONVENTIONAL TYPE RTCC PANEL WITH RELAYS AS PER TS | SET | 1 |  | INCLUDED
4 | 7000023899 | 1050 | Mandatory spare | 1000030932 | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1 |  | INCLUDED
5 | 7000023899 | 1060 | Mandatory spare | 1000044795 | 245KV 2000A RIP BUSHING MAKE MASSA LLC | EA | 1 |  | INCLUDED
6 | 7000023899 | 1070 | Mandatory spare | 1000004920 | 52kV, 3150A Bushing with metal parts andgaskets | EA | 1 |  | INCLUDED
7 | 7000023899 | 1080 | Mandatory spare | 1000063741 | 36KV, 2000A NEUTRAL BUSHING | EA | 1 |  | INCLUDED
8 | 7000023899 | 1090 | Mandatory spare | 1000016694 | Oil flow indicator for 400kV T/F with flow switch | SET | 1 |  | INCLUDED
9 | 7000023899 | 1100 | Mandatory spare | 1000007922 | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1 |  | INCLUDED
10 | 7000023899 | 1110 | Mandatory spare | 1000028280 | Magnetic Oil Level Gauge | EA | 1 |  | INCLUDED
11 | 7000023899 | 1120 | Mandatory spare | 1000020080 | Starters, contactors, switches, relays, lamps etc for Electrical controlpanels, (One no. of each type) for Transformer | SET | 1 |  | INCLUDED
12 | 7000023899 | 1130 | Mandatory spare | 1000049425 | LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT | SET | 1 |  | INCLUDED
13 | 7000023899 | 1140 | Mandatory spare | 1000009731 | Cooler fan with motor for 400kV Transformer | EA | 1 |  | INCLUDED
14 | 7000023899 | 1150 | Mandatory spare | 1000016676 | Oil cooler pump with motor for 400kV Transformer | SET | 1 |  | INCLUDED
15 | 7000023899 | 1160 | Mandatory spare | 1000017322 | Pressure Relief Device for Transformer | EA | 1 |  | INCLUDED
16 | 7000023899 | 1170 | Mandatory spare | 1000032089 | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5 |  | INCLUDED
[5 empty] | TOTAL |  |  |  | 0 | 0
Note: Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, In-transit Insurance, loading and unloading only in line with clause ITB 11.4(b).
| Date: |  |  |  |  | Printed Name:
| Place: |  |  |  |  | Designation:

## Sch-3
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 | [14 empty] | Schedule - 3
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(SCHEDULE OF RATES AND PRICES )
BIDDER:
0 | [11 empty] | To:
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | Contract Services
Name : | [11 empty] | Power Grid Corporation of India Ltd.,
Address : | [11 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Installation Charges :
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column ‘8’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable (in %) | Whether rate of GST in column ‘10’ is confirmed. If not indicate applicable rate of GST # | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges |  | GST Before Discount | Discount | Total Price after discount | GST After Discount
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16=14*15
I | TR-48 _2X500MVA 400KV TR FOR LAKHISARAI
1 | 7000023983 | 2210 | 20 | 10 | SERVICE | 100000015 | 998736 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulating oil | EA | 2 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
2 | 7000023983 | 2210 | 20 | 20 | SERVICE | 100001910 | 998736 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 2 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 7000023983 | 2210 | 20 | 30 | SERVICE | 100032665 | 998875 |  | 18 |  | Service-DIGITAL RTCC RELAY | SET | 2 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 7000023983 | 2210 | 20 | 40 | SERVICE | 100002238 | 998736 |  | 18 |  | Digital RTCC Panel consist of digital RTCC relays as per technical specification | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
II | TR-48 _1X500MVA 400KV TR Bikaner-II | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 7000024398 | 170 | 30 | 10 | SERVICE | 100000015 | 998736 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulating oil | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
2 | 7000024398 | 170 | 30 | 20 | SERVICE | 100001910 | 998736 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
3 | 7000024398 | 170 | 30 | 30 | SERVICE | 100032665 | 998875 |  | 18 |  | Service-DIGITAL RTCC RELAY | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
4 | 7000024398 | 170 | 30 | 40 | SERVICE | 100002238 | 998736 |  | 18 |  | Digital RTCC Panel consist of digital RTCC relays as per technical specification | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
III | TR-48 _1X500MVA 400KV TR Nalagarh | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 7000023899 | 1040 | 20 | 10 | SERVICE | 100000015 | 998736 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulating oil | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
2 | 7000023899 | 1040 | 20 | 20 | SERVICE | 100001910 | 998736 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 7000023899 | 1040 | 20 | 50 | SERVICE | 100034622 | 998736 |  | 18 |  | ANALOG/CONVENTIONAL TYPE RTCC PANEL WITH RELAYS AS PER TS | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
IV | TR-48 400/220KV 315MVA ICT AT ALLHABAD S | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 7000024395 | 10 | 20 | 10 | SERVICE | 100012372 | 998736 |  | 18 |  | 315MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulating oil & without cooler bank | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
2 | 7000024395 | 10 | 20 | 30 | SERVICE | 100001911 | 998736 |  | 18 |  | Insulating oil for 315MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
3 | 7000024395 | 10 | 20 | 40 | SERVICE | 100043125 | 998736 |  | 18 |  | Installation of Cooler Bank of 315MVA, 400/220/33 KV, 3-phase Autotransformer | EA | 1 |  | INCLUDED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0
| Total | [13 empty] | 0 |  | 0 |  |  | 0 | 0 |  | #REF! |  | #REF!
[23 empty] | Total Corrected Price (excl. GST) |  | GST Amount
# | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
| Date: | [10 empty] | Printed Name:
| Place: | [10 empty] | Designation:
0

## Sch-4
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 | [14 empty] | Schedule - 4
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(SCHEDULE OF RATES AND PRICES )
BIDDER:
0 | [12 empty] | To:
Bidder’s Name and Address (Sole Bidder) : | [12 empty] | Contract Services
Name : | [12 empty] | Power Grid Corporation of India Ltd.,
Address : | [12 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Training Charges :
SI. No. | PR No | Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column ‘…’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘---’ is confirmed. If not indicate applicable rate of GST # | Description | Unit | Quantity | Unit Charges | Total Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16=14*15
NOT APPLICABLE
NOTE: To and fro charges and accommodation for the Instructor (Trainer) and Training material for the Trainees shall be included in the prices quoted by the bidder.
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank” “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder
Date
| Place | [9 empty] | Printed Name
Designation

## Sch-5
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  |  | Schedule - 5
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
BIDDER:
0 |  |  | To:
Bidder’s Name and Address (Sole Bidder) : |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST on Goods |  | 0 |  | Excise Duty | #REF! | Excise Duty | #REF!
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST on Services |  | 0 |  | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (indentified in Schedule-3) and Training to be imparted in India (identified in Schedule-4) which are not included in the Installation and Training charges as per the provision of the Bidding Documents, as applicable |  |  |  | #REF! | 0 | #REF! | 0
| GRAND TOTAL [1+2] |  | 0
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5 after discount (hidden)
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  |  | Schedule - 5
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
BIDDER:
0 |  |  | To:
Bidder’s Name and Address (Sole Bidder) : |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST on Goods |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST on Services |  | 0
Total GST on Installation Services (indentified in Schedule-3) and Training to be imparted in India (identified in Schedule-4) which are not included in the Installation and Training charges as per the provision of the Bidding Documents, as applicable
| GRAND TOTAL [1+2] |  | 0
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  | Schedule - 6
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(GRAND SUMMARY)
BIDDER:
0 |  |  | To:
Bidder’s Name and Address (Sole Bidder) : |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading and unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | Not Applicable
Training Charges
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | Not Applicable
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
GRAND TOTAL [1+2+3+5]
0
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-6 After Discount (hidden)
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  | Schedule - 6 After Discount
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(GRAND SUMMARY)
#REF! |  |  | To:
Bidder’s Name and Address (Sole Bidder) : |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2
Local Transportation, Insurance and other Incidental Services
3 | TOTAL SCHEDULE NO. 3
Installation Charges
4 | TOTAL SCHEDULE NO. 4
Training Charges
5 | TOTAL SCHEDULE NO. 5
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
GRAND TOTAL [1+2+3+4+5]
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-6 (After Discount)
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  | Schedule - 6
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
(GRAND SUMMARY)
BIDDER:
0 |  |  | To:
Bidder’s Name and Address (Sole Bidder) : |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR) | From Sch-6 | Discount Factors
1 | TOTAL SCHEDULE NO. 1 |  | 0 | 0 | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0 | 0 | 0
Local Transportation, In-transit Insurance, loading and unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0 | 0 | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | Not Applicable
Training Charges
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | Not Applicable
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
GRAND TOTAL [1+2+3+5]
0
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 | [11 empty] | Schedule 7
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity | [12 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES ) | [12 empty] | AS per Percent |  | #REF!
BIDDER:
0
| Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
| Name : | [8 empty] | Contract Services
| Address : | [8 empty] | Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Type tests on Earthwire, Hardwar Fittings & accessories of conductor & earthwire:
SL. NO. | PR No | Line Item No | Code | HSN of the Equipment /item for which type test is to be conducted | Whether HSN in column ‘---’ is confirmed. If not indicate applicable the HSN code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘---’ is confirmed. If not indicate applicable rate of GST # | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
NOT APPLICABLE
| Date | [5 empty] | Printed Name
| Place | [5 empty] | Designation
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644
400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity | [7 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | 0 | 0
#REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | 0 | 0
SL. NO. | [7 empty] | Description of Test | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!

## Discount
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services | [6 empty] | Schedule 1 | 0
Power Grid Corporation of India Ltd., | [6 empty] | Schedule 2 | 0
"Saudamini", Plot No.-2 | [6 empty] | Schedule 3 | 0
Sector-29, (near IFFCO Chowk) | [6 empty] | Total | 0
Gurgaon (Haryana) - 122001
Subject : |  | 400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Sch-1 | Sch-2 | Sch-3
| 1 | Discount on lum-sum basis on total price quoted by us without GST. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4 & Sch-7] In Rs. |  |  |  | 0 | 0 | 0
| 2 | Discount on percent basis on total price quoted by us without GST. [The discount shall be applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4 & Sch-7] In Percent (%) |  |  |  | 0 | 0 | 0
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0
|  | Schedule-2 : Local Transportation, In-transit Insurance, loading and unloading |  | In Rs. |  |  | 0
|  | Schedule-3 : Installation Charges |  | In Rs. |  |  |  | 0
|  | Schedule-4 : Training Charges |  | In Rs.
|  | Schedule-7 : Type Test Charges |  | In Rs.
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0
|  | Schedule-2 : Local Transportation, In-transit Insurance, loading and unloading |  | In Percent (%) |  |  | 0
|  | Schedule-3 : Installation Charges |  | In Percent (%) |  |  |  | 0
|  | Schedule-4 : Training Charges |  | In Percent (%)
|  | Schedule-7 : Type Test Charges |  | In Percent (%)
Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
[6 empty] | 0 | 0 | 0 | 0 | 0
|  | Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation. |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #REF!
[Discount will not be calculated authometrically. However, the same shall be considered during evaluation.]
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain, | [5 empty] | 0 | 0 | 0
[5 empty] | Yours faithfully, | 0 | 0 | 0 | Discount Factors
For and on behalf of
Date : |  |  | Printed Name : | 0
Place : |  |  | Designation : | 0

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
SPEC. NO.: CC/NT/W-TR/DOM/A06/23/06644 |  |  |  |  | Bid Form 2nd Envelope |  |  |  | Sole Bidder | 1 | st |  | 1 | January
[9 empty] | 0 | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | [9 empty] | 6 | th | #VALUE! | 6 | June
[10 empty] | 7 | th | #VALUE! | 7 | July
To: | [9 empty] | 8 | th | #VALUE! | 8 | August
0 | [9 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [9 empty] | 11 | th |  | 11 | November
Sector-29, | [9 empty] | 12 | th |  | 12 | December
Gurgaon (Haryana) - 122001 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : |  | 400kV Transformer Package TR-48 for (a) 2x500MVA, 400/220/33kV Transformers at Lakhisarai S/S under Eastern Region Expansion Scheme XXXVII (ERES-XXXVII), (b) 1x315MVA, 400/220/33kV Transformer at Allahabad S/S under SIS reserve fund, (c) 1x500MVA, 400/220/33kV Transformer at Nalagarh S/S under Augmentation of Transformation Capacity and (d) 1x500MVA, 400/220/33kV Transformer at Bikaner-II (PS) S/S under Augmentation of transformation capacity | [7 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0/- () or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. |  |  |  | 17 | th
[6 empty] | 0 | /- (
)
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. |  |  |  |  | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents |  |  |  | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [6 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [6 empty] | 22 | th
| Schedule 3 |  | Installation Charges. |  |  | Sole Bidder |  |  |  | 23 | th
| Schedule 4 |  | Training charges for training to be imparted. | [6 empty] | 24 | th
| Schedule 5 |  | Taxes and Duties not included in Schedule 1 | [6 empty] | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1to 5] | [6 empty] | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted | [6 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [8 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted in India specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted in India specified in Schedule No. 4 of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of test
Signature :
Date : |  |  |  | Printed Name : | 0
Place : |  |  |  | Designation : | 0
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## QC (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
ALL FIGURES ARE IN INDIAN RUPEES
BIDDER
SL. | PRICE COMPONENT | QUOTED PRICE | CORRECTED PRICE
1 | Price of Plant and Equipment (including Mandatory Spares Parts) to be supplied [Schedule-1] | 0 |  | #REF!
2 | Local Transportation, In-transit Insurance, loading and unloading charges [Schedule-2] | 0 |  | 0
3 | Installation Charges [Schedule-3] | 0 |  | #REF!
4 | Type Test Charges [Schedule-7] | Not Applicable |  | Not Applicable
5 | Total Bid Price excluding GST (1+2+3+4) | 0 |  | #REF!
6 | Discount | NIL |  | NIL
7 | Total Bid Price excluding GST (1+2+3+4) | 0 |  | #REF!
8 | Taxes & Duties:
| GST on Supply of Goods @5% | 0 |  | 0 | total GST on supply | 291545315.52
| GST on Supply of Goods @12% | 0 |  | 0
| GST on Supply of Goods @12% | 0 |  | #REF!
| GST on Supply of Goods @18% |  |  | #REF!
| GST on Supply of Goods @28% |  |  | #REF!
| GST on Supply of Installation Services @ 18% | 0 |  | #REF!
| GST on Type Test Charges | Not Applicable |  | Not Applicable
9 | Total Taxes & Duties | 0 |  | #REF!
10 | Total Bid Price (including Taxes & Duties) | 0 |  | #REF!
Note-1: | It may be mentioned that KEC in Schedule-1 & 3 of their bid, have confirmed/deemed confirmed HSN/SAC code. Also, KEC have confirmed/ deemed confirmed rate of GST for all the items/services in Schedule-1 & 3. Hence the GST tax rate as quoted by KEC has been considered to arrive at their total evaluated bid price, in line with the provisions of the Bidding Documents.
Note-2: | It may be mentioned that KEC in Schedule-3 of their bid, have quoted unit prices in more than 2 place of decimals. Accordingly, to work out the total corrected price, unit rates quoted by KEC are rounded off to 2 place of decimals.
765kV Transformer Package TR-35 associated with (i) Transmission Network Expansion in Gujarat to increase its ATC from ISTS: Part B; (ii) Transmission Network Expansion in Gujarat to increase its ATC from ISTS: Part C; and (iii) Transmission Network Expansion in Gujarat associated with integration of RE projects from Khavda potential RE Zone; Spec. No.: 5002002164/TRANSFORMER/DOM/A04-CC CS -5
Annexure-E9

## Contracts-Template (hidden)
Exworks
| Total Ex-Works Price Direct |  |  |  |  | 0
| Total Ex-Works Price Bought Out |  |  |  |  | 0
| Total Ex-Works Price |  |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  |  | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
^ | If the item(s) quoted/considered as "Bought-out" in the bid are manufactured at Bidder's works and confirmed to be supplied under “Direct transaction” by the bidder, then the taxes and duties on such items shall be paid/reimbursed by POWERGRID in line with the provisions of Bidding Documents. For this purpose, at the time of award, the Ex-works price (exclusive of taxes & duties) shall be arrived at from the quoted Ex-works price (inclusive of taxes ad duties) by excluding taxes and duties applicable on such items, as on date of Bid opening, in case of supplies from manufacturer proposed in the bid. During contract execution, the taxes and duties on such items shall be paid/reimbursed at actuals, limited to the rates prevailing on date of Bid opening.
Date : | --
Place : |  |  | Printed Name : |  | --
Designation :
FandI
| Total F&I Price |  |  |  |  | (=SUM(I16:I27))
Date : | (='Sch-1'!B43)
Place : | (='Sch-1'!B44) |  | Printed Name : | (='Sch-1'!E44)
|  |  | Designation : | (='Sch-1'!E45)
service
| Total Installaiton Charges | [5 empty] | #REF!
Date : | (='Sch-1'!B43)
Place : | (='Sch-1'!B44) |  | Printed Name : | (='Sch-1'!E44)
|  |  | Designation : | (='Sch-1'!E45)
Training
Date : | (=IF('Sch-1'!B43=0,"", 'Sch-1'!B43)) |  | (="Printed Name : " & IF('Sch-1'!E44=0,"",'Sch-1'!E44))
Place : | (=IF('Sch-1'!B44=0,"", 'Sch-1'!B44)) |  | (="Designation : " & IF('Sch-1'!E45=0,"",'Sch-1'!E45))
Type test
| TOTAL TYPE TEST CHARGES |  |  |  |  | (=SUM(I17:I18))
Date : | (='Sch-1'!B43) | (="Printed Name : " & 'Sch-1'!E44)
Place : | (='Sch-1'!B44) | (="Designation : " & 'Sch-1'!E45)
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Direct
Bought-out

## N-W (Cr.) (hidden)
#REF! |  |  | 0 |  | #REF! |  |  | 0 |  |  | #REF!
#REF!
INR
#REF! |  |  |  |  | #REF! | [5 empty] | #N/A
#N/A
#REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0
#REF! | #REF! | #REF! | 0 |  | #REF! | #REF! | #REF! | 0
#REF! | #REF! | #REF! | 0 |  | #REF! | #REF! | #REF! | 0 |  | #REF! | 0 | 0 | 0 | 0 | #REF! | plus
#REF! | #REF! | #REF! | 0 |  | #REF! | #REF! | #REF! | 0 |  | #REF! | 0 | 0 | 0 | 1 | #REF!
#REF! | #REF! | #REF! | 0 |  | #REF! | #REF! | #REF! | 0 |  | #REF! | 0 | 0 | 1 | 0 | #REF!
#REF! | #REF! | #REF! | 0 |  | #REF! | #REF! | #REF! | 0 |  | #REF! | 0 | 0 | 1 | 1 | #REF!
[10 empty] | #REF! | 0 | 1 | 0 | 0 | #REF!
1 | One |  | 1 | One | 1 | One |  | 1 | One | #REF! | 0 | 1 | 0 | 1 | #REF!
2 | Two |  | 2 | Two | 2 | Two |  | 2 | Two | #REF! | 0 | 1 | 1 | 0 | #REF!
3 | Three |  | 3 | Three | 3 | Three |  | 3 | Three | #REF! | 0 | 1 | 1 | 1 | #REF!
4 | Four |  | 4 | Four | 4 | Four |  | 4 | Four | #REF! | 1 | 0 | 0 | 0 | #REF!
5 | Five |  | 5 | Five | 5 | Five |  | 5 | Five | #REF! | 1 | 0 | 0 | 1 | #REF!
6 | Six |  | 6 | Six | 6 | Six |  | 6 | Six | #REF! | 1 | 0 | 1 | 0 | #REF!
7 | Seven |  | 7 | Seven | 7 | Seven |  | 7 | Seven | #REF! | 1 | 0 | 1 | 1 | #REF!
8 | Eight |  | 8 | Eight | 8 | Eight |  | 8 | Eight | #REF! | 1 | 1 | 0 | 0 | #REF!
9 | Nine |  | 9 | Nine | 9 | Nine |  | 9 | Nine | #REF! | 1 | 1 | 0 | 1 | #REF!
10 | Ten |  | 10 | Ten | 10 | Ten |  | 10 | Ten | #REF! | 1 | 1 | 1 | 0 | #REF!
11 | Eleven |  | 11 | Eleven | 11 | Eleven |  | 11 | Eleven | #REF! | 1 | 1 | 1 | 1 | #REF!
12 | Twelve |  | 12 | Twelve | 12 | Twelve |  | 12 | Twelve
13 | Thirteen |  | 13 | Thirteen | 13 | Thirteen |  | 13 | Thirteen
14 | Fourteen |  | 14 | Fourteen | 14 | Fourteen |  | 14 | Fourteen
15 | Fifteen |  | 15 | Fifteen | 15 | Fifteen |  | 15 | Fifteen
16 | Sixteen |  | 16 | Sixteen | 16 | Sixteen |  | 16 | Sixteen | #REF! | 0 | 0 | 0 | 0 | #REF! | +
17 | Seventeen |  | 17 | Seventeen | 17 | Seventeen |  | 17 | Seventeen | #REF! | 0 | 0 | 0 | 1 | #REF! | /- +
18 | Eighteen |  | 18 | Eighteen | 18 | Eighteen |  | 18 | Eighteen | #REF! | 0 | 0 | 1 | 0 | #REF! | /-
19 | Nineteen |  | 19 | Nineteen | 19 | Nineteen |  | 19 | Nineteen | #REF! | 0 | 0 | 1 | 1 | #REF!
20 | Twenty |  | 20 | Twenty | 20 | Twenty |  | 20 | Twenty | #REF! | 0 | 1 | 0 | 0 | #REF!
21 | Twenty One |  | 21 | Twenty One | 21 | Twenty One |  | 21 | Twenty One | #REF! | 0 | 1 | 0 | 1 | #REF!
22 | Twenty Two |  | 22 | Twenty Two | 22 | Twenty Two |  | 22 | Twenty Two | #REF! | 0 | 1 | 1 | 0 | #REF!
23 | Twenty Three |  | 23 | Twenty Three | 23 | Twenty Three |  | 23 | Twenty Three | #REF! | 0 | 1 | 1 | 1 | #REF!
24 | Twenty Four |  | 24 | Twenty Four | 24 | Twenty Four |  | 24 | Twenty Four | #REF! | 1 | 0 | 0 | 0 | #REF!
25 | Twenty Five |  | 25 | Twenty Five | 25 | Twenty Five |  | 25 | Twenty Five | #REF! | 1 | 0 | 0 | 1 | #REF!
26 | Twenty Six |  | 26 | Twenty Six | 26 | Twenty Six |  | 26 | Twenty Six | #REF! | 1 | 0 | 1 | 0 | #REF!
27 | Twenty Seven |  | 27 | Twenty Seven | 27 | Twenty Seven |  | 27 | Twenty Seven | #REF! | 1 | 0 | 1 | 1 | #REF!
28 | Twenty Eight |  | 28 | Twenty Eight | 28 | Twenty Eight |  | 28 | Twenty Eight | #REF! | 1 | 1 | 0 | 0 | #REF!
29 | Twenty Nine |  | 29 | Twenty Nine | 29 | Twenty Nine |  | 29 | Twenty Nine | #REF! | 1 | 1 | 0 | 1 | #REF!
30 | Thirty |  | 30 | Thirty | 30 | Thirty |  | 30 | Thirty | #REF! | 1 | 1 | 1 | 0 | #REF!
31 | Thirty One |  | 31 | Thirty One | 31 | Thirty One |  | 31 | Thirty One | #REF! | 1 | 1 | 1 | 1 | #REF!
32 | Thirty Two |  | 32 | Thirty Two | 32 | Thirty Two |  | 32 | Thirty Two
33 | Thirty Three |  | 33 | Thirty Three | 33 | Thirty Three |  | 33 | Thirty Three
34 | Thirty Four |  | 34 | Thirty Four | 34 | Thirty Four |  | 34 | Thirty Four
35 | Thirty Fivr |  | 35 | Thirty Fivr | 35 | Thirty Fivr |  | 35 | Thirty Fivr
36 | Thirty Six |  | 36 | Thirty Six | 36 | Thirty Six |  | 36 | Thirty Six
37 | Thirty Seven |  | 37 | Thirty Seven | 37 | Thirty Seven |  | 37 | Thirty Seven
38 | Thirty Eight |  | 38 | Thirty Eight | 38 | Thirty Eight |  | 38 | Thirty Eight
39 | Thirty Nine |  | 39 | Thirty Nine | 39 | Thirty Nine |  | 39 | Thirty Nine
40 | Forty |  | 40 | Forty | 40 | Forty |  | 40 | Forty
41 | Forty One |  | 41 | Forty One | 41 | Forty One |  | 41 | Forty One
42 | Forty Two |  | 42 | Forty Two | 42 | Forty Two |  | 42 | Forty Two
43 | Forty Three |  | 43 | Forty Three | 43 | Forty Three |  | 43 | Forty Three
44 | Forty Four |  | 44 | Forty Four | 44 | Forty Four |  | 44 | Forty Four
45 | Forty Five |  | 45 | Forty Five | 45 | Forty Five |  | 45 | Forty Five
46 | Forty Six |  | 46 | Forty Six | 46 | Forty Six |  | 46 | Forty Six
47 | Forty Seven |  | 47 | Forty Seven | 47 | Forty Seven |  | 47 | Forty Seven
48 | Forty Eight |  | 48 | Forty Eight | 48 | Forty Eight |  | 48 | Forty Eight
49 | Forty Nine |  | 49 | Forty Nine | 49 | Forty Nine |  | 49 | Forty Nine
50 | Fifty |  | 50 | Fifty | 50 | Fifty |  | 50 | Fifty
51 | Fifty One |  | 51 | Fifty One | 51 | Fifty One |  | 51 | Fifty One
52 | Fifty Two |  | 52 | Fifty Two | 52 | Fifty Two |  | 52 | Fifty Two
53 | Fifty Three |  | 53 | Fifty Three | 53 | Fifty Three |  | 53 | Fifty Three
54 | Fifty Four |  | 54 | Fifty Four | 54 | Fifty Four |  | 54 | Fifty Four
55 | Fifty Five |  | 55 | Fifty Five | 55 | Fifty Five |  | 55 | Fifty Five
56 | Fifty Six |  | 56 | Fifty Six | 56 | Fifty Six |  | 56 | Fifty Six
57 | Fifty Seven |  | 57 | Fifty Seven | 57 | Fifty Seven |  | 57 | Fifty Seven
58 | Fifty Eight |  | 58 | Fifty Eight | 58 | Fifty Eight |  | 58 | Fifty Eight
59 | Fifty Nine |  | 59 | Fifty Nine | 59 | Fifty Nine |  | 59 | Fifty Nine
60 | Sixty |  | 60 | Sixty | 60 | Sixty |  | 60 | Sixty
61 | Sixty One |  | 61 | Sixty One | 61 | Sixty One |  | 61 | Sixty One
62 | Sixty Two |  | 62 | Sixty Two | 62 | Sixty Two |  | 62 | Sixty Two
63 | Sixty Three |  | 63 | Sixty Three | 63 | Sixty Three |  | 63 | Sixty Three
64 | Sixty Four |  | 64 | Sixty Four | 64 | Sixty Four |  | 64 | Sixty Four
65 | Sixty Five |  | 65 | Sixty Five | 65 | Sixty Five |  | 65 | Sixty Five
66 | Sixty Six |  | 66 | Sixty Six | 66 | Sixty Six |  | 66 | Sixty Six
67 | Sixty Seven |  | 67 | Sixty Seven | 67 | Sixty Seven |  | 67 | Sixty Seven
68 | Sixty Eight |  | 68 | Sixty Eight | 68 | Sixty Eight |  | 68 | Sixty Eight
69 | Sixty Nine |  | 69 | Sixty Nine | 69 | Sixty Nine |  | 69 | Sixty Nine
70 | Seventy |  | 70 | Seventy | 70 | Seventy |  | 70 | Seventy
71 | Seventy One |  | 71 | Seventy One | 71 | Seventy One |  | 71 | Seventy One
72 | Seventy Two |  | 72 | Seventy Two | 72 | Seventy Two |  | 72 | Seventy Two
73 | Seventy Three |  | 73 | Seventy Three | 73 | Seventy Three |  | 73 | Seventy Three
74 | Seventy Four |  | 74 | Seventy Four | 74 | Seventy Four |  | 74 | Seventy Four
75 | Seventy Five |  | 75 | Seventy Five | 75 | Seventy Five |  | 75 | Seventy Five
76 | Seventy Six |  | 76 | Seventy Six | 76 | Seventy Six |  | 76 | Seventy Six
77 | Seventy Seven |  | 77 | Seventy Seven | 77 | Seventy Seven |  | 77 | Seventy Seven
78 | Seventy Eight |  | 78 | Seventy Eight | 78 | Seventy Eight |  | 78 | Seventy Eight
79 | Seventy Nine |  | 79 | Seventy Nine | 79 | Seventy Nine |  | 79 | Seventy Nine
80 | Eighty |  | 80 | Eighty | 80 | Eighty |  | 80 | Eighty
81 | Eighty One |  | 81 | Eighty One | 81 | Eighty One |  | 81 | Eighty One
82 | Eighty Two |  | 82 | Eighty Two | 82 | Eighty Two |  | 82 | Eighty Two
83 | Eighty Three |  | 83 | Eighty Three | 83 | Eighty Three |  | 83 | Eighty Three
84 | Eighty Four |  | 84 | Eighty Four | 84 | Eighty Four |  | 84 | Eighty Four
85 | Eighty Five |  | 85 | Eighty Five | 85 | Eighty Five |  | 85 | Eighty Five
86 | Eighty Six |  | 86 | Eighty Six | 86 | Eighty Six |  | 86 | Eighty Six
87 | Eighty Seven |  | 87 | Eighty Seven | 87 | Eighty Seven |  | 87 | Eighty Seven
88 | Eighty Eight |  | 88 | Eighty Eight | 88 | Eighty Eight |  | 88 | Eighty Eight
89 | Eighty Nine |  | 89 | Eighty Nine | 89 | Eighty Nine |  | 89 | Eighty Nine
90 | Ninety |  | 90 | Ninety | 90 | Ninety |  | 90 | Ninety
91 | Ninety One |  | 91 | Ninety One | 91 | Ninety One |  | 91 | Ninety One
92 | Ninety Two |  | 92 | Ninety Two | 92 | Ninety Two |  | 92 | Ninety Two
93 | Ninety Three |  | 93 | Ninety Three | 93 | Ninety Three |  | 93 | Ninety Three
94 | Ninety Four |  | 94 | Ninety Four | 94 | Ninety Four |  | 94 | Ninety Four
95 | Ninety Five |  | 95 | Ninety Five | 95 | Ninety Five |  | 95 | Ninety Five
96 | Ninety Six |  | 96 | Ninety Six | 96 | Ninety Six |  | 96 | Ninety Six
97 | Ninety Seven |  | 97 | Ninety Seven | 97 | Ninety Seven |  | 97 | Ninety Seven
98 | Ninety Eight |  | 98 | Ninety Eight | 98 | Ninety Eight |  | 98 | Ninety Eight
99 | Ninety Nine |  | 99 | Ninety Nine | 99 | Ninety Nine |  | 99 | Ninety Nine
100 | One Hundred |  | 100 | One Hundred | 100 | One Hundred |  | 100 | One Hundred
BG VALUE:
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred