| sedSl. | Clause Ref. No. | Existing provision in the Bidding Documents | Amended Provision |
| --- | --- | --- | --- |
| 1 | VOL-II Appendix-B DRS H. L3 LAN Switch | 3. Certification- IEC 62443-4 (both 4-1 and 4-2) | 3. Certification- IEC 62443-4 (both 4-1 and 4-2) or ( Switch/Switch OS shall be EAL2/ NDPP /NDcPP certified or above under Common Criteria Program for security related functions or under Indian Common Criteria Certification Scheme (IC3S) by STQC, DEIT, Govt. of India) |
| 2 | VOL-II Appendix-B DRS N. 48 Port L2 POE Switch | 3.. Certification- IEC 62443-4 (both 4-1 and 4-2) | 3. Certification- IEC 62443-4 (both 4-1 and 4-2) or ( Switch/Switch OS shall be EAL2/ NDPP /NDcPP certified or above under Common Criteria Program for security related functions or under Indian Common Criteria Certification Scheme (IC3S) by STQC, DEIT, Govt. of India) |
| 3 | VOL-II Appendix-B DRS M. Router | 6. Features to support-QoS, ALC Security | 6. Features to support-QoS, ACL Security |
| 4 | VOL-II Section 2 Server Based VoIP Communication System 2.2 Technical Requirement VoIP Equipment Point (y - ii) | ii. Inbuilt Rating and Charging for extension wise call control. | ii. Inbuilt Rating for extension wise call control. |
| 5 | VOL-II Appendix-B DRS A. Servers 1.VOIP Exchange and Email Server -At main and backup SLDC/NLDC/RLDC/Intl Exchange | 6. RAM-256 GB (min DDR5) with advanced ECC, 32 DIMM slots | 6. RAM-256 GB (min DDR5) with advanced ECC |
| 6 | VOL-II Appendix-B DRS A. Servers 1.VOIP Exchange and Email Server -At main and backup SLDC/NLDC/RLDC/Intl Exchange | 10.0PCIe Slots Server should support six PCI-Express 5.0 x16 slots | 10.0PCIe Slots Server should support min four PCI-Express 5.0 x16 slots |
| 7 | VOL-II Appendix-B DRS A. Servers 2.Application server installed at Main SLDC and Intl. Exchange | 6. RAM-512 GB (min DDR5) with advanced ECC, 32 DIMM slots | 6. RAM-512 GB (min DDR5) with advanced ECC |
| 8 | VOL-II Appendix-B DRS A. Servers 2.Application server installed at Main SLDC and Intl. Exchange | 10.0PCIe Slots Server should support six PCI-Express 5.0 x16 slots | 10.0PCIe Slots Server should support min four PCI-Express 5.0 x16 slots |
| 9 | VOL-II Appendix-B DRS A. Servers 3. Application Server for RLDC (Please fill for each server as per BOQ) | 6. RAM-512 GB (min DDR5) with advanced ECC, 32 DIMM slots | 6. RAM-512 GB (min DDR5) with advanced ECC |
| 10 | VOL-II Appendix-B DRS A. Servers 3. Application Server for RLDC (Please fill for each server as per BOQ) | 10.0PCIe Slots Server should support six PCI-Express 5.0 x16 slots | 10.0PCIe Slots Server should support min four PCI-Express 5.0 x16 slots |
| 11 | VOL-II Appendix-B DRS A. Servers 4. Application Server for Main and backup NLDC (Please fill for each server as per BOQ) | 6. RAM-2 TB (min DDR5) with advanced ECC, 32 DIMM slots | 6. RAM-2 TB (min DDR5) with advanced ECC |
| 12 | VOL-II Appendix-B DRS A. Servers 4. Application Server for Main and backup NLDC (Please fill for each server as per BOQ) | 10.0PCIe Slots Server should support six PCI-Express 5.0 x16 slots | 10.0PCIe Slots Server should support min four PCI-Express 5.0 x16 slots |
| 13 | VOL-II Appendix-B DRS T. Backup Device | 4. Capacity -16 TB in RAID 6 at Main and backup SLDC/RLDC/Int. exchange 40 TB in RAID 6 at Main and Backup NLDC | 4. Capacity -16 TB in RAID 6 at Main and backup SLDC/RLDC/Int. exchange 40 TB in RAID 6 at Main and Backup NLDC Should be sized appropriately for the backup of capacity mentioned above of (File System, source data, mix of Databases, image backup of physical and VM servers etc.) and shall maintain following copiesof data. a. Daily Incremental Backup – retained for 1 weeks b. Weekly Full Backup – retained for 2 weeks. c. Monthly Full Backups – retained for 2 Months. d. Yearly Full Backups - retained for 2 years. Bidder must consider usable capacity to retain the data as per the scope of work specified intechnical specification |
| 14 | VOL-II Section 6 PROJECT MANAGEMENT, QUALITY ASSURANCE, TRAINING AND DOCUMENTATION 6.4.2 Functional Description Point e | (e) FDS for Firewall analyser, IAM, SIEM, Patch management etc | (e) FDS for Firewall Manager, IAM, SIEM, Patch management etc |
| 15 | VOL-II Appendix-B DRS P. SIEM |  | Bidder to offer Common criteria certified SIEM. |
| 16 | VOL-II Section 2 Server Based VoIP Communication System 2.8 Media Gateway | Media Gateway: Media gateway shall support be PRI, FXS, and E&M and shall have the following minimum features. (i) Each gateway must be available with Dual power supply and Control card | Media Gateway: Media gateway shall support PRI, FXS, and E&M and shall have the following minimum features. (i) Each gateway must be available with Dual power supply and Dual Control card |
| 17 | VOL-II Section 2 Server Based VoIP Communication System 2.9 Voice Recorder | (ix) Voice recorder shall record only the Voice even for the Video calls. (x) Voice Server should have recording for 1 year. | (ix) Voice recorder shall record only the Voice part even for the Video calls. (x) Voice Server should have recording for 1 year. (xi) Bidder must offer Voice recorder from an OEM, whose Voice recorder have been provided for recording at least 400 subscribers in single contract which has been in satisfactory*operation for at least one year as on the originally scheduled last date of bid submission i.e., 07/07/2025. *Satisfactory operation: Documentary evidence without any adverse remark is to be submitted for confirmation of satisfactory operation. |
| 18 | VOL-II Section 2 Server Based VoIP Communication System 1.5 Scope and General Requirements | v) Dismantling of existing exchange coming under “Hot Line Speech Communication (Computer Dialing) System for Grid Operation” after commissioning of new exchange envisaged in the project. | v) Dismantling of existing exchange coming under “Hot Line Speech Communication (Computer Dialing) System for Grid Operation” after commissioning of new exchange envisaged in the project. w) The contractor shall meet the Minimum Local Content (MLC) requirement specified against each item in Table-A as mentioned in Appendix-C. Table A specifies the maximum ceiling of LC percentage for design out of total LC against each item. The conditions for the inputs to be qualified as Local Content (LC) are specified in Table-B. The offered products, services or works listed in Table-A shall have relevant TEC GR/IR as the minimum requirement as per DOT notification dated 21.10.2024. x) The supplier/OEM at the time of execution shall provide self-certification in Form-1 (enclosed in Appendix-C) specifying that the items offered meet the minimum local content requirement and shall give details of locations at which the local value addition is made. y) The contractor shall submit non-disclosure agreement at the time of execution (Attached in Appendix-D of TS). |
| 19 | VOL-II Section 2 Server Based VoIP Communication System |  | Appendix-D NDA added in TS. (Appendix-D NDA enclosed herewith) |

| Sl. | Clause Ref. No. | Existing provision in the Bidding Documents | Amendment As |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 20 | VOL-II Technical Requirement VoIP Equipment -New Appendix-C added in TS. |  | Appendix-C A Class-I local supplier must meet the Minimum Local Content (MLC) requirement specified against each item in Table-A. Table A also specifies the maximum ceiling of LC percentage for design out of total LC against each item. The conditions for the inputs to be qualified as Local Content (LC) are specified in Table-B. For the products, services or works listed in Table-A shall have relevant TEC GR/IR as the minimum requirement as per DOT notification dated 21.10.2024 |  |  |  |  |  |  |
|  |  |  | TABLE A |  |  |  |  |  |  |
|  |  |  | Sl. No. | Product Category | HSN code | Product Details |  | Minimum Local Content (MLC) (in %) | Ceiling of LC for Design out of total LC (in %) |
|  |  |  | 1 | Encryption/ UTM (Unified threat management) platforms (TDM and IP) | 85176290 | TDM (Time Division Multiplex) |  | 65 | 55 |
|  |  |  |  |  |  | IP (Internet Protocol) |  | 65 | 55 |
|  |  |  | 2 | IP/ MPLS Core routers/ Edge/Aggregation/ Router | 85176290 | IP Edge, Aggregation & Core Routers (overall capacity <=1 Tbps) |  | 60 | 40 |
|  |  |  |  |  |  | Cell Site Router (CSR); (Overall capacity ≤1.2 Tbps) including virtual routers |  | 60 | 40 |
|  |  |  |  |  |  | SD-WAN Routers (SDN Category) (Interface Capacity =<10 Gbps) |  | 60 | 40 |
|  |  |  | 3 | Managed Leased Line Network Equipment, IP Based access systems-DSL | 85176290, 85176990 | Central Office Equipment and CPEs of DSL/HDSL/S-HDSL |  | 60 | 40 |
|  |  |  | 4 | Ethernet Switches (L2 and L3) | 85176290 | L2/L3 Ethernet Switches 1- 100 GbE interface Switches (stackable / standalone / modular switches), for Core / Distribution / Access Layers (including PoE/PoE+) |  | 60 | 40 |
|  |  |  |  |  |  | Industrial Grade LAN 1, 10 GbE PoE/PoE+/Non-PoE Switches (Power over Ethernet) |  | 60 | 40 |
|  |  |  | 5 | IP based Soft Switches, IMS, Unified Communication Systems | 85176290, 85176990 | IP PBX / Unified Communication Systems (UCS) |  | 60 | 40 |
|  |  |  |  |  |  | UCS (non-IMS based): |  | 60 | 40 |
|  |  |  | 6 | Wireline PABXs / IP PBX | 85176290 | Wireline PABXs / IP PBX |  | 65 | 45 |
|  |  |  | 7 | Media Gateways | 85176290, 85176990 | Media Gateways |  | 65 | 45 |
|  |  |  | 8 | Customer Premises Equipment (CPEs) (including Wi-Fi Access points, low-capacity Routers, Media Converters), CPE - NFV/ SDN/ Leased-line Modems | 85176290, 85176990 | CPE (including Wi-Fi Access points and Routers), |  | 50 | 30 |
|  |  |  |  |  |  | Media convertor |  | 50 | 30 |
|  |  |  |  |  |  | TDM over IP Converter |  | 50 | 30 |
|  |  |  |  |  |  | CPE - NFV/ SDN (Virtualized CPE with cloud management) |  | 50 | 30 |
|  |  |  |  |  |  | Leased-line Modems n* 2Mbps / IP |  | 50 | 30 |
|  |  |  | 9 | SDH/ NG-SDH | 85176290 | SDH/ NG-SDH (STM 1/4/16/64) |  | 65 | 45 |
|  |  |  | 10 | Ethernet/MPLS- TP/ Packet Optical Transport equipment/ PTN systems | 85176290 | MPLS- TP / Packet Optical Transport equipment/ PTN (with or without OTN interfaces) systems |  | 65 | 45 |
|  |  |  | 11 | CWDM systems | 85176290 | CWDM (Nx100G, Nx10G) |  | 60 | 40 |
|  |  |  | 12 | DWDM systems | 85176290, 85176270 | DWDM (upto 10G) with Mux/De MUX with Transponder / Muxponder; ROADM (Reconfigurable Optical Add Drop Multiplexer), Passive DWDM MUX/DeMUX |  | 60 | 40 |
|  |  |  | 13 | GPON/XGPON equipment (including ONT and OLT) | 85176290, 85172990 | GPON/ XGPON equipment (including ONT and OLT) |  | 60 | 40 |
|  |  |  | 14 | XGS-PON equipment (including ONT and OLT) | 85176290, 85172990 | XGS-PON (10G DS – 10G US) (including ONT and OLT) |  | 60 | 40 |
|  |  |  | 15 | SDH/ PDH Cross Connects | 85176290 | SDH/ PDH Cross Connects (STM: 1/4/16/64; E1/E3/DS3; Ethernet interfaces) |  | 60 | 40 |
|  |  |  | 16 | Small Size Radio Sub System | 85176290 | Micro 2G BTS |  | 60 | 40 |
|  |  |  | 17 | LTE/ LTE-R Based Mobile Systems, with its various derivatives | 85176290, 85176990 | Macro eNode B, as per TEC ENB GR (TDD/FDD) |  | 60 | 40 |
|  |  |  |  |  |  | Micro eNodeB, as per TEC ENB GR (TDD/FDD) |  | 60 | 40 |
|  |  |  |  |  |  | Pico eNodeB, as per TEC ENB GR (TDD/FDD) |  | 60 | 40 |
|  |  |  |  |  |  | Home Base Station/ Femto |  | 60 | 40 |
|  |  |  |  |  |  | EPC |  | 60 | 40 |
|  |  |  |  |  |  | 4G NIB Small cell |  | 60 | 40 |
|  |  |  | 18 | Wi-Fi based broadband wireless access systems -indoor | 85176290, 85176990 | Indoor AP (802.11 ax MIMO, 2.4 & 5 GHz bands) |  | 55 | 35 |
|  |  |  |  |  |  | Indoor AP (802.11 ac MIMO, 2.4 & 5 GHz bands) |  | 55 | 35 |
|  |  |  | 19 | Wi-Fi based broadband wireless access systems -Outdoor | 85176290, 85176990 | Outdoor AP (802.11ac - MIMO 2.4 and 5 GHz bands) - IP67 Rated |  | 55 | 35 |
|  |  |  |  |  |  | Outdoor AP (802.11ax MIMO, 2.4 & 5 GHz bands) |  | 55 | 35 |
|  |  |  | 20 | Wi-Fi Access Controller (with interoperability and multi-vendor AP support) | 85176290 | Type 1: <= 2000 AP support |  | 55 | 35 |
|  |  |  |  |  |  | Type 2: upto 5000 AP support |  | 55 | 35 |
|  |  |  | 21 | Authentication, Authorization and Accounting (AAA) Server | 85176290 | AAA Block (Radius) |  | 50 | 35 |
|  |  |  |  |  |  | AAA Block (Radius/ Diameter) |  | 50 | 35 |
|  |  |  | 22 | Radio systems (IP/ Hybrid) | 85176290 | Radio systems (IP/ Hybrid) (5 GHz band - License Exempt band) |  | 55 | 35 |
|  |  |  | 23 | Software Defined Radio, Cognitive Radio systems | 85176290 | Ruggedised handheld, Ruggedised or non- ruggedised vehicle mounts, P2P OR P2MP or Mobile adhoc topology, Unlicensed band operation |  | 55 | 35 |
|  |  |  | 24 | Repeaters (RF/RF-over-Optical), IBS and Distributed Antenna systems (indoor / outdoor) | 85176290, 85177100 | Repeaters (RF/RF-over- Optical), IBS and Distributed Antenna systems (indoor / outdoor) including Active & Passive Accessories |  | 60 | 40 |
|  |  |  | 25 | VSAT Terminal Subsystem – ODUs/ | 85176290, 85256091 | Antenna |  | 50 | 25 |
|  |  |  | 26 | VSAT Hub Subsystems | 85256091 | NMS H/W & S/W |  | 50 | 25 |
|  |  |  |  |  |  | Antenna (>=7m) and accessories etc. |  | 50 | 25 |
|  |  |  | 27 | Satellite Phones (S Bands) | 85176990 | Both Voice and Data (upto 9.6 Kbps) |  | 50 | 25 |
|  |  |  | 28 | Disaster communication Systems etc., including backpack satellite products (S Band) | 85176990 | Portable Terminals Voice and Data (2 Mbps UL) |  | 50 | 25 |
|  |  |  | 29 | Satellite based Systems, terminals including location, resources tracking (L, S and Ku, Ka bands) | 85176990 | Two way MSS Data Terminals (Satellite Receivers with location data) S - Band (Satellite IoT devices for various applications i.e.position tracking, messaging etc.) |  | 50 | 25 |
|  |  |  |  |  |  | One Way Receivers MSS Data Terminals (Satellite Transmitters & Receivers - one way) S – Band (Simplex / Half-duplex, Mobile SatelliteService (MSS) terminal, Satellite IoT devices) |  | 50 | 25 |
|  |  |  | 30 | Telecom Network Management systems (NMS) with its various derivatives | 85176290 |  |  | 65 | 50 |
|  |  |  | 31 | Optical Fibre | 9001000 | Single Mode |  | 50 | 0 |
|  |  |  | 32 | Optical Fiber Cable | 85447090 | Optical Fiber Cable (UG & OH) |  | 55 | 0 |
|  |  |  | 33 | Telecom Power System (Including Solar Power) | 85176990 | UPS, Power Plant, Invertor (Including Solar Power) 0.5- 1500 KVA/Power Plant: 1-2000 KVA (Modular) |  | 55 | 30 |
|  |  |  | 34 | Telecom Batteries (Lead Acid) | 85176990 | Lead Acid up to 5000AH (Including VRLA) |  | 55 | 30 |
|  |  |  | 35 | IP Audio/ Video phones / Adaptor | 85176990 | IP Audio/ Video phones / Adaptor |  | 50 | 15 |
|  |  |  | 36 | IP/ Internet Set-top Box | 85176990 | IP/ Internet Set-top Box |  | 55 | 35 |
|  |  |  | TABLE B |  |  |  |  |  |  |
|  |  |  | Sl. No. | Main Inputs /stages for manufacture of telecom products * |  |  | Conditions to be met for the inputs to be qualified as Local Content |  |  |
|  |  |  | 1 | Design a) Hardware design b) Software Design & Development |  |  | The maximum Local Content (LC) percentage for Design which can be claimed by a Local manufacturer for the telecom products based on in-house/in country R&D costs incurred/amortized to create IPR in India are as per Table-A (last column) subject to additional conditions that: a) The Intellectual Property Right (IPR) reside in India for Hardware Design; and b) The Copyright is in India for the software Design & Development. |  |  |
|  |  |  | 2 | Components a) Integrated chips (ICs)- Processor, Memory etc. b) Active components – Transistors, Diodes etc. c) Passive Components – Resistors, Capacitors, Inductors etc. |  |  | Should be Manufactured in India |  |  |
|  |  |  | 3 | PCB Fabrication |  |  | Should be Manufactured in India |  |  |
|  |  |  | 4 | Cables/Chassis etc. a) Chassis b) Cables c) Racks d) Heat sinks e) Enclosures |  |  | Should be Manufactured in India |  |  |
|  |  |  | 5 | RF Components/Subsystem a) Duplexers/Filters b) Antenna |  |  | Should be Manufactured in India |  |  |
|  |  |  | 6 | Assembly/Integration/Testing# |  |  | The upper ceiling limit of Domestic Local Content (LC) for Assembly/ Integration/ Testing in respect of the telecom products listed in Table-A would be 10% of the total product Bill of Material |  |  |
|  |  |  | * The product may include some/all of the input/stage as mentioned above. While calculating the local content only those inputs/stages will be considered which are relevant in the manufacturing of the telecom product. # In case a system or subsystem is merely assembled / integrated / tested, then actual Local Content shall be taken as up to 10% of the cost of system / subsystem. |  |  |  |  |  |  |
| 21 | VOL-II Technical Requirement VoIP Equipment -New Appendix-C added in TS. |  | Form 1 Format for Self-Certification regarding Local Content (LC) for Telecom Product, Services or Works to be submitted on non-judicial stamp paper of the value Rs. 100/- Date: I ____________________________ S/o, D/o, W/o, Resident of _______________________________ do hereby solemnly affirm and declare as under: That I agree to abide by the terms and conditions of Department of Telecommunications, Government of India issued vide Notification No: ______________________ dated _______________. That the information furnished hereinafter is correct to the best of my knowledge and belief and I undertake to produce relevant records before the procuring entity or any other authority so nominated by the Department of Telecommunications, Government of India for the purpose of assessing the LC. That the LC for all inputs which constitute the said Telecom Product/Services/Works has been verified by me and I am responsible for the correctness of the claims made therein. That in the event of the LC of the Telecom Product/Services/Works mentioned herein is found to be incorrect and not meeting the prescribed LC norms, based on the assessment of an authority so nominated by the Department of Telecommunications, Government of India, I and my Statutory auditor or cost auditor (if applicable) will be liable for actions as specified in Clause (9) of the DPIIT PPP-MII Order dated 19.07.2024 for all incorrect/false facts and figures. I agree to maintain detailed breakup / information (separately for each product) to substantiate my claim for LC in the Company's record for a period of 2 years and shall make this available for verification to any authority. I shall also maintain records of local content pertaining to items bought from other domestic manufacturers / traders. [Please provide following information] i. Name and details of the local supplier (Registered Office, Manufacturing unit location, nature of legal entity) ii. Date on which this certificate is issued iii. Telecom Product/Services/Works for which the certificate is produced iv. Procuring agency to whom the certificate is furnished v. Percentage of LC claimed vi. Name and contact details of the unit of the manufacturer vii. Sale Price of the product viii. Ex-Factory Price of the product ix. Freight, insurance and handling x. Total Bill of Material xi. List and total cost value of inputs used for manufacture of the Telecom product/Services/Works xii. List and total cost of inputs which are locally sourced. Please attach LC certificates from local suppliers, if the input is not produced in-house. xiii. List and cost of inputs which are imported, directly or indirectly I hereby certify that, having read all the provisions of the above order and principles / basis of calculations, the local content calculation does not include the following: a. Imported items sourced locally from resellers/distributors. b. The license fees / royalties paid/ technical charges paid out of India c. Procurement / supply of repackaged / refurbished/rebranded imported products I hereby also certify to the best of my knowledge and belief that all the particulars furnished above are correct and complete. I agree to comply with the terms and conditions of the DPIIT PPP-MII order dated 19.07.2024 and DoT PPP- MII Notification dated _______________. I understand that any incorrect declaration regarding the local content or failure to substantiate the claim of LC will result in penalties as specified in Clause (9) of the DPIIT PPP-MII Order dated 19.07.2024. I further certify and take personal responsibility that I have applied my mind to the calculations and principles of LC as specified in this order and I shall, having declared the LC shall not seek recourse to change it on any ground. Any changes made by me on any grounds in a bid in LC after bid submission shall make my bid non-responsive and I shall hold myself liable for civil/criminal action arising out of any such change. I understand and agree that any such post bid change in LC content shall also be a valid ground for blacklisting of the firm from future contracts/bids. Signature: Name: Designation: CEO/MD Address: Email Address: Mobile No.: Place: Date: |  |  |  |  |  |  |