SECTION – I

INVITATION FOR BIDS (IFB)

INVITATION FOR BIDS (IFB)

FOR

Package – I : Supply and Installation of VOIP Communication system including Phones, Voice Recorder etc. for Grid - Operation for all Five Regions NR, NER, SR, WR, ER as PAN India at NLDC, RLDCs, SLDCs.

(SINGLE STAGE TWO ENVELOPE BIDDING)

(Domestic Competitive Bidding under e-procurement)

| Date of Issuance of IFB | : | 12/06/2025 |
| --- | --- | --- |
| Specification No. | : | CC/NT/W-MISC/DOM/A02/25/07582 |
| Funding | : | Domestic |

1.0	This invitation for bids follows the e-procurement notice (Invitation for Bids) for the subject package published on 12/06/2025 on POWERGRID’s website and e-procurement portal given at para 5.0 below and on Government of India’s Central Public Procurement Portal (https://eprocure.gov.in). Any Corrigendum and/or amendments, etc shall also be published only on the above website/portals.

2.0	Power Grid Corporation of India Ltd. (A Government of India Enterprise) incorporated under the Companies Act, 1956, having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110 016 (hereinafter referred to as ‘POWERGRID’/’Owner’) has decided to set up, as an Owner for the following:

Package – I : Supply and Installation of VOIP Communication system including Phones, Voice Recorder etc. for Grid - Operation for all Five Regions NR, NER, SR, WR, ER as PAN India at NLDC, RLDCs, SLDCs.

2.1	The procurement activities in respect of the aforesaid Project shall be carried out by the Owner itself and it intends to use domestic funding for eligible payments under the contract for the package as mentioned above. For the purpose of all procurement activities, the Owner shall also be referred to as ‘Employer’.

- POWERGRID, therefore, invites bids from eligible bidders for the following package on Domestic Competitive Bidding basis under secured e-procurement procedure:

| Package: | Package – I : Supply and Installation of VOIP Communication system including Phones, Voice Recorder etc. for Grid - Operation for all Five Regions NR, NER, SR, WR, ER as PAN India at NLDC, RLDCs, SLDCs. |
| --- | --- |

This Invitation for Bids extended through media, website or written communication or by any other means, and issuance of Bidding Documents shall not be construed to mean that the prospective bidders to whom the Invitation for Bids has been extended and/or Bidding Documents have been issued is deemed to be an eligible bidder. The eligibility of the bidders shall be determined as per the provisions of Bidding Documents.

- The scope of works covered under the package inter-alia includes the following:

survey, planning, design, engineering, supply, transportation, insurance, delivery at site, unloading, handling, storage, installation, termination, testing & commissioning, training and maintenance, demonstration for acceptance and documentation of:

a) Supply and Installation of Main & Backup Server based VOIP communication system hardware and software along with associated items at respective control centers such as international exchange, NLDC, RLDC and SLDC as per specified BoQ in the TS. The new system shall be deployed in such a way that the operation of the existing systems should not be disturbed.

b) Supply and Installation of PoE (Power over Ethernet) switches with dual DC power supply ports for all VOIP phones at locations for powering the phones.

c) Supply and Installation of VOIP Phone/Analog phone (if required) at remote stations/local stations.

d) Supply and installation of Voice (VoIP/SIP) system, Network Management System (NMS), SIEM/Log Collector, patch management, Call recording and Operator console at control center.

e) Supply, installation and commissioning of VOIP, Video & Analog phones.

f) Supply, installation and commissioning of firewall and routers at all control centers.

g) Supply, installation and commissioning of 1 No. of NDR (Network detection and response) each at Main NRLDC, Main ERLDC, Main NERLDC, Main SRLDC, Main WRLDC and Main NLDC control Center.

h) Supply, installation and commissioning of EDR (endpoint Detection and response) in all Servers, workstations and endpoints supplied under the project

i) Integration of existing exchange other than “Hot Line Speech Communication (Computer Dialing) System for Grid Operation” with proposed server-based communication system. Support for integration of future exchange of other utilities.

j) Integration of available trunks eg. SIP , FXS, PRI/E1, PSTN, E&M etc.

k) Tie-up with vendors/OEMs of existing exchanges if needed.

l) Supply of Spares identified under AMC along with main items to meet the contingency during installation period and during AMC period.

m) Integration of existing VOIP phone through open SIP protocol.

n) All cabling, wiring, patch facilities and interconnections to the supplied equipment at the defined interfaces.

o) Shifting and Installation of new server based VOIP exchange. This shall include all the services including cabling, interface modification and shifting or re-shifting of system required for intervening period and for final shifting to main control center. Re-cabling for some or all equipments as required for final shifting shall also be in the scope of supplier.

p) Additional Hardware, software and services necessary to ensure compatibility with existing equipment.

q) Auditing of Cyber Security implementation by CERT-In listed Auditors during FAT, SAT & AMC.

r) Training Owner’s personnel.

s) Comprehensive Maintenance of the supplied system for seven (7) years including one (1) year defect liability period as per specification, Maintaining Spare inventory etc.

t) Integration with third party exchange based on SIP , FXS, PRI/E1, PSTN CO/FXO and E&M during implementation and AMC

u) GI/Aluminum cable trays/trace ways with covers shall be supplied by the contractor for laying cables so that cable can be protected from rodents. These cable trays/trace ways shall be screwed/ fixed on the floor by the contractor.

v) Dismantling of existing exchange coming under “Hot Line Speech Communication (Computer Dialing) System for Grid Operation” after commissioning of new exchange envisaged in the project.

The above scope of work is indicative, and the detailed scope of work is given in the Technical Specification (Volume-II) of the Bidding Documents.

3.2	The completion period for the subject package shall be the period as specified in ITB Sub-Clause 24.1(c).

3.3		Bidding will be conducted through the domestic competitive bidding procedures as per the provisions of ITB/BDS and the contract shall be executed as per the provisions of the Contract. Bidders may note that the Employer has uploaded its ‘Works and Procurement Policy and Procedures’ (WPPP) document alongwith its Modification/Amendment on “Ineligibility of Firms for Participation in the Bidding Process” and on “Black-Listing of Firms / Banning of Business” and its updation on POWERGRID’s website referred to at para 5.0 below. It shall be noted that no other party, including the Bidder/Contractor, shall derive any right from this ‘Works and Procurement Policy and Procedures’ (WPPP) document or have any claim on the Employer on the basis of the same. The respective rights of the Employer and the Bidder/Contractor shall be governed by the Bidding Documents/Contract signed between the Employer and the Contractor for the package. The provisions of the Bidding Documents shall always prevail over that of ‘Works and Procurement Policy and Procedures’ (WPPP) document in case of contradiction.

4.0	The detailed Qualifying Requirements (QR) are given in the Bidding Document.

5.0	Important Instruction for participation in subject e-Tendering:

- Bidders are requested to read the ‘Bidders Manual and Pre-Requisite Document’ available on ‘POWERGRID Reverse Auction and Integrated Tendering (PRANIT)’ portal through website https://etender.powergrid.in before proceeding for submission of bids. It is important to note that bidders can submit their bids online only through https://etender.powergrid.in.

- The complete Bidding Documents including tender drawings are available at POWERGRID’s website http://www.powergrid.in as well as on portal https://etender.powergrid.in. However, in case of any contradiction between the Bidding Documents at POWERGRID’s website and those at the portal, the latter shall prevail. Interested bidders shall download the Bidding Documents from the portal https://etender.powergrid.in, as per the provisions available therein. Interested bidders can download the Bidding Documents and commence preparation of bids to gain time. From e-Tendering portal, the bidders can download the bidding documents as a ‘Guest’ and/or after registering, as detailed below at (6.0).

The bidding documents are meant for the exclusive purpose of bidding against this specification and shall not be transferred to any parts or reproduced or used otherwise for any purpose other than for which they are specifically uploaded.

- Bidders shall ensure that their bids, complete in all respects, are submitted online through POWERGRID’s e-tendering portal only. No DEVIATION in this regard is acceptable.

- Interested bidders have to necessarily register themselves on the portal https://etender.powergrid.in, to participate in the bidding under this invitation for bids. It shall be the sole responsibility of the interested bidders to get themselves registered at the aforesaid portal.

The said registration shall be free of cost.  On completion of registration process, the registering bidders will be provided with User ID and Log-In password.

Kindly note that to submit the bids electronically, bidders must have a valid Class 3B Digital Certificate (signing and encryption / decryption certificate).

Interested bidders may obtain further information regarding this IFB from the office of Sr. DGM/ DGM / Chief Manager (CS-G3), POWERGRID at the address given at para 11.0 below from 15:00 hours to 17:00 hours on all working days.

For proper uploading of the bids on the portal namely https://etender.powergrid.in (hereinafter referred to as the ‘portal’), it shall be the sole responsibility of the bidders to apprise themselves adequately regarding all the relevant procedures and provisions as detailed at the portal as well as by contacting from POWERGRID, as and when required, for which contact details are mentioned above below. The Employer in no case shall be responsible for any issues related to timely or properly uploading/submission of the bid in accordance with the relevant provisions of Section II – ITB of the Bidding Documents.

7.0	A Pre-bid meeting will be held at the office of the Employer at Gurgaon (Haryana), India on 19/06/2025 at 1130 Hrs. (IST) to clarify the bidders various issues raised in accordance with clause 6.4 of ITB.

8.0	A Single Stage Two Envelope Bidding Procedure will be adopted and will proceed as detailed in the Bidding Documents.

8.1	Soft Copy Part of the Bids must be uploaded under Single Stage Two Envelope Bidding Procedure on the portal at or before 11:00 hours on 07/07/2025. The e-Procurement system would not allow any late submission of bids through the portal after due date & time as specified.

First Envelope i.e. Techno -Commercial Part shall be opened on 07/07/2025 at 11:30 hours in the presence of the bidders’ representatives who choose to attend in person at the address below or may be viewed by the bidders by logging in to the portal. Second Envelope i.e. Price Part shall be opened in the presence of the bidders’ representatives who choose to attend at the time and date and at the address given in the intimation for opening of Second Envelope in accordance with Clause 25 of ITB or may be viewed by the bidders by logging in to the portal.

Document Fee must be submitted only through POWERGRID ONLINE PAYMENT UTILITY- https://epay.powergrid.in as per ITB(BDS) Clause 9(I) of the Bidding Documents. (for details also refer Clause ITB 5.4).

The documents required to be submitted as part of Hard Copy Part of the Bid shall be scanned and uploaded as part of First Envelope in Soft Copy Part of the Bid as per provisions of ITB Clause 9 (II).

8.2          	Under the Integrity Pact Program (IPP), a panel of Independent External Monitors (IEMs) comprising Sh. Madan Mohan Bhatia, Sh. Nand Lal Singh and Sh. R. Govindrajan has been appointed by CVC. Correspondence, if any, to the panel of IEMs be addressed to the following:

Independent External Monitor

C/o CGM (CS-P&S), Contract Services department

Power Grid Corporation of India Limited,

‘Saudamini’, 3rd Floor,

Plot No. – 2, Sector – 29,

Gurgaon – 122001, Haryana

E-mail IDs of IEMs:

mmbhatia2001@yahoo.com

nlsingh3@gmail.com

rgrvig@gmail.com

9.0	The Employer reserves the right to conduct e-Reverse Auction (e-RA) in accordance with clause 29 of ITB.

10.0	POWERGRID reserves the right to cancel/withdraw this invitation for bids without assigning any reason and shall bear no liability whatsoever consequent upon such a decision.

11.0	All correspondence with regard to the above shall be to the following address.

(By Post/In Person)

Sr.DGM (CS-G3)/DGM (CS-G3)/ Ch. Manager (CS-G3)

Power Grid Corporation of India Limited

‘Saudamini’, 3rd Floor, Plot No.-2, Sector-29

Gurugram (Haryana) - 122001.

(Thru Board) +91-124-282- 3313/ 2359/2307

Mobile: +91- 9971399074/9403964932/9599683583

Fax Nos.: - +91-124-2571 831

Email IDs: nrapendra@powergrid.in

kamal.rathore@powergrid.in

vakati.silpa@powergrid.in

For more information on POWERGRID, visit our site at:

http://www.powergrid.in

12.0	Bidders are requested to open the following link for pre-requisite system settings of PRANIT portal and manual/video tutorial regarding information for bid submission:

https://etender.powergrid.in/new_logon2/User_Help_Menu.html

In case any technical issue remains unresolved, Bidder may contact the ERP SRM Helpdesk support as per the details below:

Phone No – 0124-2823456 / 0124-5063900 (with call hunting feature)

Timings – 9:30 am To 5:30 pm

Bidders are advised to contact the Helpdesk minimum 2 working days before Bid Submission Deadline for assistance.

Note-	At the time of submission of the bid, Bidders are required to make sure that:

- The First Envelope excel with file named “First Envelope and Bid Forms” must be uploaded alonwith the bid.

As per the provisions of the portal, it is mandatory to upload aforesaid excel files with titled as indicated above (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid).

---- End of Section-I (IFB) ----