| S N | Clause |  | Provision of Bidding Documents |  | Bidder’s Query | POWERGRID's Reply |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Vol II (3/3), Appendix D, 10. Firewall Features/Characteristics required of internal Firewall, Page 11 of 21 |  | "Threat Extraction/Sandboxing/File sanitisation (additional software blade shall be needed for advance cyber security) at gateway level for web server file upload/download req for monthly upload, 1 GB (peak) daily including PDF or word or excel files. " | ## Please confirm the locations where the sandboxing is required. | Sandboxing is required at Main and Backup UNMS center |
|  |  | Volume II PART-A, Pg 13 |  | 1.7 Scope of Work | We understand that the scope of Integration with the proposed UNMS solution is limited to the existing and upcoming NMS/EMS/NEs only, other items like Servers, Routers, Wifi Access points etc are out of the scope of this RFP. Please confirm if our understanding is correct. | Confirmed |
|  |  | Volume II PART-A, Pg 13 |  | 1.7 Scope of Work | We understand that any Shifting is applicable to both main and backup UNMS center, also we understand that this refer to shifting of equipment within the same premises only. Please confirm | Confirmed. Shifting is required within the same premises |
|  |  | Volume II PART-A, Pg 13 |  | 1.7 Scope of Work | We understand that the term "Existing equipment" mentioned in this RFP is limited to existing NMS/EMS/NEs not the other type of devices like Servers, Routers, Wifi Access points etc. Please confirm | Confirmed |
|  |  | General |  | General | Our understanding is that UNMS will not integrate and exchange data with existing systems like SCADA system. Please confirm | Confirmed |
|  |  | General |  | General | Our understanding is there is no existing ERP, BSS, GIS solution so integration not required. Please confirm | Bidder to Comply TS |
|  |  | General |  | General | Any feature, function not supported or available in any layer(NMS/EMS/NEs APIs, Communication System, etc) shall not be achieved under UNMS. Please confirm | Bidder to Comply TS |