| Sl. No. | Clause No./sections | Existing Clause/item | Amendment |
| --- | --- | --- | --- |
|  | Sch-1 & 2 of BPS | - | Activity Description; Material; HSN/SAC number; Description; Unit; Quantity. SUPPLY OF AVIATION; 1000019903; 73082011; Supply of Span Marker for Aviation; EA; 30. SUPPLY OF AVIATION; 1000016663; 85391000; Supply of Obstruction Lights (as per IS5613)-1 Medium Intensity + 2 Low Intensity; SET; 70. 66KV-Mandatory spare; 1000063711; 85446020; SINGLE PHASE EARTH LINK BOX FOR 66 KV XLPE CABLE; EA; 1. |
|  | Sch-1 & 2 of BPS | - | Activity Description; Material; HSN/SAC number; Description; Unit; Quantity. 66KV-Mandatory spare; 1000028526; 85446020; SINGLE PHASE EARTH LINK BOX FOR 220KV XLPE CABLE; EA; Deleted. |
|  | The ‘Price_schedule’ excel stand replaced as ‘Price_schedule-rev01’. Bidders are requested to consider the revised excel ‘Price_schedule-rev01’ for bid preparation/submission. It may be noted that while submitting the bid, Bidders are required to change the excel file name from ‘Price_schedule-rev01’ to ‘Price_schedule’. As per the provisions of the portal, it is mandatory to upload excel file with titled ‘Price_schedule’ (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid). |  |  |