## Summary (hidden)
SUMMARY
PART | PARTICULARS | AMOUNT (EXCL GST) | AMOUNT (EXCL GST)
PART-1 | CONNECTING DRAIN (20M) | 234793.4471 | 277056.2676
PART-2 | RCC TANK (20X30M) WITH RAILING | #REF! | #REF!
PART-3 | DISMANTLING & DEMOLISHING WORK | #REF! | #REF!
| TOTAL= | #REF! | #REF!

## Erection BOQ
BOQ FOR Tower Erection, Stringing and associated works for diversion of the existing Location No-94 & 95 of 400 kV D/C Binaguri-New Purnea T/L under Dalkhola TLM due to change in river course of Parman River
SL. NO. | DSR 23Ref | DESCRIPTION OF WORK | Unit | Qty | DSR 23 Rate (A) | Rate Excl. GST B =0.8475 x A | Rate Incl. GST C=B*1.18 | Amount excl GST (Rs.) | Amount Incl GST (Rs.) | Remarks | Remarks
1 | PART-1 | Survey : | [8 empty] | All Price to be quoted in SRM Portal
i) | 2.6.1 | Detailed survey including route alignment, Profiling, tower spotting | Km. |  | 177.5 | 150.4313 | 177.5089 | 0 | 0
ii) | 2.25 | Check survey | Km. | 1.99 | 196 | 166.11 | 196.0098 | 330.5589 | 390.0595
2 | 4.1.8 | Work associated with tower foundation for various types of tower |  |  | 6812 | 5773.17 | 6812.3406 | 0 | 0
2.1 | 4.1.3 | Excavation of various types of soil. |  |  | 7878.5 | 6677.0288 | 7878.8939 | 0 | 0
i) |  | Wet Soil
a) | 5.9.1 | 01 No. of DB+6 Tower | cum | 535.47 | 392.15 | 332.3471 | 392.1696 | 177961.915 | 209995.0597
2.2 | 5.22.6 | Concreting (including all associated works related to foundation not covered in 2.1) |  |  | 107.85 | 91.4029 | 107.8554 | 0 | 0
i) |  | Concrete of nominal mix 1 : 1.5 : 3 ( M20 )
a) | 19.6.4 | 01 No. of DB+6 Tower (FS Foundation) | Cum | 67.05 | 994.3 | 842.6693 | 994.3497 | 56500.9732 | 66671.1484
ii) | 19.6.5 | Lean Concrete of nominal mix 1 : 3 : 6 ( M10 ) |  |  | 1620.95 | 1373.7551 | 1621.031 | 0 | 0
a) |  | 01 No. of DB+6 Tower (FS Foundation) | cum | 8.14 |  |  | TOTAL= | 234793.4471 | 277056.2676
2.3 | PART-2A | Supply and placement of reinforcement Steel
a) | 2.6.1 | 01 No. of DB+6 Tower (FS Foundation) | MT | 5.585 | 177.5 | 150.4313 | 177.5089 | 840.1585 | 991.3871
2.4 | 2.26.1 | Installation of Stubs including Bolts & Nuts |  |  | 126.8 | 107.463 | 126.8063 | 0 | 0
a) | 2.25 | 01 No. of DB+6 Tower (FS Foundation) | MT | 0.792 | 196 | 166.11 | 196.0098 | 131.5591 | 155.2398
3 | 4.1.8 | Erection of various types of towers, tower parts and its body/leg extensions ( complete) including bolts & nuts, step bolts, hangers, D-shackles etc. including tack welding & application of zinc rich primer and two coats of enamel paints. |  |  | 6812 | 5773.17 | 6812.3406 | 0 | 0
a) | 5.1.2 | 01 No. of DB+6 & 01 No. of DC+9 Towers | MT | 45.807 | 9045.75 | 7666.2731 | 9046.2023 | 351168.973 | 414379.3882
4 | 13.18 | Installation of Earthing of towers |  |  | 79.95 | 67.7576 | 79.954 | 0 | 0
i) | 4.1.3 | Pipe Type earthing |  |  | 7878.5 | 6677.0288 | 7878.8939 | 0 | 0
a) | 5.22.6 | 01 No. of DB+6 Tower | No. | 1 | 107.85 | 91.4029 | 107.8554 | 91.4029 | 107.8554
ii) |  | River Crossing Earthing/ EARTHING OF PILE FOUNDATION LOCATIONS
a) |  | 01 No. of DC+9 Tower | MT | 0.5
5 |  | Installation of Tower accessories
i) |  | Danger Plate
a) |  | 01 No. of DB+6 & 01 No. of DC+9 Towers | No. | 2
ii) |  | Number Plate
a) |  | 01 No. of DB+6 & 01 No. of DC+9 Towers | No. | 2
iii) |  | Phase Plate ( Set of 3 )
a) |  | 01 No. of DB+6 & 01 No. of DC+9 Towers | Set | 4
iv) |  | Circuit Plate ( set of 2 )
a) |  | 01 No. of DB+6 & 01 No. of DC+9 Towers | Set | 2
v) |  | Anti Climbing Devices
a) |  | 01 No. of DB+6 & 01 No. of DC+9 Towers | No. | 2
6 |  | Stringing
i) |  | Installation of Insulator strings complete with arching horns, VD & necessary hardware installing and & stringing of conductor, including fixing of conductor acceessories, installing & stringing of OPGW /EW including fixing of OPGW /EW accessories for double circuit transmission line.
(a) |  | Stringing (Loc. No. 93-94 & 95-98) D/C - Normal Span | Km. | 1.509
(b) |  | Stringing (Loc. No. 94 - 95) D/C - River Crossing Span | Km. | 0.481
7 |  | De-Stringing
i) |  | De-stringing of Insulator strings, conductor, OPGW & Earth Wire with all conductor & OPGW/EW hardwares for 400kV Double Circuit transmission line, provinding neccessary back stays
(a) |  | Destringing of existing 400kV D/C line and transportation to store (Loc No.- 93-98) | Km. | 1.976
8 |  | Dismantling
i) |  | Dismantling of tower parts and its body extensions including bolts & nuts, step bolts, hangers, D-schackls, Danger Plate, Circuit Plate, Phase Plate, Number Plate, ACD etc. including de-welding of bolts & nuts including transportation from site to Dalkhola S/S Store unloading, stacking, etc. complete. (02 Nos DA+0 Towers) | MT | 24.92
ii) |  | Dismantling of Existing Stub up to 1.5 Meter including Blasting, Reaming, and levelling (02 Nos DA+0 Towers) | Each | 8
9 |  | Transportation of OSM materials like tower parts, stubs, etc from POWERGRID's Store to site including loading, unloading and stacking. | MT | 48

## Supply BOQ
BOQ FOR Tower Erection, Stringing and associated works for diversion of the existing Location No-94 & 95 of 400 kV D/C Binaguri-New Purnea T/L under Dalkhola TLM due to change in river course of Parman River
SL. NO. | DSR 23Ref | DESCRIPTION OF WORK | Unit | Qty | DSR 23 Rate (A) | Rate Excl. GST B =0.8475 x A | Rate Incl. GST C=B*1.18 | Amount excl GST (Rs.) | Amount Incl GST (Rs.) | Remarks | Remarks
1 |  | Supply of earthing of towers pipe type | [8 empty] | All Price to be quoted in SRM Portal
i) |  | Pipe Type Earthing | Nos | 1 | 177.5 | 150.4313 | 177.5089 | 150.4313 | 177.5089
ii) |  | Earthing for pile foundation | MT | 0.5 | 196 | 166.11 | 196.0098 | 83.055 | 98.0049
2 |  | Supply of following tower accessories |  |  | 6812 | 5773.17 | 6812.3406 | 0 | 0
i) |  | Danger plate | Nos | 2 | 7878.5 | 6677.0288 | 7878.8939 | 13354.0575 | 15757.7879
ii) |  | Number plate | Nos | 2
iii) |  | Phase plate ( set of three ) | Sets | 4 | 392.15 | 332.3471 | 392.1696 | 1329.3885 | 1568.6784
iv) |  | Circuit plate ( set of two ) | Sets | 2 | 107.85 | 91.4029 | 107.8554 | 182.8057 | 215.7108
v) |  | Anti climbing device | Nos | 2
3 |  | Hardware fittings |  |  | 994.3 | 842.6693 | 994.3497 | 0 | 0
i) |  | Double Tension Hardware fitting (without Clamp) | Set | 24 | 1620.95 | 1373.7551 | 1621.031 | 32970.123 | 38904.7451
4 |  | Accessories for Conductor & Earthwire |  |  |  |  | TOTAL= | 48069.861 | 56722.436
i) |  | SPACER DAMPER FOR HTLS CONDUCTOR-FOR 400KV TL | Nos. | 60
ii) |  | DEAD END CLAMP SUITABLE FOR TENSION INSULATOR STRING FOR HTLSCONDUCTOR FOR 400KV TL | Nos. | 48 | 177.5 | 150.4313 | 177.5089 | 7220.7 | 8520.426
iii) |  | Vibration Damper for 7/3.66 mm earthwire | Nos. | 8 | 126.8 | 107.463 | 126.8063 | 859.704 | 1014.4507
iv) |  | Earth Wire Tension Fittings | Nos. | 4 | 196 | 166.11 | 196.0098 | 664.44 | 784.0392

## MS Sheet (hidden)
RAIN WATER HARVESTING CALCULATION SHEET
Sl No | DSR 23 Ref | ACTIVITY NO. | DESCRIPTION OF WORK | Unit | Nos of structure | No. | L | B | H | QTY | Remarks
PART-1 |  |  | DRAIN (AS PER SITE REQUIREMENT)
1 | 2.6.1 | 120000345 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | CUM
I. |  |  | All kinds of soil
|  |  | DRAIN SEC C-C |  |  | 1 | 5 | 1.65 | 1.075 | 8.8688
|  |  | RCC CHAMBER 1000X1000X1000 |  |  | 1 | 2.05 | 2.05 | 1.075 | 4.5177
[9 empty] | TOTAL= | 13.3864
2 | 2.25 | 170000817 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | CUM
|  |  | TOTAL EXCAVATION = | [6 empty] | 13.3864
|  |  | DRAIN SEC C-C |  |  | -1 | 5 | 0.9 | 1.075 | -4.8375
|  |  | RCC CHAMBER 1000X1000X1000 |  |  | -1 | 1.3 | 1.3 | 1.075 | -1.8167
[9 empty] | TOTAL= | 6.7322
3 | 4.1.8 | 120000442 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | CUM
|  |  | DRAIN SEC C-C |  |  | 1 | 5 | 1.05 | 0.075 | 0.39375
|  |  | RCC CHAMBER 1000X1000X1000 |  |  | 1 | 1.45 | 1.45 | 0.075 | 0.15769
[9 empty] | TOTAL= | 0.55144
4 | 4.1.3 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 10 mm nominal size derived from natural sources) | CUM
|  |  | encasing 300 dia hume pipe |  |  | 1 | 5 | 0.7 | 0.7 | 2.45
|  |  | deduction pipe dia |  |  | -1 | 5 | 0.096162 |  | -0.48081
|  |  | encasing 450 dia hume pipe |  |  | 1 | 5 | 0.9 | 0.9 | 4.05
|  |  | deduction pipe dia |  |  | -1 | 5 | 0.21637 |  | -1.0818
[9 empty] | TOTAL= | 4.9374
5 |  |  | Centering and shuttering including strutting, propping etc. and removal of form for : | SQM
| 5.9.1 | 120000499 | Foundations, footings, bases of columns, etc.
|  |  | DRAIN SEC C-C PCC+RAFT |  |  | 1 | 5 | - | 0.2 | 1
|  |  | WALL |  |  | 2 | 5 | - | 1 | 10
|  |  | BRICK CHAMBER 1000X1000X1000 PCC+RAFT |  |  | 1 | 5.2 | - | 0.2 | 1.04
|  |  | encasing 450+300 dia hume pipe |  |  | 2 | 20 | - | 0.8 | 32
[9 empty] | TOTAL= | 44.04
6 |  |  | RF STEEL
DRAIN
|  |  | RAFT 8D 250C/C MAIN |  |  | 20 | 2.75 | - | 0.395 | 21.725
[6 empty] | 20 | 1 | - | 0.395 | 7.9
|  |  | DIST |  |  | 12 | 5 | - | 0.395 | 23.7
CHAMBER 1000X1000X1000
|  |  | raft+wall |  | 1 | 5 | 3 | - | 0.395 | 5.925
[5 empty] | 1 | 5 | 3 | - | 0.395 | 5.925
|  |  | raft extra top |  | 1 | 5 | 1.3 | - | 0.395 | 2.5675
[5 empty] | 1 | 5 | 1.3 | - | 0.395 | 2.5675
|  |  | wall dist |  | 1 | 5 | 4 | - | 0.395 | 7.9
[9 empty] | TOTAL= | 78.21
PART-2 |  |  | STORAGE TANK |  | 1 |  | 30 | 20 | 2
1 |  |  | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.
|  | 120000345 | wall | Cum | 1 | 1 | 100 | 1.75 | 2.575 | 450.625
|  |  | mid area | Cum | 1 | 1 | 29.125 | 19.125 | 2 | 1114.0312
1564.6562
2 |  |  | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials.
I |  |  | wall | Cum | 1 | 1 | 100 | 1.75 | 1.075 | 188.125
|  |  | mid area | Cum | 1 | 1 | 29.125 | 19.125 | 0.5 | 278.5078
466.6328
3 | 2.25 | 170000817 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m.
|  |  | total excavation qty | [6 empty] | 1564.6562
|  |  | volume of well deduction |  | 1 | -1 | 30.6 | 20.6 | 2 | -1260.72
[9 empty] | total= | 303.9362
4 | 4.1.8 | 120000442 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size)
|  |  | BELOW WALL | cum | 1 | 1 | 100 | 1.45 | 0.075 | 10.875
[9 empty] | total= | 10.875
5 | 5.1.2 | 120000488 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size)
|  |  | RCC for RAFT | cum | 1 | 1 | 100 | 1.3 | 0.25 | 32.5
|  |  | RCC for Wall | cum | 1 | 1 | 100 | 0.3 | 2 | 60
|  |  | SUMP PIT | cum | [5 empty] | 0.5
[9 empty] | Total | 93
6 | 13.18 | 120001425 | Neat cement punning.
|  |  | For inner face | sqm | 1 | 1 | 100 | 0 | 2 | 400 | INNER SIDE
[9 empty] | Total | 400
7 | 4.1.3 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 10 mm nominal size derived from natural sources) | Cum | 1 | 1 | 100 | 0.3 | 0.1 | 3
8 | 5.22.6 | 120000543 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more.
RAFT +WALL
|  |  | RAFT top/bottom 12 dia 200c/c main bar | kg | 1 | 909.0909 | 1.5 | - | 0.89 | 1213.6364
|  |  | dist bar 12 dia 200c/c | kg | 1 | 14 | 100 | - | 0.89 | 1246
|  |  | wall main 12 dia 125 c/c | kg | 1 | 1602 | 2.65 | - | 0.89 | 3778.317
|  |  | wall dist 10 di 200 c/c outer side | kg | 1 | 20 | 100 | - | 0.617 | 1234
|  |  | SUMP PIT | [6 empty] | 100
[9 empty] | TOTAL= | 7571.9534 |  | 81.4189
9 |  |  | Centering and shuttering including strutting, propping etc. and removal of form for :
I | 5.9.1 | 120000499 | Foundations, footings, bases of columns, etc. | sqm | 1 | 2 | 100 |  | 0.325 | 66 | INCL SUMP PIT
II | 5.9.2 |  | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc | sqm | 1 | 2 | 100 |  | 2 | 405 | INCL SUMP PIT
10 | 10.2 |  | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.
FOR LADDER
|  |  | 20mm dia bar 300c/c | kg | 1 | 7.6667 | 1.8 |  | 2.47 | 34.086
RAILING
|  |  | 150X150X6 MS PLATE |  | 1 | 41 | 0.15 | 0.15 | 0.006 | 43.4497
|  |  | 10 DIA LUGS |  | 1 | 41 | 0.6 |  | 0.61728 | 15.1852
|  |  | 50DIA MS PIPE MEDIUM DUTY | kg | 1 | 41 | 1 |  | 5.03 | 206.23
|  |  |  | kg | 1 | 1 | 100 |  | 5.03 | 503
|  |  | 50X6 FLAT | KG | 1 | 2 | 100 |  | 2.355 | 471
[9 empty] | Total | 1272.9509
11 | 13.61.1 | 120001490 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work
FOR LADDER
|  |  | 20mm dia bar 300c/c | sqm | 1 | 7.6667 | 0.7 |  | 1 | 5.3667
RAILING
|  |  | 150X150X6 MS PLATE | sqm | 1 | 41 | 0.15 | 0.15 |  | 7241.625
|  |  | 50DIA MS PIPE MEDIUM DUTY | sqm | 1 | 41 | 1 | 0.157 |  | 6.437
|  |  |  | sqm | 1 | 1 | 100 | 0.157 |  | 15.7
|  |  | 50X6 FLAT | sqm | 1 | 2 | 100 | 0.112 |  | 22.4
[9 empty] | Total | 7291.5287
12 |  |  | stone soling-BELOW WALL | cum | 1 | 1 | 100 | 1.75 | 0.25 | 43.75 | cum
13 |  |  | PVC PIPE | RM | 1 | 67.6667 | 0.3 |  |  | 20.3

## DWG (hidden)
|  | NGL | 150
300 TH RCC WALL
2000
250 |  |  |  | 1300 |  |  |  | COMPACTED SOIL
75 |  |  | PCC 1:4:8
250 | STONE SOLING 250MM TH
1450
SECTION DETAILS
30M
300 TH RCC WALL
20M
MAY BE CONNETED WITH HUME PIPE/RCC DRAIN (IL down than ex. Drain to divert water into tank)
[6 empty] | EXISTING RCC DRAIN |  |  |  |  | OVERFLOW WATER
RCC STORAGE TANK (JEERAT)
RCC WALL AS PER CC/ENGG/STD/RWH/2019/01
1000X10000XD SUMP