## BOQ 765kV Protection BOQ
BOQ for Permanent Restoration in 765kV S/C Lucknow Bareilly Trx. Line at Bareilly
Sr. No. | ITEM Description | Unit | Qty
1 | Dismantling of 01 Nos 765kV Tower (Loc no 567), site clearing and stacking at site and transportation upto Bareilly Powergrid Store (40Km approx) Loading & Unloading and handing over to store. Loc No 567-HZE+0 (Horizontal) | MT | 36.794
2 | Destringing of Quad Bersimis conductor from existing tower from 567 to 570 | kM | 1.135
3 | Transportation from local site Store/ within 5 km & Erection of various type of Tower, Tower parts and its body/leg (Equal/unequal) extension (complete) including Bolts & Nuts, step bolts, hangers D Shackle etc. complete including tack welding. New Loc 567 - D+3 New Loc 566 (Pile) - E+3 | MT | 71.64
4 | Stringing of Quad Bersimis Conductor (Loc No 570-565) | kM | 1.768
5 | Foundation of 1 No 765kV S/C Tower (HZD+3)-PS Including Earthing
a | Excavations in various types of soil - Wet soil | Cu.M | 543.51
b | Concreting (Including all associated works related to foundation not covered in Excavation and reinforcements steel works): Lean Concrete (1:3:6) | Cu.M | 8.27
c | Concreting (Including all associated works related to foundation not covered in Excavation and reinforcements steel works): Concrete (1:1.5:3) | Cu.M | 63.68
d | Reinforcements Steel (Supply and Placement) | MT | 6.263
e | Installation of stub including Bolts and Nuts:- For Normal Towers | MT | 1.011
6 | Mobilization of workmen | EA | 75
7 | Demobilization of workmen | EA | 75