## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package OF "Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL"
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch -1 : (Abstract Of Cost)
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-2 (Schedule Items for Civil Works for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-3 (Non-Schedule Items for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-4 (Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-5 (Non-Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-6 ( INTERNAL ELECTRIFICATION WORKS OF 50x10 STORE SHED FOR BANASKANTHA SUBSTATION ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 .
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !

## BASIC
Name of Package : | Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
Rfx No : | 5001000914
Specification No. : | WR2/NT/W-AIS/DOM/G01/25/05234
06 MONTHS
Completion Period | 04 MONTHS

## Names of Bidder
Name of Package :
Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
Enter following details of the bidder
Specify type of Bidder | Individual Firm/Pvt Ltd company/Partnership firm etc
Name of Lead Partner
Address of Registered Office & Mobile Numbers
Name of Other Partner | …….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Bid Form (hidden)
WR2/NT/W-AIS/DOM/G01/25/05234 |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date : | --
To:
Contract Services
Power Grid Corporation of India Ltd.,
Western Region Transmission System-II
Name of Contract : |  | Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
Dear Ladies and/or Gentlemen,
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Sch-1 | NA
| Sch-2 | NA
| Sch-3 | Installation/Service Charges
| Sch-4 | NA
| Sch-5 | Taxes & Duties
| Sch-6 | Grand Summary
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in relevant Clause Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be Firm and Fixed through out the currency of the contract .
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted in India specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted in India specified in Schedule No. 4 of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of 0
Date : | 0 |  | Printed Name : | 0
Place : | 0 |  | Designation : | 0
Printed Name :
Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *

## Sch-3A Sch civil (hidden)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
Bidder’s Name and Address (Sole Bidder) : | [12 empty] | To:
Name : |  |  |  |  | 0% | [7 empty] | Contract Services
Address : |  |  |  |  | 0% | [7 empty] | Power Grid Corporation of India Ltd.,
[5 empty] | 0% | [7 empty] | Western Region Transmission syatem -II
[5 empty] | 0% | [7 empty] | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Schedule 3A Schedule Civil
Various civil and electric work for installation of various medical equipment’s (CT Scan machine and Ultra sound machine with all accessories) at Civil Hospital Hajira Gwalior, Madhya Pradesh under CSR initiative by POWERGRID
Sl. No. | Activity Header / Substation Name | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST # | DSR'2023 Item No. |  | Unit | Quantity | Unit Erection Charges | Deduction of GST factor considered in DSR | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST
(Service Accounting Codes)
1 | 2 |  | 3 | 4 | 5 | 6 |  |  | 8 | 9 | 10 | 11 | 12 | 13 | 14
PART -A : Schedule Items as per DSR 2023
1 | [6 empty] | 1 | CARRIAGE OF MATERIALS
[7 empty] | 1.1 | By Mechanical Transport including loading,unloading and stacking
|  |  | 995424 |  | 18% |  | 1.1.2 | Earth upto lead of 1 km | Cum. | 480.7256 | 217.55 | 0.18 | 184.3644 | 88627.3828 | 15952.9289
2 | [6 empty] | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.
|  |  | 995424 |  | 18% |  | 2.6.1 | All kinds of soil | Cum. | 961.4511 | 177.5 | 0.18 | 150.4237 | 144621.309 | 26031.8356
3 | [6 empty] | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
|  |  | 995424 |  | 18% |  | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Cum. | 21.352 | 6812 | 0.18 | 5772.8814 | 123250.988 | 22185.1778
4 | [6 empty] | 6.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
|  |  | 995424 |  | 18% |  | 6.1.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum. | 112.3999 | 7132.25 | 0.18 | 6044.2797 | 679377.072 | 122287.873
5 | [6 empty] | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
|  |  | 995424 |  | 18% |  | 13.7.2 | 1:4 (1 cement: 4 fine sand) | Sqm. | 756.814 | 425.55 | 0.18 | 360.6356 | 272935.9584 | 49128.4725
6 | [6 empty] | 23.1.1 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level:- All types of soil
|  |  | 995424 |  | 18% |  | 23.1.1.1 | 300 mm dia | Meter | 25 | 707.75 | 0.18 | 599.7881 | 14994.75 | 2699.055
7 | [6 empty] | 23.4 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge.
|  |  | 995424 |  | 18% |  | 23.4.2 | 150 mm nominal size dia | Meter | 26 | 807.45 | 0.18 | 684.2797 | 17791.28 | 3202.4304
8 |  |  | 995424 |  | 18% |  | 23.8 | Gravel packing in tubewell construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineer-in-charge. | Cum. | 1.3247 | 2024.5 | 0.18 | 1715.678 | 2264.6976 | 407.6456
Total of Schedule Items as per DSR'23 Rates (Schedule I)
Add percentage (%) above/below +/- on DSR 2023 Rates (to be quoted by contractor)
Add Amount above/below +/- on the amount for DSR Items as per quoted percentage
Total of Schedule Items Part-3A
Total Tax
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [12 empty] | Printed Name :
Place : | [12 empty] | Designation :

## Sch-3B (NS)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [7 empty] | To:
Name : | [7 empty] | Contract Services
Address : | [7 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Installation Charges- Sch 3B: Non Schedule Items
Sl. No. | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Description | Unit | Total Quantity | Unit rate (Excl.GST) | Total amount (Excl. GST) | Total GST amount
(Service Accounting Codes)
PART -B :Non Schedule Items
Please Refer Section Project for detailed scope of BPS items
1 | 998736 |  | 18% | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase), High Creepage | EA | 3 |  | 0 | 0
2 | 998736 |  | 18% | 216kV Surge Arrester (1-phase),High Creepage | EA | 3 |  | 0 | 0
3 | 998736 |  | 18% | 245 kV, 1 phase Bus Post Insulator (except for Line Traps),High Creepage | EA | 15 |  | 0 | 0
4 | 998736 |  | 18% | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure, High Creepag | EA | 1 |  | 0 | 0
5 | 998736 |  | 18% | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended current rating, High Creepage | EA | 3 |  | 0 | 0
6 | 998736 |  | 18% | 245kV, 2500A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S, High Creepage | EA | 2 |  | 0 | 0
7 | 998736 |  | 18% | 245kV, 2500A, 50 KA, 3-phase DoubleBreak Isolator with one E/S, High Creepage. | EA | 1 |  | 0 | 0
8 | 998736 |  | 18% | 245kV, 2500A, 50 KA, 3-phase DoubleBreak Isolator with two E/S, High Creepage | EA | 1 |  | 0 | 0
9 | 998734 |  | 18% | 220kV, 1600A, 0.5mH, 50 kA Line Trap | EA | 2 |  | 0 | 0
10 | 998734 |  | 18% | 245 kV ,1 phase Bus Post Insulators for Line Traps, High Creepage | EA | 6 |  | 0 | 0
11 | 998736 |  | 18% | 220kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 1 |  | 0 | 0
12 | 998736 |  | 18% | 220kV Line Protection Panel (with Automation) | EA | 1 |  | 0 | 0
13 | 998734 |  | 18% | Coupling device for PLCC | EA | 2 |  | 0 | 0
14 | 998734 |  | 18% | Carrier Equipment Analog type (for Speech+Data & Speech+Protection) | EA | 2 |  | 0 | 0
15 | 998734 |  | 18% | Analogue Protection Coupler | EA | 2 |  | 0 | 0
16 | 998734 |  | 18% | HF CABLE FOR PLCC-75 OHM (KM) | KM | 0.5 |  | 0 | 0
17 | 998736 |  | 18% | Laying of 1.1KV GRADE 3Cx2.5 sq.mm Control cable | KM | 3.5 |  | 0 | 0
18 | 998736 |  | 18% | Laying of 1.1KV GRADE 5Cx2.5 sq.mm Control cable | KM | 9 |  | 0 | 0
19 | 998736 |  | 18% | Laying of 1.1KV GRADE 10Cx2.5 sq.mm Control cable | KM | 3.5 |  | 0 | 0
20 | 998736 |  | 18% | Laying of 1.1KV GRADE 19Cx1.5 sq.mm Control cable | KM | 3 |  | 0 | 0
21 | 998736 |  | 18% | Laying of 1.1KV GRADE 27Cx1.5 sq.mm Control cable | KM | 0.2 |  | 0 | 0
22 | 998736 |  | 18% | Laying of 1.1KV GRADE 3.5CX35 Sq mm (PVC) POWER CABLE | KM | 1 |  | 0 | 0
23 | 998736 |  | 18% | Laying of 1.1KV GRADE 3.5CX70 Sq mm (PVC) POWER CABLE | KM | 2 |  | 0 | 0
24 | 998736 |  | 18% | Laying of 1.1KV GRADE 4CX 16 Sq mm (PVC) POWER CABLE | KM | 3 |  | 0 | 0
25 | 998736 |  | 18% | Laying of 1.1KV GRADE 4CX6 Sq mm (PVC) POWER CABLE | KM | 1 |  | 0 | 0
26 |  |  |  | Making End termination complete with glands and lugs including making holes in gland plate,dressing for following size of Power and control cable as per section project , technical specification
27 | 998736 |  | 18% | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | EA | 12 |  | 0 | 0
28 | 998736 |  | 18% | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | EA | 84 |  | 0 | 0
29 | 998736 |  | 18% | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | EA | 4 |  | 0 | 0
30 | 998736 |  | 18% | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | EA | 48 |  | 0 | 0
31 | 998736 |  | 18% | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | EA | 6 |  | 0 | 0
32 | 998736 |  | 18% | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | EA | 8 |  | 0 | 0
33 | 998736 |  | 18% | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | EA | 20 |  | 0 | 0
34 | 998736 |  | 18% | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | EA | 32 |  | 0 | 0
35 | 998736 |  | 18% | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | EA | 20 |  | 0 | 0
36 | 998736 |  | 18% | Laying of Optical Fiber cable in 50mm Dia GI pipe in existing cable trench (Supply of 50mm GI pipe in scope of erection contractor and has to be installed in cable trench cable trays angles) | Mtr | 200 |  | 0 | 0
37 | 998731 |  | 18% | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Line Bay as per specification. (Note: Please refer section project and erection key diagram for details of scope covered under this item) | SET | 1 |  | 0 | 0
38 | 998731 |  | 18% | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Bus work (Note: Please refer section project and erection key diagram for details of scope covered under this item) | SET | 1 |  | 0 | 0
39 | 998731 |  | 18% | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 2 |  | 0 | 0
40 | 998731 |  | 18% | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | 0 | 0
41 | 998731 |  | 18% | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | 0 | 0
42 | 998731 |  | 18% | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | 0 | 0
43 | 998731 |  | 18% | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | 0 | 0
44 | 998731 |  | 18% | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | 0 | 0
45 | 995455 |  | 18% | Pipe Structure - 220 kV 1-Phase CVT including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 3 |  | 0 | 0
46 | 995455 |  | 18% | Pipe Structure - 220 kV 1-Phase SA including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 3 |  | 0 | 0
47 | 995455 |  | 18% | Pipe Structure - 220 kV 1-Phase BPI including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 12 |  | 0 | 0
48 | 995455 |  | 18% | Pipe Structure - 220 kV 1 - PH BPI for WT including nuts, bolts, all type of washers, packplates, step bolts and gussetplates excluding foundation bolts | No. | 6 |  | 0 | 0
49 | 995455 |  | 18% | Pipe Structure - 220 kV 1-Phase High BPI including nuts, bolts, all type of washers, packplates, step bolts and gussetplates excluding foundation bolts | EA | 3 |  | 0 | 0
50 | 995455 |  | 18% | Pipe Structure - 220 kV 1-Phase CT including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 3 |  | 0 | 0
51 | 995455 |  | 18% | Pipe Structure - 220 kV 3-Phase ISOLATOR including nuts, bolts, all type of washers, packplates, step bolts and gussetplates excluding foundation bolts | EA | 4 |  | 0 | 0
52 | 995455 |  | 18% | Standard 220 kV Tower CC including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 2 |  | 0 | 0
53 | 995455 |  | 18% | Standard 220 kV Tower CTC including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 2 |  | 0 | 0
54 | 995455 |  | 18% | Standard 220 kV Tower CTG including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 1 |  | 0 | 0
55 | 995455 |  | 18% | Standard 220 kV Tower CTH including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 3 |  | 0 | 0
56 | 995455 |  | 18% | Standard 220 kV Tower CTE including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 1 |  | 0 | 0
57 | 995455 |  | 18% | Standard 220 kV Tower CTF including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 1 |  | 0 | 0
58 | 995455 |  | 18% | Standard 220 kV Tower CB including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 1 |  | 0 | 0
59 | 995455 |  | 18% | Standard 220 kV Gantry B1 including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 4 |  | 0 | 0
60 | 995455 |  | 18% | Erection of Std 220 kV Gantry BG1 including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 4 |  | 0 | 0
61 | 995455 |  | 18% | Dismantling, transportation of 220kV 50 mter Lighting Mast (LM) (Transportation of LM within substation premises) | EA | 1 |  | 0 | 0
62 |  |  | 18% | Reerection of 220kV 50 meter Lighting Mast (LM) at new location in 220kV Switchyard | EA | 1 |  | 0 | 0
63 | 998739 |  | 18% | 40 mm MS rod for Main Earthmat | M | 1200 |  | 0 | 0
64 | 995461 |  | 18% | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | 0 | 0
65 | 995461 |  | 18% | Lighting Panel type ACP-2 as per technical specification | EA | 1 |  | 0 | 0
66 | 998731 |  | 18% | LED Flood Light LuminariesType FL-1 (150W) as per technical specification | EA | 6 |  | 0 | 0
67 | 998731 |  | 18% | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 6 |  | 0 | 0
68 | 998731 |  | 18% | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0 | 0
69 | 995463 |  | 18% | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
70 | 998739 |  | 18% | Illumination System for switchyard panel room of 6 m length | No. | 1 |  | 0 | 0
| Total of Non Schedule Items (Schedule 3B) | [6 empty] | 0 | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [7 empty] | Printed Name :
Place : | [7 empty] | Designation :

## Sch-5 Taxes and duties
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
Schedule-5
(SUMMARY OF TAXES & DUTIES)
To:
Name | 0 | Contract Services
Address | 0 | Power Grid Corporation of India Ltd.,
| 0 | Western Region Transmission syatem -II
| 0 | Plot No. 54, Near Riya revati resort ,
| 0 | Sama - savli road, vadodara-390008
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a | Total GST on Supply & Installation Services (indentified in Schedule-3A) which are not included in the Installationas per the provision of the Bidding Documents, as applicable
a | Total GST on Supply / Installation / Services (indentified in Schedule-3B) which are not included in the Installation/services as per the provision of the Bidding Documents, as applicable |  | 0
2 | GRAND TOTAL [a] |  | 0
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Sch-6 GRAND SUMMARY
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Extension of 220KV system of 400/220kV BOISAR Substation (POWERGRID), with 1 Nos. New AIS bays, for termination of 220kV NALASOPARA line, under consultancy services to MSETCL
Schedule-6
(Grand Summary)
To:
Name | 0 | Contract Services
Address | 0 | Power Grid Corporation of India Ltd.,
| 0 | Western Region Transmission syatem -II
| 0 | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Service/Installation Charges
a | TOTAL SCHEDULE NO.-3A
| Installation Charges- Schedule Civil Items |  |  | 0
a | TOTAL SCHEDULE NO.-3B
| Installation/services Charges- Non Schedule Items |  | 0
| Total of Service/Installation Charge (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0
2 | Total GST against Service/Installation Charge (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0 | 0
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0