## Estimate_All (hidden)
Estimate for Switch yard and transmission line maintenance of 400/220KV Kanpur, Kanpur GIS, Orai, Auraiya & Fatehpur Gp for 02 year Period.
SN | DESCRIPTION OIF ITEM | UNIT | Estimated QTY. for 02 year | RATE (in Rs.) | AMOUNT (in Rs.)
A | Substation maintenance
W | 400/220KV Kanpur |  |  |  |  | 4
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 4 manpower | operation | 600 | 3098.2578 | 1858954.68 | 2
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 1899.6428 | 1139785.68 | 3
X | KANPUR GIS |  |  |  |  | 2
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | operation | 600 | 2065.5052 | 1239303.12 | 14
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 1899.6428 | 1139785.68 | 5
Y | ORAI |  |  |  |  | 8
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 3 manpower | operation | 600 | 1726.0056 | 1035603.36 | 38 | 600 | 22800 | 30% | 6840 | 6900
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 1474.6204 | 884772.24 |  |  |  |  | 2300 | 4600
Z | Fatehpur
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | operation | 600 | 1726.0056 | 1035603.36
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 737.3102 | 442386.12
B | Transmission Line Maintainance
1 | 400/220KV Kanpur :Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 14 manpower | operation | 600 | 0 | 0
2 | Orai :Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 5 manpower | operation | 600 | 3452.0112 | 2071206.72
3 | Auraiya:Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 8 manpower | operation | 600 | #REF! | #REF!
C | Outstation Stay charges a)Total Skilled fitter for Agra & Aligrah group including TL and Sub-station = 38, b)Total deployed Skilled Manpower for 02 years = 600*38= 22800 c)Considering 30% of total deployed skilled manpower for out station stay charges = 22800*30%= 6840~ 6900 d) Ratio of Lodging not arranged by POWERGRID and lodging arranged by POWERGRID= 1:2 i.e 2300: 4600
1 | If tent/ house will not be arranged by POWERGRID, Boarding and lodging charges for outstaion stay made by labors during Insulator cleaning, breakdown in Transmission line /SS (400 KV KNP & KNP GIS GP= 1200, Orai=500, Auraiya=500, FTP= 100) | EA | 2300 | 500 | 1150000
2 | If house/tent will be arranged by POWERGRID, outstaion stay charges made by labors during Insulator cleaning, breakdown in Transmission line /SS ( 400 KV KNP & KNP GIS GP : 2200, Orai: 1100, Auraiya : 1100, FTP: 200) | EA | 4600 | 100 | 460000
D | Height allowance for work above 30ft height with regard to Highly Skilled Contract worker working in Switchyard, S/s Maintainance AND TLM
1 | 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. 400/220KV KNP: 9600 (1200 SS+ 8400TL), KNP GIS: 600 S/S, | EA | 10200 | 154.4 | 1574880
2 | 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. Orai : 3900 (900 SS+ 3000 TL), Auraiya : 4800 (TL), Fatehpur : 6600 (600 SS + 6000TL) | EA | 15300 | 129 | 1973700
E | Total Operational charge for two year = Rs. |  |  |  | #REF!
F | Add contractor profit @ 10% on operational charge for estimation purpose = Rs. |  |  |  | #REF!
G | Gross Amount including profit = Rs. |  |  |  | #REF!
H | Add GST as applicable at present @ 18% on gross amount = Rs. |  |  |  | #REF!
| Total Grass amount including GST (G+H)=Rs. |  |  |  | #REF!
#REF!

## S-s All (hidden)
Detailed Standard Calculation of Operation Rates for Switch yard and Transmission Line maintenance
Minimum wages for Highly Skilled manpower @ 645/- per day as per min. wage circular of central government as on 01.04.2019
Minimum wages for Skilled manpower @ 551/- per day as per min. wage circular of central government as on 01.04.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 645 | 1 | 1 | 645
a | Total wages |  |  |  | 645
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 83.85
c | ESI @ 3.25% |  |  |  | 20.9625
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 53.7285
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 32.25
| Total = Rs. |  |  |  | 835.791
(ii) | Skilled manpower (Basic + VDA) | 551 | 1 | 1 | 551
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 71.63
b | ESI @ 3.25% |  |  |  | 17.9075
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 45.8983
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 27.55
| Total = Rs. |  |  |  | 713.9858
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 12 manpower | 835.791 | 12 | Operation | 10029.492
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 08 manpower | 713.9858 | 8 | Operation | 5711.8864
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*12*50%) | 600 | 3600
| Outstation stay Charges |  |  | 200/day

## TL_All (hidden)
Detailed Standard Calculation of Operation Rates for Transmission Line maintenance
Minimum wages for Highly Skilled manpower @ 645/- per day as per min. wage circular of central government as on 01.04.2019 for Area "C"
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower for T/L. Miantainance (Basic + VDA) | 645 | 1 | 1 | 645
a | Total wages |  |  |  | 645
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 83.85
c | ESI @ 3.25% |  |  |  | 20.9625
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 53.7285
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 32.25
| Total = Rs. |  |  |  | 835.791
Transmission line
3 | Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 39 manpower | 835.791 | 39 | Operation | 32595.849
NOTE
| Outstation stay Charges | 200/day
| HEIGHT ALLOWANCE FOR TLM (39*600) | 23400

## A_LKO 400KV_Est
Estimate for Switch yard maintenance of 400KVLucknow Gp for 02 year Period.
IT NO. | DESCRIPTION OIF ITEM | UNIT | Estimated QTY. for 02 year | RATE (in Rs.) | AMOUNT (in Rs.)
Substation maitenance
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 3 manpower | operation | 600 | 3098.2578 | 1858954.68
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 1899.6428 | 1139785.68
Outstation Stay charges
3 | If tent/ house will not be arranged by POWERGRID, Boarding and lodging charges for outstaion stay made by labors during Insulator cleaning, breakdown in Transmission line /SS (If tent/ house will not be arranged by POWERGRID) | EA | 100 | 500 | 50000 | 4156456.0673
4 | If house/tent will be arranged by POWERGRID, outstaion stay charges made by labors during Insulator cleaning, breakdown in Transmission line /SS | EA | 100 | 100 | 10000 | 3290077.9824
| Height allowance for work above 30ft height with regard to Highly Skilled Contract worker working in Switchyard, S/s Maintainance AND TLM |  |  |  |  | 6192994.6514
5 | 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. | EA | 900 | 159.4 | 143460 | 2100046.505
A | Total Operational charge for two year = Rs. |  |  |  | 3202200.36 | 15739575.2061
| Add contractor profit @ 10% on operational charge for estimation purpose = Rs. |  |  |  | 320220.036
B | Gross Amount including profit = Rs. |  |  |  | 3522420.396
C | Add GST as applicable at present @ 18% on gross amount = Rs. |  |  |  | 634035.6713
| Total Grass amount including GST (B+C)=Rs. |  |  |  | 4156456.0673
Detailed Standard Calculation of Operation Rates for 400/220KV LKO Sub-station maintenance
Minimum wages for Highly Skilled manpower @ 797/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 733/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 797 | 1 | 1 | 797
a | Total wages |  |  |  | 797
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 103.61
c | ESI @ 3.25% |  |  |  | 25.9025
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 66.3901
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 39.85
| Total = Rs. |  |  |  | 1032.7526
(ii) | Skilled manpower (Basic + VDA) | 733 | 1 | 1 | 733
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 95.29
b | ESI @ 3.25% |  |  |  | 23.8225
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 61.0589
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 36.65
| Total = Rs. |  |  |  | 949.8214
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 3 manpower | 1032.7526 | 3 | Operation | 3098.2578
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 949.8214 | 2 | Operation | 1899.6428
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*03*50%) | 600 | 900
Note: For outstation assignments, house / tent will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## Sheet2 (hidden)
Gp 1
Name of sites | Sub-station maintenance |  | T/L Maintenance | Remarks
| Highly skilled | Skilled
Package A (Agra) | 8 | 4 | 20 |  | 28
Package B (Aligarh) | 2 | 2 | 10 |  | 12
Package C (Mainpuri) |  |  |  |  | 11
Total | 10 | 6 | 30
Gp 2
Name of sites | Sub-station maintenance |  | T/L Maintenance | Remarks
| Highly skilled | Skilled
Kanpur 400/220KV | 4 | 2 | 14
Kanpur GIS | 2 | 2
Orai | 3 | 2 | 5
Auraiya | 0 | 0 | 8
Fatehpur | 2 | 2 | 10
Total | 11 | 8 | 37

## A_LKO 400KV_SS
Detailed Standard Calculation of Operation Rates for 400/220KVLucknow Sub-station maintenance
Minimum wages for Highly Skilled manpower @ 797/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 733/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 797 | 1 | 1 | 797
a | Total wages |  |  |  | 797
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 103.61
c | ESI @ 3.25% |  |  |  | 25.9025
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 66.3901
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 39.85
| Total = Rs. |  |  |  | 1032.7526
(ii) | Skilled manpower (Basic + VDA) | 733 | 1 | 1 | 733
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 95.29
b | ESI @ 3.25% |  |  |  | 23.8225
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 61.0589
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 36.65
| Total = Rs. |  |  |  | 949.8214
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 3 manpower | 1032.7526 | 3 | Operation | 3098.2578
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 949.8214 | 2 | Operation | 1899.6428
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*03*50%) | 600 | 900
Note: For outstation assignments, house / tent will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## A_LKO 400KV_TL
Detailed Standard Calculation of Operation Rates for 400/220KV Lucknow Transmission Line maintenance
Minimum wages for Highly Skilled manpower @ 797/- per day as per min. wage circular of central government as on 01.10.2019 for class A city
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower for T/L. Miantainance (Basic + VDA) | 797 | 1 | 1 | 797
a | Total wages |  |  |  | 797
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 103.61
c | ESI @ 3.25% |  |  |  | 25.9025
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 66.3901
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 39.85
| Total = Rs. |  |  |  | 1032.7526
Transmission line
3 | Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 10 manpower | 1032.7526 | 0 | Operation | 0
NOTE

## A_ LKO 765KV_Est
Estimate for Switch yard maintenance of Lucknow 765KV Gp for 02 year Period.
IT NO. | DESCRIPTION OIF ITEM | UNIT | Estimated QTY. for 02 year | RATE (in Rs.) | AMOUNT (in Rs.)
Substation maitenance
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | operation | 600 | 2065.5052 | 1239303.12
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 1899.6428 | 1139785.68
Outstation Stay charges
3 | If tent/ house will not be arranged by POWERGRID, Boarding and lodging charges for outstaion stay made by labors during Insulator cleaning, breakdown in Transmission line /SS (If tent/ house will not be arranged by POWERGRID) | EA | 100 | 500 | 50000
| If house/tent will be arranged by POWERGRID, outstaion stay charges made by labors during Insulator cleaning, breakdown in Transmission line /SS | EA | 100 | 100 | 10000
4 | Height allowance for work above 30ft height with regard to Highly Skilled Contract worker working in Switchyard, S/s Maintainance
| 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. | EA | 600 | 159.4 | 95640
A | Total Operational charge for two year = Rs. |  |  |  | 2534728.8
| Add contractor profit @ 10% on operational charge for estimation purpose = Rs. |  |  |  | 253472.88
B | Gross Amount including profit = Rs. |  |  |  | 2788201.68
C | Add GST as applicable at present @ 18% on gross amount = Rs. |  |  |  | 501876.3024
| Total Grass amount including GST (B+C)=Rs. |  |  |  | 3290077.9824
Detailed Standard Calculation of Operation Rates for LKO 765KV Sub-station maintenance
Minimum wages for Highly Skilled manpower @ 772/- per day as per min. wage circular of central government as on 01.04.2019
Minimum wages for Skilled manpower @ 710/- per day as per min. wage circular of central government as on 01.04.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 797 | 1 | 1 | 797
a | Total wages |  |  |  | 797
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 103.61
c | ESI @ 3.25% |  |  |  | 25.9025
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 66.3901
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 39.85
| Total = Rs. |  |  |  | 1032.7526
(ii) | Skilled manpower (Basic + VDA) | 733 | 1 | 1 | 733
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 95.29
b | ESI @ 3.25% |  |  |  | 23.8225
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 61.0589
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 36.65
| Total = Rs. |  |  |  | 949.8214
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | 1032.7526 | 2 | Operation | 2065.5052
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 949.8214 | 2 | Operation | 1899.6428
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*02*50%) | 600 | 600
Note: For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## A_LKO 765KV_SS
Detailed Standard Calculation of Operation Rates for Lucknow 765KV Sub-station maintenance
Minimum wages for Highly Skilled manpower @ 797/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 733/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 797 | 1 | 1 | 797
a | Total wages |  |  |  | 797
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 103.61
c | ESI @ 3.25% |  |  |  | 25.9025
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 66.3901
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 39.85
| Total = Rs. |  |  |  | 1032.7526
(ii) | Skilled manpower (Basic + VDA) | 733 | 1 | 1 | 733
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 95.29
b | ESI @ 3.25% |  |  |  | 23.8225
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 61.0589
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 36.65
| Total = Rs. |  |  |  | 949.8214
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | 1032.7526 | 2 | Operation | 2065.5052
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 949.8214 | 2 | Operation | 1899.6428
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*02*50%) | 600 | 300
Note: For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## B_Sohawal_Est
Estimate for Switch yard and transmission line maintenance of Sohawal Gp for 02 year Period.
IT NO. | DESCRIPTION OIF ITEM | UNIT | Estimated QTY. for 02 year | RATE (in Rs.) | AMOUNT (in Rs.)
Substation maitenance
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | operation | 600 | 1726.0056 | 1035603.36
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 1474.6204 | 884772.24
Transmission Line Maintainance
3 | Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 4 manpower | operation | 600 | 3452.0112 | 2071206.72
Outstation Stay charges
4 | If tent/ house will not be arranged by POWERGRID, Boarding and lodging charges for outstaion stay made by labors during Insulator cleaning, breakdown in Transmission line /SS (If tent/ house will not be arranged by POWERGRID) | EA | 500 | 500 | 250000
5 | If house/tent will be arranged by POWERGRID, outstaion stay charges made by labors during Insulator cleaning, breakdown in Transmission line /SS | EA | 1300 | 100 | 130000
Height allowance for work above 30ft height with regard to Highly Skilled Contract worker working in Switchyard, S/s Maintainance AND TLM
5 | 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. | EA | 3000 | 133.2 | 399600
A | Total Operational charge for two year = Rs. |  |  |  | 4771182.32
| Add contractor profit @ 10% on operational charge for estimation purpose = Rs. |  |  |  | 477118.232
B | Gross Amount including profit = Rs. |  |  |  | 5248300.552
C | Add GST as applicable at present @ 18% on gross amount = Rs. |  |  |  | 944694.0994
| Total Grass amount including GST (B+C)=Rs. |  |  |  | 6192994.6514
Detailed Standard Calculation of Operation Rates for Sohawal Sub-Station maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 569/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 666 | 1 | 1 | 666
a | Total wages |  |  |  | 666
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 86.58
c | ESI @ 3.25% |  |  |  | 21.645
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 55.4778
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 33.3
| Total = Rs. |  |  |  | 863.0028
(ii) | Skilled manpower (Basic + VDA) | 569 | 1 | 1 | 569
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 73.97
b | ESI @ 3.25% |  |  |  | 18.4925
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 47.3977
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 28.45
| Total = Rs. |  |  |  | 737.3102
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | 863.0028 | 2 | Operation | 1726.0056
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 737.3102 | 2 | Operation | 1474.6204
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*02*50%) | 600 | 600
For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges
Detailed Standard Calculation of Operation Rates for Sohawal, Transmission Line maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019 for Area "C"
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower for T/L. Miantainance (Basic + VDA) | 645 | 1 | 1 | 645
a | Total wages |  |  |  | 645
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 83.85
c | ESI @ 3.25% |  |  |  | 20.9625
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 53.7285
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 32.25
| Total = Rs. |  |  |  | 835.791
Transmission line
3 | Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 4manpower | 835.791 | 4 | Operation | 3343.164
NOTE
1 | For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges
2 | HEIGHT ALLOWANCE FOR TLM (4*600) | 2400

## B_Sohawal_SS
Detailed Standard Calculation of Operation Rates for Sohawal Sub-Station maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 569/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 666 | 1 | 1 | 666
a | Total wages |  |  |  | 666
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 86.58
c | ESI @ 3.25% |  |  |  | 21.645
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 55.4778
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 33.3
| Total = Rs. |  |  |  | 863.0028
(ii) | Skilled manpower (Basic + VDA) | 569 | 1 | 1 | 569
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 73.97
b | ESI @ 3.25% |  |  |  | 18.4925
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 47.3977
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 28.45
| Total = Rs. |  |  |  | 737.3102
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | 863.0028 | 2 | Operation | 1726.0056
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 737.3102 | 2 | Operation | 1474.6204
NOTE
|  | Total Operation | Mandays for Height allowance | Rate
| Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*02*50%) | 600 | 600
For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## Consolidated Cost
Detailed Standard Calculation of Operation Rates for Lko 400KV, LKO 765KV, Sohawal and Raebareli Group for Sub-Station & TL maintenance
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Latest Wage Rates w.e.f. 01.10.2020 Minimum Wages Rates for class C (Lucknow S/Stn In Barabanki Distt UP) |  | Minimum Wages Rates for class C (Sohawal & Raebareli) |  | Sub-station | [15 empty] | Transmission Line
[6 empty] | Qty For Lko 400KV |  | Qty For Lko 765KV |  | Qty for Sohawal |  | Qty for Raebareli |  | Per Operation Cost for LKO 400KV |  | Per Operation Cost for LKO 765KV |  | Per operation cost for Sohawal |  | Per operation cost for Raebareli |  | Qty for Sohawal | Per Opn Cost for Sohawal
|  | Highly Skilled(HS) | Skilled(S) | HS | S | HS | S | HS | S | HS | S | HS | S | HS | S | HS | S | HS | S | HS | S | HS | HS
(i) | Highly Skilled manpower (Basic + VDA) | 666 | 569 | 666 | 569 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1998 | 1138 | 1332 | 1138 | 1332 | 1138 | 1332 | 569 | 4 | 2664
a | Total wages | [12 empty] | 1998 | 1138 | 1332 | 1138 | 1332 | 1138 | 1332 | 569 |  | 2664
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% | [12 empty] | 259.74 | 147.94 | 173.16 | 147.94 | 173.16 | 147.94 | 173.16 | 73.97 |  | 346.32
c | ESI @ 3.25% | [12 empty] | 64.935 | 36.985 | 43.29 | 36.985 | 43.29 | 36.985 | 43.29 | 18.4925 |  | 86.58
d | Bonus @ 8.33 % of Basic + VDA | [12 empty] | 166.4334 | 94.7954 | 110.9556 | 94.7954 | 110.9556 | 94.7954 | 110.9556 | 47.3977 |  | 221.9112
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) | [12 empty] | 99.9 | 56.9 | 66.6 | 56.9 | 66.6 | 56.9 | 66.6 | 28.45 |  | 133.2
| Total = Rs. | [12 empty] | 2589.0084 | 1474.6204 | 1726.0056 | 1474.6204 | 1726.0056 | 1474.6204 | 1726.0056 | 737.3102 |  | 3452.0112
Estimate for Sub-station & TL Maintenance for Lko 400KV, LKO 765KV, Sohawal and RaebareliGroup for 02 year Period. | [15 empty] | Sub Station | S/s Maintenance |  | TLM | Total |  | Total Higly Skilled Fitter
IT NO. | DESCRIPTION OF ITEM | UNIT | Estimated QTY. for 02 year | RATE (in Rs.) | AMOUNT (in Rs.) | [11 empty] | Highly Skilled | Skilled | Highly Skilled
A | Sub-station | [14 empty] | LKO 400KV | 3 | 2 | - | 5 |  | 3
W | Lucknow 400KV Sub-station Maintenance | [14 empty] | LKO 765KV | 2 | 2 | - | 4 |  | 2
1 | Highly Skilled - 03 | Opn | 600 | 2589.0084 | 1553405.04 | [10 empty] | Raebareli | 2 | 1 | - | 3 |  | 2
2 | Skilled - 02 | Opn | 600 | 1474.6204 | 884772.24 | [10 empty] | Sohawal | 2 | 2 | 4 | 8 |  | 6
X | Lucknow 765KV Sub-station | [14 empty] | Total | 9 | 7 | 4 | 20 |  | 13
1 | Highly Skilled -02 | Opn | 600 | 1726.0056 | 1035603.36 | [19 empty] | 1 | 2 | 1
2 | Skilled - 02 | Opn | 600 | 1474.6204 | 884772.24 | [10 empty] | Total Highly Skilled Fitter = |  |  |  |  | 13 |  |  | 2400 | 800 | 1600
Y | Sohawal Sub-station | [22 empty] | 0 | 0 | 0
1 | Highly Skilled -02 | Opn | 600 | 1726.0056 | 1035603.36 | [10 empty] | Ht Allowance for Highly Skilled Fitter
2 | Skilled - 02 | Opn | 600 | 1474.6204 | 884772.24 | [10 empty] | Sub- station | S/S | TL | Total (S/S + TL)
Z | Raebareli Sub-station | [14 empty] | LKO 400KV | 900 | - | 900
1 | Highly Skilled -02 | Opn | 600 | 1726.0056 | 1035603.36 | [10 empty] | LKO 765KV | 600 | - | 600
2 | Skilled - 01 | Opn | 600 | 737.3102 | 442386.12 | [10 empty] | Raebareli | 600 | - | 600
B | Transmission Line Maintainance | [14 empty] | Sohawal | 600 | 2400 | 3000
2 | Sohawal :Highly-skilled - 4 | Opn | 600 | 3452.0112 | 2071206.72
C | Outstation Stay charges a)Total Highly Skilled fitter for LKO 400KV, LKO 765KV, Sohawal and Raebareli group including TL and Sub-station = 13, b)Total deployed Skilled Manpower for 02 years =600*13= 7800 c)Considering 30% of total deployed skilled manpower for out station stay charges =7800*30%= 2340~2400 d) Ratio of Lodging not arranged by POWERGRID and lodging arranged by POWERGRID= 1:2 i.e 800: 1600
1 | If tent/ house will not be arranged by POWERGRID, Boarding and lodging charges for outstaion stay made by labors during Insulator cleaning, breakdown in Transmission line /SS (LKO 400KV =100, LKO 765KV=100, Sohawal=500, Raebareli=100 ) | EA | 800 | 500 | 400000
2 | If house/tent will be arranged by POWERGRID, outstaion stay charges made by labors during Insulator cleaning, breakdown in Transmission line /SS ( LKO 400KV=100, LKO 765KV=100, Sohawal=1300, Raebareli=100) | EA | 1600 | 100 | 160000
D | Height allowance for work above 30ft height with regard to Highly Skilled Contract worker working in Switchyard, S/s Maintainance AND TLM | [8 empty] | Wage Rate | PF | ESI | Bonus | Overheads
1 | Height Allowance @ 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. LKO 400KV (900SS), LKO 765KV (600 SS) | EA | 1500 | 172.6 | 258900 |  |  |  |  | 666 | 13% | 3.25% | 8.33% | 5% | Total Per operation allowance including terminal benefit loadings
2 | 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. Sohawal(600 SS + 2400 TL) & Raebareli (600SS) | EA | 3600 | 172.6006 | 621362.016 |  |  |  | Height All @ 20% | 133.2 | 17.316 | 4.329 | 11.0956 | 6.66 | 172.6006
E | Total Operational charge for two year = Rs. |  |  |  | 11268386.696
F | Add contractor profit @ 10% on operation charge = Rs. |  |  |  | 1126838.6696
G | Gross Amount including profit = Rs. |  |  |  | 12395225.3656
H | Add GST as applicable at present @ 18% on gross amount = Rs. |  |  |  | 2231140.5658
| Total Grass amount including GST (G+H)=Rs. |  |  |  | 14626365.9314

## B_Sohawal_TL
Detailed Standard Calculation of Operation Rates for Sohawal Transmission Line maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019 for Area "C"
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower for T/L. Miantainance (Basic + VDA) | 666 | 1 | 1 | 666
a | Total wages |  |  |  | 666
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 86.58
c | ESI @ 3.25% |  |  |  | 21.645
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 55.4778
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 33.3
| Total = Rs. |  |  |  | 863.0028
Transmission line
3 | Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 10manpower | 863.0028 | 4 | Operation | 3452.0112
NOTE
1 | For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges
2 | HEIGHT ALLOWANCE FOR TLM (4*600) | 2400

## C_Raebareli_Estt
Estimate for Switch yard maintenance of Raebareli Gp for 02 year Period.
IT NO. | DESCRIPTION OIF ITEM | UNIT | Estimated QTY. for 02 year | RATE (in Rs.) | AMOUNT (in Rs.)
Substation maitenance
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | operation | 600 | 1726.0056 | 1035603.36 | #REF!
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | operation | 600 | 737.3102 | 442386.12
Outstation Stay charges
4 | If tent/ house will not be arranged by POWERGRID, Boarding and lodging charges for outstaion stay made by labors during Insulator cleaning, breakdown in Transmission line /SS (If tent/ house will not be arranged by POWERGRID) | EA | 100 | 500 | 50000
5 | If house/tent will be arranged by POWERGRID, outstaion stay charges made by labors during Insulator cleaning, breakdown in Transmission line /SS | EA | 100 | 100 | 10000
Height allowance for work above 30ft height with regard to Highly Skilled Contract worker working in Switchyard, S/s Maintainance AND TLM
5 | 20% extra for minimum wage for work above 30 feet height as per gazette notification: SO.188 (E) dated: 19.01.2017, even for one hour in a day on certification of Engg. In-charge. | EA | 600 | 133.2 | 79920
A | Total Operational charge for two year = Rs. |  |  |  | 1617909.48
| Add contractor profit @ 10% on operational charge for estimation purpose = Rs. |  |  |  | 161790.948
B | Gross Amount including profit = Rs. |  |  |  | 1779700.428
C | Add GST as applicable at present @ 18% on gross amount = Rs. |  |  |  | 320346.077
| Total Grass amount including GST (B+C)=Rs. |  |  |  | 2100046.505
Detailed Standard Calculation of Operation Rates for Raebareli Sub-station maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 569/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 666 | 1 | 1 | 666
a | Total wages |  |  |  | 666
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 86.58
c | ESI @ 3.25% |  |  |  | 21.645
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 55.4778
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 33.3
| Total = Rs. |  |  |  | 863.0028
(ii) | Skilled manpower (Basic + VDA) | 569 | 1 | 1 | 569
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 73.97
b | ESI @ 3.25% |  |  |  | 18.4925
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 47.3977
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 28.45
| Total = Rs. |  |  |  | 737.3102
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | 863.0028 | 2 | Operation | 1726.0056
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 737.3102 | 2 | Operation | 1474.6204
NOTE
|  | Total Operation | Mandays for Height allowance
1 | Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*02*50%) | 600 | 600
2 | For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## C_Raebareli_SS
Detailed Standard Calculation of Operation Rates for Raebareli Sub-station maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019
Minimum wages for Skilled manpower @ 569/- per day as per min. wage circular of central government as on 01.10.2019
Actual rate to be paid for one no. manpower for one day
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower (Basic + VDA) | 666 | 1 | 1 | 666
a | Total wages |  |  |  | 666
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 86.58
c | ESI @ 3.25% |  |  |  | 21.645
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 55.4778
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 33.3
| Total = Rs. |  |  |  | 863.0028
(ii) | Skilled manpower (Basic + VDA) | 569 | 1 | 1 | 569
a | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 73.97
b | ESI @ 3.25% |  |  |  | 18.4925
c | Bonus @ 8.33 % of Basic + VDA |  |  |  | 47.3977
d | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 28.45
| Total = Rs. |  |  |  | 737.3102
Detailed calculation of rates per operation per day
Sl. No. | Description | Rate per manpower (in Rs.) | No. of manpower | Unit | Rate per operation (in Rs.)
Substation
1 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Highly Skilled - 2 manpower | 863.0028 | 2 | Operation | 1726.0056
2 | Providing assistance during planned unplanned & emergency S/D,Maintenance of substations equipments. Skilled - 02 manpower | 737.3102 | 1 | Operation | 737.3102
NOTE
|  | Total Operation | Mandays for Height allowance
1 | Estimated Total no of Operation to be considered for calculation of Height Allowance for fitters in Sub-station and switchyard Maintainance will be 50% of total operation in a BOQ * No. of highly skilled Fitters for Sub-station/ Switchward Maintainance.(600*02*50%) | 600 | 600
2 | For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges

## C_Raebareli_TL
Detailed Standard Calculation of Operation Rates forRaebareli Transmission Line maintenance
Minimum wages for Highly Skilled manpower @ 666/- per day as per min. wage circular of central government as on 01.10.2019 for Area "C"
Sl. No. | Rate Per Day For Switchward and Sub-station Main. | Minimum Wages | Qty. | No. of days | Amount
(i) | Highly Skilled manpower for T/L. Miantainance (Basic + VDA) | 666 | 1 | 1 | 666
a | Total wages |  |  |  | 666
b | PF+EDLI+Admin Charges (12+0.5+0.5) @ 13.00% |  |  |  | 86.58
c | ESI @ 3.25% |  |  |  | 21.645
d | Bonus @ 8.33 % of Basic + VDA |  |  |  | 55.4778
e | Overhead Charges @ 5% (including uniform charges and washing allowances etc. and for miscellaneous expances including T&P maintenance, workmen compensation insurance, health checkup etc.) |  |  |  | 33.3
| Total = Rs. |  |  |  | 863.0028
Transmission line
3 | Deployment of highly skilled fitter/technicians for the routine/breakdown maintenance of transmission line. Capable of working on earthwires/Conductor etc. Highly-skilled - 4 manpower | 863.0028 | 4 | Operation | 3452.0112
NOTE
1 | For outstation assignments, house / tend will be arranged by POWERGRID for lodging of fitters near work place and an amount of Rs 100.00 per man day will be paid towards food expenses. In case of lodging arrangement is not provided by POWERGRID, then an additional amount of Rs 400/- per man day will be paid towards lodging charges
2 | HEIGHT ALLOWANCE FOR TLM (4*600) | 2400

## Sheet1
3522420.36
2788201.68
5149300.55
4662675.82
16122598.41