## Sheet1
Clarification No-I dated 14/05/2024 to the Bidding Documents for Tender Committee for Package-II(b): Communication Equipment ( SDH) works along with DC Power Supply for PDD Ladakh under Establishment of SLDC cum REMC for UT of Ladakh; Spec. No: CC/NT/W-TELE/DOM/A06/24/05311
S. No. | Clause Ref | Provision in bidding document | Bidders Queries | POWERGRID Reply
1 | Volume II- Technical Specification for Communication Equipment Packages, 1.3 Scope and General Requirements | The broad scope of procurement of this part includes the survey, planning, design, engineering, supply, transportation, insurance, delivery at site, unloading, handling, storage, installation, termination, testing, training, demonstration for acceptance, commissioning and documentation of: (i) SDH Equipment along with suitable interfaces & line cards etc. (ii) Network Management System (NMS) (iii) All cabling, wiring, Digital Distribution Frame patch facilities and interconnections to the supplied equipment at the defined interfaces. (iv) DDF cross connects required to route and activate circuits. (v) System integration of the supplied subsystems and also integration with existing communication equipment such as SDH, MUX etc. (vi) Integration of supplied system with existing and new PMUs, RTUs, SCADA system, PLCC equipment, PABX etc. (vii) Reconfiguration of communication channel in existing communication equipment. (viii) Repeater Shelter along with associated subsystem (ix) Maintenance of the supplied system | Repeater Shelter & DG Set are mentioned in technical Specifications. Please confirm the scope & release the revised BOQ / Schedule for clarity & SOW. | Technical Specification mentions general scope. Bidder to bid as per bid price schedule.
2 | 02- Section II ITB SSTE S&I DCB - PRANT | Local/inland transportation, In-transit insurance, loading and unloading of the Plant and Equipment including mandatory spares to be supplied shall be quoted separately in Schedule 2, as composite supply of services, with local/inland transportation being the Principal Supply. It is the Employer’s understanding that as per extant provisions, on the charges for supply of services related to Inland transportation, In-transit insurance, loading and unloading by the Bidder to the Employer, GST is not payable. The Bidder is, however, advised to check the position from their own sources. If payable, the same shall be to the Bidder’s account and Employer shall not reimburse any GST on this account. | So GST and/or any other taxes shall be included in the total charges for such work/services as Contractor will pay GST for these work/services. Please confirm / suggest | In regard to GST on the charges for supply of services related to Inland transportation, In-transit insurance, loading and unloading by the Bidder to the Employer, provisions stipulated at clause 11.4(b) of ITB is amply clear.
3 | 01 IFB, Package II (b), Clause No. 9 | e-Reverse Auction (e-RA) The Employer reserves the right to conduct e-Reverse Auction (e-RA) in accordance with clause 29 of ITB. | Please confirm that eRA is mandatory for this tender or not. | In addition to referred IFB clause, please also refer clause ITB 29 in Section-III- BDS of bidding documents, which are amply clear
4 | 04 Annexure B to BDS ITB 29 | Replacing ITB clause 29 29. e-Reverse Auction (e-RA) 29.1 The Employer reserves the right to conduct e-Reverse Auction (e-RA) for further reduction in the price. In case e-RA is conducted, same shall be done in the manner as indicated at Annexure-B(BDS). For the purpose of the aforesaid, the ‘Indicative Estimated Cost for e-RA’ is INR 17.77 Crore. | Please confirm that the estimated bid price is 17.77 Crore with all duties & Taxes. | Indicative Estimated Cost for the subject package is inclusive of T&D which is specified only for the purpose of e-RA