## Sheet1
Clarification No-II dated 30/05/2024 to the Bidding Documents for Package-II(b): Communication Equipment ( SDH) works along with DC Power Supply for PDD Ladakh under Establishment of SLDC cum REMC for UT of Ladakh; Spec. No: CC/NT/W-TELE/DOM/A06/24/05311
Pre Bid Queries Submitted by the Bidder {Tejas Networks Ltd}
S. No. | Clause Ref | Provision in bidding document | Bidders Queries | POWERGRID Reply
1 | Vol-1,Section-V, SCC, GCC 1.1(e) & 1.1(ee) | The Time for Completion shall be as under: 24 months | We understand that PGCIL will provide all site readiness within one year of Contract signing so that Supply and Commissioning is completed within Contract Time period. In case site readiness is not provided within the time period, PGCIL will not ask for PBG extension and shall short close the contract. Pls confirm | Bidder may also refer provisions of Bidding Documents at clause 6.2 of General Conditions of Contract, Section – IV, Volume-I, which shall prevail and are amply clear.
2 | Vol-1, Section-V, SCC,Sl.no. 4 , GCC 1.1 (bb) | “Site” shall mean and include the land & other places at which the project and related facilities are to be constructed and any land, path etc., which may be allocated or used by the Owner/Employer in performance of work. Site for this project belongs to Owner, accordingly, Owner's permission may be required to obtain in the context required to do so | If the sites are not ready or made available to the contractor within the project period of 18 months (24 months being the total Time for completion of contract), how long will the contract remain open, and what remedies are available to the contractor? | Bidder may also refer provisions of Bidding Documents at clause 6.2 of General Conditions of Contract, Section – IV, Volume-I, which shall prevail and are amply clear.
3 | Vol-1, Section-V, SCC, Sl.no. 9, GCC 5.7 | Insert a new clause GCC 5.7 as follows: Vide Notification dated 8th May 2017 and its revision dated 29th May 2019 by Ministry of Steel has published “Policy for providing preference to Domestically Manufactured Iron & Steel Products in Government Procurement” (hereinafter DMI&SP policy). The Contractor shall comply with the guidelines specified in the policy including subsequent amendments/ modifications, if any. Further, in case of iron and steel products (whose HS codes are falling in Appendix-A of the DMI&SP policy as revised from time to time) included in the BoQ/ scope of the package, the Contractor shall be required to provide the following requisite Certificate(s)/ Affidavit(s) in line with aforesaid policy....... | We understand that the Policy is not applicable for this Project since the project is for Procurement of Communication Equipment. Moreover, Pls refer the clause 5.1.6 of the said Policy i.e " The policy shall be applicable to projects where the procurement value of iron and steel products is greater than Rs. 25 crores. The policy shall also be applicable for other procurement (non-project), where annual procurement value of iron and steel products for that Government organization is greater than Rs. 25 | Bidder is required to comply the Provisions of the Bidding Documents .
4 | Vol-II, Section-2, clause 2.1 | The contractor shall ensure that the supplied equipments have been got tested as per relevant contemporary Indian or International Security Standards e.g. IT and IT related elements against ISO/IEC 15408 standards, for Information Security Management System against ISO 27001/2, Power Control Systems – Security Requirements against IS 16335, Cyber Security for Industrial Control Systems against IEC 62443-4 etc. from an authorized and certified agency/lab. These mentioned standards shall be current with all amendments, if any and in case if any standard is superseded, the new standard shall be applicable | Is it mandatory to submit EAL certificate to meet the security requirement along with the Bid? Pls confirm | Bidder to Comply TS
5 | Vol-II, Section-2, clause 2.11, PABX | 13. System should provide web portal facility for all users. | This is not being complied by major Indian OEM. Pls remove the clause for wider participation | Bidder to Comply TS
6 | Vol-II, Section-2, clause 2.11, PABX | 1.The proposed IP Based EPABX System shall have 500 SIP Users with advance unified license with 2 Nos 1U Server with Dual Power Supply with configuration Intel Xeon Quad Core Processor 3.0 Ghz, Dual Giga bit ETH Ports DDR4 16GB RAM. 1TB HDD, .2 Ports PRI, 60 Channel SIP Trunk, (Support End points -IP phones, Smart Mobile Phones, Analog Phones & Video Phones). Licenses for above configuration will be included in the scope of supply. 100% Secured Mobile APP for all users. VPN Server & Client Should be Built-in in the solution. Voice Mail & Voice Mail to Email for all users. Support IPV4 & IPV6 from Day one | We have checked with major indian OEM and as per them the requirement is not generic and not being complied by them. Pls suggest | Bidder to Comply TS
7 | Vol-II, Section-2, clause 2.11, PABX | 14.Built in 16 party conferences with minimum four rooms and secured password. Conference administrator should control the conference from his web-based portal and must be able to invite or drop any user in live conference | This is not being complied by major Indian OEM. Pls remove the clause for wider participation. | Bidder to Comply TS
8 | Vol-II, Section-6, INSPECTION & TESTING | All Cyber tests shall be carried out during FAT, SAT in compliance to latest cyber security guidelines issued by CEA/MoP or any other govt department | we request you to kindly share specific testing procedures to meet this requirement during FAT and SAT. We are not aware of any such procedure. We understand that if the Equipment is EAL certified, this is not required | Bidder to carry out FAT and SAT in compliance to latest cyber security guidelines issued by CEA/MoP or any other govt department. Bidder to comply TS