| Sl. No. | Clause ref | Existing clause | Queries asked by the bidder | POWERGRID’s clarification |
| --- | --- | --- | --- | --- |
|  | Table 2.1, Sec-IVD, Technical Specifications | Ultimate bond between Steel & Rock for Hard Rock foundations KN/M2 (Kg/M2) 0.147 (15) | Ultimate bond stress between steel and rock for hard rock foundations given in table. We feel that it is a typo error; it should be bond stress between steel anchors and grout material. Please confirm our understanding is correct. | Refer Amendment-V. |
|  |  |  | Values for bond stress between steel anchors and grout given as 15 kg/M2. We feel that it is a typo error; it should be 15 kg/CM2. Please confirm our understanding is correct. | Refer Amendment-V. |
|  |  | - | Values of Bond stress between Hard rock & concrete and Hard rock & Grout not given in the specification. Bidder can use the bond stress values as available in annexure-IV, chapter-10 of CBIP manual, publication no. 323. Please Confirm. | Refer Amendment-V. |
|  | Price schedule, TW04 | T-Connector | Kindly note that for the subject Packages, with respect to recent Clarification & Amendment dated 6th April 2022, we understand that Conductor to be supplied by M/s PGCIL shall be ACSR ZEBRA and design shall be based on ACSR Zebra only. However, we have observed in Price Schedule of Package 4 that Supply of T‐Connector with ACSR/AL59/AAAC HEX ZEBRA which means that conductor selection is in Contractor’s scope. We understand that the same is a typographical error and conductor shall be ACSR Zebra only based on which tower design shall be done. Kindly confirm. | T-connector shall be suitable to ACSR ZEBRA Conductor. Refer Amendment-IV. |
|  | Annexure-A, Sec-IA, of Technical Specification | Undertaking By The Proposed Agency For Pile Foundation | As per our understanding after go through the Clarification-2 &_Amendment-3, we required to be submit the Annexure-A for Undertaking By The Proposed Agency For Pile Foundation only for Package TW03 Gujarat Portion as the piling work mentioned in the BOQ of TW03 –Gujarat Portion only, Kindly confirm. | Confirmed |
|  | Annexure-A, Sec-IA, of Technical Specification |  | At the tender stage bidders need to be submit only Annexure-A for Undertaking by The Proposed agency For Pile Foundation from piling agencies or Bidders need to be submit the same along with Piling Credentials of minimum diameter and having minimum depth of 25 meters below ground level: 1200mm proposed agencies. | Bidder may submit Undertaking by The Proposed agency For Pile Foundation at tender stage. |

***********