| S​l. No. | Clause ref | Queries asked by the bidder | POWERGRID’s clarification |
| --- | --- | --- | --- |
|  | Bid Price Schedule, Volume-III of the Bidding Documents | Item No. 5.22.6 of BOQ: Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all Complete up to plinth level. Thermo-Mechanically Treated bars. The Total Quantity under this item is Mentioned as 612408 MT which is incorrect. The Unit should be Kg. Kindly Confirm. | Refer Amendment -III. |
|  | Bid Price Schedule, Volume-III of the Bidding Documents | As per BOQ Sub head 24: Water supply & Treatment: Specifications are not clear for PR activity No. 10 to 110 Kindly provide the clear Specifications for working on these items. | BPS item descriptions for Water supply & Treatment are amply clear. Bidder may quote accordingly. |