QUALIFICATION REQUIREMENTS FOR

Battery Energy Storage System Package BESS-01 for “Setting up of 125MW/ 500 MWh STU connected Standalone Battery Energy Systems (BESS) in the state of Chhattisgarh for Chhattisgarh State Power Distribution Company Limited (CSPDCL) Under Tariff-Based Competitive Bidding under BOO Model with Viability Gap Funding (VGF) supported through Power System Development Fund (PSDF)’’. Spec. No.: CC/T/W-MISC/DOM/A00/26/00617. QUALIFICATION OF THE BIDDER Qualification of Bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s Technical Experience and Financial Position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid must be submitted by an individual firm.. The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of works executed, works in hand & anticipated in future, the balance capacity available for present scope of works; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) banker’s feedback etc.. 1.0; Technical Experience. 1.1; Route 1 The bidder must have - Supplied, Erected, Tested & Commissioned as a Prime Contractor grid connected** Battery Energy Storage Systems having a cumulative capacity of 10 MWh. Or - Supplied, Erected, Tested & Commissioned as a Prime Contractor at least one (1) project of Solar/Wind Power project having capacity of 50 MW or more in India. Or - Erected, Tested and Commissioned as a prime contractor at least two numbers of AIS^ Circuit Breaker equipped bays of 132 kV or above voltage level in one Sub-station or Switchyard. During the last seven (07) years and the same must have been in satisfactory operation* as on the originally scheduled last date of Bid submission (soft copy), i.e. 30/01/2026.. 1.2; Or, Route 2 Bidder must be a battery manufacturer, who has supplied at least 50 MWh of batteries (of the technology which has been offered in his bid) cumulatively during last three (3) years in stationary grid applications as on the originally scheduled last date of bid submission (soft copy) mentioned above.. Note 1: In case bidder is a holding company, technical experience criteria referred to in clause 1.1 / 1.2 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company technical experience criteria referred to in clause 1.1 / 1.2 above shall be of that subsidiary company only (i.e. excluding its holding company). Note-2: ** Grid connected means Battery Energy Storage System (BESS) integrated with grid for power drawls or feed to the grid at point of common coupling (AC/DC side). Note-3: * Satisfactory operation means Certificate issued by the Employer certifying the operation without any adverse remark. Note-4: In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture Partner shall be considered limited to the scope of that partner under the said contract. Note-5: ^ AIS means Air Insulated Switchgear.. 2.0; Financial Position: For the purpose of the particular bid, bidder must meet the following minimum criteria: a) Net Worth for last 3 financial years should be positive. b) Minimum Average Annual Turnover# (MAAT) of the bidder for the best three years i.e. 36 months out of last five financial years of the bidder should be not less than Rs. 755.35 Crore for Package is for BESS-01. c) Liquid assets (L.A.) or/and evidence of access to or availability of credit facilities should be not less than Rs. 125.89 Crore for Package is for BESS-01. Note 1: #Annual Gross Revenue from operations/Gross operating income as incorporated in the profit & loss account excluding other operative Income/other income. Note 2: In case bidder is a holding company, financial position criteria referred to in clause 2.0 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, financial position criteria referred to in clause 2.0 above shall be of that subsidiary company only (i.e. excluding its holding company). Note 4: Relaxation for Start-Ups##/ MSEs Start-Ups##/MSEs, meeting the specified requirements at Para 2.0 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 2.0 (b) & 2.0 (c) above in Financial Position. Start-Ups## as defined by DPIIT, applicable as on the Originally scheduled last date of bid submission (soft copy).. 3.0; The bidder shall furnish documentary evidence in support of meeting the requisite experience stipulated as above..

******