## Sheet1 (hidden)
RFX. No.5002004956 NIT-484
Name of the Package | Construction of one no. of pile foundation for 400kV Barh Motihari Transmission Line at the Ganga River crossing, Athamal Gola, Bakhtiyarpur under Biharsharif TLM Office of ER-I

## Basic
RFX. No.5002004956 NIT-484
Construction of one no. of pile foundation for 400kV Barh Motihari Transmission Line at the Ganga River crossing, Athamal Gola, Bakhtiyarpur under Biharsharif TLM Office of ER-I
General Guidelines for filling up the Price Schedule and other attachments.
1 | Fill only Green shaded cells in Details and Schedule-I.
2 | All the cells in Summary will be auto filled, therefore no cell is required to be filled in that sheet.
3 | Instructions ,if any will be displayed automatically after selecting the cell.
Click here to proceed.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)

## Details
RFX. No.5002004956 NIT-484
Construction of one no. of pile foundation for 400kV Barh Motihari Transmission Line at the Ganga River crossing, Athamal Gola, Bakhtiyarpur under Biharsharif TLM Office of ER-I
Enter the following details of the bidder
Name of the bidder
Address
Contact No.
E-mail
Alternative E-mail
Printed Name
Designation
Place
Date

## Schedule-I
RFX. No.5002004956 NIT-484
Construction of one no. of pile foundation for 400kV Barh Motihari Transmission Line at the Ganga River crossing, Athamal Gola, Bakhtiyarpur under Biharsharif TLM Office of ER-I
Name of the bidder | 0 |  |  | To,
Address | 0 |  |  | Contracts and Materials Department
| 0 |  |  | POWER GRID CORPORATION OF INDIA LIMITED
| 0 |  |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
Sl. No. | Description | Unit | Quantity | Unit Rate Excluding GST | Amount Excluding GST (Rs.)
A1 | SOIL INVESTIGATION WORK
1 | Survey
a | Detail Survey incl route alignment, profiling & tower spotting | km | 0.995 | 25716 | 25587.42
b. | Check survey | km | 0.995 | 7577 | 7539.115
2 | Detailed of Soil Investigation
a | All Kind of soil except Fissured rock & hard rock (River Crossing location) | LOT | 1 | 121317 | 121317
5 | Installation of earthing of towers
a | Earthing Pile foundation location | MT | 0.5 | 190927 | 95463.5
Total Amount Excl GST for Part-A(Erextion Work Excl Pile Foundation Work) Excl GST= |  |  |  |  | 249907.035
B | Pile foundation Work at Loc-New 27
1
a | 1201 mm diameter R.C.C.vertical bored pile upto 42 m from bottom of pile cap. | RM | 2 | 25094 | 50188
b | 1200 mm diameter R.C.C.vertical bored pile upto 48 m from bottom of pile cap. | RM | 1128 | 27398 | 30904944
c | 1200 mm diameter R.C.C.vertical bored pile beyond 48 m and upto 52m from bottom of pile cap.-(IF REQUIRED) | RM | 2 | 43017 | 86034
2 | Extra over item under Sl. No.-1
a | Extra over item No.-1(a) for boring including socketing, onchoring (if required) with required size.nos. & depth of Reinforcement in weathered rock, shale, fissured rock soft rock and hard rock upto a maximum depth of 5.0m. | RM | 2 | 10047 | 20094
b | Extra over item No.-1(b) for boring including socketing, onchoring (if required) with required size.nos. & depth of Reinforcement in weathered rock, shale, fissured rock soft rock and hard rock upto a maximum depth of 5.0m. | RM | 2 | 6263 | 12526
c | Extra over item No.-1(c) for boring including socketing, onchoring (if required) with required size.nos. & depth of Reinforcement in weathered rock, shale, fissured rock soft rock and hard rock upto a maximum depth of 5.0m. | RM | 2 | 8194 | 16388
d | Extra rate over item1(a)/1(b)/1(c) for boring including socketing,anchoring (if required) with required size,nos. & depth of Reinforcement in all types of rocks other than hard rock upto any depthtill founding level | RM | 2 | 11164 | 22328
3 | Excavation whereever required for pile cap /tie etc. (other than boring) for all depth and size, in all types of soils including disposal of excavated materials for all lifts and leads,decent etc.as directed by Engineer - In charge,together with all labour,tools & tackles,sheeting,sheet, pilin ,dewatering, etc. complete as per direction of Engineer In charge | cum | 235.872 | 1390 | 327862.08
4 | Back filling with available excavated earth for all leads and lifts in sides of foundations and other under ground facilities in horizontal layers not exceeding 20 in depth consolidating each deposited layer by ramming and watering etc. | cum | 22.7 | 1505 | 34163.5
5 | Form work for placing plain or reinforced cement concrete ot any type including blackout and section at any elevation shoring, shuttering, strutting, propping, scaffolding, tieing, nailing, including all labour, materials, equipments, wasre, for form , caulking, dismantling & removing of forms etc , complete. | sqm | 181.849 | 1429 | 259862.221
6 | Supply and placing of steel reinforcement of specified grade for RCC work in pile , pile cap. Pedestal. Chimney, tie beam (if required) including staightening , cutting, bending etc all complete. | MT | 646.056 | 99502 | 64283864.112
7 | Providing and laying in position M25 Grade concrete of specified 28 days Strength for pile caps, pedestal/chimney and tie beam(if required), excluding reinforcement steel and formwork but including cement, all necessary tools , tackles,labour, materials, equipments for handling,transportation, batching, mixing,placing, vibrating,dewatering etc,all complete (excluding cost of concrete in piles which is included in item no.-1) | cum | 213.854 | 13348 | 2854523.192
8 | Providing and laying plain cement concrete 1:4:8 {Icement . 4 coarse sand: 8 graded stone aggregate 40mm nominal size) including cement, all necessary tools and tackles, labour, materials, equipment for handling , transportation, mixing, placing, vibrating , dewatering etc all complete. | cum | 10.671 | 10428 | 111277.188
9 | Conducting Standard Penetration Test (SPT) at various elevations in pile bore holes in all kind of soils including all labour, materials, tools and tackles, equipments etc. required for successful completion of the job. | no. of pile | 24 | 3780 | 90720
10 | Supply and Providing M.S. liner of 6mm. thick in piles upto 10m. Depth (maxm.) from bottom of pile cap, limited to the approved drawing, including supply, straightening, bending, welding,all supports, labours, tools and tackles, plants & equipments, with primer and paintinting etc. (complete) as required for successful completion of jobs. | MT | 42.828 | 117146 | 5017128.888
11 | Conducting integrity test on pile using electronic control unit,hand held hammer, accelerometer, computer with required software to assess as- installed pile characterestics including mobilisation of necessary manpower, equipments, materials etc. required successful completion of the job | no. | 24 | 15760 | 378240
Total amount of Part B (i.e Pile Work)= |  |  |  |  | 104470143.181
Total of Part A1 & Part B (Excl GST)= |  |  |  |  | 104720050.216
| Above (+)and below (-)(in %): To be quoted by bidder |  |  |  | 0%
| Quoted Price |  |  |  | 104720050.216
| GST (in percentage )@ | 18% |  | On Quoted Price | 18849609.0389
| Total amount including taxes= |  |  |  | 123569659.2549
(I) Bidders may please note that the percentage low/high quoted by the bidder in their bid with respect to the estimated value mentioned shall be considered proportionately on arriving the rates of each individual items of the BOQs enclosed as Annexures against each line item.
(II) In cas of "AT PAR" , "0.00%" is to be quoted by the bidder
(III) Bidder to quote only % below or above as -/+ in cell marked as GREEN
Date | 0 |  |  | Printed name | 0
Place | 0 |  |  | Designation | 0

## Summary
RFX. No.5002004956 NIT-484
Construction of one no. of pile foundation for 400kV Barh Motihari Transmission Line at the Ganga River crossing, Athamal Gola, Bakhtiyarpur under Biharsharif TLM Office of ER-I
Name of the bidder |  | 0 |  | To,
Address |  | 0 |  | Contracts and Materials Department
|  | 0 |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated Total Estimated Cost as indicated in the "Bill of Quantity(BOQ) & Prices" covering entire scope of works enclosed herewith as Schedule-I.
I |  | Total for Installation/Services as per Schedule-I |  |  |  | 104720050.216
II |  | Total GST on services/Installation as per Schedule-I |  |  |  | 18849609.0389
III |  | Toal BID Price including all taxes |  |  |  | 123569659.2549
Date | 0 |  | Printed Name |  | 0
Place | 0 |  | Designation |  | 0