| Sl. No. | Clause/ Drg. No. | Existing provision | Amended provision |
| --- | --- | --- | --- |
|  | Volume-II [Technical Specifications] |  |  |
|  | BPS schedule I&II | I; Bay work at Bikaner-II. Sr. No; Activity description; Material code; Item Description; Unit; Qty. 84; Cables; 1000031993; 1.1KV GRADE 7CX2.5 SQMM CONTROL CABLE; KM; 2. 85; Cables; 1000031887; 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE; KM; 2. 86; Cables; 1000031904; 1.1KV GRADE 14CX2.5 SQMM CONTROL CABLE; KM; 4. 87; Cables; 1000031908; 1.1KV GRADE 19CX2.5 SQMM CONTROL CABLE; KM; 1. 88; Cables; 1000031927; 1.1KV GRADE 27CX2.5 SQMM CONTROL CABLE; KM; 1. | I; Bay work at Bikaner-II. Sr. No; Activity description; Material code; Item Description; Unit; Qty. 84; Item Deleted. 85; Cables; 1000031887; 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE; KM; 4. 86; Item Deleted. 87; Item Deleted. 88; Item Deleted. |
|  | BPS schedule I&II | New Items | I; Bay work at Bikaner-II. Sr. No; Activity description; Material code; Item Description; Unit; Qty. Cables; 1000031993; 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE; KM; 5. Cables; 1000056265; 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE; KM; 1. |
|  | BPS schedule III | I; Bay work at Bikaner-II. Sr. No; Activity description; Service code; Description; Unit; Quantity. 10; CIVIL WORKS; 100001713; Antiweed treatment; sqm; 3000. 29; CIVIL WORKS; 120001729; 15.58 Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up toalead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars.; cum; 100. | I; Bay work at Bikaner-II. Sr. No; Activity description; Service code; Description; Unit; Quantity. 10; CIVIL WORKS; 100001713; Antiweed treatment; sqm; 32000. 29; Item Deleted. |
|  | Section Project Annexure-II | Annexure-II: BREAK UP OF MANDATORY SPARES | Annexure-II (Revised): BREAK UP OF MANDATORY SPARES attached |
|  | Section Project Clause 9.4 | 9.0 SPECIFIC REQUIREMENT 9.4 New Clause 22 of Section Civil Works Rev 11A: … … | 9.0 SPECIFIC REQUIREMENT 9.4 New Clause of Section Civil Works Rev 11A and Section Structure Rev 06: … … |

The existing Price Schedule has been revised and is enclosed herewith, which shall replace the previous Price Schedule of the Bidding Documents.

NOTE: Bidder shall upload Price Schedule on PRANIT portal as per note at the end of BDS, Section-III, Volume-I of the bidding documents.