| S.N. | Ref Clause No. | Existing Provision in Bidding documents | Bidder’s Queries | POWERGRID’s reply/Clarifications |
| --- | --- | --- | --- | --- |
| VOLUME-II: TECHNICAL SPECIFICATIONS |  |  |  |  |  |
|  | 1.9.2.1, Section- VIIB | Core 1.9.2.1 ………………………………………………………. ………………………………………………………. Minimum No. of twists in gauge length equal to 100 times the dia. of wire which the strand can withstand in the torsion test (before stranding) *; 12. …………………………………….. | We request PGCIL to accept the Minimum Torsion value of Steel Galvanized core/Al. clad core as per IEC-63248 Edition 1.0, 2022-03. | Provisions of bidding document remain unchanged. |