The Scope of work includes Design, Manufacturing and Supply of 07 nos. of Conservator

tanks (each of 150 Ltr. Capacity) for 400/220 KV, 315MVA Single Phase ICTs installed at

POWERGRID Chamba S/S.