## TENDER BOQ
TENDER BOQ REGARDING SITE REPAIRING OF FAILED 220/132KV 160 MVA ICT AT POWERGRID BIRPARA SS
PART - I (SUPPLY)
Sl No | Item Description | Unit | Qty | Rate(Rs) | Total(Rs)
1 | Series winding along with insulation & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1 | UNIT RATE AND AMOUNT SHALL BE QUOTED ONLINE ON PRANIT PORTAL ONLY
2 | Common winding along with insulation & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
3 | Regulating winding along with insulation & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
4 | 3 ph. OLTC & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
PART - II (FREIGHT)
Sl No | Item Description | Unit | Qty | Rate(Rs) | Total(Rs)
1 | Series winding along with insulation & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1 | UNIT RATE AND AMOUNT SHALL BE QUOTED ONLINE ON PRANIT PORTAL ONLY
2 | Common winding along with insulation & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
3 | Regulating winding along with insulation & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
4 | 3 ph. OLTC & accessories complete in all respect. for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
PART - III (SERVICE)
Sl No | Item Description | Unit | Qty | Rate(Rs) | Total(Rs)
1 | Dragging/Shifting of 160 MVA 220/132 kV Transformer, as per technical specification & approved drawing for repair & reinstall in it's plinth for commisssioning as per Scope of Work | M | 200 | UNIT RATE AND AMOUNT SHALL BE QUOTED ONLINE ON PRANIT PORTAL ONLY
2 | Construction of suitable Repairing Shed at Birpara inclusive of all men & materials, Dismantling & buy-back after completion of scope of work | SET | 1
3 | Transportation of all T&P's as Required for ICT site repairing from bidder works to Birpara and taking back | SET | 1
4 | Replacement & installation of Transformer winding along with insulation for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
5 | Replacement & installation of 3 ph. OLTC for 160 MVA 220/132 kV Transformer as per technical specification & approved drawing | SET | 1
6 | Pre-commissining Dryout by Nitrogen/Dry Air & Vacuum Cycle of 160 MVA 220/132 kV Transformer as per technical specification & approved procedure | SET | 1
7 | Post-Repair Complete Testing & Pre-commissioning of 160 MVA 220/132 kV Transformer as per technical specification & approved drawing at Site. | SET | 1