## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package
2 | Specification No.
3 | Package Code
4 | Item Description | ACSR ZEBRA Conductor
5 | Quantity in km. | 6615
6 | Type Tests | Tests to be conducted | Nos of tests

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120
1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 & Discount.
2 | All the cells in Sch-5 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | The price quoted in respect of all items shall be excluding GST applicable on transaction between the Employer and the Contractor
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to Proceed

## Names of Bidder
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 | Manufacturer | 1
| Authorized Dealer/ Sub-dealer of Manufacturer | 2
Enter following details of the bidder | Authorized Representative of Manufacturer
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address
Mob No
E mail
Name of Manufacturer
Address
Printed Name
Designation
PhoneNo/ Mobile No.
e-mail ID
Date
Place
Click for
Sch-1

## Sch-1
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
(SCHEDULE OF RATES AND PRICES : - Scheduled Items ) PART A
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Regional Procurement Cell
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item No. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
Part-A (Schedule Item)
| DSR 23 | PART - A - SCHEDULE ITEMS:
| 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  | 0
1 | 4.1.3 | 1:2:4 (1 cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 2 |  | 0
0
| 6.34 | Brick work with non modular fly ash bricks conforming to IS:12894,class designation 10 average compressive strength in super structure above plinth level up to floor V level in : |  |  |  | 0
2 | 6.34.2 | Cement mortar 1:6 (1 cement : 6 Coarse sand) | cum | 3.174 |  | 0
0
| 8.2 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. |  |  |  | 0
| 8.2.2 | Granite of any colour and shade |  |  |  | 0
3 | 8.2.2.1 | Area of slab upto 0.50 Sq. m. | Sq.m. | 1.2 |  | 0
0
| 8.2.2 | Granite of any colour and shade |  |  |  | 0
4 | 8.2.2.2 | Area of slab over 0.50 Sq. m. | Sq.m. | 11 |  | 0
0
| 8.3 | Providing edge moulding to 18mm thick marble stone counters, Vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. |  |  |  | 0
5 | 8.3.2 | Granite work | metre | 55 |  | 0
0
| 8.1 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter andembedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6mm nominal size) as per direction of Engineer-in-charge and finished smooth. |  |  |  | 0
6 | 8.10.2 | Granite Stone of approved shade | Sq.m. | 4.4 |  | 0
0
7 | 9.7.7 | Float glass panes |  |  |  | 0
| 9.7.7.2 | 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | sqm | 22 |  | 0
8 | 9.101 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. |  |  |  | 0
| 9.101.2 | Twin rubber stopper | Each | 4 |  | 0
0
| 9.147A | Providing and fixing factory made uPVC glazed/wire mesh windows /doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.7mm for Series R1 and R2 profiles and 2.1mm for Series R3 and R4 conforming to EN: 12608 in any shape colour and design duly reinforced with galvanized mild steel section made of required shape and size as per CPWD Specification, uPVC extruded glazing beads, interlocks and lnline sash adaptor (where ever required) of appropriate dimension, EPDM gasket hardwere, SS 304 grade fastners of minimum 8mm dia with countersunk head comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame sash & mullion (if required) shall be mitred cut and fusion welded mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforecement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. |  |  |  | 0
|  | Wire mesh/ Glazing of plain /toughed/laminated/double glass unit with/without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately |  |  |  | 0
|  | Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : |  |  |  | 0
|  | i) Sites with basic wind speed> 45m/s as per IS 875-Part 3 ii) Sites with structure height more than 20m for all wind speeds |  |  |  | 0
| 9.147.A5 | Three track three panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. |  |  |  | 0
9 | 9.147.A5.1 | Using R2 series with frame (70 mm & above) x (40 mm & above) & sash (25 mm & above) x (50 mm & above) with zinc alloy (zamak) powder coated touch locks with hook. (Height upto 1.2 metre). | sqm | 16 |  | 0
0
| 9.147.C2 | Fixed window / ventilator with mullion transom |  |  |  | 0
10 | 9.147.C2.2 | Using R2 series with frame (39mm & above)x(39mm & above) & mullion (39mm & above)x(60mm & above). (Height upto 1.2m) | sqm | 9 |  | 0
0
| 9.147.E1 | Casement window single panel with S:S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. |  |  |  | 0
11 | 9.147.E1.1 | Using R2 series with frame (39 mm & above) x (39 mm & above) & sash (39 mm & above) x (60 mm & above). (Height upto 1,2 metre) | sqm | 7 |  | 0
0
12 | 10.28 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | kg | 50 |  | 0
0
13 | 11.41 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption's less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc., complete. |  |  |  | 0
| 11.41.2 | Size of Tile 600x600 mm | Sq.m. | 55 |  | 0
0
14 | 11.46 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer) with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make in all colours & shade in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), including grouting the joint with white cement & matching pigments etc. complete. |  |  |  | 0
| 11.46.2 | Size of Tile 600x600 mm | Sq.m. | 11 |  | 0
0
15 | 11.47 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). |  |  |  | 0
| 11,47.2 | Size of Tile 600x600 mm | sqm | 11 |  | 0
0
16 | 11.49 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to 1$:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). |  |  |  | 0
| 11.49.2 | Size of Tile 600x600 mm | sqm | 60 |  | 0
0
17 | 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, |  |  |  | 0
| 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board | sqm | 54.395 |  | 0
0
18 | 12.53 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. | sqm | 54.395 |  | 0
0
19 | 13.4 | 12 mm cement plaster of mix : |  |  |  | 0
| 13.4.2 | 1:6 (1 cement: 6 fine sand) | sqm | 63 |  | 0
20 | 13.11 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | sqm | 63 |  | 0
0
0
74 | 13.26 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | sqm | 252 |  | 0
0
| 13.83 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour |  |  |  | 0
| 13.83.2 | Two coats | Sq.m. | 252 |  | 0
| 13.85 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. |  |  |  | 0
| 13.85.3 | With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | sqm | 252 |  | 0
77 | 13.62 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: |  |  |  | 0
| 13.62.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | sqm | 4 |  | 0
| 15.2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |  | 0
| 15.2.1 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | cum | 8.5 |  | 0
0
| 15.13 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : |  |  |  | 0
| 15.13.1 | Of area 3 sq. metres and below | each | 3 |  | 0
| 15.13.2 | Of area beyond 3 sq. metres | each | 3 |  | 0
| 15.23 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. |  |  |  | 0
| 15.23.1 | For thickness of tiles 10 mm to 25 mm | sqm | 61.9768 |  | 0
| 15.23.2 | For thickness of tiles above 25 mm and up to 40 mm |  | 61.9768 |  | 0
0
19 | 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge | sqm | 99 |  | 0
0
| 15.60 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | cum | 70.4768 |  | 0
0
| 17.35 | Providing and fixing soil, waste and vent pipes : |  |  |  | 0
| 17.35.1 | 100 mm dia |  |  |  | 0
| 17.35.1.1 | Sand cast iron S&S pipe as per IS: 1729 | meter | 10 |  | 0
0
| 17.35.2 | 75 mm diameter |  |  |  | 0
| 17.35.2.2 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | meter | 10 |  | 0
0
| 17.36 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : |  |  |  | 0
| 17.36.1 | 75 mm dia pipe | each | 8 |  | 0
| 17.36.2 | 100 mm dia pipe | each | 8 |  | 0
0
| 17.37 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : |  |  |  | 0
| 17.37.1 | For 100 mm dia pipe | each | 4 |  | 0
| 17.37.2 | For 75 mm dia pipe | each | 4 |  | 0
0
| 17.38 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  |  | 0
| 17.38.1 | 100 mm dia |  |  |  | 0
| 17.38.1.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.38.2 | 75 mm dia |  |  |  | 0
| 17.38.2.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.39 | Providing and fixing plain bend of required degree |  |  |  | 0
| 17.39.1 | 100mm dia |  |  |  | 0
| 17.39.1.2 | Sand cast iron S&S as per IS - 3989 | each | 2 |  | 0
0
| 17.39.1.2 | Sand cast iron S&S as per IS - 3989 |  |  |  | 0
| 17.39.2 | 75mm dia |  |  |  | 0
| 17.39.2.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.42 | Providing and fixing double equal plain junction of required degree. |  |  |  | 0
| 17.42.2 | 75x75x75x75 mm |  |  |  | 0
| 17.42.2.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.43 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  |  | 0
| 17.43.1 | 100x100x100 mm |  |  |  | 0
| 17.43.1.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.43.2 | 75x75x75 mm |  |  |  | 0
| 17.43.2.1 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.55 | Providing and fixing door piece, insertion rubber washer 3mm thick, bolts & nuts complete : |  |  |  | 0
| 17.55.1 | 100 mm |  |  |  | 0
| 17.55.1.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.55.2 | 75 mm |  |  |  | 0
| 17.55.2.2 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 17.58 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : |  |  |  | 0
| 17.58.1 | 100 mm | each | 4 |  | 0
| 17.58.2 | 75 mm | each | 4 |  | 0
0
| 17.60 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : |  |  |  | 0
| 17.60.2 | 100 mm inlet and 75 mm outlet |  |  |  | 0
| 17.60.2.1 | Sand cast iron S&S as per IS - 3989 | each | 4 |  | 0
0
| 18.8 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. |  |  |  | 0
| 18.8.2 | 20 mm nominal outer dia Pipes | meter | 20 |  | 0
0
| 18.8.4 | 32 mm nominal outer dia Pipes | meter | 10 |  | 0
0
0
0
0
0
0
0
0
0
0
|  | Total for PART-A-Schedule items (Excluding GST) : |  |  |  | 0 | #REF!
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2

## Sch-2
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 | [5 empty] | Schedule - 2
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
SCHEDULE OF RATES AND PRICES : PART-B- Non Scheduled Items
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Regional Procurement Cell
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-B: Non Scheduled Items
| NS-1 | Dismantaling of work station of wooden panel partition, auxillary items window palmet decorative wooden cornice etc. stacking within the premises approved by Engineer in-charge | sqm | 70 |  | 0
0
| NS-2 | Providing & fixing 4mm thick veneers of approved make and design as per direction of Engineer-in-Chage including cost of adhesive & all materials & labour, transportation etc. all complete, but excluding polishing. Veneers of Reputed make Green Lam/Century as approved by E-i-C shall be used. | sqm | 11 |  | 0
| NS-3 | Polishing in high gloss/matt finish melamine clear polish on wood work in required color/wooden shade texture with following process in the sequence as detailed below: |  |  |  | 0
|  | 1. The surface to be polished is rubbed with sand paper 80/120 no. and then with sand paper of 160/180 nos. |  |  |  | 0
|  | 2. Applying two coats of sealer with spray gun and allowing sufficient drying time for 1st coat and 2nd coat is allowed to dry for 8 to 12 hrs. |  |  |  | 0
|  | 3. On drying of sealer coat, wet rubbing with emery cloth of finer grading with ample water to remove excess sealer layer and make the surface further smooth after this wet rubbing, then surface is applied with special grade melamine fillers to fill all the small and big holes/grooves etc. Filler coat to be allowed to dry for 4 to 6 hrs on which again a light wet rubbing is done this surface is further allowed to dry for 12 hrs. |  |  |  | 0
|  | 4. On this, 1st coat of melamine polish is applied with spray gun using melamine clear polish and melamine thinner in required proportion. This 1st coat is allowed to dry for 24 hrs then this dry surface is again fine wet rubbed smooth, which is further allowed to dry for 12 hrs. The final melamine polish is applied with compressor pressure spray gun using melamine clear polish and melamine thinner mixed in required proportion complete as per direction of Engineer-in-Charge. (Final coat to be done in 1 or 2 layers without gap of time.) | sqm | 11 |  | 0
0
| NS-4 | Providing and laying 600x600mm antiskid vitrified floor tiles in flooring and skirting (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | Sqm | 10 |  | 0
0
| NS-5 | Providing and fixing vitrified wall tiles, 300x600mm or of approved size, shade & design, ISI marked (thickness to be specified by the manufacturer), of approved make, in all colours as approved by Engineer-in-Charge, in skirting and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Sqm | 34 |  | 0
0
| NS-6 | Profiding & fixing C.P. two way Brass bib-cock 15 mm dia Jaquar Make (KUP-CHR-35041PM) equivalent make & model as approved by E-i-C. | Each | 2 |  | 0
0
| NS-7 | Providing & Fixing Angular Stop Cock wall flange of Jaquar Make (KUP-CHR-35053 PM) or equivalent make & model as approved by E-i-C. | Each | 2 |  | 0
0
| NS-8 | Providing & Fixing Health Fauct of Jaquar Make (ALD-CHR-573) or equivalent make & model as approved by E-i-C. | Each | 2 |  | 0
0
| NS-9 | Providing & Fixing Counter top Wahs Basin of Jaquar Make (KUS-WHT-35935) or equivalent make & model as approved by E-i-C. | Each | 2 |  | 0
0
| NS-10 | Providing & Fixing extended body pillar cock with auto closing system Jaquar make PRS-CHR-031L65 or equivalent make & model as approved by E-i-C. | Each | 2 |  | 0
0
| NS-11 | Providing & Fixing 32mm Waste Coupling with necessary sealing rings etc. of appropriate lake as per site requirements of make & model as approved by E-i-C. | Each | 2 |  | 0
0
| NS-12 | P/F Jaquar make urinal URS-WHT-13253O urinal basin of 370 x 315 x 620 mm with Jaquar make Auto Closing Concealed Urinal flush valve (PRS-CHR-073) or equivalent makes & models as approved by E-i-C with all necessary fixures etc. all complete. | Each | 2 |  | 0
0
| NS-13 | Providing & Fixing rimless wall hung WC with UF soft close seat cover hinges accessories set of Jaquar make (KUS-WHT-35953BIUSFM) along with Jaquar make concealed body flush valve (FLV-CHR-1095SQ) 32mm size with exposed shut off provision & 100mm square plate or equivalent makes & models as approved by E-i-C with all necessary fixures viz. rack bolt ZPS-SNS-RB01 etc. all complete. | Each | 2 |  | 0
0
| NS-14 | Providing and fixing 6 mm mirror of approved make & size with 6 mm thick WPC board of approved make on back side including flat polishing of edges with chamfered edged on all corners (top & bottom) or as per direction of Engineer in Charge etc all complete (Studs for fixing mirrors shall be paid seperately). | Sqm | 1.2 |  | 0
| NS-15 | Providing and fixinmg SS Studs for mirror as per requirement & direction of E-I-C etc all complete. The studs shall be capable of holding combined thickness of 12 mm (6 mm mirror & 6 mm back board) mirror | each | 8 |  | 0
| NS-16 | Providing and fixing 110 mm SWR nahani trap for bathrooms with proper fixing and as per engineer incharge conplete in all respect | each | 2 |  | 0
0
| NS-17 | Providing and fixing SS drain cover in bathroom nahani traps 110mm | each | 2 |  | 0
0
| NS-18 | Providing & fixing cowel dome 100 mm dia | each | 2 |  | 0
| NS-19 | 75 MM DIA | each | 2 |  | 0
0
| NS-20 | Providing Core cutting uisng Core cutter machines for passage of Plumbing pipes from chajja as per engineer incharge complete and repairing the holes with proper finish with mortar | each | 2 |  | 0
0
| NS-21 | Providing & fixing of Jaquar make (ACN-CHR-1153S) or similar feature of ROCA/GROHE model Toilet roll holder including flap with labour and complete in all respect as directed by EIC. | each | 2 |  | 0
0
| NS-22 | Providing & fixing of Jaquar make (ACN-CHR-1137N) or similar feature of ROCA/GROHE model Soap Dispenser with Metallic Bottle with labour and complete in all respect as directed by EIC. | each | 2 |  | 0
0
| NS-23 | Providing & Fixing Jaquar make Bottle Trap (with Internal Partition) 32mm Size with 300mm & 190mm Long Wall Connection Pipes & Wall Flange (model ALD-CHR-769L) or equivalent as per direction of E-i-C all complete. | each | 2 |  | 0
0
| NS-24 | Providing and fixing jaguarAKP-CHR-1121BN Towel ROUND Ring or equivalent as approved by EIC/Site engineer in all respect as directed. | each | 2 |  | 0
0
| NS-25 | Providing and fixing jaquar AKP-CHR-35781PS Towel rack 600mm long with lower hanger or equivalent as approved by site engineer in all respect as directed complete | each | 2 |  | 0
0
| NS-26 | Providing and fixing Bison sheet 12mm thick onto the basin SS counter using adhesive and screws with proper shape and cutting complete | SQM | 1.4 |  | 0
0
| NS-27 | First Class teak wood biding for door and paneling finish |  |  |  | 0
|  | 45x18mm ,50mm x20mm,50mmx25mm,35mmx20mm | RFT | 50 |  | 0
0
|  | Total (PART-B) - Non Scheduled Items (Excluding GST) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-3

## (Part-III) Sch-1 (hidden)
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-A- SCHEDULED ITEMS AS PER DSR-2014)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | ITEM NO. | Item Description | Unit | Qty. | Rate | Amount
1 |  | 2 | 4 | 5 | 6 | 7 = 5 x 6
PART-III Construction of SEWERAGE SYSTEM for Residential Qtr
PART-A - (SCHEDULE ITEMS AS PER DSR - 2016)
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil | Cu.m. | 60
2 | 2.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
| 2.10.1.2 | Pipes, cables etc. exceeding 80mm dia but not exceeding 300mm dia. | Metre | 1000
3 | 2.11 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | Metre | 50
4 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu. M | 20
5 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | Cu. M | 50
6 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases for columns | Sq.m. | 80
7 | 17.35 | Providing and fixing soil, waste and vent pipes :
| 17.35.1 | 100 mm dia
| 17.35.1.1 | Sand cast iron S&S pipe as per IS: 1729 | metre | 10
8 | 18.27 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
| 18.27.3 | 150 mm dia pipe | metre | 50
9 | 18.28 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
| 18.28.3 | 150 mm diameter pipe | each | 20
10 | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
| 19.1.2 | 150mm diameter | Metre | 1000
11 | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
| 19.2.2 | 150 mm diameter S.W. pipe | Metre | 1000
12 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
| 19.6.4 | 300 mm dia RCC pipes. | metre | 30
13 | 19.15 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design :
| 19.15.1 | With 20x20 mm square bar | Each | 30
Sum of Items as per DSR-2016
|  | Percentage quoted above (+) / below(-) DSR-2016 |  |  |  | 0
|  | Total for PART-III (PART-A) -(Schedule Items) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2(Part-I)

## (Part-III) Sch-2 (hidden)
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 | [5 empty] | Schedule - 2
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-B- NON SCHEDULED ITEMS)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-II Construction of SEWERAGE SYSTEM for Residential Qtr
PART-B | NON-SCHEDULE ITEMS
1 | NS-1 | Construction brick masonary manholes in cement mortar 1:4 - 1 cement : 4 coarse sand- R.C.C. top slab with 1:2:4 mix -1 cement : 2 coarse sand : 4 approved graded stone aggregate 20mm nominal size- foundation concrete 1:4:8 mix -1 cement : 4 coarse sand :8 graded stone aggregate 40mm nominal size) inside plastring 12mm thick with cement morter 1:3(1 cement:3 Coarse sand) finished with a floating coat of neat cement and making channel in cementconcrete 1:2:4 (1 cement:2 coarse sand:graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design of CPWD.
Inside size 90X80 cm and 45cm deep including C.I. Cover with frame (light duly) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 Kg (weight of cover 23 Kg and and weight of frame 15 Kg)
| a | With Fly Ash Bricks | Each | 40
2 | NS-2 | Extra for depth for manholes
Size 90 x 80cm
|  | With Fly Ash Bricks of average compressive strength of 50 Kg/cm2 | Meter | 35
Total PART-III ( PART-B) - (Non-Schedule Items)
Printed Name :
Date : |  |  |  |  | Designation :
Place :
Click for
Sch-3(Part-I)

## Sch-3
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 |  |  |  |  | Schedule - 3
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR" | [8 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES : PART-C- ELECTRICAL ITEMS) | [8 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address |  |  |  | To: |  |  |  |  | As per Percent on Sch-3
Bidder as |  |  |  | Regional Procurement Cell |  |  |  |  | Multipackage lum-sum
Name : |  |  |  | Power Grid Corporation of India Ltd., |  |  |  |  | Multipackage on Percent
Address : |  |  |  | Western Region -I Headquarters |  |  |  |  | Total Discount
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item Description | Unit | Qty. | Rate | Amount
| 2 | 4 | 5 | 6 | 7 = 5 x 6
A | CIRCUIT WIRING - From MDB Panel / Meter Panel To SDBs and From SDBs to Switchboards ; Light / Fan Points ; 6A Power sockets ; 16A & 25A Power sockets:- |  |  |  | Included
| Supply, laying, installation towards main circuit wiring from Meter Panel / MDB to respective SDBs/Controller , SDBs to Switch boards and Light / Fan points , PA point, Fire alarm panel, Solar wiring as per the drawing, interior layout, site conditions in concealed / recessed medium gauge PVC conduit (ISI approved) including supply of conduits and its accessories, FR type wires (ISI approved) and other required materials as per technical specification and as per direction of Engg-in-charge (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint. Further, the responcibility of developing wiring layout drawing as per direction of Engg. I/c is included in the scope of wiring) complete for the following :- |  |  |  | Included
1 | SDB to Switchboards and Switchboard to Switchboard :- |  |  |  | Included
| Main with 2x 2.5 Sq.mm and earth wire 1.5 sq.mm FR PVC Copper conductor Multistrand wires in PVC Conduit as per the technical specification. | Mtrs | 50 |  | Included
2 | From Switchboard to Light point / Ceiling fan / Exhaust fan / 6 A Switch Sockets :- |  |  |  | Included
| Main with 2x1.5 Sq.mm and earth wire 1.5 sq.mm FR PVC Copper conductor Multistrand wires in PVC Conduit as per the technical specification. | Mtrs | 50 |  | Included
3 | From Telephone Junction Box to Junction Box |  |  |  | Included
| Supplying & erecting telephone copper cable 20 pair with 0.5 mm dia. laid in provided PVC casing capping / conduit as per specification No. WG-TW | Mtrs. | 50 |  | Included
B | MODULAR SWITCHES, BOXES, COVER PLATES FOR LIGHT, CEILING FAN, BELL POINTS, BELL STATION, 6A SWITCH SOCKET & 15A POWER SOCKETS. |  |  |  | Included
| Supply, installation, testing and commissioning of wiring accessories of approved ISI/CE certified make modular range such as modular switches, switch socket outlets, power sockets, etc. for the following with suitable mounting plates & boxes (Modular Range) in the required configuration as per the interior layout and direction of engg-in-charge |  |  |  | Included
1 | 10A single pole, 1way switch for light and for 6A power points of ISI mark approved make. | Nos. | 10 |  | Included
2 | 10A, Multipin 5/6 Socket of ISI mark approved make. | Nos. | 10 |  | Included
3 | 20 A , Single pole, 1 way switch of ISI mark approved make for with Indicator | Nos | 10 |  | Included
4 | 16 A , Multipin 5/6 pin Socket of ISI mark approved make for with Indicator | Nos | 10 |  | Included
5 | Electronic regulator (Step type) for ceiling fan / Wall mounting fan of ISI mark approved make. | Nos. | 10 |  | Included
6 | Concealed type modular switch box with double mounting plate for 3 module of ISI mark approved make. | Nos. | 10 |  | Included
7 | Concealed type modular switch box with double mounting plate for 4 module of ISI mark approved make. | Nos. | 10 |  | Included
8 | Concealed type modular switch box with double mounting plate for 6 module of ISI mark approved make. | Nos. | 10 |  | Included
9 | Concealed type modular switch box with double mounting plate for 12 module of ISI mark approved make. | Nos. | 10 |  | Included
10 | Supplying and erecting ISI mark modular type computer jack RJ 45 with safety shutter, duly erected on provided plate and box | Nos. | 10 |  | Included
11 | Supplying and erecting ISI marked modular type telephone socket one gang with safety shutter, duly erected on provided plate and box with wiring connections complete. | Nos. | 10 |  | Included
C | SUPPLY OF ENERGY SAVER LIGHT FITTINGS/FIXTURES, WEATHER PROOF STREET LIGHT FLOURESCENT FITTINGS; CEILING FAN; WALL MOUNTING FAN; EX-FAN AND ERECTION/ INSTALLATION WORKS :- |  |  |  | Included
| Designing, drawing, Providing, installation, testing and commissioning of pre wired FLOURESCENT Fitting / CFL complete with Tube etc., in all respect on ceiling with necessary down rods as required or wall or recessed mounting as per the site condition and direction of engg-in-charge. |  |  |  | Included
1 | Supplying, erecting, testing and commissioning of fresh air cum Exhaust fan of domestic heavy duty 250 Vac 50 Hz, 200-250 mm, 1300 RPM suitable for continuous duty in Toilets with good aesthetic look of approved make Bajaj (Maxima DX) , Crompton Crossair or equivalent make. The required accessoies for fixing of exhaust fan on wall / Frame shall be in scope of contractor and providing necessary metal sheet CAWL to avoid bird entry (if Applicable) | Nos | 2 |  | Included
2 | Supplying & erecting LED 20W tube light fitting (4 feet) with aluminium housing, heat sink, integrated HF electronic driver complete. | EA | 8 |  | Included
3 | Supplying and erecting LED mirror light with integrated driver including 7W to 9W lamp with polycarbonate housing and opal diffuser to be fixed above mirror or as required on clamps complete. | EA | 8 |  | Included
D | AIR CONDITIONER |  |  |  | Included
Included
1 | Supply of 2.0 ton, Invertor type, Split AC as per the technical specification | EA | 4 |  | Included
Included
2 | Extra refrigerant Cu piping | Meter | 40 |  | Included
Included
3 | Extra Electrical wire for Supply | Meter | 40 |  | Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
Included
| Total (PART-C) - Excl GST |  |  |  | 0 | 0.18 | #REF! | #REF!
Date : | 0 |  |  |  | Printed Name : | 0
Place : | 0 |  |  |  | Designation : | 0
Click for
Sch-4

## Sch-4
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 |  |  | Schedule - 5
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Regional Procurement Cell
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description
1 | PART-A- Scheduled items |  | 0
2 | PART-B- Non Scheduled Items |  | 0
3 | PART-C- Electrical Items |  | 0
| Total of PART-A + PART-B |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discout

## Sch-5 After Discount
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 |  |  | Schedule - 5 After Discount
"RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
(GRAND SUMMARY - AFTER DISCOUNT)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Regional Procurement Cell
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description |  | Total Price (INR) | Total Discount | 0%
1 | PART-A- Supply |  | 0 | 0 | 0
2 | PART-B- Scheduled items |  | 0 | 0 | 0
| PART-B- Non Scheduled Items |  | 0
0
0
0
0
0
0
0
0
0
2 | PART-C- Electrical Items |  | 0 | 0 | 0
| Total of PART-A + PART-B + PART-C |  | 0
| GRAND TOTAL after Discount |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discount

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Regional Procurement Cell
Power Grid Corporation of India Ltd.,
Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Subject : |  | "RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR"
1) All the discounts mentioned below shall be applied separately.
2) Please verify Schedule-5 (after Discount) after filling this letter of discount.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdules of all the Parts i.e. (PART-A + Part-B+PART-C) In Rs. |  |  | 0 | 0%
AND
| 2 | Discount on percent basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdulesof all the Parts i.e. (PART-A + Part-B+PART-C) In Percent (%) |  |  |  | 0%
| 1) Discount is Optional. 2) Bidder may fill any of the above two Indicated Discounts or both the Discounts. 3) Discount(s) offered at Sl. No. 1 to 2 will automatically simultaneously get accounted for in all the Schedules of all the Parts.. | [5 empty] | 0%
| 5 | We hereby offer Multi-package discount as given below:
[5 empty] | #REF! | 0%
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Note:
1) All the discounts mentioned above shall be applied separately.
2) Please verify Schedule-5 after filling the above letter of discount.
Yours faithfully,
For and on behalf of
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
Specification No.:WR-1/RPC/VRL/I-4002/2025/Rfx-5005011120 |  |  |  |  | Bid Form 2nd Envelope | 0 |  |  |  |  | 1 | st |  | 1 | January
[6 empty] | #REF! |  |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | [10 empty] | 6 | th | #VALUE! | 6 | June
[11 empty] | 7 | th | #VALUE! | 7 | July
To: | [10 empty] | 8 | th | #VALUE! | 8 | August
Regional Procurement Cell | [10 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [10 empty] | 10 | th |  | 10 | October
Western Region -I Headquarters | [10 empty] | 11 | th |  | 11 | November
Sampriti Nagar, Nari Ring Road | [10 empty] | 12 | th |  | 12 | December
PO: Uppalwadi, Nagpur (MS) -440026 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | "RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR" | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of "RENOVATION OF ED OFFICE, CONFERENCE HALL & STAFF ROOM ON IST FLOOR OF OFFICE BUILDING AT RHQ NAGPUR" under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rupees only) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of | under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rupees only) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Sch-1 |  | PART-A-SCHEDULED ITEM | [7 empty] | 21 | st
| Sch-2 |  | PART-B-NA
| Sch-3 |  | PART-C-NA
| Sch-4 |  | GRAND SUMMARY
| Sch-5 After Discount |  | GRAND SUMMARY after DISCOUNT
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 9, Section–II: SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be FIRM during the execution of Contract and not subject to any Price Adjustment . | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## N-W (hidden)
0
0
0
0
0
Rupees only
0 | zero |  | only
0 | zero | hundred
0 | zero | thousand
0 | zero | lakh
0 | zero | crore | Rupees
0 | zero
1 | one
2 | two
3 | three
4 | four
5 | five
6 | six
7 | seven
8 | eight
9 | nine
10 | ten
11 | eleven
12 | twelve
13 | thirteen
14 | fourteen
15 | fifteen
16 | sixteen
17 | seventeen
18 | eighteen
19 | nineteen
20 | twenty
21 | twenty one
22 | twenty two
23 | twenty three
24 | twenty four
25 | twenty five
26 | twenty six
27 | twenty seven
28 | twenty eight
29 | twenty nine
30 | thirty
31 | thirty one
32 | thirty two
33 | thirty three
34 | thirty four
35 | thirty five
36 | thirty six
37 | thirty seven
38 | thirty eight
39 | thirty nine
40 | forty
41 | forty one
42 | forty two
43 | forty three
44 | forty four
45 | forty five
46 | forty six
47 | forty seven
48 | forty eight
49 | forty nine
50 | fifty
51 | fifty one
52 | fifty two
53 | fifty three
54 | fifty four
55 | fifty five
56 | fifty six
57 | fifty seven
58 | fifty eight
59 | fifty nine
60 | sixty
61 | sixty one
62 | sixty two
63 | sixty three
64 | sixty four
65 | sixty five
66 | sixty six
67 | sixty seven
68 | sixty eight
69 | sixty nine
70 | seventy
71 | seventy one
72 | seventy two
73 | seventy three
74 | seventy four
75 | seventy five
76 | seventy six
77 | seventy seven
78 | seventy eight
79 | seventy nine
80 | eighty
81 | eighty one
82 | eighty two
83 | eighty three
84 | eighty four
85 | eighty five
86 | eighty six
87 | eighty seven
88 | eighty eight
89 | eighty nine
90 | ninety
91 | ninety one
92 | ninety two
93 | ninety three
94 | ninety four
95 | ninety five
96 | ninety six
97 | ninety seven
98 | ninety eight
99 | ninety nine