| Sr. No. | Clause No. & Reference | Tender Description | Bidders Query | POWERGRID Reply |
| --- | --- | --- | --- | --- |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 630 kVA, 11/0.433kV, 3PH LT Transformer complete with all accessories | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 765 kVA, 11/0.433kV, 3PH LT Transformer complete with all accessories | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 1000 kVA, 11/0.433kV, 3PH LT Transformer complete with all accessories | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 72.5 kV, 1250 A, 31.5 kA, 3PH Circuit Breaker with support structure | Refer SBD Part-2, Technical Specifications (66kV Circuit Breaker Outdoor type) Also refer Clause 2.2.1 of section Projects (Construction of new sub-station). |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 33 kV, 1250 A, 25 kA, 3PH Circuit Breaker with support structure | Refer clause 2.4.3 of Section projects for Circuit Breakers. Also refer Clause 3.3 of Section -Project of Bidding documents which is reproduced below: In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to. |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 110V, 150AH, NI-CD Battery bank alongwith accessories & connectors as per TS | Refer SBD Part-2, Technical Specifications (Batteries & Charger) |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 110V, Float Cum boost battery charger with full wave, full control rectification, Single Phase, 50 Hz AC input supply for charging 110V Battery bank alongwith inbuilt DC distribution board as per TS | Refer SBD Part-2, Technical Specifications (Batteries & Charger). Refer section – 6, Cl no 13.3 of SBD Part-2, Scope of Work for TS of ACDB and DCDB. |
|  | SBD Part-2 | Technical Specifications | - As per BOQ, s.no-7 & 8 is a single item. | Refer S.no-7 above |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 415V AC distribution board (ACDB) as per TS | Refer section – 6, Cl no 13.3 of SBD Part-2, Scope of Work for TS of ACDB and DCDB. |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 11kV, 3-PH, 400A, HG Fuse | Refer Section projects Clause 3.3, General Technical Requirements which states “In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to”. |
|  | SBD Part-2 | Technical Specifications | - Kindly provide TS for 33kV, 3PH HG Fuse as per TS | Refer Section projects Clause 3.3, General Technical Requirements which states “In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to”. |
|  | SBD Part-2-Employer Requirement | 13.4 New 11kV Lines 11.00 Anti climbing device 12.00 Danger Board | As per scope of 11kV line we need to supply anti climbing device and danger board. Request you to confirm the same. | Bidder understanding is in order. |
|  | SBD part-2, TS | -- | As you are aware we are one of the preferred manufacturer of various switching equipment in Electrical power Distribution segment since few decade in India and having long association with PowerGrid, we are being approached by few potential bidders for offer of 11KV GIS panel against above reference tender specification. In this regard, we would like to draw your kindly attention towards Busbar insulation technology of specification given being only SF6 gas insulated. Sir you know in 11KV GIS, “solid silicon encapsulated busbar technology outside gas tank” is also one of the preferred technology . We have only this solution available with us under “make in India” set-up. There are many past reference where PowerGrid has accepted such “solid silicon encapsulated busbar technology outside gas tank” busbar insulation technology. We sincerely request you kindly accept this solid encapsulated busbar technology for 11KV GIS in this referred tender and incorporate in the specification. | Refer Clause 2.4.3.3 (Circuit breakers) of section projects. |
|  | SBD Part-3_Price Adjustment | Appendix-3 Page No. 157 | Steel Tubular pole Price adjustment formula has 13% of Zinc where as we are not using the galvanised pole. Please check & revert how we use the formula of PV in steel tubular pole. | Refer Amendment No.-1 enclosed herewith |
|  | SBD Part-3_Price Adjustment | Appendix-3 Page No. 157 | In Steel tubular pole formula there is IS0 which is HR coil and the rate will be consider one month earlier from the date of tendering where as in example it was given below: if date of tendering falls in May 2022, the applicable prices of HR Coil (IS0) should be for the month March 2022 i.e.two month earlier from the date of tendering. Please clarify the same. | Refer Amendment No.-1 enclosed herewith |
|  | General | -- | Please clarify whether BOCW is applicable for service contract or total contract price. | Bidder have to comply with all the statutory requirements. |
|  | Appendix-1: TERMS AND PROCEDURES OF PAYMENT | 2. Progressive payments (Supply of Plant): 2.1. First Instalment (60%): Sixty percent (60%) payments for the supply of Plant under the Contract Part I | we request to modify the payments terms to 90% Appendix-1: TERMS AND PROCEDURES OF PAYMENT 2.Progressive payments (Supply of Plant): 2.1. First Instalment (90%): Ninty percent (90%) payments for the supply of Plant indicated as per clause | Provisions of the bidding documents shall remain unchanged. |
|  | SBD Part-2, TS | -- | TS of 765KVA Transformer not Received please. Provide the same. | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | -- | TS of 1000KVA Transformer not Received please. Provide the same. | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | -- | TS of LT Distribution Box of 400KVA not received. Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | -- | TS of LT Distribution Box of 630KVA not received. Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | -- | TS of LT Distribution Box of 765KVA not received. Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | -- | TS of LT Distribution Box of 1000KVA not received. Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | -- | TS of 33KV Outdoor Vacuum Circuit Breaker not received. Please provide the same. | Refer clause 2.4.3 of Section projects for Circuit Breakers. Also refer Clause 3.3 of Section -Project of Bidding documents which is reproduced below: In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to. |
|  | SBD Part-2, TS | -- | TS of Shackle Insulator & Fitting not received. Please provide the same. | Refer Section projects Clause 3.3, General Technical Requirements which states “In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to”. |
|  | SBD Part-2, TS | -- | TS of 11kV & 33 kV HG Fuse not received please. Provide the same. | Refer Section projects Clause 3.3, General Technical Requirements which states “In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to”. |
|  | SBD part-2, TS | Appendix-A | As per SBD Part -2 TS, Appendix-A, Technical particular of 66/11kV Transformer, the rating of transformer mentioned is 12.5MVA & 15 MVA. However as per BOQ, the rating of Transformer is 6.3 MVA. Kindly provide the TS of 6.3MVA transformer. | For General construction refer the technical specification of 66/11 KV Sub-station in the SBD-Part-2 technical specification. Refer Clause 2.4.2 (Power transformers) for No load loss and Full load loss of 6.3 MVA transformer & other details. |
|  | SBD part-2, TS | Section 6 Part-2 | For the TS of lighting, LT Switchgear & DBS, Battery & charger, Station Transformer & ACSR Conductor " It is mentioned that for the above please refer TS Section 6 Part 2". However Section 6 part 2 is not available in documents provided. Kindly clarify. | Refer SBD Part-2 (Scope of work), Clause-19.0 & 20.0, Page 73 & 74 for station lighting. Refer SBD Part-2 (Scope of work), Clause-5.0, 8.0 & 9.0, Page 65, 67 & 68 for LT switchgear & DBS. Refer SBD Part-2 Technical Specifications, Section “Batteries & charger” for battery & charger. Refer SBD Part-2 Technical Specifications, Section “3 Phase Distribution Transformers 11 or 33 kV/433-250V” (Outdoor Type) & Section projects Clause 2.4.6 for station transformer. Refer SBD Part-2 Technical Specifications, Section “ACSR Conductor” for ACSR conductor. |
|  | SBD part-2, TS | -- | TS of Counterpoise type (120m length) earthing not received. Please provide the same. | Refer Clause 1.14 (Page-26) of TS_66 kV Transmission Line_Part 1 of 3. |
|  | SBD part-2, TS | -- | S.No:-16 - TS of 24 Fibre (DWSM) OPGW fibre optic cable not received. Please provide the same. | Refer Amendment No.-1 enclosed herewith |