| Sr. No. | Clause No. & Reference | Tender Description | Bidders Query | POWERGRID Reply |
| --- | --- | --- | --- | --- |
|  | - Clause 23(1) of SCC - Clause 8.2.2 of SBD Part-2 TS | SBD Part-2 TS | All the approved suppliers for power transformer (66/11 & 33/11 kV) have regretted for submitting offer. However, one (non-approved) supplier has agreed without short circuit test before dispatch as per clause SCC 23(1c) & stage inspection as per clause no 8.2.2 of power transformer. | Transformer testing shall be done as per TS provisions. Any new vendor (if reqd) for transformer, can be considered for approval, if meeting the TS criterion. Request for the same may be submitted during post award stage. |
|  | Price Schedule-1 (Supply) | 66 kV Line | ………..for 24 Fibre (DWSM) OPGW fibre optic cable, Qty is taken as 1 mtrs. Kindly confirm. | Refer Amendment No.-2 enclosed herewith. |