## Sheet1
Clarification No.- II to the Bidding Documents for Package Substation Package SIK-SS01 for (i) 220/132kV Legship Pool (New) s/s, (ii) 132/66/11kV Dikchu pool (new) s/s, (iii) 66/11kV Makha (New) s/s, (iv) 66/11kV Temi (New) s/s, (v) 66/11kV Khamdong (New) s/s, (vi) 66/11kV Kumrek (New) s/s, (vii) 66/11kV Namthang (New) s/s, (viii) 66/11kV Rorathang (New) s/s & (ix) 66/11kV Mamring s/s Extn. associated with Comprehensive Scheme for Strengthening of Transmission and Distribution System in Sikkim. [Spec. No.: CC-CS/93-NER/SS-4007/3/G2]
Sl. no. | Site | Volume / Section | Description/ Existing clause | Bidder's Query | POWERGRID's Reply
1 | FOTE System | Price Schedule-SS01 S.NO. X.1076 ,S.No. X.1083 & S.No.X. 1095 As per LD&C-3, Appendix-A | STM-4, 3 MSP-4 Nos. Base Equipment STM-4 pto 5 MSP-31 Nos. DACS - 8 Nos. | As per Appendix -A , FOTE Equipment is to be supplied for 36 S/S, however as per price schedule SDH equipment is to be offered for 35 S/S's. Request to please provide details of substations where STM-4,3 MSP configuration & DACS Equipments are to be offered. | The bidder to quote as per Price Schedule. The site details shall be finalized during detailed engineering.
2 | FOTE System | As per LD&C-3, Appendix-A | List of new Sub-Stations under Substation package-SIK-SS01/SIK-SS02/SIK-SS03/SIK- SS04 & Existing Susbtations proposed for Communication Equipment’s Installation | We understand that all new Substations & existing susbtaions mentioned in Appendix A (20 new S/S's , 16 existing S/S's) are covered under this project for scope of supply of new SDH, PDH & DACS Equipments. Please confirm. | Confirmed
3 | FOTE System | TS-Communication Equipment, Chapter-5, CL.5.4.1 | 5.4.1 Warranty Period The two years period commencing immediately after the operational acceptance is called the Warranty Period/Defect liability Period. | As per SCC , GCC 22.2 ,warranty of Fote equipments shall be 12 months after TOC. Please confirm and modify the clause in TS-Communication Equipment accordingly. | Refer Amendment No. II to the bidding documents.