## Sheet1
Clarification No.- II to the Bidding Documents for Package Substation Package SIK-SS01 for (i) 220/132kV Legship Pool (New) s/s, (ii) 132/66/11kV Dikchu pool (new) s/s, (iii) 66/11kV Makha (New) s/s, (iv) 66/11kV Temi (New) s/s, (v) 66/11kV Khamdong (New) s/s, (vi) 66/11kV Kumrek (New) s/s, (vii) 66/11kV Namthang (New) s/s, (viii) 66/11kV Rorathang (New) s/s & (ix) 66/11kV Mamring s/s Extn. associated with Comprehensive Scheme for Strengthening of Transmission and Distribution System in Sikkim. [Spec. No.: CC-CS/93-NER/SS-4007/3/G2]
S.No | Clause | Reference | Bidder's Clarifications | POWERGRID Replies
1 | Vol III Price Schedule ..0 | 2-Second Envelope Price Schedules SS01- Sikkim.xlsx Sch-2... .Sr. No 1013,1020, 1027 | Please confirm that 1 No of SDH and 2 Nos of PDH is required at Each Site.Please finalize the BOQ quantities so that suitable commercial proposals can be submitted. Quantity reduction during engineering leads to demotivation and removes all of our profit margin | The bidder to quote as per Price Schedule and Technical Specification . The details shall be finalized during detailed engineering.
2 | Vol III Price Schedule | 02-Second Envelope Price Schedules SS01- Sikkim.xlsx... ... Sch-2. Sr. No 1033 & 1034 | Please confirm the requirement of separate cabinet for SDH and PDH Equipment. | The bidder to quote as per Price Schedule and Technical Specification . The details shall be finalized during detailed engineering.
3 | Vol-II Part 11 | LD&C Sections... LD&C- 2. A - 1.1 RESOURCE DEPLOYMENT. Page No 101/159 | Please confirm the requirement of 4 engineers for Maintenance of communication equipment after operational acceptance during maintenance period [i.e. (2+5 years) Warranty/defect liability period & AMC Period | Bidder has to deploy minimum of four (4) engineers at suitable locations in Sikkim State as per technical specification of communciation equipment. Howerver, The details shall be finalized during detailed engineering.
4 | Vol-II Part 11 | LD&C Sections | In case Optical interface/SFP is embedded with Control Card, adequate no. of optical interface/SFPs shall be offere to mount the requirement redundancy of the spec. Further, main &n protection Channel shall be terminated on separate cards and there should be no Single point of faliure | Refer Amendment No. II to the bidding documents.