|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl. No.** | **Clause ref**  | **Description as per bid document** | **Queries asked by the bidder** | **POWERGRID’s reply** |
|  | Price schedule | TW02 Package: Price Schedule (Sch1,2 & 3) | As per our site visit, we observe that in the ending point of TW02 Pkg to maintain a ground clearance from River HFL, there’s a requirement of RC (Raise Chimney) for approximately 3KM. However, in the price schedule the RC stub & foundation quantities are not given. Therefore, kindly request you to incorporate the same in the price schedule. | The provisions of bidding documents shall prevail |