| Sl. No | Reference Document No / Clause No / Page No | Description as per Bidding Document | Bidder’s Query / Clarification | POWERGRID's Response |
| --- | --- | --- | --- | --- |
| 1 | Clause 1.9.1.3, Section-IVF of Technical Specification | “A galvanized monopole structure of each type complete with specified extension shall be subjected to design and destruction tests.” | We understand type test on Monopoles are not required as this will be Employers design-based project. Please confirm if our understanding is correct. | Bidder may refer clause 3.4.3, Section-IA of the technical specification which stipulates the following “Since, design & testing of pole structure is not in the scope of contractor, provisions pertaining to design & testing of pole structure mentioned under Section-IVF of the technical specification will not be applicable” It is clarified that, design & testing of pole structure is not in the scope of contractor |
| 2 | Clause 1.2.1. h, Section-IVF of Technical Specification | “Deflection Criteria: 5% of height of pole @ultimate load condition and 2% of the height of pole @ everyday loading condition.” | We understand there are No such load case as Everyday Condition in IS/CBIP. Kindly elaborate the loads to be considered in Everyday condition. |  |
| 3 | General |  | In our Walk over Survey: We observed that line will be passing through highly dense populated area in which several private farmhouse, Farming land, Forest Area, Garden, Power Line Crossing, NH Crossing, Flyover Crossing, Metro Line Crossing. We understand that PGCIL has initiated the approval or discussion with respective authorities/ Landowner as these issue impact on Completion Time. Please confirm if our understanding is correct. | Bidders may refer clause 1.11 of Section-IB of TS which inter-alia states that Right of way and way leave clearance shall be arranged by the Employer in accordance with work schedules. |
| 4 | Technical Specification |  | Please provide us the Technical Specification of Bird Diverter Please provide us the bifurcation of quantities for LED type or Non-LED Type Bird Diverter which will be used, please confirm. | Bidder may refer clause 1.3.7, Section-IVC for technical specification of bird flight diverter. |
| 5 | Price Schedule, Schedule -3 | Item No. 29 Destringing of existing 220kV DC line and transportation to Store, | Please confirm the items which will be de-strung i.e. Conductor/OPGW/Earth wire also confirm whether we have to return in drum or in bits. If drum is required whether PGCIL will arrange the drum. | Bidder may refer provision of destringing/dismantling indicated at Clause 1.3, Section-IA of the technical specification. Further, Bidders may visit the line route to acquaint themselves with terrain conditions and associated details of the proposed transmission lines. For this purpose, and as indicated at Clause 1.5.1, bidders may contact on the following address:- POWER GRID CORPORATION OF INDIA LTD. Northern Region Transmission System-I Regional Headquarter SCO Bay No: 5 to 10, Sector -16 A, Faridabad -121002 (Haryana) |
| 6 | Price Schedule, Schedule -3 | Item No. 12: Dismantling of existing tower & Transportation | Pl confirm whether we have to do the Numbering & Stacking of the dismantled tower parts or not. Also confirm if the stub cutting is also required or not for the dismantled tower |  |
| 7 | Price Schedule | Item No. 40 to 47 of Schedule 3: Activity related to Pole foundation *..Design & construction of foundations including necessary excavation, RCC, placement of reinforcement, PCC etc. For 400 kV DOUBLECIRCUIT (Twin Moose) WZ-5 (Vertical configuration) -Tension pole type PDB+0 for all kind of soil types as mentioned in technical specification...** | We understand that these line items are only relevant for Caisson/Pier/Raft locations only for Monopoles and not Pile type foundations as Pile Foundation line items are specifically provided in BPS. Please confirm if our understanding is correct. | Quantities pertaining to pile foundations has been envisaged for tower locations (pole structures) in river bank. For rest of the locations on pole structures, bidder is required to quote in the relevant schedules of Bid Proposal Sheets, the composite rate of foundation per monopole structure for the foundations listed in the Bill of quantities. |
| 8 | Price Schedule | Item No. 48 to 57 of Schedule 3: Work Associated with Pile foundation **..Boring, providing and installation of bored Cast-in-situ RCC vertical piles of specified diameter and of any length below the pile cap with M25 grade of cement concrete, excluding the cost of reinforcement steel but including the cost of boring with temporary Guide casing, bentonite solution and the length of pile to be embedded in the pile cap (length of pile for payment shall be measured from bottom of pile cap), all necessary labour, materials, plants, tools & tackles etc., complete, as necessary for proper execution of the job. (Boring in all types of rocks excluded).: 1200mm diameter R.C.C. vertical bored pile up to 40 m from bottom of pile cap... ** | We understand that these line items are applicable where Pile type foundation is proposed either for Monopole or Lattice Structure. Please confirm if our understanding is correct. | Quantities pertaining to pile foundations has been envisaged for tower locations (pole structures) in river bank. Further, details of pile foundation locations shall be decided based on detailed survey to be carried out by the contractor. However, in order to familiarize with the line route, terrain conditions and associated details of the subject transmission line, bidder may visit the site as specified in Section-1A, Clause-1.5.1 of Technical Specification. For this purpose bidders are requested to contact the site in charge mentioned at clause 1.5.1, Section-IA, Technical Specification. |
| 9 | Price Schedule | Item No. 43 to 46 of Schedule 3: Design & construction of foundations including necessary excavation, RCC, placement of reinforcement, PDC etc. For 400 kV DOUBLECIRCUIT (Twin Moose) WZ-5 (Vertical configuration) -Tension pole type | We understand PDC indicated in the item description is typo error, please confirm if our understanding is correct. | Refer Amendment-I |
| 10 | Clause 2.1, Section 1B of Technical Specification | “Tower Parts” | It is mentioned in referred clause that "In case of assured access from tower manufacturers, the Contractor shall furnish a Joint Deed of Undertaking (Format enclosed at Annexure-B) along with the manufacturer(s) to guarantee quality & timely supply of tower parts from each of the manufacturer(s) at the time of finalizing the manufacturer(s), during execution of the Contract." We presume that as per above mentioned clause, the JDU is to be submitted during execution of Contract & not to be submitted during bid submission. Please confirm our understanding. | Provisions of Technical specification is amply clear in this regard. |
| 11 | Clause 2.29, Section 1B of Technical Specification | “Technical Qualification Requirement for supplier of core of any special material for High temperature low sag conductor (HTLS)” | The referred clause mentions that "An undertaking by the proposed supplier of core of HTLS conductor shall be submitted along with the bid (Performa enclosed as Annexure–D to this section)". Please clarify if above mentioned clause is applicable in this tender. If yes, then we request you to please allow us to submit above mentioned undertaking in the event of an order. | Refer Amendment-I |
| 12 | General |  | Please provide details of contact person for site visit. | Bidders may refer clause 1.5.1, Section-IA of Technical Specification which states that Bidders may visit the line route to acquaint themselves with terrain conditions and associated details of the proposed transmission lines. For this purpose, and as indicated at Clause 1.5.1, bidders may contact on the following address:- POWER GRID CORPORATION OF INDIA LTD. Northern Region Transmission System-I Regional Headquarter SCO Bay No: 5 to 10, Sector -16 A, Faridabad -121002 (Haryana) |
| 13 | General |  | Quantity of Poles is specified as approx. 1700 MT Could PGCIL provide pole type wise quantity. (In NIT only Pole type their respective Moments, and Reactions are given but the quantity of them required for the project is missing. | Bidder to quote as per requirement stipulated in the bidding documents. |
| 14 | General |  | What is the permissible variation from BOQ weight to actual weight at the time of execution. | Provisions of bidding documents is amply clear. |
| 15 | General |  | Can PGCIL share the detailed BOMs of the poles for which drawings are provided. | The relevant BOMs for the pole structures and their extensions shall be furnished to the Contractor by the Employer during execution stage. |
| 16 | Price Schedule, Schedule -1 | “Spare- Digital Protection Coupler” | Line Item no 26 of Dwarka SS and & Line Item No 37 of Jhatikara SS, calls for requirement of "Spares - Digital Protection Coupler" and the Unit for the same is LS. However, there is no breakup of same in mandatory Spares Breakup. Hence, request you to kindly confirm the quantity of Digital Protection Coupler to be supplied as spares for both the SS. | Please Refer Annexure-III of Section Project for Breakup of Mandatory spare for Digital Protection Coupler. |
| 17 | General | SLD/Plan/Section | Requesting you to please share detail SLD, plan , section and interface module drawings of existing GIS along with pressure details of existing GIS. | Available, existing details shall be shared during detailed engineering in case of award. |
| 18 | General | Interface module | Kindly share the drawing of interface module with dimensional details | Interface module details shall be shared during detailed engineering. |
| 19 | BOQ | -- | From BOQ we understand that 1 Dia extension of I type Configuration of Hyosung make GIS bay is required but GA layout is of D type configuration, kindly clerify. Also, please confirm the requirement of PIR/ CSD in Line and tie bay | Please refer clause 2.2 A-II Section Project for more detail and clarity on scope. Line feeder bay Module without PIR envisaged under present scope. |
| 20 | SLD | Note: BAYS IDENTIFIED FOR 400KV D/C DWARKA-JHATIKRA LINE ARE MAIN 409 (EXISTING), AND 414 (TIE) & 415 (MAIN). HOWEVER TO COMPLETE THE DIAMETER OF GIS, 413 (MAIN), 414 (TIE) & 415 (MAIN) IS TO BE CONSIDERED. | Kindly clarify the meaning of this note as we understand that one 1 dia extension is in scope of supply as per BOQ. | Please refer clause 2.2 A-II Section Project for more detail and clarity on scope. |
| 21 | SLD | -- | Kindly share the CT -VT data need to be followed in present scope | Please refer Section GIS Rev5A for CT -VT data. |
| 22 | -- | -- | Drawing required for coupling of existing Hyosung GIS at Dwarka. | Refer our reply above, to the similar query. |
| 23 | Appendix-2 (Price Adjustment), Section-VI, Sample Form, Vol-I | The Ex-Works Price Components for tower accessories such as danger plate, pole plates, number plate, anti-climbing device, span marker, bird guards, pipe & counterpoise earthing, HTLS Conductor, Hardware Fittings for HTLS Conductor, OPGW, Composite Long rod Insulator, Accessories for HTLS Conductor etc. and all other items not specifically mentioned below shall remain firm and no price adjustment shall be applicable for the price components of these items. | As per mentioned clause, the Price variation is not applicable for HTLS Conductor. Considering increasing trend of LME, we request you to please allow price variation for HTLS Conductor. | Provisions of bidding documents shall remain unchanged |