| Sl. No. | Clause /Drawing No. Reference & Description | Existing Clause | Amended Clause. |
| --- | --- | --- | --- |
|  | Section-Project CL. 2.2 (Pg 5 of 89) | 2.2 Alternatively, in order to provide flexibility and optimization in design and operation, … Option 5: +550/-425MVAR STATCOM Bidder shall clearly bring out the offered solution in the bid, stating the proposed equivalent option. … | New Clause added. 2.2 Alternatively, in order to provide flexibility and optimization in design and operation, … Option 5: +550/-425MVAR STATCOM Bidder shall clearly bring out the offered solution in the bid, stating the proposed equivalent option. Bidder can offer only one option from the different options given above and shall bring out clearly in their bid, which of the design option is offered from the options specified above. Evaluation shall be done based on the option offered by the bidder. The nominal cumulative capacitive and inductive reactive power output of the STATCOM Station for any of the Options mentioned above shall be +550 MVAr (Point A of Figure-3 in Section-STATCOM Station) and -425 MVAr (Point B of Figure-3 in Section-STATCOM Station) at 1.0 p.u. ac bus voltage (at PCC) and nominal system frequency and 20°C ambient temperature. … |
|  | Section Project, Technical Specification (Pg 26 of 89) | MANDATORY SPARES Annexure-I Rev-0 | MANDATORY SPARES Annexure-I Rev-I |