# Annexure-I Rev-1

## MANDATORY SPARES

PART-A. Spares for STATCOM Station Equipments

| S.No | Description | Qty. for each sub-station |  |  | Remarks |
| --- | --- | --- | --- | --- | --- |
| I. | STATCOM Valve based on Semiconductor based Power module |  |  |  |  |
| a) | Semiconductor based Power module (Submodule) of Multimodule valve of each rating and type | 1Set |  |  | Complete for 1- phase of STATCOM Unit/Branch |
| b) | Gate control units of each type & rating | 5 set |  |  | If Applicable |
| c) | Optical fiber signal cable to the power module | 1 no. of each length & type |  |  |  |
| d) | Insulators of each type and rating | 5 no. type | of | each |  |
| e) | Gaskets | 1 lot |  |  | Complete replacement for STATCOM Station-I & II |
| f) | Epoxy bolts/nuts of each type | 10% type | of | each | At least for replacement of 1- phase of STATCOM Unit/Branch |
| II. | Module for Control, Protection, Communication, Annunciation, Alarm, SCADA & Monitoring, Disturbance Recorder including Power Supply Module | One Set of each type and function. |  |  |  |
| III. | STATCOM Protection system Relays. |  |  |  |  |
| a) | Protection Relay(IED)of each type | 2 Nos. |  |  |  |
| b) | Bay Control Unit(IED) of each type | 2 Nos. |  |  |  |
| IV. | 400 kV bay Protection system Spares. |  |  |  |  |
| a) | Protection Relay(IED)of each type | 1 No. |  |  |  |
| b) | Bay Control Unit(IED) of each type | 1 No. |  |  |  |
| V. | STATCOM other equipments |  |  |  |  |
| a) | Arrestor across Valve module | 2 nos. |  |  | If applicable |
| b) | Arrestor across Valve | 2 nos. |  |  | If applicable |
| c) | Grounding switch contact kit | 1 set |  |  |  |

| S.No | Description |  |  | Qty. for each sub-station | Remarks |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| d) | Support porcelain of each type |  |  | 4 nos. |  |  |  |
| e) | Wall bushing of each type |  |  | 1 no. |  |  |  |
| f) | Bypass Resistor, if applicable |  |  | 1 no. |  |  |  |
| g) | Series Air core Reactor |  |  | 1 no. of each type & rating | Complete for 1-phase |  |  |
| h) | Control cards, fuses, Semiconductor module etc. for Uninterrupted Power Supply (UPS) |  |  | 1 Set | if applicable |  |  |
| VI. | Coupling Transformer |  |  |  |  |  |  |
| a) | Coupling Transformer three phase/ single phase unit (as offered for under package) including all fittings & accessories |  |  | 1 Set | Complete to replace single unit of main transformer |  |  |
| b) | Insulating Oil for above |  |  | 1 Set |  |  |  |
| c) | Online Dissolved Gas and Moisture Analyser {As per TS} |  |  | 1 No. |  |  |  |
| d) | On-line insulating oil drying system {As per TS} |  |  | 1 No. |  |  |  |
| e) | 420kV bushing with metal parts and Gaskets |  |  | 1 no. |  |  |  |
| f) | MV bushing with metal parts and gaskets |  |  | 1 no. |  |  |  |
| g) | Set of gaskets |  |  | 1 Set | Complete replacement for 1 transformer (single/ three phase unit as supplied) |  |  |
| h) | Set of valves |  |  | 1 Set |  |  |  |
| i) | Set of pressure gauges |  |  | 1 Set |  |  |  |
| j) | Set of pressure switches |  |  | 1 Set |  |  |  |
| k) | Set of hydraulic jacks suitable for lifting coupling transformer. |  |  | 1 Set |  |  |  |
| l) | Nitrogen sealing equipment |  |  | 1 Set |  |  |  |
| m) | Set of magnetic contactor, switches, fuses relays for electric control panel |  |  | 1 set | one number of each size and type |  |  |
| n) | Insulating Oil |  |  | 1 lot | 20% of total oil quantity of one complete 3 phase bank of Coupling Transformer |  |  |
| VII. | Filter Bank, If applicable |  |  |  |  |  |  |
| a) | Capacitor cans |  |  | 10% of Each type and rating subject to minimum 5 units |  |  |  |
| b) | Resistor Element (if applicable) |  |  | 10 elements of each type and |  |  |  |
| S.No | Description |  |  | Qty. for each sub-station | Remarks |  |  |
|  |  |  |  | rating |  |  |  |
| c) | Reactors |  |  | 1 nos. of each type and rating |  |  |  |
| d) | Arrestor |  |  | 1 nos. of each type and rating |  |  |  |
| e) | Support Insulator |  |  | 5 nos. of each type and rating |  |  |  |
| VIII. | MSC Bank |  |  |  |  |  |  |
| a) | Capacitor cans |  |  | 10% of Each type and rating subject to minimum 10 units |  |  |  |
| b) | Series Reactor (Air Core) |  |  | 1 nos. of each type and rating | Complete phase | for | 1- |
| c) | Support Insulator |  |  | 5 nos. of each type and rating |  |  |  |
| IX. | MV AC System : |  |  |  |  |  |  |
| a) | CTs for one phase of each type and rating |  |  | 1 no. of each type and rating |  |  |  |
| b) | Surge arrestor |  |  | 1 no. of each type and rating |  |  |  |
| c) | Voltage transformers (single phase) |  |  | 1 no. of each type and rating |  |  |  |
| d) | Contact kit for grounding switch |  |  | 1 no. of each type and rating |  |  |  |
| e) | Set of contact fingers for isolators for 3 phase |  |  | 1 no. of each type and rating |  |  |  |
| f) | Complete 3 phase operating mechanism | isolator | with | 1 no. of each type and rating |  |  |  |
| i. | Set of Insulator for above |  |  | 2 Set | Complete replacement for two isolator (3 ph) |  |  |
| g) | Set of relays, power contactors & switch fuses for electrical Control ckt. |  |  | 1 Set | Complete replacement for one isolator (3 ph) |  |  |
| h) | Rotary bearing for isolator |  |  | 1 set | Complete replacement for one isolator (3 ph) |  |  |
| i) | MV Bus support insulators |  |  | 10 nos. of each type and rating |  |  |  |
| j) | Surge Capacitor |  |  | 2 nos. | (If applicable) |  |  |
| k) | One set of Spares consisting of following items for MV Circuit Breaker of each type |  |  |  |  |  |  |

| S.No | Description | Qty. for each sub-station | Remarks |
| --- | --- | --- | --- |
| i. | One complete Pole of CB including Interrupter, pole column, with operating mechanism and MB but without support structure. | No. | 1 |
| ii. | Rubber gaskets, O rings and seals (complete replacement for one breaker) | No. | 1 |
| iii. | Trip coils with resistor | No. | 2 |
| iv. | Closing coils with resistor | Sets | 1 |
| v. | Molecular filter for SF6 Circuit for 1 Pole of CB( If applicable) | No | 2 |
| vi. | Terminal pads and connectors | Nos | 2 |
| vii. | Relays, power contactors, switch-fuse units, limit switches, push buttons, timers and MCBs etc as applicable | Set | 1 |
| viii. | Pressure switches, if applicable | set | 1 |
| ix. | Auxiliary Switch Assembly | set | 1 |
| x. | Controlled switching device | No. | 1 |
| l) | Neutral Grounding Transformer including resistor | Set | 1 |
| X. | Valve Cooling System : |  |  |
| a) | Fine Water Pump complete with Motor | 1 set of each type |  |
| b) | Resin | 1 Set | For one complete replacement of STATCOM Station I & II |
| c) | Pump with motor except covered under serial no. a) above | 1 no. of each type and rating |  |
| d) | Flex Pipes for complete replacement of STATCOM Station I & II | 1 Set |  |
| e) | Gaskets and “O” Ring of each type | 1 Set |  |
| f) | Fan unit of Water to air heat exchanger | 2 No. |  |
| g) | Set of Contactor, MCB, fuses, PLC/Control Card | 1 no. of each type & rating. |  |
| h) | Set of Control Cards, Fuses, Contactors & Switches, Battery Cell for UMD | 1 no. of each type & rating. |  |
| XI. | Fire Protection System |  |  |
| a) | Quartzoid bulb detectors | 10 % of population |  |
| b) | Projectors | 10 % of population |  |

| S.No | Description | Qty. for each sub-station | Remarks |
| --- | --- | --- | --- |
| c) | Smoke detectors (if applicable) | 10 % of population |  |
| d) | Heat detectors | 10 % of population |  |
| e) | Deluge valve | 1 set |  |
| f) | Isolation valves (each size each type) | 1 set |  |
| g) | Electrical control panel - Annunciation printed circuits Boards (For solid state annunciation) in the control panel | 1 set |  |
| h) | Strainer | 1 set |  |
| i) | Pressure gauge | 1 No. |  |
| XII. | 220V Batteries |  |  |
| a) | Spare battery cell (of each type) | 5 Nos |  |
| b) | Terminal connectors with Bolts & Nuts | 10 Nos. (each type) |  |
| XIII. | 220V Battery Chargers |  |  |
| a) | Set of Control Cards | 1 |  |
| b) | Set of relays | 1 set |  |
| c) | Rectifier transformer | 1 No. |  |
| d) | Control transformer | 1 No. |  |
| e) | Series inductor | 1 No. |  |
| f) | Set of contactors | 1 set |  |
| g) | Micro switches | 1 set |  |
| h) | Filter Capacitors | 1 set |  |
| i) | Thyristor/ Diode | 1 set |  |
| j) | Set of switches | 1 set |  |
| k) | Set of wound resistors | 1 set |  |
| l) | Potentiometers | 1 No. |  |
| m) | Fuses of Thyristor with indicators | 6 sets |  |
| XIV. | DG SETS : |  |  |
| a) | Set of filters (Lube oil/ fuel/ Air ckt) | 1 set |  |
| b) | Solenoid coil assembly | 1 No. |  |
| c) | Self starter assembly | 1 No. |  |
| d) | Lub. oil pressure safety control | 1 No. |  |
| e) | High water temperature safety control | 1 No. |  |
| f) | AVR (Auto Voltage Regulator)/ AVR card/Controller | 1 set | As applicable |
| XV. | LT Switchgear |  |  |
| a) | Air circuit breaker | 1 no. of each type and rating |  |
| b) | Tripping coil for above a) | 1 no. of each type and rating |  |

| S.No | Description | Qty. for each sub-station | Remarks |
| --- | --- | --- | --- |
| b) | Tripping coil for above a) | 1 no. of each type and rating |  |
| c) | Closing coil for above a) | 1 no. of each type and rating |  |
| d) | Current transformer of each rating and class | 1 no. |  |
| e) | Relay & contactors of each type and rating | 2 nos. |  |
| f) | Circuit breaker control switches | 2 nos. |  |
| g) | Potential transformer of each type and rating | 1 no. |  |
| h) | LT switches of each type & rating | 1 no. |  |
| i) | MCB’s of each type & rating | 1 no. |  |
| j) | Switch fuse units of each type and rating | 1 no. |  |
| k) | Fuses | 100% |  |
| l) | Lamps | 100% |  |
| m) | Set of Cards/Module for AVR/Voltage Stabilizer. | 1 set | If applicable |
| XVI. | AIR CONDITIONING & VENTILATION SYSTEM |  |  |
| a) | AC Unit of each type and rating | 1 no. |  |
| b) | Ventilation system motor | 1 nos. of each type and rating |  |
| XVII. | UPS |  |  |
| a) | Set of Control Cards | 1 set |  |
| b) | Set of fuses & Switches | 1 Set |  |
| c) | Spare Battery cell | 2 nos. |  |
| XVIII. | MSR bank |  |  |
| a) | Air core Reactor Coil | One no. of each type & rating | Complete for 1-phase |
| b) | Support insulators | 05 nos. of each type |  |
| XIX. | Clamps and connectors | 2 nos. of each type and rating. |  |
| XX. | 400 kV IVT-1 phase | 3 nos. | As applicable |
| XXI. | Power PT along with accessories for complete replacement in one phase | 1 set | As applicable |

## PART-B	SPARE FOR 400KV BAY EQUIPMENTS

| S.No | DESCRIPTION | UNIT | Qty. for each sub-station |
| --- | --- | --- | --- |
| I. | 420 kV SF6 Circuit Breaker (Without CR) |  |  |
| 1. | One complete Pole of CB including Grading Capacitor, Interrupter, pole column, with operating mechanism and MB but without support structure. | No. | 1 |
| 2. | Grading capacitors(if applicable) | Set | 1 |
| 3 | Rubber gaskets, O rings and seals for SF6 gas(complete replacement for one breaker) | No. | 1 |
| 4. | Trip coils with resistor | No. | 2 |
| 5. | Closing coils with resistor | Sets | 1 |
| 6. | Molecular filter for SF6 Circuit for 1 Pole of CB | No | 2 |
| 7 | Terminal pads and connectors | Nos | 2 |
| 8. | Corona rings | Nos | 1 |
| 9. | Relays, power contactors, switch-fuse units, limit switches, push buttons, timers and MCBs etc | Set | 1 |
| 10. | Pressure switches | set | 1 |
| 11. | Auxiliary Switch Assembly | set | 1 |
| II. | 420 kV Isolator |  |  |
| 1 | One complete pole of Isolator including support insulator with 1 E/S with operating mechanism for main isolator and earth switch (excluding structure) | No | 1 |
| 2 | Copper contact fingers for female & male contacts | set | 2 |
| 3 | Open/Close Contactor Assembly, Timer, Key Interlock push button switch & auxiliary switches | Set | 1 |
| 4 | Limit switch | no | 2 |
| 5 | Terminal pads & Connectors | no | 3 |
| 6. | Corona shielding ring | Nos. | 3 |
| III. | 420kV Current Transformers |  |  |
| 1. | 420kV, 120% extended 5 core CT complete in all respects including terminal connectors and support stool for erecting on standard support structure. | No. | 1 |
| IV. | 336kV Surge Arrester |  |  |
| 1. | 336kV Surge arrester complete with insulating base and terminal connectors | No. | 1 |
| 2. | Surge monitor/monitor | NO. | 5 |