## TL01
Clarification No.- I dated 16/10/2024 to the Bidding Documents for Transmission Line Tower Package- TL01 for 220 kV S/C (on D/C Tower) Pang- Upshi line (Part-1) and establishment of new 2 x 10 MVA 66/11kV GIS Sub Station at Pang for 220kV AC Transmission line between Pang and Phyang associated with Transmission system for evacuation of RE power from renewable energy parks in Leh (5 GW Leh-Kaithal transmission corridor).; Spec. No: CC/NT/W-TW/DOM/A06/24/11961
Sl no. | Re. Clause no. | Existing provision | Bidder's Query/Comment | POWERGRID Reply
1 | General Query |  | As per our site visit we could anticipate the suspension towers however in Price Schedule provided for all three Packages no hardware fittings and other associated items exclusive to suspension tower are mentioned. We request you to kindly revise the Price schedule and incoporate suspension tower associated items. | Bidder to quote for the items as indicated in the price schedule. requirement of suspension tower if any, during execution of the project, shall be dealt with as per provisions of bidding documents.