| Sl. No. | Clause Ref. No. | Existing provision | Amended provision |
| --- | --- | --- | --- |
| VOLUME-II: TECHNICAL SPECIFICATIONS |  |  |  |
|  | Vol III BPS, Schedule I & II | Extn. Of 400/220kV Rajarhat GIS: Activity Description; Material Code; Item Description; Unit; Qty.. 400kV, 500MVA, 3Ph, ICT SPARES; 1000030932; 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS; EA; 1. 400kV, 500MVA, 3Ph, ICT SPARES; 1000030923; 245KV, 2000A RIP BUSHING WITH METAL PARTS AND GASKETS; EA; 1. 400kV, 500MVA, 3Ph, ICT SPARES; 1000030935; 52KV, 800A RIP BUSHING WITH METAL PARTS AND GASKETS; EA; 1. 400kV, 500MVA, 3Ph, ICT SPARES; 1000002071; 36kV, 2000A Bushing with metal parts and gaskets for Transformer; EA; 1. 400kV, 500MVA, 3Ph, ICT SPARES; 1000032089; SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING; KL; 10. 400kV, 500MVA, 3Ph, ICT SPARES; 1000049425; LOCAL OTI & WTI WITH SENSING DEVICE FOR 400KV ICT; SET; 1. 400kV, 500MVA, 3Ph, ICT SPARES; 1000007922; Buchholz Relay (Main Tank) complete with float and contacts for Transformer; SET; 1. 400kV, 500MVA, 3Ph, ICT SPARES; 1000017322; Pressure Relief Device for Transformer; EA; 1. | Items Deleted In view of the same, Existing file “Price_Schedule_Rev01.xls” stands replaced with new file “Price_schedule_Rev02.xls” Bidders are requested to consider the revised excel ‘Price_schedule_Rev02.xls’ for bid preparation/submission. It may be noted that while submitting the bid, Bidders are required to change the excel file name from ‘Price_schedule_Rev02’ to ‘Price_schedule. As per the provisions of the portal, it is mandatory to upload excel file with titled ‘Price_schedule’ (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid). |
|  | Section Project_Rev-00_SS-123 | List of Annexures: Annexure-I LIST OF DRAWINGS Annexure-II BREAK-UP OF MANDATORY SPARES Annexure-III SPECIFIC REQUIREMENTS (Section-Project) - C/ENGG/SPEC/SECPROJECT/ SPECIFIC REQUIREMENT Rev. No. 08 Annexure-IV REQUIREMENTS FOR 245kV CURRENT TRANSFORMER | List of Annexures: Annexure-I LIST OF DRAWINGS Annexure-II BREAK-UP OF MANDATORY SPARES Annexure-III SPECIFIC REQUIREMENTS (Section-Project)-C/ENGG/SPEC/SECPROJECT/ SPECIFIC REQUIREMENT Rev. No. 08 Annexure-IV REQUIREMENTS FOR 245kV CURRENT TRANSFORMER Annexure-V Frequently Asked Questions. |
|  | In regard to Sl. No. 2 above, the newly added Annexure-V to Section Project, Technical Specifications with File name ‘Annexure-V_FREQUENTLY ASKED QUESTIONS.pdf’ is attached herewith this Amendment. |  |  |