## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package
2 | Specification No.
3 | Package Code
4 | Item Description | ACSR ZEBRA Conductor
5 | Quantity in km. | 6615
6 | Type Tests | Tests to be conducted | Nos of tests

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091
1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 & Discount.
2 | All the cells in Sch-5 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | The price quoted in respect of all items shall be excluding GST applicable on transaction between the Employer and the Contractor
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to Proceed

## Names of Bidder
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 | Manufacturer | 1
| Authorized Dealer/ Sub-dealer of Manufacturer | 2
Enter following details of the bidder | Authorized Representative of Manufacturer
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address
Mob No
E mail
Name of Manufacturer
Address
Printed Name
Designation
PhoneNo/ Mobile No.
e-mail ID
Date
Place
Click for
Sch-1

## Sch-1
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
(SCHEDULE OF RATES AND PRICES : - Scheduled Items ) PART A
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item No. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
DSR 2023 code
A | PART-A (Schedule Items based on CPWD DSR- 2023) |  |  |  |  | 0
1 | 2.1 | Earth work in surface excavation not exceeding 30cm in depth but exceeding 1.5m in width as well as 10sqm on plan including getting out and disposal of excavated earth upto 50m and lift upto 1.5m, as directed by engineer -in -charge |  |  |  | 0
| 2.1.1 | All kinds of soil | sqm | 1408 |  | 0
2 | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. |  |  |  | 0
| 2.6.1 | All kinds of soil | CuM | 500.025 |  | 0
3 | 2.7 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. |  |  |  | 0
| 2.7.1 | Ordinary rock | CuM | 107.97 |  | 0
4 | 2.25 | Filling available Excavated earth excluding rock in trenches, plinth, sides of foundation etc.in layer not exceeding 20cm in depth consolidating each deposited layer by ramming and watering lead up to 50m and lift up to 1.5m. | CuM | 394.9114 |  | 0
5 | 2.34 | Supplying chemical emulsion in sealed containers including delivery as specified |  |  |  | 0
| 2.34.1 | Chlorpyriphos - Lindane emulsifiable concentrate of 20 percent. | L | 57.75 |  | 0
6 | 2.35.1 | Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres/sqm of the vertical surface of the substructure to a depth of 300mm including excavatiopn channel along the wall and rodding etc.complete. |  |  |  | 0
| 2.35.1.1 | Chlorpyriphos/lindane Emulsifiable Concentrate 20 percent with 1 percent concentration | M | 154 |  | 0
7 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering-All work upto plinth level . |  |  |  | 0
| 4.1.8 | 1:4:8 1 cement: 4 coarse sand : 8 graded stone aggregate 40 mm nominal size | CuM | 134.453 |  | 0
8 | 4.3 | Centring and shuttering including strutting, propping etc. and removal of form work for |  |  |  | 0
| 4.3.1 | Foundations, footings, bases of columns | SQM | 89.0035 |  | 0
9 | 4.17 | Making plinth protection 50 mm thick of cement concrete 1:3:6 1 cement : 3 coarse sand : 6 approved graded hard stone aggregate 20 mm nominal size over 75 mm bed of stone ballast 40 mm nominal size well rammed and consolidated and grouted with fine sand, including necessary excavation, leveling & dressing & finishing the top smooth. | SqM | 145.2 |  | 0
10 | 5.1 | Providing and laying in specific grade of Reinforced cement Concrete, Excluding the cost of Centring, shuttering, finishing and reinforcement -All work upto plinth level . |  |  |  | 0
| 5.1.2 | M20 1:1.5:3 (1 cement: 1.5 coarse sand (Zone-III) derived from natural source: 3 graded stone aggregates 20mm nominal size derived from natural sources). | CuM | 195.0296 |  | 0
11 | 5.2 | Reinforced Cement Concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : All works above plinth level upto floor Five level |  |  |  | 0
| 5.2.2 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | CuM | 64.5632 |  | 0
12 | 5.3 | Reinforced cement concrete work in beams, Suspended Floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | CuM | 12.8295 |  | 0
13 | 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for |  |  |  | 0
| 5.9.1 | Centering and Shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns etc. for mass concrete | SqM | 73.325 |  | 0
14 | 5.9.5 | Lintels, beams ,Plinth beams ,girders, bressumers, and cantilevers | SqM | 515.5688 |  | 0
15 | 5.9.6 | Columns , pillars , piers, abutments, posts and struts | SqM | 416.259 |  | 0
16 | 5.9.19 | Weather shade, Chajjas, corbels etc., including edges | Sqm | 173.436 |  | 0
17 | 5.22 | Steel Reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto Plinth level. |  |  |  | 0
| 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more | KG | 14598.121 |  | 0
18 | 5.22A | Steel Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete … Above Plinth level. |  |  |  | 0
| 5.22A.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more | KG | 6517.573 |  | 0
19 | 12.41 | Providing and fixing on wall face un plasticised Rigid PVC Rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. |  |  |  | 0
| 12.41.2 | 110 mm diameter metre | M | 84 |  | 0
20 | 12.42 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS :5382, leaving 10 mm gap for thermal expansion. |  |  |  | 0
| 12.42.1.2 | Coupler of 110 mm | Each | 28 |  | 0
21 | 12.42.5 | Bend 87.5° 110 mm |  |  |  | 0
| 12.42.5.2 | 110 mm bend | Each | 28 |  | 0
22 | 12.42.6 | Shoe (Plain) |  |  |  | 0
| 12.42.6.2 | 110 mm Shoe each | Each | 14 |  | 0
23 | 12.43 | Providing and fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand)and making good the wall etc. complete. |  |  |  | 0
| 12.43.2 | 110 mm | Each | 56 |  | 0
24 | 12.44 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | Each | 14 |  | 0
25 | 13.1 | 12mm Cement plaster of mix. 1:6 |  |  |  | 0
| 13.1.2 | 1:6 1 Cement:6 Fine sand | SqM | 1048.976 |  | 0
26 | 13.11 | 18mm cement plaster in two coats under layer 12mm thick cement plaster 1:5 (1 cement : 5 coarse sand ) finished with a top layer 6mm thick cement plaster 1:6 (1 cement : 6 fine sand) | SqM | 1037.62 |  | 0
27 | 13.16.1 | 6 mm cement plaster of mix, 1:3 1 cement : 3 fine sand | SqM | 253.4416 |  | 0
28 | 13.46 | Finishing walls with Acrylic Smooth Exterior Paint of required shade. |  |  |  | 0
| 13.46.1 | New Work Two or more coat applied at the rate1.67ltr-10 sq.m sqm over and including base coat of water proofing cement paint applied at the rate2.20 Kg-10 sqm | SqM | 1147.1128 |  | 0
29 | 13.81 | Distempering with 1st quality acrylic distemper, having VOC (Volatile organic compound) content less than 50grams/litre, of approved brand and manufacturere,including applying additional coats wherever required, to achieve even shade and colour. |  |  |  | 0
| 13.81.1 | Two coats | SqM | 1048.976 |  | 0
30 | 13.99 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade |  |  |  | 0
| 13.99.1 | Two coats | SqM | 96.0008 |  | 0
31 | 13.85 | Applying priming coats with primer of approved brand and manufacture, having low VOC content. |  |  |  | 0
| 13.85.3 | With water thinnable cement primer on wall surface having VOC content less than 50grams/litre | SqM | 1048.976 |  | 0
32 | 4.11 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | SqM | 31.05 |  | 0
0
0
0
0
0
0
0
0
0
|  | Total for PART-A-Schedule items (Excluding GST) : |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2

## Sch-2
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 | [5 empty] | Schedule - 2
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
SCHEDULE OF RATES AND PRICES : PART-B- Non Scheduled Items
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-B: Non Scheduled Items:
1 | NS-1 | Supplying and filling of good quality Moorum in sub-grade - embankment formation in layers not exceeding 20 cm in depth , breaking clods , watering , rolling each deposited with power road roller of min 8 tonne in embankment for roads , floods banks, marginal banks and compaction under optimum moisture condition to give atleast 95% of the maximum dry density. The operation shall include all leads and lifts | CuM | 251.8903 |  | 0
| NS-2 | Providing and fixing motorised cum mechanical operation rolling shutter made of Galvalume sheet.The laths of the curtain shall be made of minimum 1.00 mm thick single-skinned Galvalume sheet with a profile height of approximately 120 mm. The side guides shall be minimum 2.0 mm thick galvanised steel with seals fitted to the lips of the guides to prevent metal-to-metal contact, ensuring smooth and quiet operation. The hood shall be made of minimum 1 mm thick pressed Galvalume sheet. Bottom profile, locking arrangements, shaft, and support brackets shall be provided as per manufacturer specifications. Laths, side guides, hood & motor cover, bottom profile, shaft & brackets etc. shall be finished with two coats of polyurethane spray paint over one coat of epoxy primer. The rolling shutter shall be provided with direct drive by a motor of sufficient capacity with safety mechanism, control switch, push button etc., complete. The rolling shutter shall also be provided for manual operation such as mechanical device, chain, and crank operation for operating rolling shutters. This item shall be read in conjunction with technical specification. | sqm | 48.0004 |  | 0
2 | NS-3 | Masonry work with Fly ash bricks of minimum compressive strength of 50 Kg- cm2 in foundation and plinth in cement mortar 1:6 ( 1 cement :6 coarse sand.) | CuM | 22.5046 |  | 0
3 | NS-4 | Masonry work with Fly ash bricks of minimum compressive strength of 50 Kg- cm2 in superstructure above plinth level upto Floor-V level in all shapes and sizes in cement mortar 1:6 (1 cement :6 coarse sand.) | CuM | 185.0953 |  | 0
4 | NS-5 | Providing and fixing Self Supported Roof of Proflex or Equivalent of colour coated Galvalume sheet of minimum base material thickness (BMT) of 0.80mm and APT of 85mm including all fixers and arrangements. | SqM | 1027.0244 |  | 0
5 | NS-6 | Providing and fixing 24 inch diameter Aluminium Turbo Ventilator with 42 vanes of aluminium of 0.50mm thick top and bottom SS 304 double Z bearings permanently greased with all type of fixtures. | Each | 9 |  | 0
6 | NS-7 | Supply of hanger / clamp for fixing lamp and fans as per requirement | Each | 50 |  | 0
7 | NS-8 | Providing and fixing 2mm thick Polycarbonate Transparent Sheet coated with 50 micron UV layer at top and bottom ( Each sheet shall be of 0.61 m wide and 2.0 m long) for natural ventilation of light | Each | 9 |  | 0
8 | NS-9 | Finishing the freshly laid RCC slab /surface with screed board vibrator, Vaccum Dewatering Process and finally finished by floating etc. Complete as per CPWD specifications and directions of Engeer-incharge .The panel shuttering of work shall be paid separately under relevant item of BOQ. | CuM | 84.0543 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total (PART-B) - Non Scheduled Items (Excluding GST) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-3

## (Part-III) Sch-1 (hidden)
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-A- SCHEDULED ITEMS AS PER DSR-2014)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | ITEM NO. | Item Description | Unit | Qty. | Rate | Amount
1 |  | 2 | 4 | 5 | 6 | 7 = 5 x 6
PART-III Construction of SEWERAGE SYSTEM for Residential Qtr
PART-A - (SCHEDULE ITEMS AS PER DSR - 2016)
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil | Cu.m. | 60
2 | 2.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
| 2.10.1.2 | Pipes, cables etc. exceeding 80mm dia but not exceeding 300mm dia. | Metre | 1000
3 | 2.11 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | Metre | 50
4 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu. M | 20
5 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | Cu. M | 50
6 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases for columns | Sq.m. | 80
7 | 17.35 | Providing and fixing soil, waste and vent pipes :
| 17.35.1 | 100 mm dia
| 17.35.1.1 | Sand cast iron S&S pipe as per IS: 1729 | metre | 10
8 | 18.27 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
| 18.27.3 | 150 mm dia pipe | metre | 50
9 | 18.28 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
| 18.28.3 | 150 mm diameter pipe | each | 20
10 | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
| 19.1.2 | 150mm diameter | Metre | 1000
11 | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
| 19.2.2 | 150 mm diameter S.W. pipe | Metre | 1000
12 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
| 19.6.4 | 300 mm dia RCC pipes. | metre | 30
13 | 19.15 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design :
| 19.15.1 | With 20x20 mm square bar | Each | 30
Sum of Items as per DSR-2016
|  | Percentage quoted above (+) / below(-) DSR-2016 |  |  |  | 0
|  | Total for PART-III (PART-A) -(Schedule Items) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2(Part-I)

## (Part-III) Sch-2 (hidden)
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 | [5 empty] | Schedule - 2
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-B- NON SCHEDULED ITEMS)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-II Construction of SEWERAGE SYSTEM for Residential Qtr
PART-B | NON-SCHEDULE ITEMS
1 | NS-1 | Construction brick masonary manholes in cement mortar 1:4 - 1 cement : 4 coarse sand- R.C.C. top slab with 1:2:4 mix -1 cement : 2 coarse sand : 4 approved graded stone aggregate 20mm nominal size- foundation concrete 1:4:8 mix -1 cement : 4 coarse sand :8 graded stone aggregate 40mm nominal size) inside plastring 12mm thick with cement morter 1:3(1 cement:3 Coarse sand) finished with a floating coat of neat cement and making channel in cementconcrete 1:2:4 (1 cement:2 coarse sand:graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design of CPWD.
Inside size 90X80 cm and 45cm deep including C.I. Cover with frame (light duly) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 Kg (weight of cover 23 Kg and and weight of frame 15 Kg)
| a | With Fly Ash Bricks | Each | 40
2 | NS-2 | Extra for depth for manholes
Size 90 x 80cm
|  | With Fly Ash Bricks of average compressive strength of 50 Kg/cm2 | Meter | 35
Total PART-III ( PART-B) - (Non-Schedule Items)
Printed Name :
Date : |  |  |  |  | Designation :
Place :
Click for
Sch-3(Part-I)

## Sch-3
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 | [6 empty] | Schedule - 3
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh | [10 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES : PART-C- ELECTRICAL ITEMS) | [10 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address | [5 empty] | To: |  |  |  |  | As per Percent on Sch-3
Bidder as | [5 empty] | Contract & Material |  |  |  |  | Multipackage lum-sum
Name : | [5 empty] | Power Grid Corporation of India Ltd., |  |  |  |  | Multipackage on Percent
Address : | [5 empty] | Western Region -I Headquarters |  |  |  |  | Total Discount
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
Item. No | Activity Number | Group | Description of Item | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=6*7
| 1 | 10.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
|  | 10.1.2 | Above 35 sq. mm and upto 95 sq. mm | M | 400 |  | 0
0
|  | 11.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. |  |  |  | 0
|  | 11.1.23 | 3½ X 70 sq. mm (38mm) | EA | 2 |  | 0
0
| 2 | 2.4 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). |  |  |  | 0
|  | 2.4.3 | 8 way (4 + 24), Double door | EA | 1 |  | 0
0
|  | 2.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  | 0
|  | 2.10.5 | Triple pole and neutral | EA | 25 |  | 0
0
| 3 | 2.18 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | EA | 4 |  | 0
0
| 4 | 2.19 | Supplying and fixing 20 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top along with 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | EA | 4 |  | 0
0
|  | 1.24 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. |  |  |  | 0
|  | 1.24.3 | 15/16 A switch | EA | 50 |  | 0
|  | 1.24.5 | 6 pin 15/16 A socket outlet | EA | 15 |  | 0
| 6 | 8.17 | LED Flood Light, powder coated pressure die cast aluminium (System lumen efficacy >135 lm/Watt) Supplying, Installation, Testing & Commissioning of Flood Light, powder coated pressure die cast aluminium body with built in or separate driver as per the requirement with Driver efficiency >85%, Input voltage: Input voltage: 140-270 Volt AC, frequency 50/60 hz, Operating temp range -5 0C to 50 0C, internal surge protection of 5 KV L,N,E as per IEC 61000-4-5, Driver efficiency >85%,THD < 10% as per IEC 61000-3-2, P. F.≥0.95, IP-66,IK-10, CRI >70, under voltage and over voltage protection, 54 DELHI SCHEDULE OF RATES (E&M)-2025 EMI-EMC as per CISPR-15, lenses for beam angle 30 deg-120deg as per the application and the project requirement., suitable tilt able fitting, life time (LED, Driver & electrical circuitry) of minimum 50000 Burning Hours with 70% of initial Lumen maintained till life ends as per LM80 extrapolation IES TM-21-11 report, CCT 3000°K / 4000°K / 5700°K /6500°K (As per ANSI Bin) , SDCM(Standard Deviation Colour Matching) ofrelevant BIS standard complete in all respect i/c external connections with 1.5 sq.mm FRLS/HFFR,PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy >135lm/Watt output. LM79 & LM80 Test report and all testing required for LED fixtures as per BIS shall be submitted. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement. (Thermal management: heat sink of aluminium housing such that LED junction temperature shall not rise above 90°C). |  |  |  | 0
|  | 8.17.5 | 200 watt | EA | 6 |  | 0
0
| 7 | 8.11 | LED Batten light (System lumen efficacy >135 lm/Watt) Supplying, installation, Testing & Commissioning of LED surface mounted Batten light of following body material and construction as per IS : 10322 with driver (Replaceable) as per the requirement with Driver efficiency >85% ,Operating voltage AC 140- 270 Volt, frequency 50/60 hz, Operating temp range -5 0C to 40 0C, internal surge protection of 2.5 KV with Short & Open circuit protection ,THD < 10% , P. F.≥0.95, IP20, CRI >80, Flicker free (flicker should be below 5 %), life time (LED, Driver & electrical circuitry), of minimum 50000 Burning Hours 47 DELHI SCHEDULE OF RATES (E&M)-2025 with 70% of initial Lumen maintained till life ends, CCT 3000°K / 4000°K / 5700°K /6500°K (As per ANSI Bin), SDCM(Standard Deviation Color Matching) 135 lm/Watt output . LM79 & LM80 Test report and all testing required for LED fixtures as per BIS shall be submitted.. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement. (Thermal management: heat sink of aluminium housing such that LED junction temperature shall not rise above 90°C). |  |  |  | 0
|  | 8.11.3 | 36 watt | EA | 40 |  | 0
0
| 8 | 9.1 | Supply, Installation, Testing and Commissioning of ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal(Aluminium alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body. Power Factor not less than 0.9, Service Value (CM/M/W) minimum as below, 350 RPM (tolerance as per IS : 374-2019), THD (Total Harmonic Distortion) less than 10%, remote (preferably mobile app based) for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 0C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC supply Ceiling Fan compliant to IS 374:2019 fan i/c external connections with 1.5 sq.mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required. |  |  |  | 0
|  | 9.1.3 | 1200mm, service value ≥ 6.0 CM/Min/Watt, air delivery 210 CM/Min (Minimum) | EA | 14 |  | 0
0
| 9 | 1.7 | Supplying and drawing following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. |  |  |  | 0
|  | 1.17.12 | 3 x 2.5 sq. mm | Meter | 3500 |  | 0
| 10 | 1.21 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. |  |  |  | 0
|  | 1.21.3 | 32 mm | Meter | 1800 |  | 0
| 11 | 1.27 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required. |  |  |  | 0
|  | 1.27.4 | 6 Module (200mmX75mm) | EA | 20 |  | 0
| 13 | 5.2 | Earthing with G.I. earth pipe 4.5 Meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | Set | 4 |  | 0
| 14 | 5.11 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | Meter | 50 |  | 0
| 15 | 5.15 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | Meter | 50 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
2: Total (PART-C) - Excl GST; 8=6*7: 0 | 0.18 | #REF! | #REF!
1: Date :; 2: 0; 8=6*7: Printed Name : | 0
1: Place :; 2: 0; 8=6*7: Designation : | 0
Click for
Sch-4

## Sch-4
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 |  |  | Schedule - 5
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description
1 | PART-A- Scheduled items |  | 0
2 | PART-B- Non Scheduled Items |  | 0
3 | PART-C- Electrical Items |  | 0
| Total of PART-A + PART-B |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discout

## Sch-5 After Discount
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 |  |  | Schedule - 5 After Discount
Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
(GRAND SUMMARY - AFTER DISCOUNT)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description |  | Total Price (INR) | Total Discount | 0%
1 | PART-A- Supply |  | 0 | 0 | 0
2 | PART-B- Scheduled items |  | 0 | 0 | 0
| PART-B- Non Scheduled Items |  | 0
0
0
0
0
0
0
0
0
0
2 | PART-C- Electrical Items |  | 0 | 0 | 0
| Total of PART-A + PART-B + PART-C |  | 0 |  | 0
| GRAND TOTAL after Discount |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discount

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract & Material
Power Grid Corporation of India Ltd.,
Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Subject : |  | Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh
1) All the discounts mentioned below shall be applied separately.
2) Please verify Schedule-5 (after Discount) after filling this letter of discount.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdules of all the Parts i.e. (PART-A + Part-B+PART-C) In Rs. |  |  | 0 | 0%
AND
| 2 | Discount on percent basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdulesof all the Parts i.e. (PART-A + Part-B+PART-C) In Percent (%) |  |  |  | 0%
| 1) Discount is Optional. 2) Bidder may fill any of the above two Indicated Discounts or both the Discounts. 3) Discount(s) offered at Sl. No. 1 to 2 will automatically simultaneously get accounted for in all the Schedules of all the Parts.. | [5 empty] | 0%
| 5 | We hereby offer Multi-package discount as given below:
[5 empty] | #REF! | 0%
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Note:
1) All the discounts mentioned above shall be applied separately.
2) Please verify Schedule-5 after filling the above letter of discount.
Yours faithfully,
For and on behalf of
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
Specification No.: WR-I/RPC/VRL/NIT-166/I-996-2026/RFX- 5002005091 |  |  |  |  | Bid Form 2nd Envelope | 0 |  |  |  |  | 1 | st |  | 1 | January
[6 empty] | #REF! |  |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | [10 empty] | 6 | th | #VALUE! | 6 | June
[11 empty] | 7 | th | #VALUE! | 7 | July
To: | [10 empty] | 8 | th | #VALUE! | 8 | August
Contract & Material | [10 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [10 empty] | 10 | th |  | 10 | October
Western Region -I Headquarters | [10 empty] | 11 | th |  | 11 | November
Sampriti Nagar, Nari Ring Road | [10 empty] | 12 | th |  | 12 | December
PO: Uppalwadi, Nagpur (MS) -440026 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of Construction of GIS STORE at 765/400 kV Kotra Pooling Station, Raigarh under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rupees only) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of | under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rupees only) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Sch-1 |  | PART-A-SCHEDULED ITEM | [7 empty] | 21 | st
| Sch-2 |  | PART-B-NA
| Sch-3 |  | PART-C-NA
| Sch-4 |  | GRAND SUMMARY
| Sch-5 After Discount |  | GRAND SUMMARY after DISCOUNT
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 9, Section–II: SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be FIRM during the execution of Contract and not subject to any Price Adjustment . | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## N-W (hidden)
0
0
0
0
0
Rupees only
0 | zero |  | only
0 | zero | hundred
0 | zero | thousand
0 | zero | lakh
0 | zero | crore | Rupees
0 | zero
1 | one
2 | two
3 | three
4 | four
5 | five
6 | six
7 | seven
8 | eight
9 | nine
10 | ten
11 | eleven
12 | twelve
13 | thirteen
14 | fourteen
15 | fifteen
16 | sixteen
17 | seventeen
18 | eighteen
19 | nineteen
20 | twenty
21 | twenty one
22 | twenty two
23 | twenty three
24 | twenty four
25 | twenty five
26 | twenty six
27 | twenty seven
28 | twenty eight
29 | twenty nine
30 | thirty
31 | thirty one
32 | thirty two
33 | thirty three
34 | thirty four
35 | thirty five
36 | thirty six
37 | thirty seven
38 | thirty eight
39 | thirty nine
40 | forty
41 | forty one
42 | forty two
43 | forty three
44 | forty four
45 | forty five
46 | forty six
47 | forty seven
48 | forty eight
49 | forty nine
50 | fifty
51 | fifty one
52 | fifty two
53 | fifty three
54 | fifty four
55 | fifty five
56 | fifty six
57 | fifty seven
58 | fifty eight
59 | fifty nine
60 | sixty
61 | sixty one
62 | sixty two
63 | sixty three
64 | sixty four
65 | sixty five
66 | sixty six
67 | sixty seven
68 | sixty eight
69 | sixty nine
70 | seventy
71 | seventy one
72 | seventy two
73 | seventy three
74 | seventy four
75 | seventy five
76 | seventy six
77 | seventy seven
78 | seventy eight
79 | seventy nine
80 | eighty
81 | eighty one
82 | eighty two
83 | eighty three
84 | eighty four
85 | eighty five
86 | eighty six
87 | eighty seven
88 | eighty eight
89 | eighty nine
90 | ninety
91 | ninety one
92 | ninety two
93 | ninety three
94 | ninety four
95 | ninety five
96 | ninety six
97 | ninety seven
98 | ninety eight
99 | ninety nine