## Cover
Price Schedules | Tower Package – TL02 for 400kV D/C (ACSR Twin Moose) Lessos-Loosuk Transmission Line and LILO of Loyangalani-Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) under Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50 |  | Tower Package TL02
SPEC. NO.:CC-CS/PG-AF50/ KEN/TL02/G5
| 1 | Fill up only green shaded cells in Sch-1, Sch-2 and Bid Form
| 2 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules

## INSTRUCTIONS
INSTRUCTIONS FOR BIDDERS TO FILL WORKBOOK
I | While filling up the worksheets following may please be observed :
(i) | Fill up only green shaded cells.
(ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric.
(iii) | Select only the options in pull down menus.
(iv) | Do not link any cell of this workbook with any other workbook.
(v) | Do not use copy & paste or cut & paste options for filling up the data.
(vi) | Do not reformat any of the cell of the workbook.
II | This workbook contains the following worksheets:
(a) | Cover : | Opening page of the workbook.
(b) | Names of the Bidder : | Select Sole Bidder or Joint venture as Applicable. Do not leave this cell blank.
Fill up Country of Origin of Bidder, names and address of the Bidder as selected above.
Fill up date in dd-mm-yyyy format from drop down menu.
(c ) | Sch-1: | Schedule of rates and prices for Plant and Equipment including mandatory Spares to be supplied
(d) | Sch-2: | Schedule of rates and prices for Installation Services and Training
(e) | Sch-3 : | Grand Summary
(f) | Bid Form (2nd Envelope): | Fill up ref. no. as bidder's ref. no. of this letter.
This letter shall consider the net price as per Sch-3
Fill up names & Designation of the Bidder.
Fill up additional Information as required.
III | As per ITB Clauses 18.1 in BDS, Section-II of the Bidding Document, the bidder have to quote its prices in USD
| If MOT left blank |  | footnote: u have left …. Cells blank
| If Unit price left blank |  | footnote: u have left …. Cells blank
Width of Cell for unit price and total
if unit price blank, shade it
if currency is blank, shade it.
| If currency left blank |  | footnote: u have left …. Cells blank
format unit price cell in sch.1 & 2 and currency cell
check sch-2 thoroughly
check summary sheet
In sch-2, if currency cell is blank, unit F&I shud be INCLUDED

## Name of Bidder
Tower Package – TL02 for 400kV D/C (ACSR Twin Moose) Lessos-Loosuk Transmission Line and LILO of Loyangalani-Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) under Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50
SPEC. NO.:CC-CS/PG-AF50/ KEN/TL02/G5 |  | Sole Bidder
Joint Venture Bid
Enter the details of the bidder below:
Specify type of Bidder [Select from drop down menu] | Sole Bidder | 1
Foreign Entity
Indian Entity
|  | 3 | (Foreign+Indian) Entity
| 1 | 1
Name of the Bidder |  | 1
Address of Registered Office
h
Address of Registered Office | i
j
k
esfsdfsdf
Address
sdfsdfsdf
Address of Registered Office
sdfsdfsdf
Printed Name
Designation
Date
Place
Note on D44: Insert date in mm-dd-yyyy format

## Schedule-I
SPEC. NO.:CC-CS/PG-AF50/ KEN/TL02/G5 | [5 empty] | Schedule-I
Tower Package – TL02 for 400kV D/C (ACSR Twin Moose) Lessos-Loosuk Transmission Line and LILO of Loyangalani-Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) under Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50
SCHEDULE OF RATES AND PRICES
To:
Name of the Bidder | 0 |  |  | Contracts Services, 3rd Floor
Address: | 0 |  |  | Power Grid Corporation of India Ltd.,
| 0 |  |  | "Saudamini", Plot No.-2, Sector 29
| 0 |  |  | Gurgaon (Haryana) - 122001
Plant and Equipment including mandatory Spares to be supplied
All the Prices are in USD
SL. NO. | ITEM DESCRIPTION | COUNTRY OF ORIGIN | UNIT | TOTAL QUANTITY | UNIT CIP NAMED PLACE OF DESTINATION PRICE | TOTAL CIP NAMED PLACE OF DESTINATION PRICE
1 | 2 | 3 | 4 | 5 | 6 | 7=5*6
A.1 | SCHEDULE-I
1 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF VARIOUS TYPE OF TOWER & TOWERPARTS, TOWER EXTENSIONS INCLUDING COMMON PLAN, BOLTS & NUTS, STEPBOLTS, HANGERS, D-SHACKLES, PACK WASHER, PACK PLATES, ETC. AND EXCLUDING STUB (ALTITUDE UPTO 1500M);
a | TOWER TYPE DA : (0 – 2 deg.)
i | BASIC TOWER BODY |  | EA | 190 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 548 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 212 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 128 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 84 |  | INCLUDED
b | TOWER TYPE DB : (0 - 15 deg.)
i | BASIC TOWER BODY |  | EA | 37 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 104 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 44 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 32 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 20 |  | INCLUDED
c | TOWER TYPE DC : (15 - 30 deg.)
i | BASIC TOWER BODY |  | EA | 26 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 80 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 24 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 16 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 16 |  | INCLUDED
d | TOWER TYPE DD : (30 - 60 deg.)
i | BASIC TOWER BODY |  | EA | 18 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 56 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 16 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 12 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 12 |  | INCLUDED
2 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF STUB & CLEATS (PER LEG) INCLUDING BOLTS & NUTS, PACK WASHER ETC. (ALTITUDE UPTO 1500M);
i | TOWER TYPE DA : (UPTO +9M EXTN.) |  | EA | 760 |  | INCLUDED
ii | TOWER TYPE DB : (UPTO +9M EXTN.) |  | EA | 148 |  | INCLUDED
iii | TOWER TYPE DC : (UPTO +9M EXTN.) |  | EA | 104 |  | INCLUDED
iv | TOWER TYPE DD : (UPTO +9M EXTN.) |  | EA | 72 |  | INCLUDED
3 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF VARIOUS TYPE OF TOWER & TOWERPARTS, TOWER EXTENSIONS INCLUDING COMMON PLAN AT BASIC LEVEL, BOLTS & NUTS, STEPBOLTS, HANGERS, D-SHACKLES, PACK WASHER, PACK PLATES, ETC. AND EXCLUDING STUB (ALTITUDE FROM 1500TO 3000M);
a | TOWER TYPE DA : (0 – 2 deg.)
i | BASIC TOWER BODY |  | EA | 164 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 468 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 188 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 112 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 76 |  | INCLUDED
b | TOWER TYPE DB : (0 - 15 deg.)
i | BASIC TOWER BODY |  | EA | 39 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 112 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 44 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 28 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 20 |  | INCLUDED
c | TOWER TYPE DC : (15 - 30 deg.)
i | BASIC TOWER BODY |  | EA | 24 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 72 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 24 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 16 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 16 |  | INCLUDED
d | TOWER TYPE DD : (30 - 60 deg.)
i | BASIC TOWER BODY |  | EA | 19 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 56 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 20 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 8 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 8 |  | INCLUDED
vi | +18 M LEG EXTN |  | EA | 4 |  | INCLUDED
vii | +25 M LEG EXTN |  | EA | 4 |  | INCLUDED
4 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF STUB & CLEATS (PER LEG) INCLUDING BOLTS & NUTS, PACK WASHER ETC. (ALTITUDE FROM 1500TO 3000M);
i | TOWER TYPE DA : (UPTO +9M EXTN.) |  | EA | 656 |  | INCLUDED
ii | TOWER TYPE DB : (UPTO +9M EXTN.) |  | EA | 156 |  | INCLUDED
iii | TOWER TYPE DC : (UPTO +9M EXTN.) |  | EA | 96 |  | INCLUDED
iv | TOWER TYPE DD : (UPTO +9M EXTN.) |  | EA | 44 |  | INCLUDED
v | TOWER TYPE DD : (+18M/+25 EXTN.) |  | EA | 8 |  | INCLUDED
5 | Supply of Earthing of towers
a) | Pipe Type
i | Normal |  | Sets | 260 |  | INCLUDED
ii | Chemical |  | Sets | 10 |  | INCLUDED
b) | Counterpoise Type
i | Normal |  | Sets | 235 |  | INCLUDED
ii | Chemical |  | Sets | 10 |  | INCLUDED
c) | Shieldwire Earthing including PG clamps, Downlead clamps but excluding Earthwire bits
i | Pipe Type Earthing |  | Sets | 15 |  | INCLUDED
ii | Counterpoise type Earthing |  | Sets | 15 |  | INCLUDED
d) | Rod type earthing |  | Sets | 270 |  | INCLUDED
6 | Supply of following tower accessories
i. | Danger Plate |  | Nos. | 515 |  | INCLUDED
ii. | Number Plate |  | Nos. | 515 |  | INCLUDED
iii. | Phase Plate ( Set of three) |  | Sets | 1030 |  | INCLUDED
iv. | Circuit Plate ( Set of two) |  | Sets | 515 |  | INCLUDED
v. | Anti climbimg device |  | Nos. | 515 |  | INCLUDED
vi. | Bird Guard ( Set of three) |  | Sets | 716 |  | INCLUDED
vii. | Bird Diverters |  | Nos. | 1000 |  | INCLUDED
7 | Supply of following Line Materials
i. | ACSR Moose Conductor |  | Km | 2182 |  | INCLUDED
ii. | 7/3.66 G.S. Earthwire |  | Km | 185 |  | INCLUDED
8 | Hardware Fittings for ACSR Moose Twin Conductor
i) | Single Suspension 'I' Insulator String ( 1x120 KN) |  | Sets | 2148 |  | INCLUDED
ii) | Single Suspension Pilot Insulator String (1x 120 KN) |  | Sets | 105 |  | INCLUDED
iii) | Double Tension Insulator String (2x160 KN) |  | Sets | 1860 |  | INCLUDED
iv) | Single Tension Insulator String (1x 160 KN) |  | Sets | 8 |  | INCLUDED
9 | Insulators
a) | Composite Insulator (UPTO 1500M ALTITUDE)
i) | 120 KN Composite Longrod insulators ( Length-3625 mm, Creepage-13020 mm) |  | Nos | 1138 |  | INCLUDED
ii) | 160 KN Composite Longrod insulators (Length-4080 mm, Creepage-13020 mm) |  | Nos | 1883 |  | INCLUDED
b) | Composite Insulator (FROM 1500M TO 3000M ALTITUDE)
i) | 120 KN Composite Longrod insulators ( Length-4205 mm, Creepage-13020 mm) |  | Nos | 1138 |  | INCLUDED
ii) | 160 KN Composite Longrod insulators (Length-4760 mm, Creepage-13020 mm) |  | Nos | 1882 |  | INCLUDED
10 | Conductor Accessories for ACSR Moose Twin Conductor
i) | Mid span compression joint |  | Nos | 1091 |  | INCLUDED
ii) | Repair Sleeve |  | Nos | 364 |  | INCLUDED
iii) | Bundle Spacer Damper for Conductor |  | Nos | 21630 |  | INCLUDED
iv) | Rigid spacer for jumper |  | Nos | 2790 |  | INCLUDED
v) | T-connector |  | Nos | 72 |  | INCLUDED
vi) | Vibration damper for conductor |  | Nos | 16080 |  | INCLUDED
11 | Earthwire Accessories for 7/3.66 mm Earthwire
i) | Mid Span Compression Joint |  | Nos | 93 |  | INCLUDED
ii) | Flexible Cu Bond |  | Nos | 670 |  | INCLUDED
iii) | Vibration damper |  | Nos | 1340 |  | INCLUDED
iv) | Suspension clamp |  | Nos | 360 |  | INCLUDED
v) | Tension clamp |  | Nos | 310 |  | INCLUDED
12 | Supply of following Aviation Requirements
a) | Span Markers |  | Nos | 10 |  | INCLUDED
b) | Obstruction Lights
i) | 1 Medium Intensity + 2 Low Intensity |  | Nos | 4 |  | INCLUDED
ii) | 1 Medium Intensity + 4 Low Intensity |  | Nos | 2 |  | INCLUDED
13 | Line Material Qty. for LILO Portion with triple bundled ACSR "Condor" Conductor
a) | ACSR Condor Conductor |  | Km | 36 |  | INCLUDED
b) | Hardware Fittings for triple bundled "Condor" Conductor
i) | Single Suspension Pilot Insulator String (1x 120 KN) |  | Sets | 36 |  | INCLUDED
ii) | Double Tension Insulator String (2x210 KN) |  | Sets | 72 |  | INCLUDED
c) | Conductor Accessories for triple bundled "Condor" Conductor
i) | Mid span compression joint |  | Nos | 10 |  | INCLUDED
ii) | Repair Sleeve |  | Nos | 10 |  | INCLUDED
iii) | Triple Spacer Damper for Conductor |  | Nos | 216 |  | INCLUDED
iv) | Triple Rigid spacer for jumper |  | Nos | 72 |  | INCLUDED
v) | T-connector |  | Nos | 72 |  | INCLUDED
A.2 | MANDATORY SPARES
1 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF VARIOUS TYPE OF TOWER & TOWERPARTS, TOWER EXTENSIONS INCLUDING COMMON PLAN, BOLTS & NUTS, STEPBOLTS, HANGERS, D-SHACKLES, PACK WASHER, PACK PLATES, ETC. AND EXCLUDING STUB (ALTITUDE UPTO 1500M);
a | TOWER TYPE DA : (0 – 2 deg.)
i | BASIC TOWER BODY |  | EA | 7 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 28 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 6 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 12 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 6 |  | INCLUDED
b | TOWER TYPE DB : (0 - 15 deg.)
i | BASIC TOWER BODY |  | EA | 1 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 4 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 4 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 4 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 4 |  | INCLUDED
c | TOWER TYPE DC : (15 - 30 deg.)
i | BASIC TOWER BODY |  | EA | 1 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 4 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 4 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 4 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 4 |  | INCLUDED
d | TOWER TYPE DD : (30 - 60 deg.)
i | BASIC TOWER BODY |  | EA | 1 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 4 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 4 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 4 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 4 |  | INCLUDED
vi | +18 M LEG EXTN |  | EA | 4 |  | INCLUDED
vii | +25 M LEG EXTN |  | EA | 4 |  | INCLUDED
2 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF STUB & CLEATS (PER LEG) INCLUDING BOLTS & NUTS, PACK WASHER ETC. (ALTITUDE UPTO 1500M);
i | TOWER TYPE DA : (UPTO +9M EXTN.) |  | EA | 28 |  | INCLUDED
ii | TOWER TYPE DB : (UPTO +9M EXTN.) |  | EA | 4 |  | INCLUDED
iii | TOWER TYPE DC : (UPTO +9M EXTN.) |  | EA | 4 |  | INCLUDED
iv | TOWER TYPE DD : (UPTO +9M EXTN.) |  | EA | 4 |  | INCLUDED
v | TOWER TYPE DD : (+18M/+25 EXTN.) |  | EA | 4 |  | INCLUDED
3 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF VARIOUS TYPE OF TOWER & TOWERPARTS, TOWER EXTENSIONS INCLUDING COMMON PLAN AT BASIC LEVEL, BOLTS & NUTS, STEPBOLTS, HANGERS, D-SHACKLES, PACK WASHER, PACK PLATES, ETC. AND EXCLUDING STUB (ALTITUDE FROM 1500TO 3000M);
a | TOWER TYPE DA : (0 – 2 deg.)
i | BASIC TOWER BODY |  | EA | 7 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 28 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 6 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 12 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 6 |  | INCLUDED
b | TOWER TYPE DB : (0 - 15 deg.)
i | BASIC TOWER BODY |  | EA | 1 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 4 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 4 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 4 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 4 |  | INCLUDED
c | TOWER TYPE DC : (15 - 30 deg.)
i | BASIC TOWER BODY |  | EA | 1 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 4 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 4 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 4 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 4 |  | INCLUDED
d | TOWER TYPE DD : (30 - 60 deg.)
i | BASIC TOWER BODY |  | EA | 1 |  | INCLUDED
ii | +0 M LEG EXTN |  | EA | 4 |  | INCLUDED
iii | +3 M LEG EXTN |  | EA | 4 |  | INCLUDED
iv | +6 M LEG EXTN |  | EA | 4 |  | INCLUDED
v | +9 M LEG EXTN |  | EA | 4 |  | INCLUDED
vi | +18 M LEG EXTN |  | EA | 4 |  | INCLUDED
vii | +25 M LEG EXTN |  | EA | 4 |  | INCLUDED
4 | DESIGN, FABRICATION, GALVANISING AND SUPPLY OF STUB & CLEATS (PER LEG) INCLUDING BOLTS & NUTS, PACK WASHER ETC. (ALTITUDE FROM 1500TO 3000M);
i | TOWER TYPE DA : (UPTO +9M EXTN.) |  | EA | 28 |  | INCLUDED
ii | TOWER TYPE DB : (UPTO +9M EXTN.) |  | EA | 4 |  | INCLUDED
iii | TOWER TYPE DC : (UPTO +9M EXTN.) |  | EA | 4 |  | INCLUDED
iv | TOWER TYPE DD : (UPTO +9M EXTN.) |  | EA | 4 |  | INCLUDED
v | TOWER TYPE DD : (+18M/+25 EXTN.) |  | EA | 4 |  | INCLUDED
5 | Supply of Earthing of towers
a) | Pipe Type
i | Normal |  | Set | 5 |  | INCLUDED
b) | Counterpoise Type
i | Normal |  | Set | 5 |  | INCLUDED
6 | Supply of following Line Materials
i | ACSR MOOSE Conductor |  | Km | 24 |  | INCLUDED
ii | 7/3.66 G.S. Earthwire |  | Km | 4 |  | INCLUDED
7 | Hardware Fittings for triple bundled "Condor" Conductor
i) | Single Suspension 'I' Insulator String ( 1x120 KN) |  | Sets | 100 |  | INCLUDED
ii) | Single Suspension Pilot Insulator String (1x 120 KN) |  | Sets | 10 |  | INCLUDED
iii) | Double Tension Insulator String (2x160 KN) |  | Sets | 30 |  | INCLUDED
8 | Insulators
a) | Composite Insulator (UPTO 1500M ALTITUDE)
i) | 120 KN Composite Longrod insulators ( Length-3625 mm, Creepage-13020 mm) |  | Nos | 175 |  | INCLUDED | 350
ii) | 160 KN Composite Longrod insulators (Length-4080 mm, Creepage-13020 mm) |  | Nos | 75 |  | INCLUDED | 150
b) | Composite Insulator (FROM 1500M TO 3000M ALTITUDE)
i) | 120 KN Composite Longrod insulators ( Length-4205 mm, Creepage-13020 mm) |  | Nos | 175 |  | INCLUDED | 350
ii) | 160 KN Composite Longrod insulators (Length-4760 mm, Creepage-13020 mm) |  | Nos | 75 |  | INCLUDED | 150
9 | Conductor Accessories for ACSR Moose Twin Conductor
i) | Mid span compression joint |  | Nos | 70 |  | INCLUDED
ii) | Repair Sleeve |  | Nos | 70 |  | INCLUDED
iii) | Triple Spacer Damper for Conductor |  | Nos | 300 |  | INCLUDED
iv) | Triple Rigid spacer for jumper |  | Nos | 100 |  | INCLUDED
v) | T-connector |  | Nos | 400 |  | INCLUDED | 48
10 | Earthwire Accessories for 7/3.66 mm Earthwire
i) | Mid Span Compression Joint |  | Nos | 15 |  | INCLUDED
ii) | Flexible Cu Bond |  | Nos | 30 |  | INCLUDED
iii) | Vibration damper |  | Nos | 40 |  | INCLUDED
iv) | Suspension clamp |  | Nos | 20 |  | INCLUDED
v) | Tension clamp |  | Nos | 15 |  | INCLUDED
B | SCHEDULE-II: OPGW
I | Lessos-Loosuk
A. | OPGW cable & Accessories
I(a) | 48 Fibre (DWSM) OPGW fibre optic cable |  | km | 192.6 |  | INCLUDED | 0 |  |  | 1000030941
(b) | Installation Hardware set for 48 Fibre (DWSM) OPGW
i) | Suspension Assembly |  | Set | 349 |  | INCLUDED |  | Total No. Suspension Towers |  | 1000020445
ii) | Tension Assembly
| 1. Dead end assembly |  | Set | 2 |  | INCLUDED |  |  |  | 1000033145
| 2. Tension assembly (For Joint Box Locations) |  | Set | 33 |  | INCLUDED |  | Total No. Tension Towers |  | 1000031040
| 3. Pass through assembly |  | Set | 130 |  | INCLUDED |  |  |  | 1000033147
| 4. Special Fitting assembly at Suspension tower (For Joint Box Locations) |  | Set | 5 |  | INCLUDED |  |  |  | 1000033143
iii) | Vibration Damper |  | Set | 1374 |  | INCLUDED |  |  |  | 1000022418
iv) | Down Lead Clamp Assemblies |  | No. | 1334 |  | INCLUDED |  |  |  | 1000010820
(c ) | Joint box (48 Fibres) |  | No. | 40 |  | INCLUDED |  |  |  | 1000014201
B. | FODP
(i) | FODP 96F : Indoor Type, rack mounted with FCPC coupling and pig tails |  | No. | 2 |  | INCLUDED |  |  |  | 1000023471
C. | Fibre Optic approach cable
(i) | 48 Fibre (DWSM) |  | km | 2 |  | INCLUDED |  |  |  | 1000030944
2 | Mandatory Spares of Optical Fibre Cabling
A. | OPGW cable & Accessories (Double Circuit)
I(a) | 48 Fibre (DWSM) OPGW fibre optic cable |  | km | 6.74 |  | INCLUDED |  |  |  | 1000030941
(b) | Installation Hardware set for 48 Fibre (DWSM) OPGW
i) | Suspension Assembly |  | Set | 13 |  | INCLUDED |  | Total No. of Towers | 17 | 1000020445
ii) | Tension Assembly
| 1. Dead end assembly |  | Set | 1 |  | INCLUDED |  |  |  | 1000033145
| 2. Tension assembly (For Joint Box Locations) |  | Set | 2 |  | INCLUDED |  |  |  | 1000031040
| 3. Pass through assembly |  | Set | 5 |  | INCLUDED |  |  |  | 1000033147
| 4. Tension assembly at Suspension tower (For Joint Box Locations) |  | Set | 1 |  | INCLUDED |  |  |  | 1000033143
iii) | Vibration Damper |  | Set | 49 |  | INCLUDED |  |  |  | 1000022418
iv) | Down Lead Clamp Assemblies |  | No. | 47 |  | INCLUDED |  |  |  | 1000010820
(c ) | Joint box (48 Fibres) |  | No. | 2 |  | INCLUDED |  |  |  | 1000014201
B. | Fibre Optic approach cable
(i) | 48 Fibre (DWSM) |  | km | 0.5 |  | INCLUDED |  |  |  | 1000030944
II | LILO PORTION
A. | OPGW cable & Accessories
II(a) | 48 Fibre (DWSM) OPGW fibre optic cable |  | km | 4.28 |  | INCLUDED
(b) | Installation Hardware set for 48 Fibre (DWSM) OPGW
i) | Suspension Assembly |  | Set | 0
ii) | Tension Assembly
| 1. Dead end assembly |  | Set | 4 |  | INCLUDED
| 2. Tension assembly (For Joint Box Locations) |  | Set | 4 |  | INCLUDED
| 3. Pass through assembly |  | Set | 4 |  | INCLUDED
| 4. Special Fitting assembly at Suspension tower (For Joint Box Locations) |  | Set | 0
iii) | Vibration Damper |  | Set | 64 |  | INCLUDED
iv) | Down Lead Clamp Assemblies |  | No. | 268 |  | INCLUDED
(c ) | Joint box (48 Fibres) |  | No. | 8 |  | INCLUDED
B. | FODP
(i) | FODP 96F : Indoor Type, rack mounted with FCPC coupling and pig tails |  | No. | 1 |  | INCLUDED
C. | Fibre Optic approach cable
(i) | 48 Fibre (DWSM) |  | km | 2 |  | INCLUDED
D | Repeater Provisions
(a) | 96 Fibre (DWSM) OPGW fibre optic cable |  | km | 10.7 |  | INCLUDED
(b) | Installation Hardware set for 48 Fibre (DWSM) OPGW
i) | Suspension Assembly |  | Set | 5 |  | INCLUDED
ii) | Tension Assembly
0 | 1. Dead end assembly |  | Set | 1 |  | INCLUDED
0 | 2. Tension assembly (For Joint Box Locations) |  | Set | 3 |  | INCLUDED
0 | 3. Pass through assembly |  | Set | 31 |  | INCLUDED
0 | 4. Special Fitting assembly at Suspension tower (For Joint Box Locations) |  | Set | 1 |  | INCLUDED
iii) | Vibration Damper |  | Set | 152 |  | INCLUDED
iv) | Down Lead Clamp Assemblies |  | No. | 134 |  | INCLUDED
(c ) | Joint box (96 Fibres) |  | No. | 4 |  | INCLUDED
D2 | FODP for repeater
(b) | FODP 96F : Indoor Type, rack mounted with FCPC coupling and pig tails |  | No. | 1 |  | INCLUDED
D3 | Fibre Optic approach cable for repeater
(b) | Installation Hardware set for above 24 Fibre, Fibre Optic Approach Cable |  | set | 2 |  | INCLUDED
2 | Mandatory Spares of Optical Fibre Cabling
A. | OPGW cable & Accessories (Double Circuit)
I(a) | 48 Fibre (DWSM) OPGW fibre optic cable |  | km | 1 |  | INCLUDED
(b) | Installation Hardware set for 48 Fibre (DWSM) OPGW
i) | Suspension Assembly |  | Set | 1 |  | INCLUDED
ii) | Tension Assembly
| 1. Dead end assembly |  | Set | 1 |  | INCLUDED
| 2. Tension assembly (For Joint Box Locations) |  | Set | 1 |  | INCLUDED
| 3. Pass through assembly |  | Set | 2 |  | INCLUDED
| 4. Tension assembly at Suspension tower (For Joint Box Locations) |  | Set | 1 |  | INCLUDED
iii) | Vibration Damper |  | Set | 3 |  | INCLUDED
iv) | Down Lead Clamp Assemblies |  | No. | 5 |  | INCLUDED
(c ) | Joint box (48 Fibres) |  | No. | 1 |  | INCLUDED
B. | Repeater-Spares
(a) | 96 Fibre (DWSM) OPGW fibre optic cable |  | km | 1 |  | INCLUDED
(b) | Installation Hardware set for 48 Fibre (DWSM) OPGW
i) | Suspension Assembly |  | Set | 1 |  | INCLUDED
ii) | Tension Assembly
| 1. Dead end assembly |  | Set | 1 |  | INCLUDED
| 2. Tension assembly (For Joint Box Locations) |  | Set | 1 |  | INCLUDED
| 3. Pass through assembly |  | Set | 2 |  | INCLUDED
| 4. Special Fitting assembly at Suspension tower (For Joint Box Locations) |  | Set | 1 |  | INCLUDED
iii) | Vibration Damper |  | Set | 6 |  | INCLUDED
iv) | Down Lead Clamp Assemblies |  | No. | 5 |  | INCLUDED
(c ) | Joint box (96 Fibres) |  | No. | 1 |  | INCLUDED
C. | Fibre Optic approach cable
(i) | 48 Fibre (DWSM) |  | km | 0.5 |  | INCLUDED
(ii) | 96 Fibre (DWSM) |  | km | 0.5 |  | INCLUDED
C | SCHEDULE-III: Emergency Restoration System
1 | ERS Suspension / Running Angle Tower - 3 Phase (approx. 47m Height)Including Articulated Base (Gimbal), Mast Sections, Box Sections, GuyPlates/Swivels, Bolts & Nuts as per Requirement. |  | EA | 10 |  | INCLUDED
2 | ERS Tension / Dead-End Tower - 3 Phase (approx. 47m Height) IncludingArticulated Base (Gimbal), Mast Sections, Box Sections, GuyPlates/Swivels, Bolts & Nuts as per Requirement. |  | EA | 6 |  | INCLUDED
3 | Foundation / Base Plates for ERS Suspension / Running Angle TowerSuitable for Normal Soil for 400KV T/L Lines. |  | EA | 10 |  | INCLUDED
4 | Foundation / Base Plates for ERS Suspension / Running Angle TowerSuitable for Low Bearing Capacity Soil for 400KV T/L Lines. |  | EA | 3 |  | INCLUDED
5 | Foundation / Base Plates for ERS Tension / Dead End Tower Suitable forNormal Soil for 400KV T/L Lines. |  | EA | 6 |  | INCLUDED
6 | Foundation / Base Plates for ERS Tension / Dead End Tower Suitable forLow Bearing Capacity Soil for 400KV T/L Lines. |  | EA | 2 |  | INCLUDED
7 | High Strength Galvanised Steel Guy Wire (14.3 mm dia, min. 150 kN UTS,Standard Length 70 m) |  | EA | 340 |  | INCLUDED
8 | Guy Wire Thimble |  | EA | 680 |  | INCLUDED
9 | Preformed Guy Grip |  | EA | 1088 |  | INCLUDED
10 | Guy Hardware Including Turnbuckle & Anchor Shackles, ExtensionLink/Plate as per Requirement |  | SET | 340 |  | INCLUDED
11 | Cross Plate (2 nos. 600 mm x 300 mm)Anchor Assemblies (min. 150 kNUltimateStrength) including guy adaptor,extension rod & associated fittings asper requirement for Normal Soil (min.Anchor Rod Length WithExtension Rod4.5m) |  | SET | 272 |  | INCLUDED
12 | Manta Ray MR-1 (177mmx368 mm) or Eqvt.Anchor Assembly (min. 150 kNUltimateStrength) including guy adaptor,extension rod & associated fittings asper requirement for Normal Soil (min.Anchor Rod Length WithExtension Rod4.5m) |  | SET | 408 |  | INCLUDED
13 | Triple Helix (250mm-300mm-350mm) AnchorAssembly (min. 150 kN UltimateStrength) including guy adaptor,extension rod & associated fittings asper requirement for Loose/MarshySoils(min. Anchor Rod Length With ExtensionRod 4.5m) |  | SET | 136 |  | INCLUDED
14 | Large Plate (3 sqm Bearing Area) AnchorAssembly (min. 150 kN UltimateStrength) including guy adaptor,extension rod & associated fittings asper requirement for Loose/MarshySoils(min. Anchor Rod Length With ExtensionRod 4.5m) |  | SET | 136 |  | INCLUDED
15 | Rock Anchor (55mm Anchor dia) Assembly(min. 150 kN Ultimate Strength)including guy adaptor, extension rod &associated fittings as per requirement(min. Anchor Length 1.2 m)IncludingGrouting Material |  | SET | 170 |  | INCLUDED
16 | Composite Long Rod Insulator (3.5m Length, 160 kN Tensile Strength) |  | EA | 60 |  | INCLUDED
17 | Composite Long Rod Post Insulator (3.5m Length, min. 90mm Core dia,120kN Tensile Strength, 90 kN Compressive Strength) |  | EA | 120 |  | INCLUDED
18 | Composite Long Rod Suspension (Guy) Insulator / Insulating Rod (3.5 mLength, 160 kN Tensile Strength) Along With Suitable End Fittings ofGuy Insulators |  | EA | 400 |  | INCLUDED
19 | Composite Long Rod Insulator (3.5m Length, 160 kN Tensile Strength) |  | EA | 23 |  | INCLUDED
20 | Composite Long Rod Post Insulator (3.5m Length, min. 90mm Core dia,120kN Tensile Strength, 90 kN Compressive Strength) |  | EA | 23 |  | INCLUDED
21 | Composite Long Rod Insulator (3.5m Length, 160 kN Tensile Strength) |  | EA | 90 |  | INCLUDED
22 | Hardware Fittings Including End Attachment, Yoke Plates, SuspensionClamps, Extension Links, Turnbuckles, Corona/Grading Rings OtherFittings & Components as per Requirement of Horizontal V (SingleBrace, Double Post) Suspension Insulator String Assembly |  | SET | 60 |  | INCLUDED
23 | Hardware Fittings Including End Attachment, Yoke Plates, TensionClamps, Extension Links, Turnbuckles, Corona/Grading Rings OtherFittings & Components as per Requirement of Double Tension InsulatorStrings. |  | SET | 45 |  | INCLUDED
24 | Hardware Fittings Including End Attachment, Yoke Plates, SuspensionClamps, Extension Links, Turnbuckles, Corona/Grading Rings OtherFittings & Components as per Requirement of Horizontal V (SingleBrace, Single Post) Pilot Suspension Insulator String Ass |  | SET | 23 |  | INCLUDED
25 | Earth Wire/OPGW Suspension Assembly Including Clamp, Fittings &Components as Required |  | SET | 16 |  | INCLUDED
26 | Earth Wire/OPGW Tension/Dead-End Assembly Including Strain/Dead-EndClamp, Fittings & Components as Required |  | SET | 6 |  | INCLUDED
27 | Motorized Sliding Gin Pole Set Including Capstan Hoist With PowerPack, Rope and Other Accessories |  | SET | 3 |  | INCLUDED
28 | Gin Pole/ Derrick (7.3 m Length) |  | SET | 1 |  | INCLUDED
29 | 6Ton Chain Hoist |  | EA | 36 |  | INCLUDED
30 | Torque Wrench With Ratchet |  | EA | 18 |  | INCLUDED
31 | Pulling Eye With Adopter Bushing, Bolts and Nuts |  | EA | 36 |  | INCLUDED
32 | Automatic Guy Wire Grip/ Come Along Clamp |  | EA | 36 |  | INCLUDED
33 | Nylon Sling (3 meter) |  | EA | 12 |  | INCLUDED
34 | Conductor Lifting Hook 4T |  | EA | 12 |  | INCLUDED
35 | 15" Reversible Ratchet |  | EA | 18 |  | INCLUDED
36 | Square Drive Deep Socket |  | EA | 18 |  | INCLUDED
37 | Box Wrench for Structure Bolts |  | EA | 18 |  | INCLUDED
38 | Triple Helix Anchor Installer Kit Including Bar Adapter for HelixAnchor, Torque Indicator, Portable Anchor Installer With HydraulicPower Unit & Accessories |  | SET | 3 |  | INCLUDED
39 | Rock Anchor Installer Kit Including Pionjar or Eqvt Rock DrillingMachine, Rock Drilling Kits (4 per set), Extensions & Accessories |  | SET | 3 |  | INCLUDED
40 | Manta Ray Anchor Installer Kit Including Load Locker, Extensions &Accessories |  | SET | 3 |  | INCLUDED
41 | Temporary Anchor /Stake Plate Including Stake Plate Extension (3 perSet) |  | SET | 8 |  | INCLUDED
42 | Steel Stake/Rods (For Temporary Anchors) |  | SET | 90 |  | INCLUDED
43 | Stake/Rod Remover |  | SET | 3 |  | INCLUDED
44 | Linesman Safety Clamp/ Tower Attachment |  | SET | 6 |  | INCLUDED
45 | Tower Alignment Clamp/Tool |  | SET | 6 |  | INCLUDED
46 | Tool Bucket |  | SET | 3 |  | INCLUDED
47 | Sag Scope |  | SET | 2 |  | INCLUDED
48 | Wire Rope Dynanometer/ (10 Ton Capacity) |  | SET | 2 |  | INCLUDED
49 | Power Winch (Engine Driven) Capacity 2 Tons Wheel Mounted |  | SET | 1 |  | INCLUDED
50 | Electronic Dynanometer Shackles (10 Ton Capacity) |  | SET | 2 |  | INCLUDED
51 | PLS Mast/Pole Software Complete With Technical Support & Updatefor 5 yrs |  | EA | 1 |  | INCLUDED
52 | PLSCADD Standard Software (Including Tower Spotting) Complete WithTechnical Support & Update for 5 yrs |  | EA | 1 |  | INCLUDED
53 | PLS Tower Software Complete With Technical Support & Update for 5yrs |  | EA | 1 |  | INCLUDED
54 | Software for ERS |  | EA | 2 |  | INCLUDED
55 | Containers (20 Feet for All ERS Items Except Structure/Mast Sections) |  | EA | 14 |  | INCLUDED
D | SCHEDULE-IV: TOOLS AND PLANTS
I | Mandatory T&Ps for maintenance work of transmission line upto 400/220
1 | Ratchet Drill Mechine with bits of 6mm, 12mm and 16mm dia hole. |  | Set | 2 |  | INCLUDED
2 | Heavy Duty Magnetic Drill Machine with bits of size, 6mm, 12mm & 16mm |  | Set | 2 |  | INCLUDED
3 | Light weight Torque wrench of 8kg-m torque rating with required Box spanners |  | No. | 4 |  | INCLUDED
4 | Steel wire rope sling for
i) | 12mm x 70 meter one end spliced |  | Nos | 8 |  | INCLUDED
ii) | 12mm x 30 meter both en spliced |  | Nos | 8 |  | INCLUDED
iii) | 12mm x 10 meter both end pliced |  | Nos | 12 |  | INCLUDED
iv) | 12mm x 3 meter both end spliced |  | Nos | 12 |  | INCLUDED
v) | 12mm x 1.5 meter both end spliced |  | Nos | 12 |  | INCLUDED
vi) | 16mm x x3 meter both end spliced |  | Nos | 12 |  | INCLUDED
vii) | 16mm x 1.0 meter both end spliced. |  | Nos | 12 |  | INCLUDED
5 | Nylon/ Polyester slings
i | 0.5 M - 5 Ton capacity |  | No. | 10 |  | INCLUDED
ii | 1 M - 5 Ton capacity |  | No. | 10 |  | INCLUDED
iii | 2 M - 5 Ton capacity |  | No. | 10 |  | INCLUDED
iv | 3 M - 5 Ton capacity |  | No. | 10 |  | INCLUDED
v | 1 M - 8 Ton capacity |  | No. | 10 |  | INCLUDED
vi | 2 M- 8 Ton capacity |  | No. | 10 |  | INCLUDED
6 | Double Ply. Polyester Webbing Slings
i | 1 M - 1 Ton capacity |  | No. | 8 |  | INCLUDED
ii | 2 M - 5 Ton capacity |  | No. | 8 |  | INCLUDED
7 | Polypropylene rope (220 meter Bundle)
i) | 12mm dia |  | Bundle | 8 |  | INCLUDED
ii) | 16 mm dia |  | Bundle | 8 |  | INCLUDED
iii) | 20mm dia |  | Bundle | 8 |  | INCLUDED
8 | D-Shackles
i | 1 Ton Capacity |  | No. | 32 |  | INCLUDED
ii | 3.0 Ton Capacity |  | No. | 32 |  | INCLUDED
iii | 5.0 Ton Capacity |  | No. | 32 |  | INCLUDED
iv | 10 Ton Capacity |  | No. | 20 |  | INCLUDED
9 | Bull dog clamp suitable for
i) | 8mm |  | Nos. | 20 |  | INCLUDED
ii) | 10mm |  | Nos. | 20 |  | INCLUDED
iii) | 12mm |  | Nos. | 20 |  | INCLUDED
iv) | 16mm |  | Nos. | 20 |  | INCLUDED
10 | Chain Pulley Block 5 Ton Capacity |  | No. | 2 |  | INCLUDED
11 | Ratchet Hoist 6 Ton Capacity |  | Set | 4 |  | INCLUDED
12 | Close type Single Sheeve pulley 3.5 ton capacity suitable for 8 to 12 mm steel wire rope |  | Nos. | 10 |  | INCLUDED
13 | Close type Single Sheeve pulley 5 ton capacity suitable for 10 to 12 mm steel wire rope |  | Nos. | 10 |  | INCLUDED
14 | Open type Single Sheeve pulley 3.5 ton capacity suitable for 8 to 12 mm steel wire rope |  | Nos. | 12 |  | INCLUDED
15 | Open type Single Sheeve pulley 5 ton capacity suitable for 10 to 12 mm steel wire rope |  | Nos. | 12 |  | INCLUDED
16 | Single Sheeve pulley 2.5 ton capacity for 18 mm dia Poly propylene rope |  | Nos. | 12 |  | INCLUDED
17 | Single Sheeve pulley 5 ton capacity for 20 mm dia Poly propylene rope |  | Nos. | 12 |  | INCLUDED
18 | Light weight safety clamps for 2 ton capacity suitable for different type of wire ropes |  | Nos. | 4 |  | INCLUDED
19 | Zoom binoculars with magnifying power of minimum 20 times, suitable for focusing the objects from a distance of 100 meter |  | Nos | 4 |  | INCLUDED
20 | Light weight Hydraulic Jack (minimum 300 pull) with pump 10 ton capacity |  | sets | 4 |  | INCLUDED
21 | Single way fibre pulley block (2 ton capacity) |  | Nos | 4 |  | INCLUDED
22 | Two way Poly propylene rope pulley (5 ton capacity) (2 nos- 1 set) |  | Nos | 8 |  | INCLUDED
23 | Tarpaulins |  | Nos | 4 |  | INCLUDED
24 | Telescope type Discharge Rods with copper connecting leads, clamps as per conductor requirement (1 set consists of 6 leads with both end clamps and 1 no of fibre glass telescopic rod) |  | Set | 8 |  | INCLUDED
25 | Tree Pruner/ Power Hacksaw for tree cutting |  | No | 4 |  | INCLUDED
26 | Turn buckle open type 5T capacity |  | Sets | 8 |  | INCLUDED
27 | Turn Buckle close type 10 Ton capacity |  | Sets | 8 |  | INCLUDED
28 | Steel wire rope
i) | 10 mm dia |  | Meter | 1000 |  | INCLUDED
ii) | 12 mm dia |  | Meter | 1000 |  | INCLUDED
iii) | 16 mm dia |  | Meter | 400 |  | INCLUDED
29 | Four Sheave Pulley Blocks - 5T capacity,10mm dia steel wire rope (2 nos -1 set) |  | Set | 4 |  | INCLUDED
30 | Four Sheave Pulley Blocks - 10T capacity,12mm dia steel wire rope (2 nos -1 set) |  | Set | 2 |  | INCLUDED
31 | Automatic type come along clamps with alumunium liner (for installed conductor) |  | Nos. | 12 |  | INCLUDED
32 | Automatic type come along clamps suitable for 7/9 SWG earth wire (For installed type Earthwire) |  | Nos | 8 |  | INCLUDED
33 | Hydraulic operated ACSR Conductor Cutter suitable for cutting the ACSR Conductor of 25mm to 40mm diameter along with required sizes blades, hand pump, hose pipe and other accessories. |  | No. | 2 |  | INCLUDED
34 | Hydraulic Earthwire Cutter |  | No. | 2 |  | INCLUDED
35 | Light weight manual type Sagging Winch machine with handle and support 10 ton capacity/ Light weight Power Winch machine 5T capacity (Small Portable, easy to transport). |  | Set | 4 |  | INCLUDED
36 | 100 Ton Hydraulic Compressor with two set of Die sets suitable for installed conductor(Alumunium and steel part), E/W |  | Set | 2 |  | INCLUDED
37 | Angle Cutter (motorised) with 12 nos of spare blades |  | Nos. | 2 |  | INCLUDED
38 | Single pipe derrick 10 meter long, 80 mm dia, class C (01 no for 220kV & 400kV ) |  | Nos | 2 |  | INCLUDED
39 | Emergency light for illumination during emergency/ restoration activities |  | No. | 4 |  | INCLUDED
40 | Turn table with braking arrangement 6 ton |  | Nos. | 2 |  | INCLUDED
41 | Drum lifting hydraulic jack of 6 ton capacity |  | Nos | 2 |  | INCLUDED
42 | Light weight Space placement trolley (150kg capacity) |  | Nos | 2 |  | INCLUDED
43 | Digital Dynamometer (10 Ton capacity) |  | Nos. | 2 |  | INCLUDED
44 | Laser based Clearance mearuring device |  | Nos. | 2 |  | INCLUDED
45 | Tower Footing Impedance Measuring device |  | Nos. | 2 |  | INCLUDED
46 | Aerial rollers for conductor paying out |  | No. | 60 |  | INCLUDED
47 | Aerial roller for E/W |  | No. | 20 |  | INCLUDED
48 | Equaliser Pulley
(i) | 10 ton capacity |  | Nos | 6 |  | INCLUDED
(ii) | 2 ton capacity |  | Nos. | 6 |  | INCLUDED
49 | Conductor sock joint (one end open and other end spliced) |  | Nos. | 6 |  | INCLUDED
50 | Running Board for bundle conductor |  | Nos. | 2 |  | INCLUDED
51 | Pulling grip for earthwire |  | Nos. | 2 |  | INCLUDED
52 | 400/220kv Hotline maintenance tool/ for one line |  | Set | 1 |  | INCLUDED
II | Tools & Plants for Lve Line OPGW Installation
1 | Hydraulic Conductor Cutter for OPGW/Earth Wire (imported) |  | Nos | 1 |  | INCLUDED
2 | Kitto Clamp (12mm) |  | Nos. | 12 |  | INCLUDED
3 | Single Aerial Roller (Diameter 450mm) with Earthing arrangement |  | Nos. | 2 |  | INCLUDED
4 | Single Aerial Roller (Diameter 300mm) with Earthing arrangement |  | Nos. | 35 |  | INCLUDED
5 | Single Aerial Roller Aluminium 700 mm dia. with Earthing arrangement |  | Nos. | 2 |  | INCLUDED
6 | Lever Block 1.5T with T 5 Mtr Chain |  | Nos | 6 |  | INCLUDED
7 | Breaking / Recovery Machine |  | Nos. | 2 |  | INCLUDED
8 | Supporting Roller /Hanging Pulley Block, 2 roller type, Max conductor dia 52 mm, working load 300 Kg, Length 350 mm approx. |  | Nos. | 300 |  | INCLUDED
9 | PP Rope ,10 mm - ( 220 mtrs / Bundle) |  | Nos. | 20 |  | INCLUDED
10 | PP Rope ,12 mm - ( 220 mtrs / Bundle) |  | Nos. | 37 |  | INCLUDED
11 | Single Sheave Pulley Closed type |  | Nos | 16 |  | INCLUDED
12 | Four Sleeve Pulley |  | Nos. | 2 |  | INCLUDED
13 | Power Winch Machine – 1.5 Tons capacity with Capstan 600 mm dia |  | Nos. | 2 |  | INCLUDED
14 | Swivel 2T Capacity |  | Nos. | 2 |  | INCLUDED
15 | Centre Socks-Double End for OPGW |  | Nos. | 3 |  | INCLUDED
16 | End Socks-Single End for OPGW |  | Nos | 4 |  | INCLUDED
17 | D-Shackle - 4T |  | Nos. | 25 |  | INCLUDED
18 | Traction Machine (Mobile Robot) |  | Nos. | 2 |  | INCLUDED
19 | Self Locking Come Along Clamp |  | Nos. | 2 |  | INCLUDED
20 | Empty Reel Stand With Centre Shaft |  | Nos. | 1 |  | INCLUDED
21 | PP Rope, 16mm (1000 mtrs / Bundle) |  | Nos | 6 |  | INCLUDED
22 | Earthwire Steel Clamp (Imported) |  | Nos. | 12 |  | INCLUDED
23 | Earthing wire Roller 150mm dia. |  | Nos. | 2 |  | INCLUDED
24 | Cable Drum Lifting Jack (Complete Set) Manual type |  | Nos. | 1 |  | INCLUDED
25 | Rachet Lever Block 0.75 MT, 3 mtr chain |  | Nos. | 10 |  | INCLUDED
26 | Rachet Lever Block 1.5 MT, 3 mtr chain |  | Nos | 6 |  | INCLUDED
27 | Chain Pulley Block, 5 T capacity |  | Nos. | 1 |  | INCLUDED
28 | Tripod stand with Chain Pulley Block of 5T capacity |  | Nos. | 1 |  | INCLUDED
29 | Come Along Clamps (Wedge type) with working load of 3500 Kgf |  | Nos. | 4 |  | INCLUDED
30 | Self Locking Clamps for OPGW |  | Nos. | 15 |  | INCLUDED
31 | Patta Clamp for Earthwire |  | Nos | 16 |  | INCLUDED
32 | 12 mm Wire Rope Slings (ISI mark) |  | Nos. | 200 |  | INCLUDED
33 | 10 mm Wire Rope Slings (ISI mark) |  | Nos. | 50 |  | INCLUDED
34 | Rope Connector for 16mm rope (2T capacity) |  | Nos. | 7 |  | INCLUDED
35 | Empty Reel for Pilot rope |  | Nos. | 7 |  | INCLUDED
36 | Hook-chuck 3T capacity |  | Nos | 1 |  | INCLUDED
37 | Aluminium Ladder 2 mtr length with rubberized hook for OPGW line Japanese type |  | Nos. | 2 |  | INCLUDED
38 | Aluminium Ladder with steel hook |  | Nos. | 2 |  | INCLUDED
| Total Price |  |  |  |  | 0
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Note on E283: Author: Suspension Assembly = Total No. of Suspension Towers - Tension assembly at Suspension Tower (for Joint Box Location)
Note on E285: Author: For a Line A to B one at each end = 2 Nos.
Note on E290: Author: Down Lead Clamp Assemblies = (Transmission Tower Height / Down lead Clamp assembly at each 1.5 mters from top of Tower)* No. of Joint Box
Note on E291: Author: Joint Box = OPGW fibre Optic cable length in Km / 5 (joint box to be considered at every 5 Km of OPGW Optic fibre cable length)
Note on E294: Author: FODP 48F (Fibre Optic Distribution Panel for Both end of Transmission line for 24 Fibre OPGW) = No. of Dead end Towers
Note on E297: Author: 24 Fibre OPGW = 500 Metres from each Gantry to Substation Control room
Note on E301: Author:
Note on E309: Author: Vibration Damper = ((OPGW fibre optic cable length in meters/ Span length between two towers in meters)* 2 nos. vibration dampers at each direction of Tower)
Note on E310: Author: Down Lead Clamp Assemblies = (Transmission Tower Height / Down lead Clamp assembly at each 1.5 mters from top of Tower)* No. of Joint Box
Note on E311: Author: Joint Box = OPGW fibre Optic cable length in Km / 3 (joint box to be considered at every 3 Km of OPGW Optic fibre cable length)
Note on E314: Author: 24 Fibre OPGW = 500 Metres from each Gantry to Substation Control room

## Schedule-II
SPEC. NO.:CC-CS/PG-AF50/ KEN/TL02/G5 |  |  |  |  | Schedule-II
Tower Package – TL02 for 400kV D/C (ACSR Twin Moose) Lessos-Loosuk Transmission Line and LILO of Loyangalani-Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) under Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50
SCHEDULE OF RATES AND PRICES
To:
Name of the Bidder | 0 |  |  | Contracts Services, 3rd Floor
Address: | 0 |  |  | Power Grid Corporation of India Ltd.,
| 0 |  |  | "Saudamini", Plot No.-2, Sector 29
| 0 |  |  | Gurgaon (Haryana) - 122001
Installation Services and Training
All the Prices are in USD
SL. NO. | ITEM DESCRIPTION | UNIT | TOTAL QUANTITY | UNIT PRICE (INCLUDING TAXES AND DUTIES) | TOTAL PRICE (INCLUDING TAXES AND DUTIES)
1 | 2 | 3 | 4 | 5 | 6 = 4*5
A | SCHEDULE-I
1 | Survey
a) | Detailed survey including route alignment, profiling, tower spotting | KM | 25 |  | INCLUDED
b) | Check Survey | KM | 180 |  | INCLUDED
2 | Detailed soil Investigation
i. | All kind of soil except FR & HR | Loc. | 10 |  | INCLUDED
ii. | Fissured/soft rock | Loc. | 5 |  | INCLUDED
iii | Hard rock | Loc. | 2 |  | INCLUDED | 217891 | 16995498
3 | Preliminary Works
a) | Clearing the right-of-way, Removal of Trees and Vegetation, bush clearing, along the route, as per instruction of Site In-Charge | KM | 180 |  | INCLUDED
b) | Line Access, construction of access roads & parmanent maintenance roads, including fee for temporary land use for construction | KM | 180 |  | INCLUDED
[6 empty] | 1034017690 | 21686612.6258
4 | Benching | [5 empty] | 38682110.6258
i) | All kind of soil except FR & HR | Cum. | 12000 |  | INCLUDED
ii) | Fissured Rock | Cum. | 7000 |  | INCLUDED
iii) | Hard Rock | cum | 1000 |  | INCLUDED
5 | Erection of Various type of tower & its extensions including its Common Plan, bolts & nuts, Step Bolts, Hangers, D-Shackles, Pack washers, etc. and tack welding and supply and application of enamle & zinc rich paint but excluding installation of Stub (ALTITUDE UPTO 1500M);
a | TOWER TYPE DA : (0 – 2 deg.)
i | BASIC TOWER BODY | EA | 190 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 548 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 212 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 128 |  | INCLUDED
v | +9 M LEG EXTN | EA | 84 |  | INCLUDED
b | TOWER TYPE DB : (0 - 15 deg.)
i | BASIC TOWER BODY | EA | 37 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 104 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 44 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 32 |  | INCLUDED
v | +9 M LEG EXTN | EA | 20 |  | INCLUDED
c | TOWER TYPE DC : (15 - 30 deg.)
i | BASIC TOWER BODY | EA | 26 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 80 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 24 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 16 |  | INCLUDED
v | +9 M LEG EXTN | EA | 16 |  | INCLUDED
d | TOWER TYPE DD : (30 - 60 deg.)
i | BASIC TOWER BODY | EA | 18 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 56 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 16 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 12 |  | INCLUDED
v | +9 M LEG EXTN | EA | 12 |  | INCLUDED
6 | INSTALLATION OF STUB (PER LEG) INCLUDING CLEATS, BOLTS AND NUTS (ALTITUDE UPTO 1500M);
i | TOWER TYPE DA : (UPTO +9M EXTN.) | EA | 760 |  | INCLUDED
ii | TOWER TYPE DB : (UPTO +9M EXTN.) | EA | 148 |  | INCLUDED
iii | TOWER TYPE DC : (UPTO +9M EXTN.) | EA | 104 |  | INCLUDED
iv | TOWER TYPE DD : (UPTO +9M EXTN.) | EA | 72 |  | INCLUDED
7 | Erection of Various type of tower & its extensions including its Common Plan, bolts & nuts, Step Bolts, Hangers, D-Shackles, Pack washers, etc. and tack welding and supply and application of enamle & zinc rich paint but excluding installation of Stub (ALTITUDE FROM 1500TO 3000M);
a | TOWER TYPE DA : (0 – 2 deg.)
i | BASIC TOWER BODY | EA | 164 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 468 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 188 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 112 |  | INCLUDED
v | +9 M LEG EXTN | EA | 76 |  | INCLUDED
b | TOWER TYPE DB : (0 - 15 deg.)
i | BASIC TOWER BODY | EA | 39 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 112 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 44 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 28 |  | INCLUDED
v | +9 M LEG EXTN | EA | 20 |  | INCLUDED
c | TOWER TYPE DC : (15 - 30 deg.)
i | BASIC TOWER BODY | EA | 24 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 72 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 24 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 16 |  | INCLUDED
v | +9 M LEG EXTN | EA | 16 |  | INCLUDED
d | TOWER TYPE DD : (30 - 60 deg.)
i | BASIC TOWER BODY | EA | 19 |  | INCLUDED
ii | +0 M LEG EXTN | EA | 56 |  | INCLUDED
iii | +3 M LEG EXTN | EA | 20 |  | INCLUDED
iv | +6 M LEG EXTN | EA | 8 |  | INCLUDED
v | +9 M LEG EXTN | EA | 8 |  | INCLUDED
vi | +18 M LEG EXTN | EA | 4 |  | INCLUDED
vii | +25 M LEG EXTN | EA | 4 |  | INCLUDED
8 | INSTALLATION OF STUB (PER LEG) INCLUDING CLEATS, BOLTS AND NUTS (ALTITUDE FROM 1500TO 3000M);
i | TOWER TYPE DA : (UPTO +9M EXTN.) | EA | 656 |  | INCLUDED
ii | TOWER TYPE DB : (UPTO +9M EXTN.) | EA | 156 |  | INCLUDED
iii | TOWER TYPE DC : (UPTO +9M EXTN.) | EA | 96 |  | INCLUDED
iv | TOWER TYPE DD : (UPTO +9M EXTN.) | EA | 44 |  | INCLUDED
v | TOWER TYPE DD : (+18M/+25 EXTN.) | EA | 8 |  | INCLUDED
9 | DESIGN AND INSTALLATION OF FOUNDATION (PER LEG) INCLUDING ALL ASSOCIATED WORKS AS SPECIFIED IN TS - (ALTITUDE UPTO 1500 M)
I | FOR TOWERS WITH EQUAL LEG EXTENSION
a | DA TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 64 |  | INCLUDED
ii | Wet | EA | 44 |  | INCLUDED
iii | WET cult | EA | 20 |  | INCLUDED
iv | PS | EA | 24 |  | INCLUDED
v | FS | EA | 16 |  | INCLUDED
vi | WBC | EA | 12 |  | INCLUDED
vii | DFR | EA | 92 |  | INCLUDED
viii | WFR | EA | 32 |  | INCLUDED
ix | SFR | EA | 12 |  | INCLUDED
x | HR | EA | 20 |  | INCLUDED
b | DA TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 40 |  | INCLUDED
ii | Wet | EA | 96 |  | INCLUDED
iii | WET cult | EA | 24 |  | INCLUDED
iv | PS | EA | 24 |  | INCLUDED
v | FS | EA | 28 |  | INCLUDED
vi | WBC | EA | 12 |  | INCLUDED
vii | DFR | EA | 116 |  | INCLUDED
viii | WFR | EA | 44 |  | INCLUDED
ix | SFR | EA | 20 |  | INCLUDED
x | HR | EA | 20 |  | INCLUDED
c | DB TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 0
ii | Wet | EA | 2 |  | INCLUDED
iii | WET cult | EA | 4 |  | INCLUDED
iv | PS | EA | 4 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 4 |  | INCLUDED
vii | DFR | EA | 6 |  | INCLUDED
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 4 |  | INCLUDED
d | DB TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 4 |  | INCLUDED
ii | Wet | EA | 10 |  | INCLUDED
iii | WET cult | EA | 4 |  | INCLUDED
iv | PS | EA | 12 |  | INCLUDED
v | FS | EA | 12 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 22 |  | INCLUDED
viii | WFR | EA | 12 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 0
e | DC TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 0
iii | WET cult | EA | 4 |  | INCLUDED
iv | PS | EA | 4 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 4 |  | INCLUDED
vii | DFR | EA | 0
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 4 |  | INCLUDED
f | DC TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 8 |  | INCLUDED
iii | WET cult | EA | 8 |  | INCLUDED
iv | PS | EA | 4 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 6 |  | INCLUDED
viii | WFR | EA | 8 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 0
g | DD TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 2 |  | INCLUDED
iii | WET cult | EA | 0
iv | PS | EA | 4 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 0
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 4 |  | INCLUDED
h | DD TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 10 |  | INCLUDED
iii | WET cult | EA | 0
iv | PS | EA | 12 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 0
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 0
x | HR | EA | 0
II | FOR TOWERS WITH UNEQUAL LEG EXTENSION (ALTITUDE UPTO 1500 M)
a | DB TOWER (-6 m LE to+ 9 M LE)
i | Dry | EA | 8 |  | INCLUDED
ii | Wet | EA | 4 |  | INCLUDED
iii | DFR | EA | 20 |  | INCLUDED
b | DC TOWER (-6 m LE to+ 9 M LE)
i | Dry | EA | 4 |  | INCLUDED
ii | Wet | EA | 8 |  | INCLUDED
iii | DFR | EA | 12 |  | INCLUDED
c | DD TOWER (-6 m LE to+ 9 M LE)
i | Dry | EA | 4 |  | INCLUDED
ii | Wet | EA | 4 |  | INCLUDED
iii | DFR | EA | 8 |  | INCLUDED
10 | DESIGN AND INSTALLATION OF FOUNDATION (PER LEG) INCLUDING ALL ASSOCIATED WORKS AS SPECIFIED IN TS - (ALTITUDE FROM 1500 TO 3000 M)
I | FOR TOWERS WITH EQUAL LEG EXTENSION
a | DA TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 52 |  | INCLUDED
ii | Wet | EA | 36 |  | INCLUDED
iii | WET cult | EA | 20 |  | INCLUDED
iv | PS | EA | 24 |  | INCLUDED
v | FS | EA | 12 |  | INCLUDED
vi | WBC | EA | 8 |  | INCLUDED
vii | DFR | EA | 68 |  | INCLUDED
viii | WFR | EA | 28 |  | INCLUDED
ix | SFR | EA | 12 |  | INCLUDED
x | HR | EA | 20 |  | INCLUDED
b | DA TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 28 |  | INCLUDED
ii | Wet | EA | 104 |  | INCLUDED
iii | WET cult | EA | 16 |  | INCLUDED
iv | PS | EA | 16 |  | INCLUDED
v | FS | EA | 24 |  | INCLUDED
vi | WBC | EA | 12 |  | INCLUDED
vii | DFR | EA | 104 |  | INCLUDED
viii | WFR | EA | 40 |  | INCLUDED
ix | SFR | EA | 12 |  | INCLUDED
x | HR | EA | 20 |  | INCLUDED
c | DB TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 0
ii | Wet | EA | 2 |  | INCLUDED
iii | WET cult | EA | 4 |  | INCLUDED
iv | PS | EA | 4 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 4 |  | INCLUDED
vii | DFR | EA | 18 |  | INCLUDED
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 4 |  | INCLUDED
d | DB TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 0
ii | Wet | EA | 14 |  | INCLUDED
iii | WET cult | EA | 0
iv | PS | EA | 8 |  | INCLUDED
v | FS | EA | 8 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 34 |  | INCLUDED
viii | WFR | EA | 12 |  | INCLUDED
ix | SFR | EA | 0
x | HR | EA | 0
e | DC TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 0
iii | WET cult | EA | 4 |  | INCLUDED
iv | PS | EA | 4 |  | INCLUDED
v | FS | EA | 4 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 0
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 0
x | HR | EA | 4 |  | INCLUDED
f | DC TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 0
iii | WET cult | EA | 4 |  | INCLUDED
iv | PS | EA | 12 |  | INCLUDED
v | FS | EA | 8 |  | INCLUDED
vi | WBC | EA | 4 |  | INCLUDED
vii | DFR | EA | 6 |  | INCLUDED
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 4 |  | INCLUDED
x | HR | EA | 0
g | DD TOWER (-6 m LE to+ 0 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 2 |  | INCLUDED
iii | WET cult | EA | 0
iv | PS | EA | 0
v | FS | EA | 0
vi | WBC | EA | 4 |  | INCLUDED
vii | DFR | EA | 8 |  | INCLUDED
viii | WFR | EA | 4 |  | INCLUDED
ix | SFR | EA | 0
x | HR | EA | 4 |  | INCLUDED
h | DD TOWER (+1.5 M LE TO +9 M LE)
i | Dry | EA | 2 |  | INCLUDED
ii | Wet | EA | 2 |  | INCLUDED
iii | WET cult | EA | 0
iv | PS | EA | 0
v | FS | EA | 8 |  | INCLUDED
vi | WBC | EA | 0
vii | DFR | EA | 8 |  | INCLUDED
viii | WFR | EA | 8 |  | INCLUDED
ix | SFR | EA | 0
x | HR | EA | 0
i | DD TOWER (+18 M/+25M LE )
i | Dry | EA | 0
ii | Wet | EA | 4 |  | INCLUDED
iii | WET cult | EA | 0
iv | PS | EA | 4 |  | INCLUDED
II | FOR TOWERS WITH UNEQUAL LEG EXTENSION (ALTITUDE FROM 1500 TO 3000 M)
a | DB TOWER (-6 m LE to+ 9 M LE)
i | Dry | EA | 8 |  | INCLUDED
ii | Wet | EA | 4 |  | INCLUDED
iii | DFR | EA | 20 |  | INCLUDED
a | DC TOWER (-6 m LE to+ 9 M LE)
i | Dry | EA | 4 |  | INCLUDED
ii | Wet | EA | 8 |  | INCLUDED
iii | DFR | EA | 12 |  | INCLUDED
a | DD TOWER (-6 m LE to+ 9 M LE)
i | Dry | EA | 4 |  | INCLUDED
ii | Wet | EA | 4 |  | INCLUDED
iii | DFR | EA | 8 |  | INCLUDED
1082
11 | Work associated with tower foundations (RAISED CHIMNEY FOUNDATION WITH EQUAL or UNEQUAL LEG EXT.) |  |  |  |  | 270.5
11.1 | Excavation in various types of soil
i. | Dry Soil | CUM | 3291 |  | INCLUDED
ii. | Wet Soil | CUM | 1387 |  | INCLUDED
iii. | Dry Fissure Rock | CUM | 3796 |  | INCLUDED
iv | Wet Fissure Rock | CUM | 500 |  | INCLUDED
v. | Hard Rock | CUM | 500 |  | INCLUDED
11.2 | Concreting (including all associated works related to foundation )
i. | Reinforcement Cement Concrete (RCC-C25) | Cum | 1259 |  | INCLUDED
ii. | Lean Concrete (PCC-Nominal Mix 1:3:6) | Cum | 169 |  | INCLUDED
11.3 | Supply and placement of Reinforcement Steel | MT | 106 |  | INCLUDED
12 | Installation of Earthing of towers
i. | Pipe Type
a | Normal | Nos. | 235 |  | INCLUDED
b | Chemical | Nos. | 10 |  | INCLUDED
ii. | Counterpoise Type
a | Normal | Nos. | 235 |  | INCLUDED
b | Chemical | Nos. | 10 |  | INCLUDED
iii. | Shieldwire Earthing including PG clamps, Downlead clamps but excluding Earthwire bits
a) | Pipe Type Earthing | Sets | 15 |  | INCLUDED
b) | Counterpoise type Earthing | Sets | 15 |  | INCLUDED
iv. | Rod type Earthing | Nos. | 270 |  | INCLUDED
13 | Installation of following tower accessories
i. | Danger Plate | Nos. | 515 |  | INCLUDED
ii. | Number Plate | Nos. | 515 |  | INCLUDED
iii. | Phase Plate ( Set of three) | Sets | 1030 |  | INCLUDED
iv. | Circuit Plate ( Set of two) | Sets | 515 |  | INCLUDED
v. | Anti climbimg device | Nos. | 515 |  | INCLUDED
vi. | Bird Guard ( Set of three) | Sets | 716 |  | INCLUDED
vii. | Bird Diverter | Nos. | 1000 |  | INCLUDED
14 | Protection of tower footing
i) | Random rubble stone masonary including excavation (1:5 cementconcrete) | Cu.m. | 15000 |  | INCLUDED
ii) | Stone bound in galvanising wire netting including excavation | Cu.m. | 5000 |  | INCLUDED
iii) | Back filling and levelling of volumes enclosed by revetment | Cu.m. | 10000 |  | INCLUDED
iv) | C15 Conc. Nominal Mix 1:2:4 for top seal cover | Cu.m. | 150 |  | INCLUDED
15 | Installation of insulator strings complete with arcing horns & necessary hardware, installing & stringing of conductor including fixing of conductor accessories, installing & stringing of earthwire/OPGW including fixing of earthwire /OPGW accessories
(i) | 400kV AC Double circuit with Triple ACSR Condor conductor | kms | 180 |  | INCLUDED
(ii) | 400kV AC Double circuit under live line condition for Power line crossing | Nos. | 1 |  | INCLUDED
16 | Aviation requirement
16.1 | Span Markers | Nos | 10 |  | INCLUDED
16.2 | Obstruction Lights
(i) | 1 Medium Intensity + 2 Low Intensity | Nos | 4 |  | INCLUDED
(ii) | 1 Medium Intensity + 4 Low Intensity | Nos | 2 |  | INCLUDED
16.3 | Painting of towers | MT | 80 |  | INCLUDED
B | SCHEDULE-II: OPGW
Lessos-Loosuk
1 | Installation of OPGW cable & Accessories
(i) | Installation of 96F FODP | Nos. | 2 |  | INCLUDED |  |  | 170000356
(ii) | Installation of 48F Joint Box | Nos. | 40 |  | INCLUDED |  |  | 170000266
(iii) | Installation of 48F Fibre Optic Approach Cable | Km | 2 |  | INCLUDED |  |  | 100002883
LILO PORTION
2 | Installation of OPGW cable & Accessories
(i) | Installation of 96F FODP | Nos. | 2 |  | INCLUDED
(ii) | Installation of 48F Joint Box | Nos. | 8 |  | INCLUDED
(iii) | Installation of 48F Fibre Optic Approach Cable | Km | 2 |  | INCLUDED
(iv) | Installation of 96F Joint Box | km | 4 |  | INCLUDED
(v) | Installation of OPGW along with hardware fittings & vibration dampers (in Live Line Condition) | km | 10 |  | INCLUDED
(vi) | Installation of 96F Fibre Optic Approach Cable | km | 1 |  | INCLUDED
C | SCHEDULE-III: Emergency Restoration System
1 | Class room training by design & field engineers/instructutors for 5 Days | MND | 5 |  | INCLUDED
2 | Field training cum demonstration of two typical types of suspension & one tension ERS structure installation by design & fieldengineers /instructors (including labour & material required for demonstration) | LS | 1 |  | INCLUDED
D | SCHEDULE-IV: TOOLS AND PLANTS
1 | Class room training by field engineers/instructors for Hotline maintenance tool & techniques | MND | 3 |  | INCLUDED
2 | Field training cum demonstration of Hotline maintenance tool & techniques by fieldengineers/instructors(including labour & material required for demonstration) | LS | 1 |  | INCLUDED
| Total Price |  |  |  | 0
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0

## Sch-III (Summary)
SPEC. NO.:CC-CS/PG-AF50/ KEN/TL02/G5 |  |  |  | Schedule-3
Tower Package – TL02 for 400kV D/C (ACSR Twin Moose) Lessos-Loosuk Transmission Line and LILO of Loyangalani-Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) under Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50
(GRAND SUMMARY)
Bidder’s Name and Address: |  |  | To:
0 |  |  | Contract Services |  |  |  | 0
Name of the Bidder | 0 |  | Power Grid Corporation of India Ltd., |  |  |  | 0
Address : | 0 |  | "Saudamini", Plot No.-2 |  |  |  | 0
| 0 |  | Sector-29, |  |  |  | INR
| 0 |  | Gurgaon (Haryana) - 122 001
Sl. No. | Description |  | Total Price in USD
1 | TOTAL SCHEDULE NO. 1
| Plant and Equipment including mandatory Spares to be supplied |  | 0
2 | TOTAL SCHEDULE NO. 2
| Installation Services and Training |  | 0
Plus Octroi, Entry Tax and Other Taxes and Duties
| GRAND TOTAL [1+2] |  | 0
Note: | IAC amounting to % of CIF, included in CIF price for item in Schedule no. 1(a) above and is in line with ITB 11.4(f)]. |  |  |  | Please specify the amount of IAC (as a percentage of CIF Price), included in CIF Price, in line with ITB 11.4(f):
Date: | 0 |  | Printed Name: | 0
Place: | 0 |  | Designation: | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | INR | 0
Note on F60: Please specify the amount of IAC (as a percentage of CIF Price), included in CIF Price, in line with ITB 11.4(f):

## Bid Form 2nd Envelope
SPEC. NO.:CC-CS/PG-AF50/ KEN/TL02/G5 |  |  |  |  | Bid Form 2nd Envelope |  |  |  | 1 | st |  | 1 | January
[9 empty] | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [8 empty] | 3 | rd |  | 3 | March
[9 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [8 empty] | 5 | th |  | 5 | May
Date : | 0 | [7 empty] | 6 | th | 0 | 6 | June
[9 empty] | 7 | th | 1 | 7 | July
To: | [8 empty] | 8 | th | January | 8 | August
Contract Services | [8 empty] | 9 | th | 1900 | 9 | September
Power Grid Corporation of India Ltd., | [8 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [8 empty] | 11 | th |  | 11 | November
Sector-29, | [8 empty] | 12 | th |  | 12 | December
Gurgaon (Haryana) - 122 001 | [8 empty] | 13 | th
[9 empty] | 14 | th
Name of Contract : |  | Tower Package – TL02 for 400kV D/C (ACSR Twin Moose) Lessos-Loosuk Transmission Line and LILO of Loyangalani-Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) under Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50 | [6 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [8 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) the Facilities under the above-named package in full conformity with the said Bidding Documents for the sum of USD.0 or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) the Facilities under the above-named package in full conformity with the said Bidding Documents for the sum of | Plus applicable Octroi, Entry Tax, Other Taxes & Duties or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [5 empty] | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | 18 | th
2 | Price Schedules | [7 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [7 empty] | 20 | th
| Schedule 1 : |  | Plant and Equipment including mandatory Spares to be supplied
| Schedule 2 : |  | Installation Services and Training
| Schedule 3 : |  | Grand Summary (Schedule Nos. 1 to 2)
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [7 empty] | 28 | th
2.3 | We declare that as specified in Clause 17.7, Section-I: ITB, Part-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [7 empty] | 29 | th
[9 empty] | 30 | th
[9 empty] | 31 | st
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced.
3 | We confirm that our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us, our Sub-Contractor/Sub-Vendor or their employees by all local or national government authorities in connection with the Facilities
4 | We confirm that we shall also get registered with the concerned Authorities as applicable where the project is located.
5 | We understand that the Owner/Employer shall not reimburse/Pay any Taxes and duties
6 | #(For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
7 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
|  |  | For and on behalf of |  | 0
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Other Partner-1
| Printed Name : |  |  |  |  | 2
| Designation : |  |  |  |  | 1
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
Back to Cover Page