| Sr. No. | Clause No. and Details | Bidder's Query/Comment | Reply from POWERGRID |
| --- | --- | --- | --- |
|  | Clause 1.1, ITB & BDS, Part-1 of Bidding Documents | We understand that a Project specific SPV Company shall be incorporated in Kenya which will be Employer/Owner of the project and shall take complete responsibility of the project including arranging funds and payments to the contractor. We would like to know the status of the SPV formation | Provisions of Bidding documents are amply clear. Bidders are requested to quote as per Provisions of Bidding documents. |
|  | ITB 5.1, Part-1 of Bidding Documents | Replace the ITB Clause 5.1 with the following: The Plant and Installation Services to be supplied under the Contract may have their origin in any country in accordance with Section V, Eligible Countries. Please provide list of eligible countries. | - Provisions of Bidding documents are amply clear |
|  | ITB 1.1 & ITB 2.0, Part-1 of Bidding Documents | The Owner/Employer shall arrange the fund for this Project. Replace the ITB Clause 2.0 with the following: The “Owner” and the “Employer” for the project “Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50” shall be “Project specific SPV Company (to be incorporated in Kenya)” formed with equity participation from POWERGRID and Africa50 All eligible payments under the contract for the package for which this RFB is issued shall be made by the Owner/Employer Please confirm whether funds will be provided by Power grid or Africa 50 for this project. | - Provisions of ITB 2.0 in BDS of Bidding documents are amply clear |
|  |  | As per Section 2, Bid Data Sheet, Clause no. BDS/ITB 2.0, It is mentioned that the “Owner” and the “Employer” for the project “Transmission Line & Substation works associated with Transmission Project in Kenya through PPP-JV model with Africa50” shall be “Project specific SPV Company (to be incorporated in Kenya)” formed with equity participation from POWERGRID and Africa 50. All eligible payments under the contract for the package for which this RFB is issued shall be made by the Owner/Employer”. We understand that, the payment for the contract will be made by the project specific SPV formed by POWERGRID & Africa 50. Kindly confirm our understanding is correct. Also, we would like you to kindly inform the equity percentage of POWERGRID & Africa 50 in SPV |  |
|  | ITB Clause 9.2, Part-1 of Bidding Documents | As per NIT & BDS ITB Clause 9.2, it is mentioned that Cost of the Bid Documents is USD 500. We understand that cost of 500 USD is for all Lots i.e. for TL01, TL02, SS01, SS02 & SS03. Please confirm our understanding is correct. | - Bidders are required to submit Bidding document fee in line with provisions of Bidding documents for Respective packages |
|  | Clause 9.2 BDS & Clause 11 of ITB & BDS, Part-1 of Bidding Documents | We have noted that the bidders shall submit a demand draft (DD) against the cost of bidding document. Alternatively, bidders can submit online payment acknowledgment – suppliers. We are planning to submit Online Payment Acknowledgment – suppliers and not DD. Please confirm if the same will be acceptable because in clause 11, it only mentions DD. | - Refer Amendment No-IV |
|  | Bid Security, ITB Clause 20, Part-1 of Bidding Documents | Please confirm the Beneficiary to be mentioned in the bid securities - "Project specific SPV Company (to be incorporated in Kenya) between Power Grid Corporation of India Limited and Africa50" or "Power Grid Corporation of India Limited". | - Refer Amendment No-IV |
|  |  | We are an Indian EPC firm and we are planning to submit Bid Security from an Indian bank. We request you to kindly share PGCIL bank details including Bank Account Number, Bank Name and IFSC Code for enable us to send SFMS (Structural Financial Messaging system) from our Bank to PGCIL Bank and issue a valid Bank Guarantee. | - Refer Amendment No-III |
|  | ITB 20.1 & ITB 47, Part-1 of Bidding Documents | As per the clause ITB 20.1 Bidder has to submit the Bid Security of USD 1,576000 with our offer. We have noted from the scope of work that two different packages (TL01 & TL02) are for the same OHL with different technical. We understand from the ITB clause 47 that Employer shall award only either of one of the package from TL01 & TL02. If employer shall award only either of one of the package from TL01 & TL02, we understand that only Single Bid Security of USD 1,576000 is required. Please confirm our understanding is correct. | - Refer Amendment No-III |
|  | e-Reverse Auction, ITB, Part-1 of Bidding Documents | As per Section 2, Bid Data Sheet, Clause BDS/ITB 42.1, It is mentioned that “The Employer reserves the right to conduct r-Reverse Auction (e-RA) for further reduction in price. In case e-RA is conducted, same shall be done in the manner as indicated at Annexure-A (BDS)”. We request you to confirm, if e-Reverse Auction will be applicable for the said project. | - Provisions of Bidding documents are amply clear. |
|  | GCC Clause 13.3.1, PCC, Section-IX, Part-3 of Bidding Documents | Additional performance guarantee of 2% has to be provided by the contractor after DLP and should be valid for maintenance period. Is the maintenance period applicable for the project? if yes, what is the duration of maintenance period? | - Refer Amendment No-IV |
|  |  | "...The Contractor shall, within 28 days, after Defect Liability Period provide Performance Security in the amount equivalent to 2% of the total Contract Price to cover the contractor’s obligations under Maintenance Period…" Kindly arrange to clarify whether this scope could be excluded from the Bidder's scope of work? |  |
|  |  | It is mentioned as “A separate contract for Maintenance after Defect Liability period shall be signed between the contractor and the Owner, after the completion of the project” However, there is no detail available regarding scope, period etc. Kindly clarify. |  |
|  | GCC 43.2 PCC, Section IX Part-3 of Bidding Documents | The Contracts to be entered into with the successful Bidder shall be as under... In the case of successful Kenyan Bidder, the award shall be made as follows... In the case of successful foreign Bidder, the award shall be made as follows… The Contracts to be entered into with the successful Bidder shall be as under... In the case of successful Kenyan Bidder, the award shall be made as follows... In the case of successful foreign Bidder, the award shall be made as follows… | - Refer Amendment No-III |
|  | Defect Liability Period, GCC 27.2, PCC, Section IX Part-3 of Bidding Documents | As per the referred clause, it is mentioned that, "(i) Sixty (60) months for (132kV or above Class) Transformer/ Current Transformer/ Capacitive Voltage Transformer / Circuit Breaker from the date of Taking Over /Completion of Facilities (or any part thereof). For the purpose of this clause, the Measurable Defects as per the Technical Specifications shall also be considered for Transformer/ Current Transformer/ Capacitive Voltage Transformer / Circuit Breaker". Since these equipments are not relevant for transmission line projects, we understand that above highlighted clause is not applicable for Transmission Line packages TL 01 and TL 02.Please confirm. | - Refer Amendment No-IV |
|  | GCC 13.4, PCC, Section IX Part-3 of Bidding Documents | Please confirm Bid Securities for Tender, Performance & Advance from Bank in India is accepted. | - Bidders are requested to refer provisions of ITB Clause 20 and GCC Clause 13.4 regarding issuing Banks for Bid security, Performance securities, Advance Bank Guarantees which are amply clear. |
|  | GCC 46.2, PCC, Section IX Part-3 of Bidding Documents | We understand that as project is located in the Kenya, the contractors from India will be considered as foreign contractor. Please clarify. | - Provisions of bidding documents are amply clear. |
|  | GCC Clause 43.2, PCC, Section IX Part-3 of Bidding Documents | Termination for Employers convenience Please add provision for termination at Contractor's Convenience. | - Provisions of bidding documents remain unchanged |
|  | GCC Clause 40.1, Part-3 of Bidding Documents | Multiple Contracts In case multiple contracts are signed for the same project, we request to add "any delay under those contracts shall be a valid reason for extension of time completion." | - Provisions of bidding documents remain unchanged |
|  | GCC Clause 27.7, Part-3 of Bidding Documents | Defect Liability Period. We suggest reasonable time period for commencing of work necessary as under the defect liability period to be not less than 30 days as 15 days is a short time. | - Provisions of bidding documents remain unchanged |
|  | GCC Clause 27.11, PCC, Section IX Part-3 of Bidding Documents | Latent Defect Warranty Period. Latent Defect Liability not defined. Please clarify the same. | - Please refer provisions of GCC Clause 27.8.1 in PCC which are amply clear |
|  | GCC Clause 27.11, PCC, Section IX Part-3 of Bidding Documents | Latent Defect Warranty Period. All liability to be covered under the defect liability provision. No more changes to be made by the contractor post expiry of the defect liability period. | - Please refer provisions of GCC Clause 27 in GCC & PCC read in conjunction with other clauses of Bidding Documents which are amply clear. |
|  | GCC Clause 28.4, PCC, Section IX Part-3 of Bidding Documents | Liquidated Damages Please clarify that liquidated damages levied shall be returned to the Contractor upon completion/ acceptance of equipment before the stipulated time for completion. | - Please refer provisions of GCC Clause 26.2 in PCC pertaining to Liquidated Damages which are amply clear |
|  | Attachment 8: Manufacturer’s Authorization Form | Please provide format for Manufacturer’s Authorization Form | - Refer Amendment No-IV |
|  | Supplier Qualification Criteria | As per Volume I, Section III – Evaluation & Qualification Criteria, A -1.4 Requirements in case of such offered plant and equipment which are not to be manufactured by the Bidder, Page no. 4-4, It is mentioned that “In the case of a Bidder who offers to supply and/or install plant and equipment under the contract that the Bidder did not manufacture or otherwise produce and/or install, the Bidder shall (iii) be responsible for ensuring that the manufacturer or producer complies with the requirements of ITB Sub-Clause 5.1 and meets the minimum criteria listed for an individual Bidder for that item”. As per Volume I, Sub-clause 5.1 states that “The Plant and Installation Services to be supplied under the Contract and financed by the Bank may have their origin in any country in accordance with Section V, Eligible Countries”. We understand that, the bidder can propose any supplier provided they meet the sub-clause 5.1. Sub-clause 5.1 only calls for the suppliers who is meeting criteria of eligible countries. No other qualification other than that will be applicable. Kindly confirm our understanding is correct | - Provisions of Bidding documents are amply clear |
|  | Attachment – 3 (QR) – Qualifying Requirement Data | As per First Envelope and Bid Forms_TL01, Attach – 3 (QR), It is mentioned that “Attachment-3 (QR) is attached with this volume”. We did not find the Attachment-3 (QR) in the same volume. As per Section 2, Bid Data Sheet, Clause no. BDS/ITB 11 (Table), Sr. No. 7 – Technical Experience Certificate issued by utility, We understand that, there is no specific format to fill the details of completed projects and only technical experience certificate need to be submitted with the bid meeting the qualification criteria given in the tender documents. Kindly confirm our understanding is correct. | - Refer Amendment No-IV |
|  | Safety Pact & Integrity Pact | As per Section 2, Bid Data Sheet, Clause BDS/ITB 22.3, It is mentioned that “DD towards Bidding Document, Bid Securities, in original shall be submitted in separate superscribed envelopes (one for DD towards Bidding Document, one for Bid Security, one for Integrity Pact and one for Safety Pact) along with First Envelope”. However, we did not find any specific format for Integrity Pact and Safety Pact in the tender documents. We understand that, the bidder do not require to submit the Integrity Pact & Safety Pact for this tender. Kindly confirm if our understanding is correct | - Refer Amendment No-IV |
|  | Hard Copy Part Submission | As per Section II – Bid Data Sheet (BDS), Clause no. 11.2, I. Hard Copy Part, It is mentioned that “Hard copy part of the bid shall comprise of the following documents to be submitted in a sealed envelope, as a part of First Envelope”. (i) DD towards Bidding Document / Online Payment Receipt through POWERGRID ONLINE PAYMENT UTILITY. (ii) Bid Security (iii) Written confirmation authorizing signatory of the Bid to commit the bidder. We understand that, only above mentioned three (03) documents need to be submitted in Hard Copy. Kindly confirm our understanding is correct. | - Bidders are requested to refer provisions of ITB Clause 11.2 which are amply clear. |
|  | Attachment 15 – Additional Information | As per Attachment 15 – Additional Information, The bidder has to provide information on Fund Based / Non-Fund Based limits, Litigation History, Current Contract Commitments of works and Financial Data. We understand that, all the financial data / figures to be entered in USD (United States Dollars). Kindly confirm | - Provisions of Bidding documents are amply clear |
|  | Quantity for Payment | As per PCC 39.4, we understand that the quantities given in the price schedule are preliminary & tentative. Payment to the contractor shall be made based on actual executed quantities which shall be arrived after detail survey and soil investigation during execution. Please confirm if our understanding is correct. | - Provisions of Bidding documents are amply clear. |
|  | General | We understand that TL01 and TL02 packages are for same transmission line route and only one of the package will be awarded as a project to the winning bidder. Please confirm | - Provisions of Bidding documents are amply clear |
|  | General | We understand that the law governing the Contract(s) will be Indian law. Please confirm our understanding. | - Bidders are requested to refer Provisions of GCC Clause 5.1 which are amply clear |
|  | General | As per the clause scanned copy of sample cheque (Cancelled) to be uploaded. As the Tender/Contract currency is USD. Please confirm whether cheque from Indian Bank will be ok to submit. | - Bidders shall submit cancelled check from Bank in which Payment can be received by them in USD by the Owner/Employer. |
|  | Attachment 14 – option for Mode of Payment | As per Attachment 14, the bidder has the option to choose the mode of payment either “through direct payment” or “through irrevocable confirmed letter of credit”. We understand that, in case the bidder chooses the option of payment “through irrevocable confirmed letter of credit” the employer will bear the LC charges. Kindly confirm | - Bidders are requested to refer Terms of payment issued vide Amendment No-III which are amply clear. |
|  | Appendix-1 _Terms of payment_Rev1_TL | Payment of Price Adjustment - Supply: 90% payment against material receipt at site. We understand that site means project store location, please confirm. | - Provisions of Bidding documents are amply clear |
|  | Appendix-1 _Terms of payment_Rev1_TL, under clause 1.1 Supply portion (Fabricated & Galvanized towers & Line materials) 2.1 Method of Payment, sub clause 2.1.1 | Under clause 1.1 it is mentioned that 60% progressive payment will be released through Letter of credit. Under clause 2.1.1 it is mentioned that all payments will be through e-transfer method. There is ambiquity between above 2 clauses, hence please confirm that 60% progressive payment will be released through Letter of credit. | - Provisions of Bidding documents are amply clear |
|  | Appendix-2 _Price Adjustment_Rev1_TL | Under Clause 1.1 Paragraph 2 It is mentioned that, Price for survey, soil investigation, type tests, port handling and port clearance, inland freight & insurance, Erection/Installation, Training and other charges, if any, shall be Firm and no price adjustment shall be applicable for these components for the entire duration of the Contract. In above clause the price variation for civil foundation Work is not mentioned. We request you to please provide the price variation formula for civil foundation work. | - Provisions of Bidding documents are amply clear |