| Sr. No. | Clause No. and Details | Bidder's Query/Comment | Reply from POWERGRID |
| --- | --- | --- | --- |
|  | Bill of Quantity - Supply BOQ for TOWERS - TL02 | We understand that TOWER material required for LILO portion of Loyangalani - Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) is included in the total quantities of TOWERS mentioned in the BOQ (SL. No. 1). Please confirm. | Bidders understanding is correct. |
|  | Bill of Quantity - Supply BOQ for ACSR CONDOR CONDUCTOR - TL02 | We understand that ACSR CONDOR conductor required for LILO portion of Loyangalani - Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) is not provided in indicative BOQ. We request you to provide the quantity of ACSR CONDOR conductor required for LILO portion. | - Refer the amendment in BoQ. ACSR CONDOR conductor required for LILO portion of Loyangalani - Suswa 400kV D/C Line at Loosuk Substation (with ACSR Triple Condor) is provided in revised BOQ. |
|  | Technical Specification, Section-IV C Tower: Materials, Fabrication, Erection & Stringing, Clause no. 1.2.2.7 – Spring Washers | As per clause 1.2.27, it is mentioned that spring washers shall have to be electro-galvanized. Normally, in export orders where the travel time for transhipment is long & involving long storage time, Spring washers are hot dip galvanized to avoid rusting of materials. Accordingly, kindly confirm if we can provide hot dip galvanizing for Spring washers. | - Provision of TS holds good. |